## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151380012 | 2015-05-14 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.048 | . | ug/L | 1.1333 | 0.0544 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20152390224 | 2015-08-27 09:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.048 | . | ug/L | 0.94583 | 0.0454 | Recoverable Result | 4440 | D | mgu | b | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.048 | . | ug/L | 0.93542 | 0.0449 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160490036 | 2016-02-18 09:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.048 | . | ug/L | 0.98542 | 0.0473 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151210035 | 2015-04-30 08:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.0482 | . | ug/L | 1.0622 | 0.0512 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151690197 | 2015-06-18 08:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.0482 | . | ug/L | 1 | 0.0482 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20153440003 | 2015-12-09 08:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.0482 | . | ug/L | 0.93568 | 0.0451 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160770093 | 2016-03-17 09:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.0482 | . | ug/L | 0.76141 | 0.0367 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.0482 | . | ug/L | 0.97095 | 0.0468 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141640078 | 2014-06-12 08:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.06032 | . | ug/L | 0.91015 | 0.0549 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141990078 | 2014-07-17 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.06032 | . | ug/L | 1.1273 | 0.068 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142470038 | 2014-09-03 07:15 | O-XYLENE | 77135GCM66 | 0.032 | 0.06032 | . | ug/L | 1.2815 | 0.0773 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20150090093 | 2015-01-08 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.06032 | . | ug/L | 1.0461 | 0.0631 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20141220028 | 2014-05-01 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.064 | . | ug/L | 1.3719 | 0.0878 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.064 | . | ug/L | 0.97344 | 0.0623 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142720027 | 2014-09-25 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.064 | . | ug/L | 0.87813 | 0.0562 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20143030098 | 2014-10-30 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.064 | . | ug/L | 0.95469 | 0.0611 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20151270114 | 2015-05-07 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.072 | . | ug/L | 1.0472 | 0.0754 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.072 | . | ug/L | 0.94306 | 0.0679 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.072 | . | ug/L | 0.85556 | 0.0616 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.072 | . | ug/L | 0.93056 | 0.067 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161050145 | 2016-04-14 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.072 | . | ug/L | 0.88472 | 0.0637 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153510114 | 2015-12-17 08:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.0723 | . | ug/L | 0.92116 | 0.0666 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160910143 | 2016-03-31 06:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.0723 | . | ug/L | 0.97649 | 0.0706 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161470002 | 2016-05-25 06:10 | O-XYLENE | 77135GCM66 | 0.032 | 0.081 | . | ug/L | 0.88519 | 0.0717 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20161600091 | 2016-06-08 06:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.081 | . | ug/L | 0.99259 | 0.0804 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20161820011 | 2016-06-29 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.081 | . | ug/L | 0.88395 | 0.0716 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162660007 | 2016-09-21 06:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.081 | . | ug/L | 0.98395 | 0.0797 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20162860092 | 2016-10-12 06:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.081 | . | ug/L | 1.0012 | 0.0811 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20163280006 | 2016-11-21 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.081 | . | ug/L | 0.9284 | 0.0752 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20151620184 | 2015-06-11 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.1205 | . | ug/L | 0.79751 | 0.0961 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.1205 | . | ug/L | 0.88797 | 0.107 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20141150020 | 2014-04-24 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.12064 | . | ug/L | 0.86207 | 0.104 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141770147 | 2014-06-26 08:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.12064 | . | ug/L | 0.96154 | 0.116 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142270005 | 2014-08-14 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.12064 | . | ug/L | 1.0113 | 0.122 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20150930003 | 2015-04-02 06:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.12064 | . | ug/L | 0.97812 | 0.118 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20141490202 | 2014-05-29 08:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.128 | . | ug/L | 0.82812 | 0.106 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143110111 | 2014-11-06 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.128 | . | ug/L | 0.85938 | 0.11 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20143420010 | 2014-12-08 07:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.128 | . | ug/L | 1.1875 | 0.152 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150720068 | 2015-03-12 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.128 | . | ug/L | 0.92969 | 0.119 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20161740255 | 2016-06-22 06:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.135 | . | ug/L | 0.92593 | 0.125 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162230172 | 2016-08-10 06:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.135 | . | ug/L | 0.91111 | 0.123 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20162380006 | 2016-08-24 06:15 | O-XYLENE | 77135GCM66 | 0.032 | 0.135 | . | ug/L | 0.87407 | 0.118 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20162440115 | 2016-08-31 06:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.135 | . | ug/L | 0.85185 | 0.115 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20163220168 | 2016-11-16 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.135 | . | ug/L | 0.8963 | 0.121 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20162020126 | 2016-07-20 06:45 | O-XYLENE | 77135GCM66 | 0.032 | 0.216 | . | ug/L | 0.86111 | 0.186 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20162150210 | 2016-08-02 06:30 | O-XYLENE | 77135GCM66 | 0.032 | 0.216 | . | ug/L | 0.89352 | 0.193 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163500004 | 2016-12-14 07:00 | O-XYLENE | 77135GCM66 | 0.032 | 0.216 | . | ug/L | 0.94444 | 0.204 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl