## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.052 | . | ug/L | 0.95192 | 0.0495 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151690197 | 2015-06-18 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.052 | . | ug/L | 0.97885 | 0.0509 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20153440003 | 2015-12-09 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.052 | . | ug/L | 0.92692 | 0.0482 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160770093 | 2016-03-17 09:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.052 | . | ug/L | 0.72885 | 0.0379 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.052 | . | ug/L | 0.96538 | 0.0502 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.053 | . | ug/L | 1.0377 | 0.055 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20152390224 | 2015-08-27 09:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.053 | . | ug/L | 0.78679 | 0.0417 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.053 | . | ug/L | 0.99623 | 0.0528 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160490036 | 2016-02-18 09:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.053 | . | ug/L | 0.91321 | 0.0484 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141220028 | 2014-05-01 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 0.93529 | 0.0636 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 0.70882 | 0.0482 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 0.81471 | 0.0554 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141840101 | 2014-07-02 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 0.91618 | 0.0623 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 0.99853 | 0.0679 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 0.98235 | 0.0668 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142890080 | 2014-10-16 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 0.8 | 0.0544 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20143030098 | 2014-10-30 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.068 | . | ug/L | 1.0059 | 0.0684 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20153510114 | 2015-12-17 08:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.078 | . | ug/L | 0.87692 | 0.0684 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160910143 | 2016-03-31 06:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.078 | . | ug/L | 0.8859 | 0.0691 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.0795 | . | ug/L | 0.89937 | 0.0715 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.0795 | . | ug/L | 0.86918 | 0.0691 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.0795 | . | ug/L | 0.91447 | 0.0727 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.0795 | . | ug/L | 0.88302 | 0.0702 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161050145 | 2016-04-14 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.0795 | . | ug/L | 0.80252 | 0.0638 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161600091 | 2016-06-08 06:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.084 | . | ug/L | 1.0726 | 0.0901 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20162100019 | 2016-07-27 06:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.084 | . | ug/L | 1.1607 | 0.0975 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162300276 | 2016-08-17 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.084 | . | ug/L | 0.89762 | 0.0754 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.084 | . | ug/L | 0.81429 | 0.0684 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.084 | . | ug/L | 0.75714 | 0.0636 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20162860092 | 2016-10-12 06:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.084 | . | ug/L | 0.96905 | 0.0814 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20162800001 | 2016-10-05 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.084 | . | ug/L | 1.1357 | 0.0954 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20151620184 | 2015-06-11 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.13 | . | ug/L | 0.83077 | 0.108 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.13 | . | ug/L | 0.96923 | 0.126 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20141570084 | 2014-06-05 08:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 0.82353 | 0.112 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142200168 | 2014-08-07 08:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 0.86029 | 0.117 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 0.90441 | 0.123 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20142530090 | 2014-09-10 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 0.72574 | 0.0987 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143240097 | 2014-11-19 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 0.88971 | 0.121 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20143420010 | 2014-12-08 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 0.83088 | 0.113 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 0.77941 | 0.106 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150720068 | 2015-03-12 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.136 | . | ug/L | 1.0074 | 0.137 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20161340232 | 2016-05-13 06:10 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.14 | . | ug/L | 0.89286 | 0.125 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.14 | . | ug/L | 0.96429 | 0.135 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.14 | . | ug/L | 0.76429 | 0.107 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162380006 | 2016-08-24 06:15 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.14 | . | ug/L | 0.89286 | 0.125 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.14 | . | ug/L | 0.78571 | 0.11 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161880113 | 2016-07-06 06:15 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.224 | . | ug/L | 1.1562 | 0.259 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162150210 | 2016-08-02 06:30 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.224 | . | ug/L | 0.76339 | 0.171 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.224 | . | ug/L | 0.98214 | 0.22 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
20163500004 | 2016-12-14 07:00 | SEC-BUTYLBENZENE | 77350GCM66 | 0.034 | 0.224 | . | ug/L | 0.96429 | 0.216 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl