## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152390224 | 2015-08-27 09:30 | STYRENE | 77128GCM66 | 0.042 | 0.064 | . | ug/L | 0.84688 | 0.0542 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153440003 | 2015-12-09 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.064 | . | ug/L | 1.0203 | 0.0653 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160140041 | 2016-01-14 09:00 | STYRENE | 77128GCM66 | 0.042 | 0.064 | . | ug/L | 0.93594 | 0.0599 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20160770093 | 2016-03-17 09:00 | STYRENE | 77128GCM66 | 0.042 | 0.064 | . | ug/L | 1.4828 | 0.0949 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20151690197 | 2015-06-18 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.065 | . | ug/L | 0.97538 | 0.0634 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20152040181 | 2015-07-23 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.065 | . | ug/L | 0.78462 | 0.051 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20153230147 | 2015-11-19 09:30 | STYRENE | 77128GCM66 | 0.042 | 0.065 | . | ug/L | 0.84462 | 0.0549 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20141840101 | 2014-07-02 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.084 | . | ug/L | 1.0786 | 0.0906 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.084 | . | ug/L | 1.1 | 0.0924 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.084 | . | ug/L | 1.2381 | 0.104 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20143030098 | 2014-10-30 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.084 | . | ug/L | 1.0881 | 0.0914 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141220028 | 2014-05-01 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.0842 | . | ug/L | 1.1164 | 0.094 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.0842 | . | ug/L | 0.76366 | 0.0643 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.0842 | . | ug/L | 0.81591 | 0.0687 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20142890080 | 2014-10-16 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.0842 | . | ug/L | 1.0048 | 0.0846 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20151480172 | 2015-05-28 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.096 | . | ug/L | 0.87917 | 0.0844 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20152890011 | 2015-10-15 09:00 | STYRENE | 77128GCM66 | 0.042 | 0.096 | . | ug/L | 0.82708 | 0.0794 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153030066 | 2015-10-29 09:00 | STYRENE | 77128GCM66 | 0.042 | 0.096 | . | ug/L | 0.78646 | 0.0755 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20152810126 | 2015-10-08 09:00 | STYRENE | 77128GCM66 | 0.042 | 0.0975 | . | ug/L | 0.83385 | 0.0813 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | STYRENE | 77128GCM66 | 0.042 | 0.0975 | . | ug/L | 0.85538 | 0.0834 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160630052 | 2016-03-03 09:00 | STYRENE | 77128GCM66 | 0.042 | 0.0975 | . | ug/L | 0.78462 | 0.0765 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20161050145 | 2016-04-14 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.0975 | . | ug/L | 0.80923 | 0.0789 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161600091 | 2016-06-08 06:00 | STYRENE | 77128GCM66 | 0.042 | 0.105 | . | ug/L | 0.99048 | 0.104 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20162100019 | 2016-07-27 06:00 | STYRENE | 77128GCM66 | 0.042 | 0.105 | . | ug/L | 0.90667 | 0.0952 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162300276 | 2016-08-17 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.105 | . | ug/L | 0.90571 | 0.0951 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | STYRENE | 77128GCM66 | 0.042 | 0.105 | . | ug/L | 0.77524 | 0.0814 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | STYRENE | 77128GCM66 | 0.042 | 0.105 | . | ug/L | 0.87714 | 0.0921 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20162860092 | 2016-10-12 06:30 | STYRENE | 77128GCM66 | 0.042 | 0.105 | . | ug/L | 0.90952 | 0.0955 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20162800001 | 2016-10-05 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.105 | . | ug/L | 0.97143 | 0.102 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20151820110 | 2015-07-01 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.16 | . | ug/L | 0.8375 | 0.134 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20151620184 | 2015-06-11 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.1625 | . | ug/L | 0.78154 | 0.127 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152610008 | 2015-09-17 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.1625 | . | ug/L | 0.80615 | 0.131 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20142200168 | 2014-08-07 08:30 | STYRENE | 77128GCM66 | 0.042 | 0.168 | . | ug/L | 0.875 | 0.147 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.168 | . | ug/L | 0.97619 | 0.164 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20143240097 | 2014-11-19 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.168 | . | ug/L | 0.92262 | 0.155 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20150720068 | 2015-03-12 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.168 | . | ug/L | 0.99405 | 0.167 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141570084 | 2014-06-05 08:00 | STYRENE | 77128GCM66 | 0.042 | 0.1684 | . | ug/L | 0.89074 | 0.15 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142530090 | 2014-09-10 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.1684 | . | ug/L | 0.89667 | 0.151 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143420010 | 2014-12-08 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.1684 | . | ug/L | 0.97981 | 0.165 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | STYRENE | 77128GCM66 | 0.042 | 0.1684 | . | ug/L | 0.90855 | 0.153 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20161340232 | 2016-05-13 06:10 | STYRENE | 77128GCM66 | 0.042 | 0.175 | . | ug/L | 0.81714 | 0.143 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.175 | . | ug/L | 0.92 | 0.161 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | STYRENE | 77128GCM66 | 0.042 | 0.175 | . | ug/L | 0.86857 | 0.152 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162380006 | 2016-08-24 06:15 | STYRENE | 77128GCM66 | 0.042 | 0.175 | . | ug/L | 0.93714 | 0.164 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.175 | . | ug/L | 0.97143 | 0.17 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161880113 | 2016-07-06 06:15 | STYRENE | 77128GCM66 | 0.042 | 0.28 | . | ug/L | 0.9 | 0.252 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162150210 | 2016-08-02 06:30 | STYRENE | 77128GCM66 | 0.042 | 0.28 | . | ug/L | 0.88571 | 0.248 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.28 | . | ug/L | 0.96071 | 0.269 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
20163500004 | 2016-12-14 07:00 | STYRENE | 77128GCM66 | 0.042 | 0.28 | . | ug/L | 0.99643 | 0.279 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl