## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151270114 | 2015-05-07 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 |  | . | ug/L |  | 0.0197 | False Positive | 4440 | D | dlr | bn | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20160910143 | 2016-03-31 06:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 |  | . | ug/L |  | 0.0166 | False Positive | 4440 | D | lmu | bn | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161600091 | 2016-06-08 06:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 |  | . | ug/L |  | 0.0199 | False Positive | 4440 | D | kas | bn | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20162380006 | 2016-08-24 06:15 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 |  | . | ug/L |  | 0.0356 | False Positive | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20163500004 | 2016-12-14 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 |  | . | ug/L |  | 0.0536 | False Positive | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl
20152390224 | 2015-08-27 09:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.04 | . | ug/L | 1.27 | 0.0508 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153440003 | 2015-12-09 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.04 | . | ug/L | 1.11 | 0.0444 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160140041 | 2016-01-14 09:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.04 | . | ug/L | 1.0025 | 0.0401 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20160770093 | 2016-03-17 09:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.04 | . | ug/L | 1.5725 | 0.0629 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20151690197 | 2015-06-18 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0408 | . | ug/L | 1.0956 | 0.0447 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20152040181 | 2015-07-23 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0408 | . | ug/L | 0.88235 | 0.036 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20153230147 | 2015-11-19 09:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0408 | . | ug/L | 0.93873 | 0.0383 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20141220028 | 2014-05-01 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.1346 | 0.059 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.0962 | 0.057 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.2404 | 0.0645 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141840101 | 2014-07-02 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.1385 | 0.0592 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.3538 | 0.0704 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.2462 | 0.0648 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142890080 | 2014-10-16 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.1365 | 0.0591 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20143030098 | 2014-10-30 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.052 | . | ug/L | 1.1692 | 0.0608 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20151480172 | 2015-05-28 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.06 | . | ug/L | 1.0417 | 0.0625 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20152890011 | 2015-10-15 09:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.06 | . | ug/L | 0.97833 | 0.0587 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153030066 | 2015-10-29 09:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.06 | . | ug/L | 0.97167 | 0.0583 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20152810126 | 2015-10-08 09:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0612 | . | ug/L | 1.1373 | 0.0696 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0612 | . | ug/L | 0.98203 | 0.0601 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160630052 | 2016-03-03 09:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0612 | . | ug/L | 0.91176 | 0.0558 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20161050145 | 2016-04-14 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0612 | . | ug/L | 1.1225 | 0.0687 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161470002 | 2016-05-25 06:10 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0651 | . | ug/L | 0.97081 | 0.0632 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162100019 | 2016-07-27 06:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0651 | . | ug/L | 1.2504 | 0.0814 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162520004 | 2016-09-07 06:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0651 | . | ug/L | 1.2796 | 0.0833 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20163280006 | 2016-11-21 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.0651 | . | ug/L | 0.91705 | 0.0597 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20161820011 | 2016-06-29 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.06591 | . | ug/L | 1.2547 | 0.0827 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162300276 | 2016-08-17 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.06591 | . | ug/L | 1.5931 | 0.105 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162800001 | 2016-10-05 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.06591 | . | ug/L | 1.2669 | 0.0835 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20151820110 | 2015-07-01 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.1 | . | ug/L | 0.987 | 0.0987 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20151620184 | 2015-06-11 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.102 | . | ug/L | 0.89608 | 0.0914 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152610008 | 2015-09-17 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.102 | . | ug/L | 1.0098 | 0.103 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20141570084 | 2014-06-05 08:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 1.125 | 0.117 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142200168 | 2014-08-07 08:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 1.1442 | 0.119 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 1.2404 | 0.129 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20142530090 | 2014-09-10 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 1.0481 | 0.109 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143240097 | 2014-11-19 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 1.3077 | 0.136 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20143420010 | 2014-12-08 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 0.93846 | 0.0976 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 0.99038 | 0.103 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150720068 | 2015-03-12 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.104 | . | ug/L | 1.2308 | 0.128 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20161680363 | 2016-06-15 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.1085 | . | ug/L | 1.3641 | 0.148 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20162230172 | 2016-08-10 06:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.1085 | . | ug/L | 1.2719 | 0.138 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20161340232 | 2016-05-13 06:10 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.10985 | . | ug/L | 0.90305 | 0.0992 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20162440115 | 2016-08-31 06:30 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.10985 | . | ug/L | 1.2745 | 0.14 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20161880113 | 2016-07-06 06:15 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.17576 | . | ug/L | 1.1322 | 0.199 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162020126 | 2016-07-20 06:45 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.17576 | . | ug/L | 0.93878 | 0.165 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20163420128 | 2016-12-07 07:00 | TETRACHLOROETHYLENE | 34475GCM66 | 0.026 | 0.17576 | . | ug/L | 1.0071 | 0.177 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl