## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20141220028 | 2014-05-01 07:30 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 2.798 | . | ug/L | 0.81844 | 2.29 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 2.798 | . | ug/L | 0.77198 | 2.16 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142720027 | 2014-09-25 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 2.798 | . | ug/L | 0.87205 | 2.44 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20143030098 | 2014-10-30 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 2.798 | . | ug/L | 0.86133 | 2.41 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141640078 | 2014-06-12 08:00 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 2.8 | . | ug/L | 1.25 | 3.5 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141990078 | 2014-07-17 07:00 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 2.8 | . | ug/L | 1.05 | 2.94 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142470038 | 2014-09-03 07:15 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 2.8 | . | ug/L | 1.0714 | 3 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20150090093 | 2015-01-08 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 2.8 | . | ug/L | 0.88929 | 2.49 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20151210035 | 2015-04-30 08:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.6 | . | ug/L | 0.94722 | 3.41 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151690197 | 2015-06-18 08:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.6 | . | ug/L | 0.90278 | 3.25 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20153440003 | 2015-12-09 08:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.6 | . | ug/L | 0.98333 | 3.54 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160770093 | 2016-03-17 09:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.6 | . | ug/L | 0.95 | 3.42 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.6 | . | ug/L | 1.0167 | 3.66 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.64 | . | ug/L | 1.0604 | 3.86 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20152390224 | 2015-08-27 09:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.64 | . | ug/L | 0.88462 | 3.22 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.64 | . | ug/L | 0.95055 | 3.46 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160490036 | 2016-02-18 09:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 3.64 | . | ug/L | 1 | 3.64 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153510114 | 2015-12-17 08:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.4 | . | ug/L | 1.0333 | 5.58 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160910143 | 2016-03-31 06:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.4 | . | ug/L | 1.0556 | 5.7 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.46 | . | ug/L | 1.0275 | 5.61 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.46 | . | ug/L | 0.99634 | 5.44 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.46 | . | ug/L | 1.0055 | 5.49 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.46 | . | ug/L | 0.86081 | 4.7 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161050145 | 2016-04-14 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.46 | . | ug/L | 1.2015 | 6.56 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20141490202 | 2014-05-29 08:00 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 5.596 | . | ug/L | 0.83274 | 4.66 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143110111 | 2014-11-06 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.596 | . | ug/L | 0.81308 | 4.55 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20143420010 | 2014-12-08 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.596 | . | ug/L | 0.78091 | 4.37 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150720068 | 2015-03-12 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.596 | . | ug/L | 0.86133 | 4.82 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141150020 | 2014-04-24 07:00 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 5.6 | . | ug/L | 0.85179 | 4.77 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141770147 | 2014-06-26 08:00 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 5.6 | . | ug/L | 0.98929 | 5.54 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142270005 | 2014-08-14 07:30 | TETRAHYDROFURAN | 81607GCM66 | 1.4 | 5.6 | . | ug/L | 0.88571 | 4.96 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20150930003 | 2015-04-02 06:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.6 | . | ug/L | 0.88214 | 4.94 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20162300276 | 2016-08-17 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.994 | . | ug/L | 1.0894 | 6.53 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.994 | . | ug/L | 1.0794 | 6.47 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 5.994 | . | ug/L | 0.91258 | 5.47 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20161600091 | 2016-06-08 06:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 6 | . | ug/L | 1.1233 | 6.74 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20162100019 | 2016-07-27 06:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 6 | . | ug/L | 1.0233 | 6.14 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162860092 | 2016-10-12 06:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 6 | . | ug/L | 1.0167 | 6.1 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20162800001 | 2016-10-05 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 6 | . | ug/L | 1.0333 | 6.2 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20151620184 | 2015-06-11 07:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 9 | . | ug/L | 0.93444 | 8.41 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 9 | . | ug/L | 1.0144 | 9.13 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20161340232 | 2016-05-13 06:10 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 9.99 | . | ug/L | 1.041 | 10.4 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 9.99 | . | ug/L | 1.0811 | 10.8 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 9.99 | . | ug/L | 1.0511 | 10.5 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 9.99 | . | ug/L | 1.001 | 10 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20162380006 | 2016-08-24 06:15 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 10 | . | ug/L | 1.08 | 10.8 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20162150210 | 2016-08-02 06:30 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 15.984 | . | ug/L | 1.0198 | 16.3 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 15.984 | . | ug/L | 1.1011 | 17.6 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
20161880113 | 2016-07-06 06:15 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 16 | . | ug/L | 1.0875 | 17.4 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20163500004 | 2016-12-14 07:00 | TETRAHYDROFURAN | 81607GCM66 | 2.4 | 16 | . | ug/L | 1.1313 | 18.1 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl