## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20162990153 | 2016-10-25 09:30 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 |  | R | ug/k |  |  | Deleted Values | 5433 |  |  |  | 2016-10-25 09:30 | ERA 04121606: 0 µl & Abs 051816sed3H1: 0 µl
20161880105 | 2016-07-06 10:30 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 |  | . | ug/k |  | 8.6 | False Positive | 5433 | B | sgs | t | 2016-11-09 | Abs 050916sed3H3: 0 µl & Abs 051816sed3L1: 0 µl
20162230176 | 2016-08-10 07:45 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 |  | . | ug/k |  | 17.8 | False Positive | 5433 | B | sgs | t | 2016-11-10 | Abs 050916sed3H3: 0 µl & Abs 051816sed3H1: 0 µl
20170040035 | 2017-01-04 10:00 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 |  | . | ug/k |  | 6 | False Positive | 5433 | B | sgs | bt | 2017-03-17 | Abs 050916sed3L3: 0 µl & ERA 04121604: 0 µl
20161470003 | 2016-05-25 06:20 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 248 | R | ug/k |  |  | Deleted Values | 5433 |  |  |  | 2016-05-25 06:20 | Abs 050916sed3L3: 0 µl & Abs 050916sed3L2: 0 µl
20161740284 | 2016-06-22 08:30 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 400 | R | ug/k |  |  | Deleted Values | 5433 |  |  |  | 2016-06-22 08:30 | Abs 051816sed3L1: 0 µl & Abs 050916sed3H2: 0 µl
20162020121 | 2016-07-20 09:45 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 248 | . | ug/k | 0.066129 | 16.4 | Recoverable Result | 5433 | B | sgs | t | 2016-11-09 | Abs 051816sed3L1: 0 µl & Abs 050916sed3L2: 0 µl
20162720262 | 2016-09-28 09:30 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 248 | . | ug/k | 0.062097 | 15.4 | Recoverable Result | 5433 | B | sgs | t | 2017-02-21 | ERA 04121604: 0 µl & Abs 050916sed3L2: 0 µl
20162440110 | 2016-08-31 08:30 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 249 | . | ug/k | 0.28434 | 70.8 | Recoverable Result | 5433 | B | sgs | n | 2017-02-10 | ERA 04121605: 0 µl & ERA 04121606: 0 µl
20162380013 | 2016-08-24 08:15 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 249 | . | ug/k | 0.27349 | 68.1 | Recoverable Result | 5433 | B | sgs | n | 2017-02-10 | ERA 04121604: 0 µl & ERA 04121605: 0 µl
20163220162 | 2016-11-16 11:00 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 249 | . | ug/k | 0.12249 | 30.5 | Recoverable Result | 5433 | B | sgs | t | 2017-03-15 | ERA 04121605: 0 µl & Abs 051816sed3H1: 0 µl
20162930168 | 2016-10-19 08:45 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 249 | . | ug/k | 0.23293 | 58 | Recoverable Result | 5433 | B | sgs | n | 2017-03-15 | ERA 04121605: 0 µl & ERA 04121606: 0 µl
20170400009 | 2017-02-08 10:00 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 249 | . | ug/k | 0.20683 | 51.5 | Recoverable Result | 5433 | B | sgs | n | 2017-03-17 | ERA 04121605: 0 µl
20170260004 | 2017-01-25 10:00 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 249 | . | ug/k | 0.093574 | 23.3 | Recoverable Result | 5433 | B | sgs | t | 2017-03-17 | ERA 04121604: 0 µl & ERA 04121605: 0 µl
20161540126 | 2016-06-02 07:00 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 400 | . | ug/k | 0.08025 | 32.1 | Recoverable Result | 5433 | B | sgs | t | 2016-10-12 | Abs 050916sed3H3: 0 µl & Abs 050916sed3H2: 0 µl
20162100014 | 2016-07-27 08:00 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | 63171GM008 | 100 | 400 | . | ug/k | 0.038 | 15.2 | Recoverable Result | 5433 | B | sgs | t | 2016-11-09 | Abs 050916sed3H2: 0 µl & Abs 050916sed3L3: 0 µl