## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161470004 | 2016-05-25 06:30 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 |  | R | ug/K |  |  | Deleted Values | 5506 |  |  |  | 2016-05-25 06:30 | Abs 051316sed6L3: 0 µl & Abs 051316sed6L2: 0 µl
20162990154 | 2016-10-25 09:00 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | R | ug/K |  |  | Deleted Values | 5506 |  |  |  | 2016-10-25 09:00 | ERA 04121612: 0 µl & ERA 04121610: 0 µl
20163370007 | 2016-11-30 09:00 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | R | ug/K |  |  | Deleted Values | 5506 |  |  |  | 2016-11-30 09:00 | ERA 04121612: 0 µl & Abs 051316sed6L: 0 µl
20162440109 | 2016-08-31 08:45 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | < | ug/K |  |  | False Negative | 5506 | Q | tbu | v | 2016-12-15 | ERA 04121610: 0 µl & ERA 04121611: 0 µl
20162380012 | 2016-08-24 08:00 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | < | ug/K |  |  | False Negative | 5506 | Q | tbu | v | 2016-12-15 | ERA 04121612: 0 µl & ERA 04121610: 0 µl
20162720264 | 2016-09-28 10:30 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | < | ug/K |  |  | False Negative | 5506 | Q | tbu | v | 2017-03-01 | Abs 051316sed6H3: 0 µl & ERA 04121610: 0 µl
20170600089 | 2017-03-01 09:00 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | < | ug/K |  |  | False Negative | 5506 | Q | tbu | v | 2017-03-30 | ERA 04121610: 0 µl & ERA 04121611: 0 µl
20162930167 | 2016-10-19 08:15 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | E | ug/K | 1.0444 | 235 | Estimated Values | 5506 | Q | tbu | v | 2017-03-01 | ERA 04121610: 0 µl & Abs 051316sed6L2: 0 µl
20170400008 | 2017-02-08 09:30 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | E | ug/K | 2.1911 | 493 | Estimated Values | 5506 | Q | tbu | v | 2017-03-30 | Abs 051316sed6L: 0 µl
20170040040 | 2017-01-04 09:30 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 225 | E | ug/K | 1.0622 | 239 | Estimated Values | 5506 | Q | tbu | v | 2017-03-30 | Abs 051316sed6L: 0 µl & ERA 04121611: 0 µl
20161880108 | 2016-07-06 09:00 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 675 | E | ug/K | 0.68889 | 465 | Estimated Values | 5506 | Q | tbu | v | 2016-09-27 | Abs 051316sed6L3: 0 µl & Abs 051316sed6H: 0 µl
20161740285 | 2016-06-22 08:45 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 675 | E | ug/K | 0.75407 | 509 | Estimated Values | 5506 | Q | tbu | v | 2016-09-27 | Abs 051316sed6H: 0 µl & Abs 051316sed6H2: 0 µl
20162020120 | 2016-07-20 09:00 | BIS(2-ETHYLHEXYL)_PHTHALATE | 63187GCM13 | 50 | 675 | E | ug/K | 0.72741 | 491 | Estimated Values | 5506 | Q | tbu | v | 2016-09-28 | Abs 051316sed6H: 0 µl & Abs 051316sed6L2: 0 µl