## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-07-11 06:00 | 20131920150 | 0.5 | 988 | E | 0.45 | ug/L | 0.45547 | Q | TBu | n | 2013-08-06 | Abs 040913: 20 µl & Accu 213041074: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2014-03-13 06:00 | 20140730139 | 0.5 | 988 | . | 0.744 | ug/L | 0.75304 | Q | TBu |  | 2014-04-15 | Abs 040913: 20 µl & Accu 213041074: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-11-21 06:00 | 20133260004 | 0.5 | 2490 | . | 1.9 | ug/L | 0.76305 | Q | TBu |  | 2013-12-06 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-09-19 05:00 | 20062630092 | 0.52 | 3430.948 | E | 1.58 | ug/L | 0.46051 | Y | jiv | m | 2006-09-28 | Absolute 072204BNA: 25 µl & Crescent 07EE048: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-03-12 07:00 | 20090710014 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv |  | 2009-04-07 | Abs 080508BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-05-20 06:30 | 20091410006 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-07-07 | Abs 080508BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-07-02 07:00 | 20091830167 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-09-01 | Abs 080508BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-08-27 06:30 | 20092400051 | 0.5 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-10-27 | Abs 080508BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-01-12 09:30 | 20050180085 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2005-03-01 | Absolute 072204BNA: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-05-10 07:10 | 20051310009 | 1.2 |  | < | 1.2 | ug/L |  | R | sgs | m | 2005-06-06 | Absolute 072204BNA: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-04-12 07:00 | 20051030007 | 1.2 |  | < | 1.2 | ug/L |  | R | sgs | m | 2005-06-06 | Absolute 072204BNA: 60 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-03-02 07:00 | 20050620027 | 1.2 |  | < | 1.2 | ug/L |  | R | sgs | m | 2005-06-06 | Absolute 072204BNA: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-06-10 09:05 | 20051610278 | 1.2 |  | < | 1.2 | ug/L |  | R | sgs | m | 2005-07-01 | Absolute 072204BNA: 60 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-07-13 09:10 | 20051940295 | 1.2 |  | < | 1.2 | ug/L |  | Y | mco | m | 2005-08-05 | Absolute 072204BNA: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-08-19 08:00 | 20052340014 | 1.2 |  | < | 1.2 | ug/L |  | Y | mco | m | 2005-09-07 | Absolute 072204BNA: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-11-22 08:25 | 20053270025 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2005-12-06 | Absolute 072204BNA: 60 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-09-22 07:15 | 20052660009 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2005-12-06 | Absolute 072204BNA: 60 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-12-30 09:00 | 20060030001 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2006-02-07 | Absolute 072204BNA: 10 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-02-10 10:15 | 20060440040 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2006-02-22 | Absolute 072204BNA: 8 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-03-24 06:45 | 20060860017 | 0.52 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2006-04-12 | Absolute 072204BNA: 60 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-05-04 10:00 | 20061250005 | 0.52 |  | E | 0.0729 | ug/L |  | Y | jiv | m | 2006-05-24 | Absolute 072204BNA: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-07-07 11:00 | 20061910091 | 0.52 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2006-07-20 | Absolute 072204BNA: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2001-02-22 10:41 | 20010540028 | 2 |  | < | 1 | ug/L |  |  |  | m | 2001-02-22 10:41 | Absolute 92733: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2001-03-28 08:32 | 20010880074 | 2 |  | < | 1 | ug/L |  |  |  | m | 2001-03-28 08:32 | Absolute 92733: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2001-07-20 11:08 | 20012040024 | 4 |  | E | 0 | ug/L |  | Q | sgs | m | 2001-10-15 | Absolute 92733: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-07-25 07:00 | 20132070036 | 0.5 | 2470 | E | 1.34 | ug/L | 0.54251 | Q | TBu |  | 2013-08-06 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2014-03-27 06:00 | 20140860104 | 0.5 | 4940 | . | 3.38 | ug/L | 0.68421 | Q | TBu |  | 2014-04-15 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-11-07 06:00 | 20133110107 | 0.5 | 988 | . | 0.797 | ug/L | 0.80668 | Q | TBu |  | 2013-11-26 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-12-12 06:00 | 20063460041 | 0.52 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2007-01-25 | Accu B6070164: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-05-08 06:00 | 20071290009 | 0.52 |  | < | 0.52 | ug/L |  | B | sgs | m | 2007-06-07 | Accu B6070164: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-06-26 05:10 | 20071780012 | 0.52 |  | < | 0.52 | ug/L |  | Y | cka | m | 2007-08-27 | Accu B6070164: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-08-01 06:40 | 20072140012 | 0.4 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2007-10-18 | Accu B6070164: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-02-12 06:00 | 20090430169 | 0.4 | 4321.514 | E | 0.112 | ug/L | 0.025917 | Y | jck | t | 2009-03-10 | Accu B8090087: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-03-26 07:00 | 20090860040 | 0.4 | 2565.432 | . | 1.2 | ug/L | 0.46776 | Y | awh |  | 2009-04-28 | Accu B8090087: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-06-04 07:00 | 20091550182 | 0.4 | 2657.017 | . | 1.02 | ug/L | 0.38389 | R | jiv |  | 2009-07-14 | Accu B8090087: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-07-16 06:30 | 20091970070 | 0.4 | 2588.44 | E | 1.53 | ug/L | 0.59109 | R | jiv |  | 2009-09-15 | Accu B8090087: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-10-17 12:59 | 20032930042 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2003-11-21 | AccuStandard B3090016: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-11-25 10:00 | 20033300027 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2004-01-07 | AccuStandard B3090016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-01-07 08:15 | 20040080015 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2004-02-20 | AccuStandard B3090016: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-02-26 09:00 | 20040580017 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2004-04-09 | AccuStandard B3090016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-04-14 08:40 | 20041060220 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2004-05-12 | AccuStandard B3090016: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-08-04 10:55 | 20042170208 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2004-07-19 | AccuStandard B3090016: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-07-07 12:30 | 20041900027 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2004-07-23 | AccuStandard B3090016: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-09-08 08:35 | 20042530217 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2004-11-05 | AccuStandard B3090016: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-11-08 06:00 | 20123140093 | 0.5 | 1000 | . | 0.523 | ug/L | 0.523 | R | jiv |  | 2012-12-19 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-02-28 06:00 | 20130590066 | 0.5 | 1000 | . | 0.399 | ug/L | 0.399 | R | mco | n | 2013-04-03 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-10-12 05:00 | 20062850096 | 0.52 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2006-11-03 | ChemService 363-135A: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-02-27 06:00 | 20070580110 | 0.52 |  | < | 0.52 | ug/L |  | Y | cka | m | 2007-04-13 | ChemService 363-135A: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-04-10 06:05 | 20071010008 | 0.52 |  | < | 0.52 | ug/L |  | Y | cka | m | 2007-04-28 | ChemService 363-135A: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-06-12 05:10 | 20071640017 | 0.52 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2007-08-03 | ChemService 363-135A: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-02-19 06:15 | 20090500128 | 0.4 |  | < | 0.4 | ug/L |  | Y | jck |  | 2009-03-10 | ChemService 406-96B: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-04-09 08:00 | 20090990156 | 0.4 |  | < | 0.4 | ug/L |  | Y | awh |  | 2009-04-28 | ChemService 406-96B: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-06-11 07:00 | 20091620173 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-08-25 | ChemService 406-96B: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-07-23 06:30 | 20092040201 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-09-21 | ChemService 406-96B: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-06-13 06:00 | 20131650076 | 0.5 |  | < | 0.5 | ug/L |  | Q | TBu |  | 2013-07-25 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-08-15 06:00 | 20132280017 | 0.5 |  | < | 0.5 | ug/L |  | Q | TBu |  | 2013-09-10 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2014-02-20 06:00 | 20140510041 | 0.5 |  | < | 0.5 | ug/L |  | Q | TBu |  | 2014-03-19 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2001-06-06 10:35 | 20011580012 | 2 |  | E | 0 | ug/L |  | Q | sgs | m | 2001-01-31 | Crescent 12M-009: 100 µl & Crescent 12M-004: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2001-04-25 10:40 | 20011160009 | 2 |  | < | 1 | ug/L |  |  |  | m | 2001-04-25 10:40 | Crescent 12M-009: 100 µl & Crescent 12M-004: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2001-09-10 10:45 | 20012530489 | 4 |  | E | 0 | ug/L |  | Q | sgs | m | 2001-10-15 | Crescent 12M-009: 100 µl & Crescent 12M-004: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2001-11-21 10:32 | 20013270024 | 4 |  | < | 2 | ug/L |  | Q | sgs | m | 2002-01-17 | Crescent 12M-009: 100 µl & Crescent 12M-004: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-10-14 06:00 | 20102880002 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-12-02 | Crescent 06MM151: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-01-06 06:00 | 20110070108 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-01-25 | Crescent 06MM151: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-03-17 06:00 | 20110770005 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-04-19 | Crescent 06MM151: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-04-22 05:45 | 20111170108 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-05-16 | Crescent 06MM151: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-06-16 06:00 | 20111680033 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-07-14 | Crescent 06MM151: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-08-18 08:45 | 20112310033 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-09-16 | Crescent 06MM151: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-11-17 06:00 | 20113220199 | 0.5 |  | < | 0.5 | ug/L |  | Y | loa |  | 2012-01-10 | Crescent 06MM151: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-01-19 06:00 | 20120200072 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-01-28 | Crescent 06MM151: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-03-15 06:00 | 20120760115 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-04-17 | Crescent 06MM151: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-05-10 06:00 | 20121310030 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-07-12 | Crescent 06MM151: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-02-03 09:05 | 20050350082 | 1.2 | 14397.63 | E | 8.7 | ug/L | 0.60427 | Q | sgs | m | 2005-03-01 | Crescent 07DD031: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-05-17 05:30 | 20051380003 | 1.2 | 14417.47 | E | 7 | ug/L | 0.48552 | R | sgs | m | 2005-06-06 | Crescent 07DD031: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-04-19 12:00 | 20051090105 | 1.2 | 5829.717 | E | 2.6 | ug/L | 0.44599 | R | sgs | m | 2005-06-06 | Crescent 07DD031: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-03-23 06:30 | 20050840182 | 1.2 | 3594.841 | E | 2 | ug/L | 0.55635 | R | sgs | m | 2005-06-06 | Crescent 07DD031: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-06-23 06:00 | 20051740245 | 1.2 | 3656.307 | E | 2 | ug/L | 0.547 | Y | mco | m | 2005-08-05 | Crescent 07DD031: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-08-25 10:05 | 20052410040 | 1.2 | 5689.782 | E | 0.6 | ug/L | 0.10545 | Y | mco | m | 2005-09-07 | Crescent 07DD031: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-08-05 07:40 | 20052200128 | 1.2 | 5774.947 | E | 3.7 | ug/L | 0.6407 | Y | mco | m | 2005-09-07 | Crescent 07DD031: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-10-14 11:35 | 20052900057 | 1.2 | 3558.347 | E | 0.5 | ug/L | 0.14051 | Y | jiv | m | 2005-12-06 | Crescent 07DD031: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-09-28 09:00 | 20052730075 | 1.2 | 3628.215 | E | 1.6 | ug/L | 0.44099 | Y | jiv | m | 2005-12-06 | Crescent 07DD031: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-12-06 06:00 | 20053410004 | 1.2 | 5403.681 | E | 4 | ug/L | 0.74024 | Y | jiv | m | 2006-02-07 | Crescent 07EE048: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-01-13 12:00 | 20060170045 | 1.2 | 10115.76 | E | 4.1 | ug/L | 0.40531 | Y | jiv | m | 2006-02-13 | Crescent 07EE048: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-02-24 05:00 | 20060580111 | 0.52 | 13352.96 | E | 4.4 | ug/L | 0.32952 | Y | jiv | m | 2006-04-12 | Crescent 07EE048: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-04-07 05:05 | 20061000006 | 0.52 | 2000.63 | E | 1.33 | ug/L | 0.66479 | Y | jiv | m | 2006-04-17 | Crescent 07EE048: 15 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-05-23 07:05 | 20061440007 | 0.52 | 2023.367 | E | 0.744 | ug/L | 0.3677 | Y | jiv | m | 2006-06-03 | Crescent 07EE048: 15 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-06-29 10:05 | 20061800283 | 0.52 | 5140.66 | E | 2.17 | ug/L | 0.42212 | Y | jiv | m | 2006-07-15 | Crescent 07EE048: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-08-03 10:05 | 20062160011 | 0.52 | 12684.78 | E | 7.66 | ug/L | 0.60387 | Y | jiv | m | 2006-08-30 | Crescent 07EE048: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-09-06 05:00 | 20062500291 | 0.52 | 10105.03 | E | 2.76 | ug/L | 0.27313 | Y | jiv | m | 2006-09-28 | Crescent 07EE048: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-12-03 06:00 | 20093380007 | 0.5 | 792.7009 | E | 0.368 | ug/L | 0.46424 | Y | jiv | n | 2010-01-28 | Crescent 08LL068: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-05-20 08:30 | 20101410007 | 0.5 | 1645.957 | E | 0.695 | ug/L | 0.42225 | R | jiv |  | 2010-06-14 | Crescent 08LL068: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-07-21 08:30 | 20102030004 | 0.5 | 804.0601 | . | 0.64 | ug/L | 0.79596 | R | jiv |  | 2010-09-23 | Crescent 08LL068: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-09-02 08:30 | 20102500050 | 0.5 | 1616.162 | . | 0.436 | ug/L | 0.26977 | R | jiv | n | 2010-10-26 | Crescent 08LL068: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-11-08 14:39 | 19963170066 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1996-11-25 | EPA WS034-PAH1: 2000 µl & EPA WS035-PAH2: 2000 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-12-05 15:40 | 19963440085 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1997-01-21 | EPA WS034-PAH1: 2000 µl & EPA WS035-PAH2: 2000 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-01-30 15:40 | 19970310068 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1997-02-28 | EPA WS034-PAH1: 2000 µl & EPA WS035-PAH2: 2000 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-05-23 06:00 | 20131440106 | 0.5 | 996 | . | 0.589 | ug/L | 0.59137 | Q | TBu |  | 2013-06-18 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-09-12 07:00 | 20132560003 | 0.5 | 996 | . | 0.735 | ug/L | 0.73795 | Q | TBu |  | 2013-10-31 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2014-01-09 06:00 | 20140100086 | 0.5 | 996 | . | 1.07 | ug/L | 1.0743 | Q | TBu |  | 2014-01-30 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-09-27 06:00 | 20122720047 | 0.5 | 2500 | . | 1.39 | ug/L | 0.556 | Y | jiv |  | 2012-10-26 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-12-13 06:00 | 20123490151 | 0.5 | 5000 | . | 2.25 | ug/L | 0.45 | R | mco |  | 2013-01-08 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-07-12 06:00 | 20121950067 | 0.5 | 1000 | . | 0.569 | ug/L | 0.569 | R | jiv |  | 2012-08-10 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-02-23 15:45 | 19980550124 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1998-03-05 | ERA 1211-97-11E: 100 µl & ERA 1211-97-11F: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-06-03 10:26 | 19981560084 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1998-06-17 | ERA 1211-97-11E: 500 µl & ERA 1211-97-11F: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-02-02 03:40 | 19990340073 | 5 |  | < | 20 | ug/L |  |  |  | m | 1999-02-02 03:40 | ERA 1211-97-11E: 100 µl & ERA 1211-97-11F: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-02-26 10:30 | 19990610225 | 5 |  | < | 20 | ug/L |  |  |  | m | 1999-02-26 10:30 | ERA 1211-97-11E: 100 µl & ERA 1211-97-11F: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-03-26 08:30 | 19980850045 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1998-04-09 | ERA 1211-97-11F: 250 µl & ERA 1211-97-11E: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-10-08 09:50 | 19982820151 | 5 |  | < | 20 | ug/L |  |  |  | m | 1998-10-08 09:50 | ERA 1211-97-11F: 250 µl & ERA 1211-97-11E: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-12-22 13:15 | 19983570047 | 5 |  | < | 20 | ug/L |  |  |  | m | 1998-12-22 13:15 | ERA 1211-97-11F: 100 µl & ERA 1211-97-11E: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-06-25 15:09 | 19981770090 | 0.5 |  |  |  | ug/L |  | 72P | SGS |  | 2019-08-13 | ERA 1211-97-11F: 250 µl & ERA 1211-97-11E: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-07-28 09:37 | 19982100122 | 0.5 |  |  |  | ug/L |  | 72P | SGS |  | 2019-08-26 | ERA 1211-97-11F: 100 µl & ERA 1211-97-11E: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-11-30 06:00 | 20103350002 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-01-25 | ERA 0618-10-02 LS1383#1: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-02-10 06:00 | 20110410060 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-03-17 | ERA 0618-10-02 LS1383#1: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-05-19 06:00 | 20111390174 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-06-07 | ERA 0618-10-02 LS1383#1: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-07-14 06:00 | 20111960038 | 0.5 |  | R |  | ug/L |  |  |  |  | 2011-07-14 06:00 | ERA 0618-10-02 LS1383#1: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-08-04 06:00 | 20112170173 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-09-15 | ERA 0618-10-02 LS1383#1: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-09-08 06:00 | 20112520205 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2011-10-12 | ERA 0618-10-02 LS1383#1: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-10-20 06:00 | 20112930086 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-01-10 | ERA 0618-10-02 LS1383#1: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-12-15 06:00 | 20113500018 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-03-08 | ERA 0618-10-02 LS1383#1: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-02-16 06:00 | 20120470080 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-03-20 | ERA 0618-10-02 LS1383#1: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-03-29 06:00 | 20120930005 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-04-18 | ERA 0618-10-02 LS1383#1: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-04-26 06:30 | 20121180063 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-07-12 | ERA 0618-10-02 LS1383#1: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-11-27 09:09 | 20073310066 | 0.4 |  | < | 0.4 | ug/L |  | B | jiv | m | 2008-02-01 | ERA 0709-07-03BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-02-06 05:00 | 20080370104 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv | m | 2008-02-22 | ERA 0709-07-03BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-04-10 08:25 | 20081010089 | 0.4 |  | < | 0.4 | ug/L |  | Q | jiv | m | 2008-05-08 | ERA 0709-07-03BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-05-01 08:05 | 20081220191 | 0.4 |  | < | 0.4 | ug/L |  | Y | cka | m | 2008-05-15 | ERA 0709-07-03BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-05-28 08:05 | 20081500004 | 0.4 |  | < | 0.4 | ug/L |  | Y | cka | m | 2008-06-09 | ERA 0709-07-03BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-07-01 08:35 | 20081840001 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv | m | 2008-08-16 | ERA 0709-07-03BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-08-07 08:35 | 20082210025 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv | m | 2008-08-20 | ERA 0709-07-03BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-08-27 07:30 | 20082410007 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv | c | 2008-09-21 | ERA 0709-07-03BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-07-24 05:10 | 20072070014 | 0.52 | 412.9928 | < | 0.52 | ug/L |  | Y | cka | m | 2007-08-27 | ERA 0714-06-02: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-03-13 08:00 | 20070720044 | 0.52 | 398.2604 | E | 0.252 | ug/L | 0.63275 | Y | cka | m | 2007-04-13 | ERA 0714-06-02: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-06-19 07:00 | 20071710025 | 0.52 | 805.1768 | E | 0.632 | ug/L | 0.78492 | Y | jiv | m | 2007-08-03 | ERA 0714-06-02: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-08-27 07:05 | 20072400297 | 0.4 | 817.8625 | E | 0.339 | ug/L | 0.4145 | Y | jiv | m | 2007-10-15 | ERA 0714-06-02: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-11-19 09:30 | 20093240043 | 0.5 | 1673.811 | E | 0.079 | ug/L | 0.047198 | R | jiv | t | 2010-01-26 | ERA 0817-09-02BNA: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-04-22 08:30 | 20101130053 | 0.5 | 822.3024 | E | 0.466 | ug/L | 0.5667 | R | jiv | n | 2010-06-10 | ERA 0817-09-02BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-06-24 08:30 | 20101760002 | 0.5 | 819.5902 | E | 0.383 | ug/L | 0.46731 | R | jiv | n | 2010-07-15 | ERA 0817-09-02BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-08-12 09:30 | 20102250099 | 0.5 | 830.8846 | . | 0.516 | ug/L | 0.62102 | R | jiv |  | 2010-10-19 | ERA 0817-09-02BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-02-05 07:30 | 20090370004 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv |  | 2009-03-04 | NSI 080508-01BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-03-19 07:00 | 20090780144 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv |  | 2009-04-07 | NSI 080508-01BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-05-28 05:10 | 20091490003 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-07-07 | NSI 080508-01BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-07-07 07:00 | 20091880134 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-09-01 | NSI 080508-01BNA: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-11-05 06:00 | 20093100003 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-01-25 | NSI 082409-01BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-04-29 08:30 | 20101190092 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-06-29 | NSI 082409-01BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-07-01 09:00 | 20101830109 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-07-28 | NSI 082409-01BNA: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-08-19 09:00 | 20102320019 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-10-20 | NSI 082409-01BNA: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-05-16 05:15 | 20061370128 | 0.52 |  | E | 0.128 | ug/L |  | Y | jiv | m | 2006-06-03 | Protocol R1050720008: 20 µl & Absolute 072204BNA: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-03-10 14:15 | 19970710158 | 5 | 27104.59 |  |  | ug/L |  | 72P | SGS |  | 1997-03-28 | Protocol A961206J: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-03-27 12:00 | 19970900194 | 5 | 26167.26 |  |  | ug/L |  | 72P | SGS |  | 1997-04-23 | Protocol A961206J: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-05-15 09:10 | 19971350160 | 5 | 26682.01 |  |  | ug/L |  | 72P | JFA |  | 1997-05-31 | Protocol A970423D: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-07-18 14:55 | 19972020134 | 5 | 31230.87 |  |  | ug/L |  | 72P | SGS |  | 1997-07-25 | Protocol A970423D: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-09-11 15:00 | 19972580087 | 5 | 26135.08 |  |  | ug/L |  | 72P | SGS |  | 1997-09-20 | Protocol A970423D: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-02-02 10:35 | 19980330135 | 5 | 10974.82 |  |  | ug/L |  | 72P | SGS |  | 1998-02-11 | Protocol A970423D: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1998-11-03 10:30 | 19983080090 | 5 | 10728.94 | E | 3 | ug/L | 0.27962 |  |  | m | 1998-11-03 10:30 | Protocol A970423D: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-10-27 07:00 | 20053010005 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2005-12-06 | Protocol R1050720008: 8 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-12-15 08:20 | 20053500097 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2006-02-07 | Protocol R1050720008: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-01-27 04:00 | 20060310005 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2006-02-22 | Protocol R1050720008: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-03-09 05:15 | 20060690199 | 0.52 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2006-04-12 | Protocol R1050720008: 10 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-04-20 07:15 | 20061110004 | 0.52 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2006-05-19 | Protocol R1050720008: 15 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-06-08 09:20 | 20061630093 | 0.52 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2006-06-30 | Protocol R1050720008: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2006-08-17 12:00 | 20062330170 | 0.52 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2006-08-30 | Protocol R1050720008: 15 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-03-09 14:10 | 19990700066 | 5 | 22321.43 | E | 21 | ug/L | 0.9408 |  |  | m | 1999-03-09 14:10 | Protocol R990115013: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-04-27 13:10 | 19991180123 | 5 | 44301.69 | E | 13 | ug/L | 0.29344 |  |  | m | 1999-04-27 13:10 | Protocol R990115013: 400 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-05-24 13:13 | 19991450025 | 5 | 21079.26 | E | 4 | ug/L | 0.18976 |  |  | m | 1999-05-24 13:13 | Protocol R990115013: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-07-09 08:20 | 19991900135 | 5 | 41571.4 | E | 9 | ug/L | 0.2165 |  |  | m | 1999-07-09 08:20 | Protocol R990115013: 400 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-07-20 09:25 | 19992020074 | 5 | 20699.65 | E | 5 | ug/L | 0.24155 |  |  | m | 1999-07-20 09:25 | Protocol R990115013: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-10-07 11:45 | 19992810003 | 2 | 21141.65 | E | 3 | ug/L | 0.1419 |  |  | m | 1999-10-07 11:45 | Protocol R990115013: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1999-12-21 09:50 | 19993560005 | 2 | 42269.89 | E | 7 | ug/L | 0.1656 |  |  | m | 1999-12-21 09:50 | Protocol R990115013: 400 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-11-05 02:08 | 20033110013 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2003-11-21 | Protocol S1031007007: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-12-10 08:30 | 20033440138 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2004-01-07 | Protocol S1031007007: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-01-21 12:26 | 20040220017 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2004-02-20 | Protocol S1031007007: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-02-18 09:10 | 20040500006 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2004-04-09 | Protocol S1031007007: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-04-28 09:50 | 20041210017 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2004-05-12 | Protocol S1031007007: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-06-09 10:45 | 20041620013 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2004-07-23 | Protocol S1031007007: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-09-22 09:45 | 20042670001 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2004-11-05 | Protocol S1031007007: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-08-18 08:45 | 20042330280 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2004-11-05 | Protocol S1031007007: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-12-15 08:00 | 20043510031 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2005-02-03 | Protocol S1040728002: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-02-16 08:15 | 20050480018 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2005-03-01 | Protocol S1040728002: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-05-03 06:10 | 20051250022 | 1.2 |  | < | 1.2 | ug/L |  | R | sgs | m | 2005-06-06 | Protocol S1040728002: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-04-06 05:45 | 20050970017 | 1.2 |  | < | 1.2 | ug/L |  | R | sgs | m | 2005-06-06 | Protocol S1040728002: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-06-02 06:05 | 20051540201 | 1.2 |  | < | 1.2 | ug/L |  | R | sgs | m | 2005-07-01 | Protocol S1040728002: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-06-30 07:10 | 20051810202 | 1.2 |  | < | 1.2 | ug/L |  | Y | mco | m | 2005-08-05 | Protocol S1040728002: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2005-09-15 04:30 | 20052590002 | 1.2 |  | < | 1.2 | ug/L |  | Y | jiv | m | 2005-12-06 | Protocol S1040728002: 30 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-01-11 15:00 | 20000120161 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-01-11 15:00 | Protocol W991208006: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-02-24 14:15 | 20000560012 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-02-24 14:15 | Protocol W991208006: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-03-09 09:10 | 20000690070 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-03-09 09:10 | Protocol W991208006: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-05-16 15:10 | 20001380089 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-05-16 15:10 | Protocol W991208006: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-06-14 10:20 | 20001660108 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-06-14 10:20 | Protocol W991208006: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-07-05 13:06 | 20001880012 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-07-05 13:06 | Protocol W991208006: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-08-16 09:23 | 20002290198 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-08-16 09:23 | Protocol W991208006: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-09-19 08:05 | 20002640046 | 2 |  | R |  | ug/L |  |  |  |  | 2000-09-19 08:05 | Protocol W991208006: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2000-11-01 07:40 | 20003070005 | 2 |  | < | 2 | ug/L |  |  |  | m | 2000-11-01 07:40 | Protocol W991208006: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-09-06 06:00 | 20122500214 | 0.5 |  | < | 0.5 | ug/L |  | Y | jiv |  | 2012-09-18 | Restek A088363: 50 µl & ChemService 348100: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-08-09 06:00 | 20122230021 | 0.5 | 1000 | E | 0.568 | ug/L | 0.568 | R | jiv |  | 2012-08-18 | Restek A088363: 20 µl & NSI 060612-01: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-11-15 06:00 | 20123200136 | 0.5 | 2500 | . | 1.68 | ug/L | 0.672 | R | jiv |  | 2012-12-19 | Restek A088363: 50 µl & Supelco LB92780: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-01-31 06:00 | 20130320043 | 0.5 | 5000 | . | 2.88 | ug/L | 0.576 | R | mco |  | 2013-03-05 | Restek A088363: 100 µl & Supelco LB92780: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-03-20 06:00 | 20070800008 | 0.52 | 845.3382 | E | 0.647 | ug/L | 0.76537 | Y | cka | m | 2007-04-28 | Restek A046609: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-05-15 05:30 | 20071360128 | 0.52 | 426.251 | E | 0.182 | ug/L | 0.42698 | B | sgs | m | 2007-06-07 | Restek A046609: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-07-03 07:10 | 20071860009 | 0.52 | 841.382 | E | 0.482 | ug/L | 0.57287 | Y | cka | m | 2007-08-27 | Restek A046609: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-08-07 10:30 | 20072200096 | 0.4 | 417.1603 | E | 0.32 | ug/L | 0.76709 | Y | jiv | m | 2007-10-18 | Restek A046609: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-02-26 07:00 | 20090580006 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv |  | 2009-03-13 | Restek A062189: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-05-06 06:30 | 20091320005 | 0.4 |  | < | 0.4 | ug/L |  | Y | awh |  | 2009-08-04 | Restek A062189: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-06-18 07:00 | 20091700147 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-08-25 | Restek A062189: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-07-30 06:30 | 20092110203 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2009-09-22 | Restek A062189: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-06-07 07:00 | 20121600152 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-07-24 | Restek A088363: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2002-07-30 08:15 | 20022120004 | 4 |  | R |  | ug/L |  | Q | sgs |  | 2002-08-16 | SPEX P1010921009: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-03-25 09:28 | 20030840133 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2003-04-15 | SPEX P1010921009: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-06-04 06:15 | 20031560029 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2003-06-17 | SPEX P1010921009: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-04-17 11:00 | 20031080042 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2003-06-17 | SPEX P1010921009: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-07-29 05:30 | 20032110014 | 1.2 |  | < | 1.2 | ug/L |  | Q | mco | m | 2003-09-12 | SPEX R1020912006: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-10-03 16:30 | 20032790056 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2003-11-21 | SPEX R1020912006: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-09-25 09:26 | 20032690098 | 1.2 |  | < | 1.2 | ug/L |  | Q | sgs | m | 2003-11-21 | SPEX R1020912006: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2002-03-13 10:42 | 20020730096 | 4 |  | < | 4 | ug/L |  | Q | sgs | m | 2002-04-04 | SPEX-Certiprep P1010921009: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-06-28 07:00 | 20121810016 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-07-27 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-11-29 06:00 | 20123350009 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-12-19 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-10-30 06:00 | 20123040159 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2012-12-19 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-02-14 06:00 | 20130460005 | 0.5 |  | < | 0.5 | ug/L |  | R | mco |  | 2013-03-06 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-03-14 06:00 | 20130740019 | 0.5 | 2500 | . | 0.952 | ug/L | 0.3808 | R | mco |  | 2013-04-03 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-10-10 06:00 | 20122850006 | 0.5 | 1000 | . | 0.732 | ug/L | 0.732 | R | jiv |  | 2012-12-19 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-12-23 06:00 | 20133580038 | 0.5 |  | < | 0.5 | ug/L |  | Q | TBu |  | 2014-01-30 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-10-24 07:00 | 20132980010 | 0.5 |  | < | 0.5 | ug/L |  | Q | TBu |  | 2013-11-25 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2014-04-03 06:00 | 20140930052 | 0.5 |  | < | 0.5 | ug/L |  | Q | TBu |  | 2014-04-15 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-10-22 06:00 | 20092960002 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2009-12-15 | Spex Organics T1090824002: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-05-06 09:00 | 20101270035 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-05-18 | Spex Organics T1090824002: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-07-08 08:30 | 20101900006 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-07-28 | Spex Organics T1090824002: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-08-26 09:00 | 20102390259 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-10-21 | Spex Organics T1090824002: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-10-28 06:00 | 20103020154 | 0.5 | 1215.371 | . | 0.813 | ug/L | 0.66893 | R | jiv |  | 2010-12-07 | Spex Organics T1100701002: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-12-16 06:00 | 20103510061 | 0.5 | 3030.903 | . | 1.84 | ug/L | 0.60708 | R | jiv |  | 2011-01-25 | Spex Organics T1100701002: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-02-24 06:00 | 20110560006 | 0.5 | 751.5473 | . | 0.384 | ug/L | 0.51095 | R | jiv | n | 2011-03-17 | Spex Organics T1100701002: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-06-02 06:00 | 20111540002 | 0.5 | 1212.842 | . | 0.727 | ug/L | 0.59942 | R | jiv |  | 2011-06-23 | Spex Organics T1100701002: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-06-29 06:00 | 20111810001 | 0.5 | 3060 | . | 2.16 | ug/L | 0.70588 | R | jiv |  | 2011-07-15 | Spex Organics T1100701002: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-08-10 06:00 | 20112220130 | 0.5 | 765 | . | 0.462 | ug/L | 0.60392 | R | jiv | n | 2011-09-16 | Spex Organics T1100701002: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-10-07 07:15 | 20112840030 | 0.5 | 765 | E | 0.239 | ug/L | 0.31242 | R | jiv | t | 2011-12-29 | Spex Organics T1100701002: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-11-29 06:00 | 20113340048 | 0.5 | 1224 | E | 0.287 | ug/L | 0.23448 | Y | loa | n | 2012-01-10 | Spex Organics T1100701002: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-03-01 06:00 | 20120620016 | 0.5 | 765 | . | 0.529 | ug/L | 0.6915 | R | jiv |  | 2012-03-20 | Spex Organics T1100701002: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-04-04 06:00 | 20130940098 | 0.5 | 2500 | . | 1.4 | ug/L | 0.56 | R | mco |  | 2013-05-10 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-05-09 06:00 | 20131290119 | 0.5 | 2470 | . | 1.04 | ug/L | 0.42105 | Q | TBu |  | 2013-06-17 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2013-09-06 06:20 | 20132490341 | 0.5 | 996 | E | 0.835 | ug/L | 0.83835 | Q | TBu |  | 2013-09-24 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2014-01-23 06:00 | 20140230081 | 0.5 | 4980 | . | 3.05 | ug/L | 0.61245 | Q | TBu |  | 2014-02-08 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-03 16:01 | 19941240225 | 5 | 22385.89 |  |  | ug/L |  | XXX | RGM |  | 1994-07-07 | Supelco LA34875: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-03 15:55 | 19941240224 | 5 | 22295.8 |  |  | ug/L |  | XXX | RGM |  | 1994-07-07 | Supelco LA34875: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-27 11:01 | 19941470387 | 5 | 70921.99 |  |  | ug/L |  | XXX | RGM |  | 1994-07-08 | Supelco LA34875: 300 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-27 10:22 | 19941470386 | 5 | 71454.09 |  |  | ug/L |  | XXX | RGM |  | 1994-07-08 | Supelco LA34875: 300 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-27 09:37 | 19941470384 | 5 | 24706.61 |  |  | ug/L |  | XXX | RGM |  | 1994-07-08 | Supelco LA34875: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-27 09:13 | 19941470385 | 5 | 23920.58 |  |  | ug/L |  | XXX | RGM |  | 1994-07-08 | Supelco LA34875: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-27 08:56 | 19941470382 | 5 | 11825.92 |  |  | ug/L |  | XXX | RGM |  | 1994-07-08 | Supelco LA34875: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1994-05-27 08:35 | 19941470383 | 5 | 11436.41 |  |  | ug/L |  | XXX | RGM |  | 1994-07-08 | Supelco LA34875: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-04-04 08:05 | 20070950016 | 0.52 |  | < | 0.52 | ug/L |  | Y | cka | m | 2007-04-28 | Supelco LB40675: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-05-23 07:20 | 20071440019 | 0.52 |  | < | 0.52 | ug/L |  | B | sgs | m | 2007-06-07 | Supelco LB40675: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-07-10 04:50 | 20071920021 | 0.52 |  | R |  | ug/L |  | Y |  |  | 2007-07-10 04:50 | Supelco LB40675: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-08-15 08:05 | 20072290012 | 0.4 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2007-10-18 | Supelco LB40675: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-11-01 10:02 | 20073060020 | 0.4 |  | < | 0.4 | ug/L |  | Y | cka | m | 2008-01-16 | Supelco LB50016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-01-08 07:00 | 20080080067 | 0.4 |  | < | 0.4 | ug/L |  | B | jiv | m | 2008-02-01 | Supelco LB50016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-03-27 10:00 | 20080870098 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv | m | 2008-04-07 | Supelco LB50016: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-04-16 05:10 | 20081080089 | 0.4 |  | < | 0.4 | ug/L |  | Q | jiv | m | 2008-05-08 | Supelco LB50016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-05-07 05:00 | 20081290002 | 0.4 |  | < | 0.4 | ug/L |  | Y | cka | m | 2008-05-15 | Supelco LB50016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-06-03 09:05 | 20081560005 | 0.4 |  | < | 0.4 | ug/L |  | Q | jiv | m | 2008-07-14 | Supelco LB50016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-07-17 05:20 | 20082000009 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv | m | 2008-08-19 | Supelco LB50016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-08-13 05:10 | 20082260237 | 0.4 |  | < | 0.4 | ug/L |  | Y | jiv | m | 2008-08-20 | Supelco LB50016: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-12-17 06:00 | 20093520064 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-03-02 | Supelco LB69646: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-06-03 09:30 | 20101550009 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-06-15 | Supelco LB69646: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-08-03 09:30 | 20102160004 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-09-28 | Supelco LB69646: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-09-09 06:05 | 20102530005 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-10-26 | Supelco LB69646: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-03-31 06:00 | 20110910081 | 0.5 | 1232.127 | R |  | ug/L |  | R | jiv |  | 2011-04-19 | Supelco LB77169: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-11-10 06:00 | 20103140136 | 0.5 | 753.4583 | . | 0.502 | ug/L | 0.66626 | R | jiv |  | 2010-12-08 | Supelco LB77169: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-01-20 06:00 | 20110210096 | 0.5 | 1220.864 | . | 0.86 | ug/L | 0.70442 | R | jiv |  | 2011-02-01 | Supelco LB77169: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-04-28 06:00 | 20111190182 | 0.5 | 3082.79 | . | 1.57 | ug/L | 0.50928 | R | jiv |  | 2011-05-17 | Supelco LB77169: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-07-21 06:00 | 20112030056 | 0.5 | 768 | . | 0.386 | ug/L | 0.5026 | R | jiv | n | 2011-08-11 | Supelco LB77169: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-08-25 06:00 | 20112380053 | 0.5 | 768 | . | 0.513 | ug/L | 0.66797 | R | jiv |  | 2011-10-05 | Supelco LB77169: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2011-11-03 06:00 | 20113080002 | 0.5 | 3072 | E | 1.34 | ug/L | 0.4362 | R | jiv |  | 2012-01-10 | Supelco LB77169: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-02-02 11:30 | 20120370002 | 0.5 | 1228.8 | . | 0.825 | ug/L | 0.67139 | R | jiv |  | 2012-03-14 | Supelco LB77169: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2012-02-23 06:00 | 20120540035 | 0.5 | 768 | . | 0.549 | ug/L | 0.71484 | R | jiv |  | 2012-03-20 | Supelco LB77169: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-06-12 10:45 | 19971630180 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1997-06-24 | Ultra 12824: 200 µl & Ultra 14821: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-08-20 16:50 | 19972330156 | 5 |  |  |  | ug/L |  | XXX | PJA |  | 1997-10-20 | Ultra 12824: 400 µl & Ultra 14821: 400 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-10-17 09:32 | 19972940006 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1997-10-24 | Ultra 14821: 200 µl & Ultra 12824: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-11-11 11:00 | 19973160037 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1997-12-03 | Ultra 14821: 200 µl & Ultra 12824: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-11-19 11:00 | 19973250091 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1997-12-16 | Ultra 14821: 400 µl & Ultra 12824: 400 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1997-12-31 13:02 | 19980130155 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1998-02-09 | Ultra 14821: 400 µl & Ultra 12824: 400 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-01-12 12:05 | 19950200082 | 5 |  |  |  | ug/L |  | 70O | RGM |  | 1995-02-21 | Ultra 10614: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-01-12 12:00 | 19950200081 | 5 |  |  |  | ug/L |  | 70O | RGM |  | 1995-02-21 | Ultra 10614: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-02-06 12:50 | 19950380135 | 5 |  |  |  | ug/L |  | 70O | RGM |  | 1995-04-04 | Ultra 10614: 250 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-10-02 14:40 | 19952760027 | 5 |  |  |  | ug/L |  | 71J | JFA |  | 1995-11-28 | Ultra 11509: 150 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-04-06 15:00 | 19950970249 | 5 |  |  |  | ug/L |  | 72O | JFA |  | 1995-04-25 | Ultra 11862: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-03-08 11:15 | 19950670184 | 5 |  |  |  | ug/L |  | 72O | JFA |  | 1995-05-10 | Ultra 11862: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-03-08 11:10 | 19950670185 | 5 |  |  |  | ug/L |  | 72O | JFA |  | 1995-05-10 | Ultra 11862: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-06-16 10:00 | 19951700232 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1995-07-10 | Ultra 11862: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-07-13 08:42 | 19951950203 | 5 |  |  |  | ug/L |  | XXX | DSW |  | 1995-09-07 | Ultra 11862: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1995-08-11 10:45 | 19952270133 | 5 |  |  |  | ug/L |  | 72O | JFA |  | 1995-10-03 | Ultra 11862: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-03-29 10:20 | 19960890168 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1996-04-23 | Ultra 11862: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-04-23 16:55 | 19961150006 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1996-05-06 | Ultra 11862: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-04-23 16:50 | 19961150005 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1996-05-17 | Ultra 11862: 500 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-08-02 13:00 | 19962150509 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1996-08-15 | Ultra 11862: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-06-10 13:00 | 19961640389 | 5 |  |  |  | ug/L |  | 72P | JFA |  | 1996-08-16 | Ultra 11862: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-08-16 13:15 | 19962320210 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1996-09-25 | Ultra 11862: 100 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 1996-10-09 15:30 | 19962850014 | 5 |  |  |  | ug/L |  | 72P | SGS |  | 1996-10-28 | Ultra 11862: 200 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-05-29 05:10 | 20071500019 | 0.52 |  | < | 0.52 | ug/L |  | B | sgs | m | 2007-06-07 | Ultra CC-2390: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-05-01 08:25 | 20071220020 | 0.52 |  | < | 0.52 | ug/L |  | B | sgs | m | 2007-06-07 | Ultra CC-2390: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-07-18 07:20 | 20071990260 | 0.52 |  | R |  | ug/L |  |  |  |  | 2007-07-18 07:20 | Ultra CC-2390: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-08-22 10:20 | 20072350246 | 0.4 |  | < | 0.52 | ug/L |  | Y | jiv | m | 2007-10-15 | Ultra CC-2390: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2007-11-14 08:02 | 20073190235 | 0.4 | 2317.423 | E | 1.51 | ug/L | 0.65159 | Y | cka | m | 2008-01-16 | Ultra CD-2093: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-01-23 07:30 | 20080240004 | 0.4 | 2317.423 | E | 1.36 | ug/L | 0.58686 | B | jiv | m | 2008-02-11 | Ultra CD-2093: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-04-24 06:50 | 20081150082 | 0.4 | 2248.336 | E | 1.17 | ug/L | 0.52038 | Q | jiv | m | 2008-05-08 | Ultra CD-2093: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-04-02 05:30 | 20080940062 | 0.4 | 2285.584 | E | 1.44 | ug/L | 0.63004 | Q | jiv | m | 2008-05-08 | Ultra CD-2093: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-05-13 06:05 | 20081340104 | 0.4 | 3588.422 | E | 2.48 | ug/L | 0.69111 | Y | cka | m | 2008-06-09 | Ultra CD-2093: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-06-10 05:10 | 20081630009 | 0.4 | 2232.804 | E | 1.77 | ug/L | 0.79273 | Q | jiv | m | 2008-07-14 | Ultra CD-2093: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-07-22 06:40 | 20082040250 | 0.4 | 2220.205 | E | 1.16 | ug/L | 0.52247 | Y | jiv | m | 2008-08-19 | Ultra CD-2093: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2008-08-21 04:00 | 20082350005 | 0.4 | 2219.443 | . | 1.44 | ug/L | 0.64881 | Y | jiv | c | 2008-09-21 | Ultra CD-2093: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-03-05 06:00 | 20090640120 | 0.4 | 2740.089 | . | 1.36 | ug/L | 0.49633 | Y | jiv |  | 2009-03-13 | Ultra CE-2870: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-06-25 07:00 | 20091770123 | 0.4 | 4110.515 | . | 1.67 | ug/L | 0.40628 | R | jiv |  | 2009-07-14 | Ultra CE-2870: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-05-14 08:00 | 20091340059 | 0.4 | 2549.813 | E | 0.701 | ug/L | 0.27492 | Y | awh |  | 2009-08-04 | Ultra CE-2870: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-08-13 06:30 | 20092260007 | 0.5 | 2578.554 | . | 1.37 | ug/L | 0.53131 | R | jiv |  | 2009-10-06 | Ultra CE-2870: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2009-10-08 06:00 | 20092820003 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-01-21 | Ultra CF-3574: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-04-08 08:30 | 20100990015 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-05-13 | Ultra CF-3574: 80 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-06-17 09:00 | 20101720150 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-07-15 | Ultra CF-3574: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2010-08-05 09:30 | 20102180093 | 0.5 |  | < | 0.5 | ug/L |  | R | jiv |  | 2010-10-19 | Ultra CF-3574: 40 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-12-17 09:00 | 20033510126 | 1.2 | 2597.133 | E | 1.6 | ug/L | 0.61606 | Q | mco | m | 2004-01-07 | Ultra U1359: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2003-11-13 11:55 | 20033180002 | 1.2 | 5269.814 | E | 2.3 | ug/L | 0.43645 | Q | mco | m | 2004-01-07 | Ultra U1359: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-02-04 09:00 | 20040350074 | 1.2 | 5167.959 | E | 3 | ug/L | 0.5805 | Q | sgs | m | 2004-02-20 | Ultra U1359: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-04-01 09:30 | 20040930015 | 1.2 | 2645.503 | E | 0.7 | ug/L | 0.2646 | Q | sgs | m | 2004-04-09 | Ultra U1359: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-07-14 09:45 | 20041980034 | 1.2 | 5182.959 | E | 2.1 | ug/L | 0.40517 | Q | mco | m | 2004-07-19 | Ultra U1359: 50 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-05-26 10:30 | 20041480009 | 1.2 | 7913.897 | E | 3.3 | ug/L | 0.41699 | Q | mco | m | 2004-07-23 | Ultra U1359: 75 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-09-29 08:10 | 20042740029 | 1.2 | 2613.423 | E | 1.6 | ug/L | 0.61222 | Q | sgs | m | 2004-11-05 | Ultra U1359: 25 µl
1383 | HEXACHLOROCYCLOPENTADIENE | 34386GCM57 | 2004-08-31 11:00 | 20042450160 | 1.2 | 7922.256 | E | 6.1 | ug/L | 0.76998 | Q | sgs | m | 2004-11-05 | Ultra U1359: 75 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-06-26 07:30 | 20141770148 | 1.6 | 6372 | E | 4.91 | ug/L | 0.77056 | T | dlr | m | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-01-08 07:00 | 20150090092 | 1.6 | 6360 | E | 5.2 | ug/L | 0.81761 | T | dlr | m | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-04-16 07:30 | 20151110020 | 1.6 | 3180 | E | 2.81 | ug/L | 0.88365 | T | dlr | m | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-10-22 09:00 | 20152950080 | 1.6 | 2402 | E | 2.74 | ug/L | 1.1407 | T | dlr | m | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-04-07 07:00 | 20160980153 | 1.6 | 2402 | E | 1.85 | ug/L | 0.77019 | T | dlr | m | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-08-06 09:00 | 20152190008 | 1.6 | 2402 | E | 2.05 | ug/L | 0.85346 | T | lmu | m | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-09-17 07:30 | 20152610007 | 1.6 | 3603 | E | 3.09 | ug/L | 0.85762 | T | dlr | m | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-07-17 06:30 | 20141990077 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-09-10 07:00 | 20142530089 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-12-08 07:00 | 20143420011 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-11-24 09:00 | 20153280159 | 1.6 | 3603 | E | 3.25 | ug/L | 0.90203 | T | dlr | m | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-12-30 09:00 | 20153640101 | 1.6 | 2402 | E | 2.46 | ug/L | 1.0241 | T | dlr | m | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-09-03 09:00 | 20152460214 | 1.6 | 3600 | E | 2.91 | ug/L | 0.80833 | T | dlr | m | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-08-10 06:45 | 20162230173 | 1.6 | 4035 | E | 2.54 | ug/L | 0.62949 | T | dlr | m | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-05-13 06:05 | 20161340231 | 1.6 | 4035 | E | 2.35 | ug/L | 0.5824 | T | dlr | m | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-07-06 06:30 | 20161880112 | 1.6 | 10760 | E | 6.6 | ug/L | 0.61338 | T | dlr | m | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-05-16 07:00 | 20141360093 | 1.6 | 3186 | E | 2.25 | ug/L | 0.70621 | T | dlr | m | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-07-02 07:30 | 20141840102 | 1.6 | 6372 | E | 5.54 | ug/L | 0.86943 | T | dlr | m | 2014-07-15 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-06-05 07:30 | 20141570087 | 1.6 | 6372 | E | 4.97 | ug/L | 0.77997 | T | dlr | m | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-11-19 07:00 | 20143240096 | 1.6 | 3186 | E | 2.02 | ug/L | 0.63402 | T | dlr | m | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-05-14 06:30 | 20151380011 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-06-25 07:00 | 20151760209 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-06-11 07:00 | 20151620183 | 1.6 | 3600 | E | 2.94 | ug/L | 0.81667 | T | dlr | m | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-06-18 07:30 | 20151690196 | 1.6 | 6000 | E | 4.53 | ug/L | 0.755 | T | dlr | m | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-05-07 08:00 | 20151270113 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-12-09 07:30 | 20153440004 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-04-28 07:30 | 20161190073 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-06-15 07:30 | 20161680364 | 1.6 | 4035 | E | 1.95 | ug/L | 0.48327 | T | dlr | m | 2016-06-23
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-07-20 07:00 | 20162020127 | 1.6 | 4002 | E | 3.07 | ug/L | 0.76712 | T | dlr | m | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-10-16 07:30 | 20142890079 | 1.6 | 3180 | E | 2.55 | ug/L | 0.80189 | T | dlr | m | 2014-11-13 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-08-07 08:00 | 20142200169 | 1.6 | 6360 | E | 4.81 | ug/L | 0.75629 | T | dlr | m | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-09-04 07:30 | 20142480010 | 1.6 | 3180 | E | 3.41 | ug/L | 1.0723 | T | dlr | m | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-10-01 09:00 | 20152750005 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-02-04 09:00 | 20160350048 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-08-20 08:00 | 20152330040 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-11-10 09:00 | 20153160003 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-11-14 | ERA 0601-15-05: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-05-01 07:00 | 20141220027 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-05-29 07:30 | 20141490200 | 1.6 | 6372 | E | 4.29 | ug/L | 0.67326 | T | dlr | m | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-07-24 07:00 | 20142060044 | 1.6 | 3186 | E | 2.3 | ug/L | 0.72191 | T | dlr | m | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-06-22 06:45 | 20161740256 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-07-13 07:30 | 20161960008 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-06-02 06:30 | 20161540129 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-12-03 09:00 | 20153370176 | 1.6 | 2400 | E | 1.89 | ug/L | 0.7875 | T | dlr | m | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-01-21 08:30 | 20160210086 | 1.6 | 6000 | E | 4.67 | ug/L | 0.77833 | T | dlr | m | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-06-29 07:30 | 20161820012 | 1.6 | 4035 | E | 2.2 | ug/L | 0.54523 | T | dlr | m | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-08-02 07:00 | 20162150211 | 1.6 | 6670 | E | 4.72 | ug/L | 0.70765 | T | lmu | m | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-06-12 07:30 | 20141640079 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2014-08-14 07:00 | 20142270004 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-03-12 06:30 | 20150720067 | 1.6 |  | < | 1.6 | ug/L |  | T | dlr | m | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-04-30 08:30 | 20151210034 | 1.6 | 2402 | E | 3.05 | ug/L | 1.2698 | T | dlr | m | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-07-23 07:30 | 20152040180 | 1.6 | 3600 | E | 2.94 | ug/L | 0.81667 | T | dlr | m | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2015-10-08 08:30 | 20152810127 | 1.6 | 6000 | E | 4.31 | ug/L | 0.71833 | T | dlr | m | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-03-17 08:30 | 20160770091 | 1.6 | 2400 | E | 2.03 | ug/L | 0.84583 | T | dlr | m | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-05-18 06:30 | 20161400192 | 1.6 | 6670 | E | 6 | ug/L | 0.89955 | T | dlr | m | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
4437 | HEXACHLOROCYCLOPENTADIENE | 34386GM016 | 2016-07-27 06:15 | 20162100018 | 1.6 | 10672 | E | 9.13 | ug/L | 0.85551 | T | dlr | m | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl