## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20110070109 | 2011-01-06 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110130056 | 2011-01-13 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
20110280004 | 2011-01-27 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
20110410061 | 2011-02-10 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20110560005 | 2011-02-24 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
20110690078 | 2011-03-10 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
20110770001 | 2011-03-17 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
20110910084 | 2011-03-31 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20111050150 | 2011-04-14 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
20111260154 | 2011-05-05 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
20111330148 | 2011-05-12 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
20111540007 | 2011-06-02 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
20111470065 | 2011-05-26 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20111750006 | 2011-06-23 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
20111810004 | 2011-06-29 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
20111890005 | 2011-07-07 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
20111960039 | 2011-07-14 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112030057 | 2011-07-21 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
20112220126 | 2011-08-10 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
20112310030 | 2011-08-18 08:47 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20112310032 | 2011-08-18 08:46 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
20112380055 | 2011-08-25 10:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
20112450022 | 2011-09-01 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
20112520209 | 2011-09-08 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
20112590005 | 2011-09-15 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
20112870073 | 2011-10-13 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20112930085 | 2011-10-20 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
20113130085 | 2011-11-09 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
20113080001 | 2011-11-03 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
20113220198 | 2011-11-17 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20113260111 | 2011-11-22 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
20113490056 | 2011-12-13 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
20113500021 | 2011-12-15 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
20120200073 | 2012-01-19 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
20120370001 | 2012-02-02 12:10 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
20120470078 | 2012-02-16 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20120620015 | 2012-03-01 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
20120830077 | 2012-03-22 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121180062 | 2012-04-26 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20121310027 | 2012-05-10 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
20121460001 | 2012-05-24 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
20121600156 | 2012-06-07 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122430227 | 2012-08-30 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20122720048 | 2012-09-27 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20122850005 | 2012-10-10 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20123260037 | 2012-11-20 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20130100066 | 2013-01-10 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130510051 | 2013-02-19 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130940097 | 2013-04-04 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20131510026 | 2013-05-30 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20132140002 | 2013-08-01 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20133190012 | 2013-11-14 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133580036 | 2013-12-23 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20140510043 | 2014-02-20 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20141360094 | 2014-05-16 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141490205 | 2014-05-29 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141770149 | 2014-06-26 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20142470041 | 2014-09-03 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142820151 | 2014-10-09 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20143240095 | 2014-11-19 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20150430092 | 2015-02-12 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20151270112 | 2015-05-07 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151760208 | 2015-06-25 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152460215 | 2015-09-03 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 |  | < | ug/L |  | 0.006 | < Reporting Level | 2033 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152950078 | 2015-10-22 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153440001 | 2015-12-09 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160210080 | 2016-01-21 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160630046 | 2016-03-03 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20161740258 | 2016-06-22 06:15 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20162020124 | 2016-07-20 06:15 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20153030068 | 2015-10-29 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.009 | . | ug/L | 1.0222 | 0.0092 | Recoverable Result | 2033 |  | rcr | n | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153160001 | 2015-11-10 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.009 | . | ug/L | 0.92222 | 0.0083 | Recoverable Result | 2033 |  | rcr | n | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.009 | . | ug/L | 0.88889 | 0.008 | Recoverable Result | 2033 |  | rcr | n | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.009 | . | ug/L | 0.94444 | 0.0085 | Recoverable Result | 2033 | Y | tpe | n | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20160430111 | 2016-02-11 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.009 | . | ug/L | 1.0111 | 0.0091 | Recoverable Result | 2033 | Y | tpe | n | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20161050143 | 2016-04-14 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.009 | . | ug/L | 0.9 | 0.0081 | Recoverable Result | 2033 | Y | tpe | n | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20132280016 | 2013-08-15 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.008 | . | ug/L | 1.0125 | 0.0081 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133050050 | 2013-10-31 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.008 | . | ug/L | 1.1 | 0.0088 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20131650073 | 2013-06-13 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.009 | . | ug/L | 0.9 | 0.0081 | Recoverable Result | 2033 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20131790009 | 2013-06-27 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.009 | . | ug/L | 1.0556 | 0.0095 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133310030 | 2013-11-26 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.009 | . | ug/L | 1.2556 | 0.0113 | Recoverable Result | 2033 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20133470008 | 2013-12-12 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.009 | . | ug/L | 0.84444 | 0.0076 | Recoverable Result | 2033 | Y | rcr | b | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140730138 | 2014-03-13 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.009 | . | ug/L | 0.9 | 0.0081 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20151210037 | 2015-04-30 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.009 | . | ug/L | 0.74444 | 0.0067 | Recoverable Result | 2033 | V | rcr | b | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20152190003 | 2015-08-06 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.009 | . | ug/L | 0.85556 | 0.0077 | Recoverable Result | 2033 |  | rcr | b | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20141840097 | 2014-07-02 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.01197 | . | ug/L | 0.83542 | 0.01 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20141910243 | 2014-07-10 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.01197 | . | ug/L | 0.96074 | 0.0115 | Recoverable Result | 2033 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20143370094 | 2014-12-03 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.01197 | . | ug/L | 0.96909 | 0.0116 | Recoverable Result | 2033 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.01197 | . | ug/L | 0.91896 | 0.011 | Recoverable Result | 2033 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20141080004 | 2014-04-17 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.012 | . | ug/L | 0.80833 | 0.0097 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141420140 | 2014-05-22 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.012 | . | ug/L | 1.3 | 0.0156 | Recoverable Result | 2033 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141640076 | 2014-06-12 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.012 | E | ug/L | 0.64167 | 0.0077 | Estimated Values | 2033 | Y | rcr | b | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.012 | . | ug/L | 1 | 0.012 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20151550293 | 2015-06-04 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.018 | . | ug/L | 0.91111 | 0.0164 | Recoverable Result | 2033 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20151900132 | 2015-07-09 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.018 | . | ug/L | 0.64444 | 0.0116 | Recoverable Result | 2033 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.018 | . | ug/L | 0.83333 | 0.015 | Recoverable Result | 2033 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153510109 | 2015-12-17 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.018 | . | ug/L | 0.77222 | 0.0139 | Recoverable Result | 2033 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160770090 | 2016-03-17 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.018 | . | ug/L | 0.78889 | 0.0142 | Recoverable Result | 2033 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.018 | . | ug/L | 0.86667 | 0.0156 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20110210095 | 2011-01-20 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.019681 | . | ug/L | 0.86377 | 0.017 | Recoverable Result | 2033 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.019875 | . | ug/L | 0.80502 | 0.016 | Recoverable Result | 2033 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
20111680035 | 2011-06-16 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.019964 | . | ug/L | 0.99679 | 0.0199 | Recoverable Result | 2033 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
20111170107 | 2011-04-22 06:20 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.01997 | . | ug/L | 0.9414 | 0.0188 | Recoverable Result | 2033 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
20111890004 | 2011-07-07 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02 | . | ug/L | 1.015 | 0.0203 | Recoverable Result | 2033 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
20113010047 | 2011-10-27 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02 | . | ug/L | 0.955 | 0.0191 | Recoverable Result | 2033 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
20120760111 | 2012-03-15 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02 | . | ug/L | 0.835 | 0.0167 | Recoverable Result | 2033 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
20132690010 | 2013-09-25 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02 | . | ug/L | 0.815 | 0.0163 | Recoverable Result | 2033 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20140370077 | 2014-02-06 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02 | . | ug/L | 0.94 | 0.0188 | Recoverable Result | 2033 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20112100007 | 2011-07-28 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02008 | . | ug/L | 0.93625 | 0.0188 | Recoverable Result | 2033 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
20112840031 | 2011-10-07 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02008 | . | ug/L | 1.0408 | 0.0209 | Recoverable Result | 2033 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
20120120071 | 2012-01-12 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02008 | . | ug/L | 0.96614 | 0.0194 | Recoverable Result | 2033 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
20120540036 | 2012-02-23 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02008 | . | ug/L | 0.95618 | 0.0192 | Recoverable Result | 2033 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
20120930003 | 2012-03-29 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02008 | . | ug/L | 0.94622 | 0.019 | Recoverable Result | 2033 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
20110840108 | 2011-03-24 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.020092 | E | ug/L | 1.3488 | 0.0271 | Estimated Values | 2033 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
20131370001 | 2013-05-16 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.0225 | . | ug/L | 1.0711 | 0.0241 | Recoverable Result | 2033 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20141220025 | 2014-05-01 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02394 | . | ug/L | 0.87302 | 0.0209 | Recoverable Result | 2033 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141570088 | 2014-06-05 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02394 | E | ug/L | 0.51378 | 0.0123 | Estimated Values | 2033 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20142530087 | 2014-09-10 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02394 | . | ug/L | 0.7853 | 0.0188 | Recoverable Result | 2033 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02394 | . | ug/L | 0.96909 | 0.0232 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20142270001 | 2014-08-14 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.024 | . | ug/L | 0.9 | 0.0216 | Recoverable Result | 2033 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142960086 | 2014-10-23 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.024 | . | ug/L | 0.8625 | 0.0207 | Recoverable Result | 2033 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.024 | . | ug/L | 0.85417 | 0.0205 | Recoverable Result | 2033 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150720069 | 2015-03-12 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.024 | . | ug/L | 1.0458 | 0.0251 | Recoverable Result | 2033 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20110490035 | 2011-02-17 08:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.02475 | . | ug/L | 0.83636 | 0.0207 | Recoverable Result | 2033 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20162150213 | 2016-08-02 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.025 | . | ug/L | 1.08 | 0.027 | Recoverable Result | 2033 | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.025 | . | ug/L | 0.876 | 0.0219 | Recoverable Result | 2033 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20161190075 | 2016-04-28 08:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.0252 | . | ug/L | 0.89683 | 0.0226 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.0252 | . | ug/L | 0.81349 | 0.0205 | Recoverable Result | 2033 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.0252 | . | ug/L | 0.79365 | 0.02 | Recoverable Result | 2033 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162660005 | 2016-09-21 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.0252 | . | ug/L | 0.96825 | 0.0244 | Recoverable Result | 2033 | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20152610011 | 2015-09-17 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.036 | . | ug/L | 1.15 | 0.0414 | Recoverable Result | 2033 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20152750006 | 2015-10-01 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.036 | . | ug/L | 0.675 | 0.0243 | Recoverable Result | 2033 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20111190184 | 2011-04-28 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.039845 | . | ug/L | 0.96625 | 0.0385 | Recoverable Result | 2033 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
20110620082 | 2011-03-03 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.039873 | . | ug/L | 0.90538 | 0.0361 | Recoverable Result | 2033 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
20112170174 | 2011-08-04 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.04 | . | ug/L | 0.86 | 0.0344 | Recoverable Result | 2033 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
20113340046 | 2011-11-29 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.04 | . | ug/L | 0.8075 | 0.0323 | Recoverable Result | 2033 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
20120400058 | 2012-02-09 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.04 | . | ug/L | 0.83 | 0.0332 | Recoverable Result | 2033 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
20132490342 | 2013-09-06 06:50 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.04 | . | ug/L | 0.97 | 0.0388 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20140100085 | 2014-01-09 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.04 | . | ug/L | 0.825 | 0.033 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20120260028 | 2012-01-26 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.04016 | E | ug/L | 1.0931 | 0.0439 | Estimated Values | 2033 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
20121040012 | 2012-04-12 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.04016 | . | ug/L | 0.75697 | 0.0304 | Recoverable Result | 2033 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
20111390178 | 2011-05-19 07:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.040431 | . | ug/L | 0.76921 | 0.0311 | Recoverable Result | 2033 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
20161470001 | 2016-05-25 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.05 | . | ug/L | 0.66 | 0.033 | Recoverable Result | 2033 | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20121870008 | 2012-07-03 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.80833 | 0.0485 | Recoverable Result | 2033 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122210006 | 2012-08-07 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.73167 | 0.0439 | Recoverable Result | 2033 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 1.0133 | 0.0608 | Recoverable Result | 2033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122570122 | 2012-09-13 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.74667 | 0.0448 | Recoverable Result | 2033 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130390105 | 2013-02-07 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.685 | 0.0411 | Recoverable Result | 2033 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130650005 | 2013-03-05 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.66833 | 0.0401 | Recoverable Result | 2033 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.85833 | 0.0515 | Recoverable Result | 2033 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.97667 | 0.0586 | Recoverable Result | 2033 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.795 | 0.0477 | Recoverable Result | 2033 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 1 | 0.06 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.06 | . | ug/L | 0.715 | 0.0429 | Recoverable Result | 2033 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20161880109 | 2016-07-06 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.01 | 0.063 | . | ug/L | 1.0778 | 0.0679 | Recoverable Result | 2033 | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20111590005 | 2011-06-07 10:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.074096 | . | ug/L | 0.64106 | 0.0475 | Recoverable Result | 2033 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20110980030 | 2011-04-07 09:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.099483 | . | ug/L | 0.8504 | 0.0846 | Recoverable Result | 2033 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20121730123 | 2012-06-21 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.15 | . | ug/L | 0.88 | 0.132 | Recoverable Result | 2033 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.15 | . | ug/L | 0.9 | 0.135 | Recoverable Result | 2033 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20123560092 | 2012-12-20 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.15 | . | ug/L | 0.8 | 0.12 | Recoverable Result | 2033 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.15 | . | ug/L | 0.80667 | 0.121 | Recoverable Result | 2033 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20132420001 | 2013-08-29 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.15 | . | ug/L | 0.86667 | 0.13 | Recoverable Result | 2033 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.15 | . | ug/L | 0.88667 | 0.133 | Recoverable Result | 2033 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20123140095 | 2012-11-08 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.3 | . | ug/L | 0.85667 | 0.257 | Recoverable Result | 2033 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.3 | . | ug/L | 0.92667 | 0.278 | Recoverable Result | 2033 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | 34362GCM39 | 0.006 | 0.3 | . | ug/L | 0.84 | 0.252 | Recoverable Result | 2033 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl