## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20110130056 | 2011-01-13 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-09 | Supelco LB77168: 80 µl
20110210095 | 2011-01-20 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-14 | Accu 210061341: 40 µl
20110340007 | 2011-02-02 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-22 | Abs 080610: 40 µl
20110560005 | 2011-02-24 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-03-08 | Restek A075606: 40 µl
20110620082 | 2011-03-03 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-03-16 | Abs 080610: 80 µl
20110770001 | 2011-03-17 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-03-30 | Supelco LB77168: 40 µl
20110840108 | 2011-03-24 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-04-07 | Accu 210061341: 40 µl
20111050150 | 2011-04-14 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-04-23 | Restek A075606: 40 µl
20111170107 | 2011-04-22 06:20 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-05-03 | Abs 080610: 40 µl
20111190184 | 2011-04-28 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | rcr | mc | 2011-05-21 | Accu 210061341: 80 µl
20111330148 | 2011-05-12 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-05-25 | Supelco LB77168: 40 µl
20111390178 | 2011-05-19 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-05-29 | Abs 080610: 80 µl
20111540007 | 2011-06-02 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-06-20 | Restek A075606: 80 µl
20111680035 | 2011-06-16 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-07-02 | Accu 210061341: 40 µl
20111810004 | 2011-06-29 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-07-14 | Supelco LB77168: 80 µl
20111890004 | 2011-07-07 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-07-20 | Accu 210061341: 40 µl
20111890005 | 2011-07-07 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-07-20 | Supelco LB77168: 40 µl
20112030057 | 2011-07-21 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-08-17 | Restek A075606: 40 µl
20112100007 | 2011-07-28 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-08-22 | Abs 080610: 40 µl
20112170174 | 2011-08-04 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-08-30 | Accu 210061341: 80 µl
20112220126 | 2011-08-10 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-09-01 | Restek A075606: 80 µl
20112310032 | 2011-08-18 08:46 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | rcr | mc | 2011-09-13 | Restek A075606: 80 µl
20112450022 | 2011-09-01 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | rcr | mc | 2011-09-24 | Supelco LB77168: 40 µl
20112590005 | 2011-09-15 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-10-02 | Supelco LB77168: 80 µl
20112840031 | 2011-10-07 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-10-20 | Abs 080610: 40 µl
20112930085 | 2011-10-20 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-11-01 | Restek A075606: 80 µl
20113010047 | 2011-10-27 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-11-05 | Accu 210061341: 40 µl
20113130085 | 2011-11-09 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2011-11-17 | Supelco LB77168: 80 µl
20113260111 | 2011-11-22 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-04 | Restek A075606: 40 µl
20113340046 | 2011-11-29 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-08 | Accu 210061341: 80 µl
20113500021 | 2011-12-15 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-22 | Supelco LB77168: 40 µl
20120120071 | 2012-01-12 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | str | mc | 2012-01-20 | Abs 080610: 40 µl
20120260028 | 2012-01-26 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-02-09 | Abs 080610: 80 µl
20120370001 | 2012-02-02 12:10 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-02-14 | Restek A075606: 40 µl
20120400058 | 2012-02-09 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-03-02 | Accu 210061341: 80 µl
20120540036 | 2012-02-23 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-03-08 | Abs 080610: 40 µl
20120620015 | 2012-03-01 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | X | rcr | mc | 2012-03-09 | Supelco LB77168: 40 µl
20120760111 | 2012-03-15 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-03-27 | Accu 210061341: 40 µl
20120930003 | 2012-03-29 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-04-12 | Abs 080610: 40 µl
20121040012 | 2012-04-12 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-04-24 | Abs 080610: 80 µl
20121310027 | 2012-05-10 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | rcr | mc | 2012-05-15 | Restek A075606: 80 µl
20121600156 | 2012-06-07 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | rcr | mc | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122430227 | 2012-08-30 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20122720048 | 2012-09-27 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | V | rcr | mc | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20122850005 | 2012-10-10 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.01 | < Reporting Level | 2033 | Y | rcr | mc | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20123260037 | 2012-11-20 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | V | rcr | mc | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20130100066 | 2013-01-10 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130510051 | 2013-02-19 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130940097 | 2013-04-04 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20131650073 | 2013-06-13 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | V | rcr | mc | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20132280016 | 2013-08-15 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20132690010 | 2013-09-25 08:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20133310030 | 2013-11-26 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20140100085 | 2014-01-09 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
20140730138 | 2014-03-13 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20141420140 | 2014-05-22 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141570088 | 2014-06-05 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141840097 | 2014-07-02 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20142200164 | 2014-08-07 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20142530087 | 2014-09-10 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142960086 | 2014-10-23 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143370094 | 2014-12-03 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150720069 | 2015-03-12 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | rcr | mc | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20151550293 | 2015-06-04 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | V | rcr | mc | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20152190003 | 2015-08-06 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 |  | rcr | mc | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20152610011 | 2015-09-17 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 |  | rcr | mc | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20153030068 | 2015-10-29 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 |  | rcr | mc | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20153510109 | 2015-12-17 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 |  | rcr | mc | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160430111 | 2016-02-11 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | tpe | mc | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20160770090 | 2016-03-17 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | tpe | mc | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20161260151 | 2016-05-05 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | tpe | mc | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20161470001 | 2016-05-25 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | tpe | mc | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161880109 | 2016-07-06 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | W | sst | mc | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20162150213 | 2016-08-02 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | W | tpe | mc | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162660005 | 2016-09-21 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 |  | < | ug/L |  | 0.014 | < Reporting Level | 2033 | Y | SSt | mc | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20111960039 | 2011-07-14 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.01992 | < | ug/L |  | 0.01 | False Negative | 2033 | V | rcr | mc | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20110910084 | 2011-03-31 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02004 | < | ug/L |  | 0.01 | False Negative | 2033 | X | str | mc | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20160560044 | 2016-02-25 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | < | ug/L |  | 0.014 | False Negative | 2033 | Y | tpe | mc | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20110070109 | 2011-01-06 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.019543 | E | ug/L | 0.092106 | 0.0018 | Estimated Values | 2033 | S | rcr | bmt | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110690078 | 2011-03-10 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.019592 | E | ug/L | 0.94934 | 0.0186 | Estimated Values | 2033 | V | rcr | mc | 2011-03-23 | Spex Organics T1100628017: 40 µl
20112870073 | 2011-10-13 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.01992 | E | ug/L | 0.43173 | 0.0086 | Estimated Values | 2033 | V | rcr | mnc | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20120470078 | 2012-02-16 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.01992 | E | ug/L | 0.46185 | 0.0092 | Estimated Values | 2033 | V | rcr | mnc | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20121180062 | 2012-04-26 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.01992 | E | ug/L | 0.13052 | 0.0026 | Estimated Values | 2033 | Y | rcr | bmt | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20122210006 | 2012-08-07 06:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.01998 | E | ug/L | 0.57558 | 0.0115 | Estimated Values | 2033 | Y | rcr | mc | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122300021 | 2012-08-16 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.01998 | E | ug/L | 0.88088 | 0.0176 | Estimated Values | 2033 | V | rcr | mc | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20130390105 | 2013-02-07 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.01998 | E | ug/L | 0.61061 | 0.0122 | Estimated Values | 2033 | V | rcr | mnc | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20112380055 | 2011-08-25 10:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02 | E | ug/L | 0.745 | 0.0149 | Estimated Values | 2033 | V | rcr | mc | 2011-09-19 | Spex Organics T1100628017: 40 µl
20113080001 | 2011-11-03 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02 | E | ug/L | 0.68 | 0.0136 | Estimated Values | 2033 | V | rcr | mc | 2011-11-17 | Spex Organics T1100628017: 40 µl
20120830077 | 2012-03-22 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02 | E | ug/L | 0.235 | 0.0047 | Estimated Values | 2033 | V | rcr | bmt | 2012-04-05 | Spex Organics T1100628017: 40 µl
20121460001 | 2012-05-24 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02 | E | ug/L | 0.57 | 0.0114 | Estimated Values | 2033 | Y | rcr | mc | 2012-06-02 | Spex Organics T1100628017: 40 µl
20121870008 | 2012-07-03 08:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02 | E | ug/L | 0.64 | 0.0128 | Estimated Values | 2033 | V | rcr | mc | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02 | E | ug/L | 0.51 | 0.0102 | Estimated Values | 2033 | Y | rcr | mc | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02 | E | ug/L | 0.51 | 0.0102 | Estimated Values | 2033 | V | rcr | mnc | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131230084 | 2013-05-02 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02 | E | ug/L | 0.88 | 0.0176 | Estimated Values | 2033 | V | rcr | mc | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20131920149 | 2013-07-11 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02 | E | ug/L | 0.485 | 0.0097 | Estimated Values | 2033 | Y | rcr | mnc | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02 | E | ug/L | 0.575 | 0.0115 | Estimated Values | 2033 | Y | rcr | mnc | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02 | E | ug/L | 0.57 | 0.0114 | Estimated Values | 2033 | Y | rcr | mnc | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02 | E | ug/L | 0.55 | 0.011 | Estimated Values | 2033 | Y | rcr | mnc | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20110280004 | 2011-01-27 06:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02009 | E | ug/L | 0.60726 | 0.0122 | Estimated Values | 2033 | V | rcr | mc | 2011-02-19 | Spex Organics T1100628017: 40 µl
20111470065 | 2011-05-26 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.020133 | E | ug/L | 0.29305 | 0.0059 | Estimated Values | 2033 | X | str | bmn | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20111260154 | 2011-05-05 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02022 | E | ug/L | 0.69732 | 0.0141 | Estimated Values | 2033 | V | rcr | mc | 2011-05-14 | Spex Organics T1100628017: 40 µl
20151210037 | 2015-04-30 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.68095 | 0.0143 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151760208 | 2015-06-25 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.61905 | 0.013 | Estimated Values | 2033 | V | rcr | mnc | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20152040177 | 2015-07-23 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.89524 | 0.0188 | Estimated Values | 2033 | Y | rcr | mc | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152950078 | 2015-10-22 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.51429 | 0.0108 | Estimated Values | 2033 |  | rcr | mnc | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20153160001 | 2015-11-10 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.55238 | 0.0116 | Estimated Values | 2033 |  | rcr | mnc | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.59524 | 0.0125 | Estimated Values | 2033 |  | rcr | mnc | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160210080 | 2016-01-21 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.64762 | 0.0136 | Estimated Values | 2033 |  | tpe | mnc | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20161050143 | 2016-04-14 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.021 | E | ug/L | 0.69524 | 0.0146 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20110490035 | 2011-02-17 08:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.02475 | E | ug/L | 0.50909 | 0.0126 | Estimated Values | 2033 | V | rcr | mc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20141080004 | 2014-04-17 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0279 | E | ug/L | 0.56989 | 0.0159 | Estimated Values | 2033 | Y | rcr | mc | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141490205 | 2014-05-29 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0279 | E | ug/L | 0.56631 | 0.0158 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20142820151 | 2014-10-09 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0279 | E | ug/L | 0.87455 | 0.0244 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20150150115 | 2015-01-15 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0279 | E | ug/L | 0.89247 | 0.0249 | Estimated Values | 2033 | Y | rcr | mc | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20141360094 | 2014-05-16 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02796 | E | ug/L | 0.48283 | 0.0135 | Estimated Values | 2033 | Y | rcr | mnc | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141640076 | 2014-06-12 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02796 | E | ug/L | 0.38269 | 0.0107 | Estimated Values | 2033 | Y | rcr | mnc | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141910243 | 2014-07-10 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02796 | E | ug/L | 0.54363 | 0.0152 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142470041 | 2014-09-03 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.02796 | E | ug/L | 0.50072 | 0.014 | Estimated Values | 2033 | Y | rcr | mc | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20161190075 | 2016-04-28 08:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0352 | E | ug/L | 0.89489 | 0.0315 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0352 | E | ug/L | 0.83807 | 0.0295 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20161600087 | 2016-06-08 07:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0352 | E | ug/L | 0.82955 | 0.0292 | Estimated Values | 2033 | W | sst | mc | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20162020124 | 2016-07-20 06:15 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0352 | E | ug/L | 0.6875 | 0.0242 | Estimated Values | 2033 | Y | tbu | mc | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162380004 | 2016-08-24 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0352 | E | ug/L | 0.57386 | 0.0202 | Estimated Values | 2033 | Y | SSt | mc | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20110410061 | 2011-02-10 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.039606 | E | ug/L | 0.21966 | 0.0087 | Estimated Values | 2033 | V | rcr | mnc | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20113220198 | 2011-11-17 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.03984 | E | ug/L | 0.20833 | 0.0083 | Estimated Values | 2033 | V | rcr | mnc | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20111750006 | 2011-06-23 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.04 | E | ug/L | 0.745 | 0.0298 | Estimated Values | 2033 | X | str | mc | 2011-07-07 | Spex Organics T1100628017: 80 µl
20112520209 | 2011-09-08 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.04 | E | ug/L | 0.44 | 0.0176 | Estimated Values | 2033 | Y | rcr | mc | 2011-09-29 | Spex Organics T1100628017: 80 µl
20113490056 | 2011-12-13 07:30 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.04 | E | ug/L | 0.64 | 0.0256 | Estimated Values | 2033 | V | rcr | mc | 2011-12-21 | Spex Organics T1100628017: 80 µl
20120200073 | 2012-01-19 07:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.04 | E | ug/L | 0.66 | 0.0264 | Estimated Values | 2033 | X | str | mc | 2012-01-27 | Spex Organics T1100628017: 80 µl
20151270112 | 2015-05-07 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.042 | E | ug/L | 0.71429 | 0.03 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151900132 | 2015-07-09 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.042 | E | ug/L | 1.0357 | 0.0435 | Estimated Values | 2033 | Y | rcr | mc | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.042 | E | ug/L | 0.5619 | 0.0236 | Estimated Values | 2033 |  | rcr | mc | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20153440001 | 2015-12-09 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.042 | E | ug/L | 0.51429 | 0.0216 | Estimated Values | 2033 |  | rcr | mc | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160630046 | 2016-03-03 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.042 | E | ug/L | 0.7119 | 0.0299 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20131510026 | 2013-05-30 07:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.044 | E | ug/L | 0.725 | 0.0319 | Estimated Values | 2033 | Y | rcr | mc | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20131790009 | 2013-06-27 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.044 | E | ug/L | 0.34545 | 0.0152 | Estimated Values | 2033 | Y | rcr | mc | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20133580036 | 2013-12-23 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.044 | E | ug/L | 0.47955 | 0.0211 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133050050 | 2013-10-31 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.04528 | E | ug/L | 0.64046 | 0.029 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133190012 | 2013-11-14 07:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.04528 | E | ug/L | 0.69346 | 0.0314 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133470008 | 2013-12-12 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.04528 | E | ug/L | 0.5477 | 0.0248 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140510043 | 2014-02-20 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.04528 | E | ug/L | 0.69567 | 0.0315 | Estimated Values | 2033 | Y | rcr | mc | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20123560092 | 2012-12-20 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.04995 | E | ug/L | 0.3984 | 0.0199 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130810108 | 2013-03-21 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.04995 | E | ug/L | 0.64264 | 0.0321 | Estimated Values | 2033 | V | rcr | mc | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20121730123 | 2012-06-21 06:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.05 | E | ug/L | 0.668 | 0.0334 | Estimated Values | 2033 | Y | rcr | mc | 2012-06-28 | Restek A088380: 50 µl
20123040157 | 2012-10-30 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.05 | E | ug/L | 0.624 | 0.0312 | Estimated Values | 2033 | V | rcr | mc | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20132420001 | 2013-08-29 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.05 | E | ug/L | 0.526 | 0.0263 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.05 | E | ug/L | 0.668 | 0.0334 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20141220025 | 2014-05-01 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0558 | E | ug/L | 0.64875 | 0.0362 | Estimated Values | 2033 | Y | rcr | mc | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20142270001 | 2014-08-14 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0558 | E | ug/L | 0.58423 | 0.0326 | Estimated Values | 2033 | Y | rcr | mc | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20143240095 | 2014-11-19 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0558 | E | ug/L | 0.64516 | 0.036 | Estimated Values | 2033 | Y | rcr | mc | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20141770149 | 2014-06-26 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.05592 | E | ug/L | 0.52575 | 0.0294 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20142720002 | 2014-09-25 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.05592 | E | ug/L | 0.55079 | 0.0308 | Estimated Values | 2033 | Y | rcr | mc | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20143110108 | 2014-11-06 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.05592 | E | ug/L | 0.54006 | 0.0302 | Estimated Values | 2033 | Y | rcr | mc | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20150430092 | 2015-02-12 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.05592 | E | ug/L | 0.70994 | 0.0397 | Estimated Values | 2033 | Y | rcr | mc | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20161740258 | 2016-06-22 06:15 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0704 | E | ug/L | 0.61222 | 0.0431 | Estimated Values | 2033 | Y | tpe | mc | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20111590005 | 2011-06-07 10:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.074096 | E | ug/L | 0.24968 | 0.0185 | Estimated Values | 2033 | V | rcr | mc | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20152460215 | 2015-09-03 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.084 | E | ug/L | 0.39524 | 0.0332 | Estimated Values | 2033 |  | rcr | mc | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152750006 | 2015-10-01 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.084 | E | ug/L | 0.525 | 0.0441 | Estimated Values | 2033 |  | rcr | mc | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20112310030 | 2011-08-18 08:47 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.088 | E | ug/L | 0.089773 | 0.0079 | Estimated Values | 2033 | Y | rcr | bmn | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20110980030 | 2011-04-07 09:00 | CYHALOTHRIN | 61595GCM39 | 0.01 | 0.099483 | E | ug/L | 0.26236 | 0.0261 | Estimated Values | 2033 | X | str | mc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20123140095 | 2012-11-08 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0999 | E | ug/L | 0.48448 | 0.0484 | Estimated Values | 2033 | V | rcr | mc | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123420074 | 2012-12-06 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.0999 | E | ug/L | 0.53153 | 0.0531 | Estimated Values | 2033 | V | rcr | mc | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.1 | E | ug/L | 0.508 | 0.0508 | Estimated Values | 2033 | Y | rcr | mc | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20132560001 | 2013-09-12 08:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.11 | E | ug/L | 0.46545 | 0.0512 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20140370077 | 2014-02-06 06:30 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.11 | E | ug/L | 0.40273 | 0.0443 | Estimated Values | 2033 | Y | rcr | mc | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20131370001 | 2013-05-16 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.1132 | E | ug/L | 0.80035 | 0.0906 | Estimated Values | 2033 | V | rcr | mc | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20132140002 | 2013-08-01 07:00 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.1132 | E | ug/L | 0.50795 | 0.0575 | Estimated Values | 2033 | Y | rcr | mc | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132490342 | 2013-09-06 06:50 | CYHALOTHRIN | 61595GCM39 | 0.014 | 0.22 | E | ug/L | 0.37409 | 0.0823 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl