## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20110070109 | 2011-01-06 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | S | rcr | mc | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20110130056 | 2011-01-13 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-09 | Supelco LB77168: 80 µl
20110210095 | 2011-01-20 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-14 | Accu 210061341: 40 µl
20110280004 | 2011-01-27 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-19 | Spex Organics T1100628017: 40 µl
20110340007 | 2011-02-02 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-22 | Abs 080610: 40 µl
20110410061 | 2011-02-10 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
20110560005 | 2011-02-24 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-03-08 | Restek A075606: 40 µl
20110620082 | 2011-03-03 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-03-16 | Abs 080610: 80 µl
20110690078 | 2011-03-10 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-03-23 | Spex Organics T1100628017: 40 µl
20110770001 | 2011-03-17 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-03-30 | Supelco LB77168: 40 µl
20110840108 | 2011-03-24 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-04-07 | Accu 210061341: 40 µl
20110910084 | 2011-03-31 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
20111050150 | 2011-04-14 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-04-23 | Restek A075606: 40 µl
20111170107 | 2011-04-22 06:20 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-05-03 | Abs 080610: 40 µl
20111260154 | 2011-05-05 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-05-14 | Spex Organics T1100628017: 40 µl
20111190184 | 2011-04-28 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | rcr | mc | 2011-05-21 | Accu 210061341: 80 µl
20111330148 | 2011-05-12 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-05-25 | Supelco LB77168: 40 µl
20111390178 | 2011-05-19 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-05-29 | Abs 080610: 80 µl
20111540007 | 2011-06-02 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-06-20 | Restek A075606: 80 µl
20111470065 | 2011-05-26 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
20111680035 | 2011-06-16 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-07-02 | Accu 210061341: 40 µl
20111750006 | 2011-06-23 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-07-07 | Spex Organics T1100628017: 80 µl
20111810004 | 2011-06-29 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-07-14 | Supelco LB77168: 80 µl
20111890004 | 2011-07-07 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-07-20 | Accu 210061341: 40 µl
20111890005 | 2011-07-07 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-07-20 | Supelco LB77168: 40 µl
20111960039 | 2011-07-14 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
20112030057 | 2011-07-21 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-08-17 | Restek A075606: 40 µl
20112100007 | 2011-07-28 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-08-22 | Abs 080610: 40 µl
20112170174 | 2011-08-04 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-08-30 | Accu 210061341: 80 µl
20112220126 | 2011-08-10 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-09-01 | Restek A075606: 80 µl
20112310030 | 2011-08-18 08:47 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2011-09-13 | ERA 0318-13-02.2: 40 µl
20112310032 | 2011-08-18 08:46 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2011-09-13 | Restek A075606: 80 µl
20112380055 | 2011-08-25 10:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-09-19 | Spex Organics T1100628017: 40 µl
20112450022 | 2011-09-01 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2011-09-24 | Supelco LB77168: 40 µl
20112520209 | 2011-09-08 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2011-09-29 | Spex Organics T1100628017: 80 µl
20112590005 | 2011-09-15 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-10-02 | Supelco LB77168: 80 µl
20112840031 | 2011-10-07 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-10-20 | Abs 080610: 40 µl
20112870073 | 2011-10-13 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
20112930085 | 2011-10-20 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-11-01 | Restek A075606: 80 µl
20113010047 | 2011-10-27 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-11-05 | Accu 210061341: 40 µl
20113130085 | 2011-11-09 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2011-11-17 | Supelco LB77168: 80 µl
20113080001 | 2011-11-03 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-11-17 | Spex Organics T1100628017: 40 µl
20113220198 | 2011-11-17 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
20113260111 | 2011-11-22 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-04 | Restek A075606: 40 µl
20113340046 | 2011-11-29 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-08 | Accu 210061341: 80 µl
20113490056 | 2011-12-13 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-21 | Spex Organics T1100628017: 80 µl
20113500021 | 2011-12-15 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2011-12-22 | Supelco LB77168: 40 µl
20120120071 | 2012-01-12 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2012-01-20 | Abs 080610: 40 µl
20120200073 | 2012-01-19 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | str | mc | 2012-01-27 | Spex Organics T1100628017: 80 µl
20120260028 | 2012-01-26 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-02-09 | Abs 080610: 80 µl
20120370001 | 2012-02-02 12:10 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-02-14 | Restek A075606: 40 µl
20120400058 | 2012-02-09 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-03-02 | Accu 210061341: 80 µl
20120470078 | 2012-02-16 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
20120540036 | 2012-02-23 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-03-08 | Abs 080610: 40 µl
20120620015 | 2012-03-01 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | X | rcr | mc | 2012-03-09 | Supelco LB77168: 40 µl
20120760111 | 2012-03-15 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-03-27 | Accu 210061341: 40 µl
20120830077 | 2012-03-22 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-04-05 | Spex Organics T1100628017: 40 µl
20120930003 | 2012-03-29 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-04-12 | Abs 080610: 40 µl
20121040012 | 2012-04-12 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-04-24 | Abs 080610: 80 µl
20121180062 | 2012-04-26 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
20121310027 | 2012-05-10 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2012-05-15 | Restek A075606: 80 µl
20121460001 | 2012-05-24 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2012-06-02 | Spex Organics T1100628017: 40 µl
20121730123 | 2012-06-21 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2012-06-28 | Restek A088380: 50 µl
20121870008 | 2012-07-03 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
20122300021 | 2012-08-16 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
20122720048 | 2012-09-27 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-10-12 | ERA 0507-12-04.2: 50 µl
20123140095 | 2012-11-08 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
20123560092 | 2012-12-20 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
20130390105 | 2013-02-07 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
20130810108 | 2013-03-21 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
20131370001 | 2013-05-16 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
20131790009 | 2013-06-27 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
20132490342 | 2013-09-06 06:50 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | R | ug/L |  |  | Deleted Values | 2033 | Y | rcr | mc | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
20133050050 | 2013-10-31 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
20133470008 | 2013-12-12 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
20140370077 | 2014-02-06 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
20141080004 | 2014-04-17 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
20141220025 | 2014-05-01 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
20141640076 | 2014-06-12 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
20141910243 | 2014-07-10 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
20142200164 | 2014-08-07 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
20142270001 | 2014-08-14 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
20142470041 | 2014-09-03 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
20142530087 | 2014-09-10 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
20142720002 | 2014-09-25 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
20142820151 | 2014-10-09 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
20142960086 | 2014-10-23 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
20143110108 | 2014-11-06 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
20143240095 | 2014-11-19 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
20143370094 | 2014-12-03 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
20150150115 | 2015-01-15 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
20150430092 | 2015-02-12 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | rcr | mc | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
20151210037 | 2015-04-30 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
20151900132 | 2015-07-09 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | E | ug/L |  | 0.0162 | False Positive | 2033 | Y | rcr | mnc | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
20152330039 | 2015-08-20 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | E | ug/L |  | 0.0093 | False Positive | 2033 |  | rcr | mnc | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
20152750006 | 2015-10-01 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | E | ug/L |  | 0.0353 | False Positive | 2033 |  | rcr | mnc | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
20153160001 | 2015-11-10 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | R | ug/L |  |  | Deleted Values | 2033 |  | rcr | mc | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
20160070059 | 2016-01-07 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | U | ug/L |  |  | Deleted Values | 2033 |  | rcr | mc | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
20160560044 | 2016-02-25 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | tpe | mc | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
20161050143 | 2016-04-14 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | tpe | mc | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
20161470001 | 2016-05-25 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | tpe | mc | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
20161740258 | 2016-06-22 06:15 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | U | ug/L |  |  | Deleted Values | 2033 | Y | tpe | mc | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
20162020124 | 2016-07-20 06:15 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | tbu | mc | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
20162150213 | 2016-08-02 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | U | ug/L |  |  | Deleted Values | 2033 | W | tpe | mc | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
20162380004 | 2016-08-24 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 |  | < | ug/L |  | 0.0511 | < Reporting Level | 2033 | Y | SSt | mc | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
20110490035 | 2011-02-17 08:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.02475 | < | ug/L |  | 0.0511 | SACRALT | 2033 | V | rcr | mc | 2011-03-05 | NWQL PSP2SP117A: 25 µl
20111590005 | 2011-06-07 10:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.074096 | < | ug/L |  | 0.0511 | False Negative | 2033 | V | rcr | mc | 2011-06-22 | NWQL PSP2SP117A: 75 µl
20152950078 | 2015-10-22 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.076 | R | ug/L |  |  | Deleted Values | 2033 |  | rcr | mc | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20160210080 | 2016-01-21 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.076 | U | ug/L |  |  | Deleted Values | 2033 |  | tpe | mc | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
20110980030 | 2011-04-07 09:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.099483 | < | ug/L |  | 0.0511 | False Negative | 2033 | X | str | mc | 2011-04-20 | NWQL PSP2SP117A: 100 µl
20161600087 | 2016-06-08 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1264 | U | ug/L |  |  | Deleted Values | 2033 | W | sst | mc | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20122850005 | 2012-10-10 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.188 | < | ug/L |  | 0.0511 | False Negative | 2033 | Y | rcr | mc | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20161880109 | 2016-07-06 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.316 | X | ug/L |  |  | Deleted Values | 2033 | W | sst | mc | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
20122210006 | 2012-08-07 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0742 | E | ug/L | 1.4151 | 0.105 | Estimated Values | 2033 | Y | rcr | mc | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
20122430227 | 2012-08-30 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0742 | E | ug/L | 1.2116 | 0.0899 | Estimated Values | 2033 | V | rcr | mc | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20130510051 | 2013-02-19 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0742 | E | ug/L | 0.77898 | 0.0578 | Estimated Values | 2033 | Y | rcr | mc | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
20131230084 | 2013-05-02 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0742 | E | ug/L | 0.89757 | 0.0666 | Estimated Values | 2033 | V | rcr | mc | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
20121600156 | 2012-06-07 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 2.6729 | 0.201 | Estimated Values | 2033 | Y | rcr | mc | 2012-06-16 | Abs 052412: 20 µl
20122020004 | 2012-07-19 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 3.8963 | 0.293 | Estimated Values | 2033 | V | rcr | mc | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
20122570122 | 2012-09-13 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 0.52128 | 0.0392 | Estimated Values | 2033 | Y | rcr | mnc | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
20130650005 | 2013-03-05 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 0.6609 | 0.0497 | Estimated Values | 2033 | V | rcr | mnc | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
20131920149 | 2013-07-11 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 0.80053 | 0.0602 | Estimated Values | 2033 | Y | rcr | mc | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
20132910008 | 2013-10-17 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 0.45745 | 0.0344 | Estimated Values | 2033 | Y | rcr | mnc | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20133400002 | 2013-12-05 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 0.87101 | 0.0655 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
20140860102 | 2014-03-27 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0752 | E | ug/L | 0.70213 | 0.0528 | Estimated Values | 2033 | Y | rcr | mc | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
20151760208 | 2015-06-25 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.076 | E | ug/L | 0.82632 | 0.0628 | Estimated Values | 2033 | V | rcr | mc | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
20153030068 | 2015-10-29 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.076 | E | ug/L | 0.65132 | 0.0495 | Estimated Values | 2033 |  | rcr | mnc | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
20160430111 | 2016-02-11 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.076 | E | ug/L | 0.75921 | 0.0577 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
20152040177 | 2015-07-23 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0766 | E | ug/L | 0.50392 | 0.0386 | Estimated Values | 2033 | Y | rcr | mnc | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
20152190003 | 2015-08-06 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0766 | E | ug/L | 0.93473 | 0.0716 | Estimated Values | 2033 |  | rcr | mc | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
20131510026 | 2013-05-30 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0994 | E | ug/L | 0.93561 | 0.093 | Estimated Values | 2033 | Y | rcr | mc | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
20132280016 | 2013-08-15 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0994 | E | ug/L | 0.94769 | 0.0942 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
20133310030 | 2013-11-26 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0994 | E | ug/L | 1.0563 | 0.105 | Estimated Values | 2033 | Y | rcr | mc | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
20140510043 | 2014-02-20 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0994 | E | ug/L | 0.41952 | 0.0417 | Estimated Values | 2033 | Y | rcr | mnc | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
20140730138 | 2014-03-13 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.0994 | E | ug/L | 0.3501 | 0.0348 | Estimated Values | 2033 | Y | rcr | mnc | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
20131650073 | 2013-06-13 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1 | E | ug/L | 0.92 | 0.092 | Estimated Values | 2033 | V | rcr | mc | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
20133190012 | 2013-11-14 07:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1 | E | ug/L | 0.869 | 0.0869 | Estimated Values | 2033 | Y | rcr | mc | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20133580036 | 2013-12-23 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1 | E | ug/L | 0.789 | 0.0789 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
20141360094 | 2014-05-16 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1014 | E | ug/L | 0.29093 | 0.0295 | Estimated Values | 2033 | Y | rcr | mnc | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
20141420140 | 2014-05-22 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1014 | E | ug/L | 0.66667 | 0.0676 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
20141490205 | 2014-05-29 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1014 | E | ug/L | 0.70907 | 0.0719 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
20141840097 | 2014-07-02 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1014 | E | ug/L | 0.36588 | 0.0371 | Estimated Values | 2033 | Y | rcr | mnc | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
20161190075 | 2016-04-28 08:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1264 | E | ug/L | 0.56646 | 0.0716 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
20161340228 | 2016-05-13 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1264 | E | ug/L | 0.67405 | 0.0852 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
20162660005 | 2016-09-21 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1264 | E | ug/L | 0.76424 | 0.0966 | Estimated Values | 2033 | Y | SSt | mc | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
20151270112 | 2015-05-07 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.152 | E | ug/L | 0.55789 | 0.0848 | Estimated Values | 2033 | V | rcr | mc | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
20151550293 | 2015-06-04 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.152 | E | ug/L | 0.63487 | 0.0965 | Estimated Values | 2033 | V | rcr | mc | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
20161260151 | 2016-05-05 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.152 | E | ug/L | 0.62895 | 0.0956 | Estimated Values | 2033 | Y | tpe | mc | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
20153440001 | 2015-12-09 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1532 | E | ug/L | 0.6312 | 0.0967 | Estimated Values | 2033 |  | rcr | mc | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20153510109 | 2015-12-17 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1532 | E | ug/L | 0.60836 | 0.0932 | Estimated Values | 2033 |  | rcr | mc | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20160630046 | 2016-03-03 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1532 | E | ug/L | 0.8094 | 0.124 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
20160770090 | 2016-03-17 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1532 | E | ug/L | 0.81593 | 0.125 | Estimated Values | 2033 | Y | tpe | mc | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
20123040157 | 2012-10-30 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.1855 | E | ug/L | 1.6604 | 0.308 | Estimated Values | 2033 | V | rcr | mc | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
20130100066 | 2013-01-10 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.188 | E | ug/L | 1.0106 | 0.19 | Estimated Values | 2033 | Y | rcr | mc | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
20130940097 | 2013-04-04 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.188 | E | ug/L | 0.51968 | 0.0977 | Estimated Values | 2033 | Y | rcr | mc | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
20132420001 | 2013-08-29 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.188 | E | ug/L | 0.67553 | 0.127 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
20140230082 | 2014-01-23 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.188 | E | ug/L | 0.70213 | 0.132 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
20141570088 | 2014-06-05 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.2028 | E | ug/L | 0.5572 | 0.113 | Estimated Values | 2033 | Y | rcr | mc | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
20141770149 | 2014-06-26 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.2028 | E | ug/L | 0.56213 | 0.114 | Estimated Values | 2033 | Y | rcr | mc | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
20150720069 | 2015-03-12 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.2028 | E | ug/L | 0.29043 | 0.0589 | Estimated Values | 2033 | Y | rcr | mc | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
20132140002 | 2013-08-01 07:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.2485 | E | ug/L | 0.30624 | 0.0761 | Estimated Values | 2033 | Y | rcr | mc | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
20132560001 | 2013-09-12 08:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.25 | E | ug/L | 0.3096 | 0.0774 | Estimated Values | 2033 | Y | rcr | mc | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
20132690010 | 2013-09-25 08:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.25 | E | ug/L | 0.692 | 0.173 | Estimated Values | 2033 | Y | rcr | @mc | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
20152460215 | 2015-09-03 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.3064 | E | ug/L | 0.65274 | 0.2 | Estimated Values | 2033 |  | rcr | mc | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
20152610011 | 2015-09-17 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.3064 | E | ug/L | 0.34922 | 0.107 | Estimated Values | 2033 |  | rcr | mc | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
20123420074 | 2012-12-06 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.371 | E | ug/L | 0.87332 | 0.324 | Estimated Values | 2033 | V | rcr | mc | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
20130250061 | 2013-01-24 06:00 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.371 | E | ug/L | 0.73585 | 0.273 | Estimated Values | 2033 | Y | rcr | mc | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
20123260037 | 2012-11-20 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.376 | E | ug/L | 0.96543 | 0.363 | Estimated Values | 2033 | V | rcr | mc | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
20140100085 | 2014-01-09 06:30 | PHOSMET_OXON | 61668GCM39 | 0.0511 | 0.5 | E | ug/L | 0.618 | 0.309 | Estimated Values | 2033 | Y | rcr | mc | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl