## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20141360093 | 2014-05-16 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20141570087 | 2014-06-05 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20141840102 | 2014-07-02 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20142200169 | 2014-08-07 08:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20142480010 | 2014-09-04 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20142890079 | 2014-10-16 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143240096 | 2014-11-19 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20151210034 | 2015-04-30 08:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
20152040180 | 2015-07-23 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
20152460214 | 2015-09-03 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
20152810127 | 2015-10-08 08:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
20153280159 | 2015-11-24 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
20153640101 | 2015-12-30 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
20160770091 | 2016-03-17 08:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
20161680364 | 2016-06-15 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | . | ug/L |  | 0.0728 | False Positive | 4437 | T | dlr |  | 2016-06-23
20161740256 | 2016-06-22 06:45 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl
20162230173 | 2016-08-10 06:45 | ACETATE,_PROPYL | 45022GM016 | 0.032 |  | < | ug/L |  | 0.032 | < Reporting Level | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20151380011 | 2015-05-14 06:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0482 | . | ug/L | 1.1494 | 0.0554 | Recoverable Result | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20152950080 | 2015-10-22 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0482 | . | ug/L | 1.4834 | 0.0715 | Recoverable Result | 4437 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153440004 | 2015-12-09 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0482 | . | ug/L | 1.1203 | 0.054 | Recoverable Result | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160980153 | 2016-04-07 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0482 | . | ug/L | 1.2718 | 0.0613 | Recoverable Result | 4437 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20152190008 | 2015-08-06 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0484 | . | ug/L | 0.93388 | 0.0452 | Recoverable Result | 4437 | T | lmu | b | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20153160003 | 2015-11-10 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0484 | . | ug/L | 0.93182 | 0.0451 | Recoverable Result | 4437 | T | dlr | b | 2015-11-14 | ERA 0601-15-05: 10 µl
20153370176 | 2015-12-03 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0484 | . | ug/L | 0.96488 | 0.0467 | Recoverable Result | 4437 | T | dlr | b | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20160350048 | 2016-02-04 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0484 | . | ug/L | 0.91322 | 0.0442 | Recoverable Result | 4437 | T | dlr | b | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20141640079 | 2014-06-12 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.064 | . | ug/L | 1.4766 | 0.0945 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142060044 | 2014-07-24 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.064 | . | ug/L | 1.3125 | 0.084 | Recoverable Result | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20142530089 | 2014-09-10 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.064 | . | ug/L | 1.3547 | 0.0867 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20143420011 | 2014-12-08 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.064 | E | ug/L | 1.1281 | 0.0722 | Estimated Values | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20151110020 | 2015-04-16 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.064 | . | ug/L | 1.15 | 0.0736 | Recoverable Result | 4437 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
20151270113 | 2015-05-07 08:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0723 | . | ug/L | 1.0664 | 0.0771 | Recoverable Result | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20151620183 | 2015-06-11 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0723 | . | ug/L | 0.88105 | 0.0637 | Recoverable Result | 4437 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20161190073 | 2016-04-28 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0723 | . | ug/L | 1.1203 | 0.081 | Recoverable Result | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20152330040 | 2015-08-20 08:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0726 | . | ug/L | 0.74931 | 0.0544 | Recoverable Result | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20152610007 | 2015-09-17 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.0726 | . | ug/L | 0.92837 | 0.0674 | Recoverable Result | 4437 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20161340231 | 2016-05-13 06:05 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.08034 | . | ug/L | 1.1588 | 0.0931 | Recoverable Result | 4437 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
20162020127 | 2016-07-20 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.08034 | . | ug/L | 0.94349 | 0.0758 | Recoverable Result | 4437 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
20161540129 | 2016-06-02 06:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.081 | . | ug/L | 0.93704 | 0.0759 | Recoverable Result | 4437 | T | dlr |  | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
20161820012 | 2016-06-29 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.081 | . | ug/L | 0.84815 | 0.0687 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
20151690196 | 2015-06-18 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.1205 | . | ug/L | 0.91286 | 0.11 | Recoverable Result | 4437 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20151760209 | 2015-06-25 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.1205 | . | ug/L | 0.98755 | 0.119 | Recoverable Result | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20152750005 | 2015-10-01 09:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.121 | . | ug/L | 1 | 0.121 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20160210086 | 2016-01-21 08:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.121 | . | ug/L | 0.97521 | 0.118 | Recoverable Result | 4437 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
20141220027 | 2014-05-01 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.128 | . | ug/L | 0.92969 | 0.119 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141490200 | 2014-05-29 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.128 | . | ug/L | 1.1953 | 0.153 | Recoverable Result | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20141770148 | 2014-06-26 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.128 | . | ug/L | 1.4453 | 0.185 | Recoverable Result | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20141990077 | 2014-07-17 06:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.128 | . | ug/L | 1.2969 | 0.166 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142270004 | 2014-08-14 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.128 | . | ug/L | 1.2344 | 0.158 | Recoverable Result | 4437 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20150090092 | 2015-01-08 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.128 | E | ug/L | 1.5 | 0.192 | Estimated Values | 4437 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
20150720067 | 2015-03-12 06:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.128 | E | ug/L | 1.8047 | 0.231 | Estimated Values | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20161400192 | 2016-05-18 06:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.135 | . | ug/L | 1.0222 | 0.138 | Recoverable Result | 4437 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
20161960008 | 2016-07-13 07:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.135 | . | ug/L | 0.84444 | 0.114 | Recoverable Result | 4437 | T | dlr |  | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
20162150211 | 2016-08-02 07:00 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.135 | . | ug/L | 0.85185 | 0.115 | Recoverable Result | 4437 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
20161880112 | 2016-07-06 06:30 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.216 | . | ug/L | 0.71296 | 0.154 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
20162100018 | 2016-07-27 06:15 | ACETATE,_PROPYL | 45022GM016 | 0.032 | 0.216 | . | ug/L | 0.85185 | 0.184 | Recoverable Result | 4437 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl