## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20141220027 | 2014-05-01 07:00 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141360093 | 2014-05-16 07:00 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20141490200 | 2014-05-29 07:30 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20141770148 | 2014-06-26 07:30 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20141840102 | 2014-07-02 07:30 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20141990077 | 2014-07-17 06:30 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142060044 | 2014-07-24 07:00 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20142200169 | 2014-08-07 08:00 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20142530089 | 2014-09-10 07:00 | ACROLEIN | 34210GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20142890079 | 2014-10-16 07:30 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143420011 | 2014-12-08 07:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20150090092 | 2015-01-08 07:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
20151110020 | 2015-04-16 07:30 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
20151210034 | 2015-04-30 08:30 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
20151270113 | 2015-05-07 08:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20151380011 | 2015-05-14 06:30 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20151760209 | 2015-06-25 07:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20152190008 | 2015-08-06 09:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | lmu | mc | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20152330040 | 2015-08-20 08:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20152610007 | 2015-09-17 07:30 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20152950080 | 2015-10-22 09:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153160003 | 2015-11-10 09:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-11-14 | ERA 0601-15-05: 10 µl
20153280159 | 2015-11-24 09:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
20153440004 | 2015-12-09 07:30 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20153640101 | 2015-12-30 09:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
20160350048 | 2016-02-04 09:00 | ACROLEIN | 34210GM016 | 2 |  | < | ug/L |  | 2 | < Reporting Level | 4437 | T | dlr | mc | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20143240096 | 2014-11-19 07:00 | ACROLEIN | 34210GM016 | 2 | 0.4802 | < | ug/L |  | 2 | SACRALT | 4437 | T | dlr | mc | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20150720067 | 2015-03-12 06:30 | ACROLEIN | 34210GM016 | 2 | 0.9604 | E | ug/L | 0.20825 | 0.2 | Estimated Values | 4437 | T | dlr | bmt | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20141640079 | 2014-06-12 07:30 | ACROLEIN | 34210GM016 | 0.24 | 0.4802 | E | ug/L | 1.0183 | 0.489 | Estimated Values | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142480010 | 2014-09-04 07:30 | ACROLEIN | 34210GM016 | 0.24 | 0.4802 | E | ug/L | 0.91628 | 0.44 | Estimated Values | 4437 | T | dlr | c | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20141570087 | 2014-06-05 07:30 | ACROLEIN | 34210GM016 | 0.24 | 0.9604 | E | ug/L | 2.7801 | 2.67 | Estimated Values | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20142270004 | 2014-08-14 07:00 | ACROLEIN | 34210GM016 | 0.24 | 0.9604 | E | ug/L | 0.70387 | 0.676 | Estimated Values | 4437 | T | dlr | c | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20153370176 | 2015-12-03 09:00 | ACROLEIN | 34210GM016 | 2 | 3 | E | ug/L | 1.1667 | 3.5 | Estimated Values | 4437 | T | dlr | mc | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20160770091 | 2016-03-17 08:30 | ACROLEIN | 34210GM016 | 2 | 3 | E | ug/L | 0.5 | 1.5 | Estimated Values | 4437 | T | dlr | mnc | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
20151620183 | 2015-06-11 07:00 | ACROLEIN | 34210GM016 | 2 | 4.5 | E | ug/L | 0.68889 | 3.1 | Estimated Values | 4437 | T | dlr | mc | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20152040180 | 2015-07-23 07:30 | ACROLEIN | 34210GM016 | 2 | 4.5 | E | ug/L | 0.82222 | 3.7 | Estimated Values | 4437 | T | dlr | mc | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
20152460214 | 2015-09-03 09:00 | ACROLEIN | 34210GM016 | 2 | 4.5 | E | ug/L | 1.3111 | 5.9 | Estimated Values | 4437 | T | dlr | mc | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
20151690196 | 2015-06-18 07:30 | ACROLEIN | 34210GM016 | 2 | 7.5 | E | ug/L | 0.8 | 6 | Estimated Values | 4437 | T | dlr | mc | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20152810127 | 2015-10-08 08:30 | ACROLEIN | 34210GM016 | 2 | 7.5 | E | ug/L | 1.04 | 7.8 | Estimated Values | 4437 | T | dlr | mc | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
20160210086 | 2016-01-21 08:30 | ACROLEIN | 34210GM016 | 2 | 7.5 | E | ug/L | 1.2667 | 9.5 | Estimated Values | 4437 | T | dlr | mc | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl