## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20141490200 | 2014-05-29 07:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20141770148 | 2014-06-26 07:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20142060044 | 2014-07-24 07:00 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20150090092 | 2015-01-08 07:00 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
20151110020 | 2015-04-16 07:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
20151210034 | 2015-04-30 08:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
20152040180 | 2015-07-23 07:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
20152460214 | 2015-09-03 09:00 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
20152810127 | 2015-10-08 08:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
20153280159 | 2015-11-24 09:00 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
20153640101 | 2015-12-30 09:00 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
20160770091 | 2016-03-17 08:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
20161340231 | 2016-05-13 06:05 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
20161400192 | 2016-05-18 06:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
20161880112 | 2016-07-06 06:30 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
20162100018 | 2016-07-27 06:15 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
20162230173 | 2016-08-10 06:45 | NITROBENZENE | 34447GM016 | 0.6 |  | < | ug/L |  | 0.6 | < Reporting Level | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20152190008 | 2015-08-06 09:00 | NITROBENZENE | 34447GM016 | 0.6 | 0.898 | . | ug/L | 0.95768 | 0.86 | Recoverable Result | 4437 | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20153160003 | 2015-11-10 09:00 | NITROBENZENE | 34447GM016 | 0.6 | 0.898 | . | ug/L | 1.0468 | 0.94 | Recoverable Result | 4437 | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
20153370176 | 2015-12-03 09:00 | NITROBENZENE | 34447GM016 | 0.6 | 0.898 | . | ug/L | 1.147 | 1.03 | Recoverable Result | 4437 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20160350048 | 2016-02-04 09:00 | NITROBENZENE | 34447GM016 | 0.6 | 0.898 | . | ug/L | 1.1247 | 1.01 | Recoverable Result | 4437 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20151380011 | 2015-05-14 06:30 | NITROBENZENE | 34447GM016 | 0.6 | 0.9 | . | ug/L | 1.2111 | 1.09 | Recoverable Result | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20152950080 | 2015-10-22 09:00 | NITROBENZENE | 34447GM016 | 0.6 | 0.9 | . | ug/L | 1.1 | 0.99 | Recoverable Result | 4437 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153440004 | 2015-12-09 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 0.9 | . | ug/L | 1.1667 | 1.05 | Recoverable Result | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160980153 | 2016-04-07 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 0.9 | . | ug/L | 0.93333 | 0.84 | Recoverable Result | 4437 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20141640079 | 2014-06-12 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.2 | . | ug/L | 0.95833 | 1.15 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142480010 | 2014-09-04 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.2 | . | ug/L | 0.95833 | 1.15 | Recoverable Result | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20143240096 | 2014-11-19 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.2 | . | ug/L | 1.0417 | 1.25 | Recoverable Result | 4437 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20141360093 | 2014-05-16 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.2056 | . | ug/L | 1.352 | 1.63 | Recoverable Result | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20142530089 | 2014-09-10 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.2056 | . | ug/L | 1.1612 | 1.4 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20142890079 | 2014-10-16 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.2056 | . | ug/L | 1.0202 | 1.23 | Recoverable Result | 4437 | T | dlr |  | 2014-11-13 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143420011 | 2014-12-08 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.2056 | . | ug/L | 1.2193 | 1.47 | Recoverable Result | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20152330040 | 2015-08-20 08:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.347 | . | ug/L | 1.2695 | 1.71 | Recoverable Result | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20152610007 | 2015-09-17 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.347 | . | ug/L | 0.97996 | 1.32 | Recoverable Result | 4437 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20151270113 | 2015-05-07 08:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.35 | . | ug/L | 1.0741 | 1.45 | Recoverable Result | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20151620183 | 2015-06-11 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.35 | . | ug/L | 0.97778 | 1.32 | Recoverable Result | 4437 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20161190073 | 2016-04-28 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.35 | . | ug/L | 0.88889 | 1.2 | Recoverable Result | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20161680364 | 2016-06-15 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.497 | . | ug/L | 0.8016 | 1.2 | Recoverable Result | 4437 | T | dlr |  | 2016-06-23
20162020127 | 2016-07-20 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 1.497 | . | ug/L | 0.98864 | 1.48 | Recoverable Result | 4437 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
20161540129 | 2016-06-02 06:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.515 | . | ug/L | 0.89769 | 1.36 | Recoverable Result | 4437 | T | dlr |  | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
20161820012 | 2016-06-29 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 1.515 | . | ug/L | 0.84488 | 1.28 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
20152750005 | 2015-10-01 09:00 | NITROBENZENE | 34447GM016 | 0.6 | 2.245 | . | ug/L | 1.0156 | 2.28 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20160210086 | 2016-01-21 08:30 | NITROBENZENE | 34447GM016 | 0.6 | 2.245 | . | ug/L | 1.02 | 2.29 | Recoverable Result | 4437 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
20151690196 | 2015-06-18 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 2.25 | . | ug/L | 0.94667 | 2.13 | Recoverable Result | 4437 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20151760209 | 2015-06-25 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 2.25 | . | ug/L | 0.90222 | 2.03 | Recoverable Result | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20141570087 | 2014-06-05 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 2.4 | . | ug/L | 1.0458 | 2.51 | Recoverable Result | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20142270004 | 2014-08-14 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 2.4 | . | ug/L | 0.94583 | 2.27 | Recoverable Result | 4437 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20150720067 | 2015-03-12 06:30 | NITROBENZENE | 34447GM016 | 0.6 | 2.4 | . | ug/L | 1.1208 | 2.69 | Recoverable Result | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20141220027 | 2014-05-01 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 2.4112 | . | ug/L | 0.9995 | 2.41 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141840102 | 2014-07-02 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 2.4112 | . | ug/L | 1.0783 | 2.6 | Recoverable Result | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20141990077 | 2014-07-17 06:30 | NITROBENZENE | 34447GM016 | 0.6 | 2.4112 | . | ug/L | 1.0327 | 2.49 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142200169 | 2014-08-07 08:00 | NITROBENZENE | 34447GM016 | 0.6 | 2.4112 | . | ug/L | 0.90411 | 2.18 | Recoverable Result | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20161960008 | 2016-07-13 07:30 | NITROBENZENE | 34447GM016 | 0.6 | 2.495 | . | ug/L | 0.80561 | 2.01 | Recoverable Result | 4437 | T | dlr |  | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
20162150211 | 2016-08-02 07:00 | NITROBENZENE | 34447GM016 | 0.6 | 2.525 | . | ug/L | 0.85149 | 2.15 | Recoverable Result | 4437 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
20161740256 | 2016-06-22 06:45 | NITROBENZENE | 34447GM016 | 0.6 | 3.992 | . | ug/L | 1.0271 | 4.1 | Recoverable Result | 4437 | T | dlr |  | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl