## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20141360093 | 2014-05-16 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20141570087 | 2014-06-05 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20141840102 | 2014-07-02 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20142200169 | 2014-08-07 08:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20142480010 | 2014-09-04 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20142890079 | 2014-10-16 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143240096 | 2014-11-19 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20151270113 | 2015-05-07 08:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20151380011 | 2015-05-14 06:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20151760209 | 2015-06-25 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20152330040 | 2015-08-20 08:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20152750005 | 2015-10-01 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20153160003 | 2015-11-10 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
20153440004 | 2015-12-09 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160350048 | 2016-02-04 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20161190073 | 2016-04-28 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20161680364 | 2016-06-15 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2016-06-23
20161820012 | 2016-06-29 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
20162020127 | 2016-07-20 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
20162150211 | 2016-08-02 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 |  | < | ug/L |  | 0.24 | < Reporting Level | 4437 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
20151210034 | 2015-04-30 08:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.36 | . | ug/L | 1.4306 | 0.515 | Recoverable Result | 4437 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
20152190008 | 2015-08-06 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.36 | . | ug/L | 0.96944 | 0.349 | Recoverable Result | 4437 | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20152950080 | 2015-10-22 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.36 | . | ug/L | 0.99722 | 0.359 | Recoverable Result | 4437 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153370176 | 2015-12-03 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.36 | . | ug/L | 0.94444 | 0.34 | Recoverable Result | 4437 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20153640101 | 2015-12-30 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.36 | . | ug/L | 0.97778 | 0.352 | Recoverable Result | 4437 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
20160770091 | 2016-03-17 08:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.36 | . | ug/L | 0.98333 | 0.354 | Recoverable Result | 4437 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
20160980153 | 2016-04-07 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.36 | . | ug/L | 1.0056 | 0.362 | Recoverable Result | 4437 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20142060044 | 2014-07-24 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.48 | . | ug/L | 1.0083 | 0.484 | Recoverable Result | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20143420011 | 2014-12-08 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.48 | . | ug/L | 1.0625 | 0.51 | Recoverable Result | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20141640079 | 2014-06-12 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.482 | . | ug/L | 1.1452 | 0.552 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142530089 | 2014-09-10 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.482 | . | ug/L | 1.1203 | 0.54 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20151110020 | 2015-04-16 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.482 | . | ug/L | 1.1328 | 0.546 | Recoverable Result | 4437 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
20151620183 | 2015-06-11 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.54 | . | ug/L | 0.86296 | 0.466 | Recoverable Result | 4437 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20152040180 | 2015-07-23 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.54 | . | ug/L | 0.97407 | 0.526 | Recoverable Result | 4437 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
20152460214 | 2015-09-03 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.54 | . | ug/L | 0.87778 | 0.474 | Recoverable Result | 4437 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
20152610007 | 2015-09-17 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.54 | . | ug/L | 0.90741 | 0.49 | Recoverable Result | 4437 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20153280159 | 2015-11-24 09:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.54 | . | ug/L | 0.92778 | 0.501 | Recoverable Result | 4437 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
20162230173 | 2016-08-10 06:45 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.603 | . | ug/L | 1.0166 | 0.613 | Recoverable Result | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20151690196 | 2015-06-18 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.9 | . | ug/L | 0.89444 | 0.805 | Recoverable Result | 4437 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20152810127 | 2015-10-08 08:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.9 | . | ug/L | 0.94111 | 0.847 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
20160210086 | 2016-01-21 08:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.9 | . | ug/L | 0.94111 | 0.847 | Recoverable Result | 4437 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
20141220027 | 2014-05-01 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.96 | . | ug/L | 1.0208 | 0.98 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141490200 | 2014-05-29 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.96 | . | ug/L | 1.0094 | 0.969 | Recoverable Result | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20150720067 | 2015-03-12 06:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.96 | . | ug/L | 1.1667 | 1.12 | Recoverable Result | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20141770148 | 2014-06-26 07:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.964 | . | ug/L | 0.95643 | 0.922 | Recoverable Result | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20141990077 | 2014-07-17 06:30 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.964 | . | ug/L | 0.99378 | 0.958 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142270004 | 2014-08-14 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.964 | . | ug/L | 1.0373 | 1 | Recoverable Result | 4437 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20150090092 | 2015-01-08 07:00 | TERT-BUTYL_ALCOHOL | 77035GM016 | 0.24 | 0.964 | . | ug/L | 1.0477 | 1.01 | Recoverable Result | 4437 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl