## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-01-13 06:30 | 20110130056 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-01-20 07:30 | 20110210095 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-02-02 06:30 | 20110340007 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-02-24 08:00 | 20110560005 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-03-03 07:00 | 20110620082 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-03-17 08:00 | 20110770001 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-03-24 06:30 | 20110840108 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-04-14 07:30 | 20111050150 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-04-22 06:20 | 20111170107 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-04-28 07:00 | 20111190184 | 0.014 |  | < | 0.014 | ug/L |  | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-05-12 07:00 | 20111330148 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-05-19 07:30 | 20111390178 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-06-02 07:30 | 20111540007 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-06-16 08:00 | 20111680035 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-06-29 07:00 | 20111810004 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-07-07 07:00 | 20111890004 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-07-07 06:30 | 20111890005 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-07-21 07:30 | 20112030057 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-07-28 07:00 | 20112100007 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-08-04 08:00 | 20112170174 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-08-10 08:00 | 20112220126 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-08-18 08:47 | 20112310030 | 0.014 |  | . | 0.0498 | ug/L |  | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-08-18 08:46 | 20112310032 | 0.014 |  | < | 0.014 | ug/L |  | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-09-01 07:30 | 20112450022 | 0.014 |  | < | 0.014 | ug/L |  | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-09-15 07:30 | 20112590005 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-10-07 06:30 | 20112840031 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-10-20 07:00 | 20112930085 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-10-27 07:30 | 20113010047 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-11-09 07:00 | 20113130085 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-11-22 07:30 | 20113260111 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-11-29 07:00 | 20113340046 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-12-15 07:30 | 20113500021 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-01-12 07:00 | 20120120071 | 0.014 |  | < | 0.014 | ug/L |  | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-01-26 07:00 | 20120260028 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-02-02 12:10 | 20120370001 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-02-09 07:00 | 20120400058 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-02-23 07:30 | 20120540036 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-03-01 07:30 | 20120620015 | 0.014 |  | < | 0.014 | ug/L |  | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-03-15 08:00 | 20120760111 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-03-29 08:00 | 20120930003 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-04-12 07:00 | 20121040012 | 0.014 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-05-10 06:30 | 20121310027 | 0.014 |  | < | 0.014 | ug/L |  | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-06-07 06:30 | 20121600156 | 0.014 |  | < | 0.014 | ug/L |  | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-06-21 06:00 | 20121730123 | 0.014 |  | < | 0.014 | ug/L |  | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-08-07 06:00 | 20122210006 | 0.014 |  | < | 0.014 | ug/L |  | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-09-13 06:00 | 20122570122 | 0.014 |  | < | 0.014 | ug/L |  | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-10-30 07:00 | 20123040157 | 0.01 |  | < | 0.014 | ug/L |  | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-12-06 06:30 | 20123420074 | 0.01 |  | < | 0.01 | ug/L |  | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-01-24 06:00 | 20130250061 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-03-05 06:00 | 20130650005 | 0.01 |  | < | 0.01 | ug/L |  | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-05-02 06:00 | 20131230084 | 0.01 |  | < | 0.01 | ug/L |  | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-05-30 07:30 | 20131510026 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-07-11 06:30 | 20131920149 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-08-01 07:00 | 20132140002 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-08-15 06:30 | 20132280016 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-08-29 06:30 | 20132420001 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-09-06 06:50 | 20132490342 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-09-12 08:30 | 20132560001 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-09-25 08:00 | 20132690010 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-10-17 06:30 | 20132910008 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-10-31 06:30 | 20133050050 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-11-14 07:30 | 20133190012 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-12-05 08:00 | 20133400002 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-12-23 06:30 | 20133580036 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-01-09 06:30 | 20140100085 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-01-23 06:30 | 20140230082 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-02-06 06:30 | 20140370077 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-02-20 06:30 | 20140510043 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-03-27 06:30 | 20140860102 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-05-22 07:00 | 20141420140 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-06-05 07:00 | 20141570088 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-07-02 07:00 | 20141840097 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-08-07 07:00 | 20142200164 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-09-10 06:00 | 20142530087 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-10-23 06:00 | 20142960086 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-12-03 06:00 | 20143370094 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-03-12 06:00 | 20150720069 | 0.01 |  | < | 0.01 | ug/L |  | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-04-30 07:00 | 20151210037 | 0.01 |  | < | 0.01 | ug/L |  | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-07-09 07:00 | 20151900132 | 0.01 |  | . | 0.0616 | ug/L |  | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-08-20 06:00 | 20152330039 | 0.01 |  | E | 0.0595 | ug/L |  |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-10-01 06:00 | 20152750006 | 0.01 |  | . | 0.15 | ug/L |  |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-11-10 06:00 | 20153160001 | 0.01 |  | < | 0.01 | ug/L |  |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-01-07 06:00 | 20160070059 | 0.01 |  | < | 0.01 | ug/L |  |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-02-25 06:00 | 20160560044 | 0.01 |  | < | 0.01 | ug/L |  | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-04-14 06:00 | 20161050143 | 0.01 |  | < | 0.01 | ug/L |  | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-05-25 06:00 | 20161470001 | 0.01 |  | < | 0.01 | ug/L |  | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-07-06 06:00 | 20161880109 | 0.01 |  | < | 0.01 | ug/L |  | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-08-02 06:00 | 20162150213 | 0.01 |  | < | 0.01 | ug/L |  | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-09-21 06:00 | 20162660005 | 0.01 |  | < | 0.01 | ug/L |  | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-07-23 06:00 | 20152040177 | 0.01 | 0.01516 | . | 0.0244 | ug/L | 1.6095 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-08-06 06:00 | 20152190003 | 0.01 | 0.01516 | . | 0.0476 | ug/L | 2 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-06-25 06:00 | 20151760208 | 0.01 | 0.016 | . | 0.0284 | ug/L | 1.775 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-10-29 06:00 | 20153030068 | 0.01 | 0.016 | . | 0.0164 | ug/L | 1.025 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-10-22 06:00 | 20152950078 | 0.01 | 0.016 | . | 0.013 | ug/L | 0.8125 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-01-21 06:00 | 20160210080 | 0.01 | 0.016 | . | 0.0142 | ug/L | 0.8875 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-02-11 06:00 | 20160430111 | 0.01 | 0.016 | . | 0.015 | ug/L | 0.9375 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-05-16 06:00 | 20141360094 | 0.01 | 0.02007 | . | 0.0163 | ug/L | 0.81216 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-06-12 06:00 | 20141640076 | 0.01 | 0.02007 | . | 0.0169 | ug/L | 0.84205 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-07-10 06:00 | 20141910243 | 0.01 | 0.02007 | . | 0.0167 | ug/L | 0.83209 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-09-03 06:00 | 20142470041 | 0.01 | 0.02007 | . | 0.0217 | ug/L | 1.0812 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-04-17 06:00 | 20141080004 | 0.01 | 0.0201 | . | 0.0213 | ug/L | 1.0597 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-05-29 06:00 | 20141490205 | 0.01 | 0.0201 | . | 0.0188 | ug/L | 0.93532 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-10-09 06:00 | 20142820151 | 0.01 | 0.0201 | . | 0.0222 | ug/L | 1.1045 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-01-15 06:00 | 20150150115 | 0.01 | 0.0201 | . | 0.0315 | ug/L | 1.5672 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-02-17 08:30 | 20110490035 | 0.014 | 0.02475 | . | 0.0235 | ug/L | 0.94949 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-04-28 08:30 | 20161190075 | 0.01 | 0.0252 | . | 0.0252 | ug/L | 1 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-05-13 06:00 | 20161340228 | 0.01 | 0.0252 | . | 0.0246 | ug/L | 0.97619 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-06-08 07:30 | 20161600087 | 0.01 | 0.0252 | . | 0.0245 | ug/L | 0.97222 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-07-20 06:15 | 20162020124 | 0.01 | 0.0252 | . | 0.0192 | ug/L | 0.7619 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-08-24 06:00 | 20162380004 | 0.01 | 0.0252 | . | 0.0235 | ug/L | 0.93254 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-12-09 06:00 | 20153440001 | 0.01 | 0.03032 | . | 0.0266 | ug/L | 0.87731 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-12-17 06:00 | 20153510109 | 0.01 | 0.03032 | . | 0.0254 | ug/L | 0.83773 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-03-03 06:00 | 20160630046 | 0.01 | 0.03032 | . | 0.029 | ug/L | 0.95646 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-03-17 06:00 | 20160770090 | 0.01 | 0.03032 | . | 0.0295 | ug/L | 0.97296 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-05-07 07:00 | 20151270112 | 0.01 | 0.032 | . | 0.0357 | ug/L | 1.1156 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-06-04 07:00 | 20151550293 | 0.01 | 0.032 | . | 0.0636 | ug/L | 1.9875 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-05-05 07:00 | 20161260151 | 0.01 | 0.032 | . | 0.0313 | ug/L | 0.97813 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-01-06 07:00 | 20110070109 | 0.014 | 0.034102 | . | 0.0301 | ug/L | 0.88265 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-07-14 08:00 | 20111960039 | 0.014 | 0.03476 | . | 0.0455 | ug/L | 1.309 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-10-13 07:30 | 20112870073 | 0.014 | 0.03476 | . | 0.0286 | ug/L | 0.82278 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-02-16 07:30 | 20120470078 | 0.014 | 0.03476 | . | 0.0271 | ug/L | 0.77963 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-04-26 07:00 | 20121180062 | 0.014 | 0.03476 | . | 0.0334 | ug/L | 0.96087 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-03-31 07:30 | 20110910084 | 0.014 | 0.03497 | . | 0.0311 | ug/L | 0.88934 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-05-26 07:30 | 20111470065 | 0.014 | 0.035132 | . | 0.029 | ug/L | 0.82545 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-03-10 06:30 | 20110690078 | 0.014 | 0.035266 | . | 0.0319 | ug/L | 0.90454 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-08-25 10:00 | 20112380055 | 0.014 | 0.036 | . | 0.0291 | ug/L | 0.80833 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-11-03 07:00 | 20113080001 | 0.014 | 0.036 | . | 0.0327 | ug/L | 0.90833 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-03-22 06:30 | 20120830077 | 0.014 | 0.036 | . | 0.0348 | ug/L | 0.96667 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-05-24 07:00 | 20121460001 | 0.014 | 0.036 | . | 0.0388 | ug/L | 1.0778 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-01-27 06:30 | 20110280004 | 0.014 | 0.036163 | . | 0.0352 | ug/L | 0.97338 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-05-05 07:30 | 20111260154 | 0.014 | 0.036397 | . | 0.0325 | ug/L | 0.89294 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-06-26 06:00 | 20141770149 | 0.01 | 0.04014 | . | 0.0342 | ug/L | 0.85202 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-09-25 06:00 | 20142720002 | 0.01 | 0.04014 | . | 0.042 | ug/L | 1.0463 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-11-06 06:00 | 20143110108 | 0.01 | 0.04014 | . | 0.0378 | ug/L | 0.9417 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-02-12 06:00 | 20150430092 | 0.01 | 0.04014 | . | 0.0376 | ug/L | 0.93672 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-05-01 06:00 | 20141220025 | 0.01 | 0.0402 | . | 0.0436 | ug/L | 1.0846 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-08-14 06:00 | 20142270001 | 0.01 | 0.0402 | . | 0.0448 | ug/L | 1.1144 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2014-11-19 06:00 | 20143240095 | 0.01 | 0.0402 | . | 0.0427 | ug/L | 1.0622 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2016-06-22 06:15 | 20161740258 | 0.01 | 0.0504 | . | 0.0348 | ug/L | 0.69048 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-09-03 06:00 | 20152460215 | 0.01 | 0.06064 | . | 0.0476 | ug/L | 0.78496 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2015-09-17 06:00 | 20152610011 | 0.01 | 0.06064 | . | 0.1 | ug/L | 1.6491 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-02-10 07:00 | 20110410061 | 0.014 | 0.069112 | . | 0.0534 | ug/L | 0.77266 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-11-17 07:00 | 20113220198 | 0.014 | 0.06952 | . | 0.051 | ug/L | 0.7336 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-06-23 07:00 | 20111750006 | 0.014 | 0.072 | . | 0.0742 | ug/L | 1.0306 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-09-08 07:30 | 20112520209 | 0.014 | 0.072 | . | 0.0654 | ug/L | 0.90833 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-12-13 07:30 | 20113490056 | 0.014 | 0.072 | . | 0.0751 | ug/L | 1.0431 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-01-19 07:00 | 20120200073 | 0.014 | 0.072 | . | 0.0741 | ug/L | 1.0292 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-06-07 10:00 | 20111590005 | 0.014 | 0.074096 | . | 0.0538 | ug/L | 0.72609 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2011-04-07 09:00 | 20110980030 | 0.014 | 0.099483 | . | 0.0781 | ug/L | 0.78506 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-07-03 08:00 | 20121870008 | 0.014 | 0.1 | . | 0.095 | ug/L | 0.95 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-07-19 06:30 | 20122020004 | 0.014 | 0.1 | . | 0.0856 | ug/L | 0.856 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-02-07 06:30 | 20130390105 | 0.01 | 0.1 | . | 0.0748 | ug/L | 0.748 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-08-16 06:30 | 20122300021 | 0.014 | 0.1014 | . | 0.092 | ug/L | 0.9073 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-08-30 06:30 | 20122430227 | 0.014 | 0.1014 | . | 0.0925 | ug/L | 0.91223 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-02-19 06:30 | 20130510051 | 0.01 | 0.1014 | . | 0.0817 | ug/L | 0.80572 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-10-10 07:00 | 20122850005 | 0.01 | 0.25 | . | 0.176 | ug/L | 0.704 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-01-10 06:00 | 20130100066 | 0.01 | 0.25 | . | 0.182 | ug/L | 0.728 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-03-21 06:30 | 20130810108 | 0.01 | 0.25 | . | 0.212 | ug/L | 0.848 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-09-27 07:00 | 20122720048 | 0.01 | 0.2535 | . | 0.202 | ug/L | 0.79684 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-12-20 06:30 | 20123560092 | 0.01 | 0.2535 | . | 0.174 | ug/L | 0.68639 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2013-04-04 06:30 | 20130940097 | 0.01 | 0.2535 | . | 0.168 | ug/L | 0.66272 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-11-08 06:30 | 20123140095 | 0.01 | 0.5 | . | 0.399 | ug/L | 0.798 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | DISULFOTON SULFONE | 61640GCM39 | 2012-11-20 06:30 | 20123260037 | 0.01 | 0.507 | . | 0.383 | ug/L | 0.75542 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl