## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-08-29 08:30 | 20132420005 | 100 |  | < | 100 | ng/L |  | VA | CAD |  | 2013-09-20 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-09-06 07:00 | 20132490346 | 100 |  | < | 100 | ng/L |  | VA | VKJ | @c | 2013-09-24 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-09-19 08:00 | 20132630001 | 100 |  | < | 100 | ng/L |  | VA | CAD |  | 2013-09-28 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-10-31 07:30 | 20133050048 | 100 |  | < | 250 | ng/L |  | VA | JIV | c | 2013-11-19 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-11-07 08:30 | 20133110106 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2013-11-23 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-11-21 08:00 | 20133260006 | 100 |  | < | 100 | ng/L |  | VA | JIV |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-12-05 08:30 | 20133400005 | 100 |  | < | 100 | ng/L |  | VA | JIV |  | 2013-12-17 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-12-12 08:00 | 20133470005 | 100 |  | < | 100 | ng/L |  | VA | JIV |  | 2013-12-18 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2013-12-23 08:00 | 20133580040 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2014-01-07 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-01-09 08:00 | 20140100087 | 100 |  | < | 100 | ng/L |  | OG | CAD |  | 2014-01-28 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-01-30 09:00 | 20140300037 | 100 |  | < | 100 | ng/L |  | VA | CAD |  | 2014-02-05 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-02-06 08:30 | 20140370079 | 100 |  | < | 100 | ng/L |  | VA | KLE |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-02-20 08:00 | 20140510044 | 100 |  | < | 100 | ng/L |  | VA | JIV |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-05-08 06:00 | 20141290002 | 100 |  | < | 100 | ng/L |  | OG | CAD |  | 2014-05-21 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-05-29 08:30 | 20141490204 | 100 |  | < | 100 | ng/L |  | VA | KLE |  | 2014-06-10 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-06-12 08:30 | 20141640081 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2014-06-25 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-08-14 08:00 | 20142270006 | 100 |  | < | 100 | ng/L |  | VA | KLE |  | 2014-08-19 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-09-18 07:30 | 20142620041 | 100 |  | < | 100 | ng/L |  | VA | KLE |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-10-09 07:00 | 20142820153 | 100 |  | < | 100 | ng/L |  | VA | CAD |  | 2014-10-20 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-11-13 07:30 | 20143180048 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-12-03 06:30 | 20143370093 | 100 |  | < | 100 | ng/L |  | VA | JIV |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-01-29 06:00 | 20150290076 | 100 |  | < | 100 | ng/L |  | VA | MGN |  | 2015-02-10 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-04-02 06:00 | 20150930002 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-04-07 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-07-01 07:00 | 20151820108 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-07-14 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-07-09 08:00 | 20151900133 | 100 |  | < | 250 | ng/L |  | VA | AWH | c | 2015-07-17 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-13 07:30 | 20152250275 | 100 |  | < | 100 | ng/L |  | VA | AWH |  | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-13 07:00 | 20152250276 | 100 |  | < | 100 | ng/L |  | VA | AWH |  | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-13 08:00 | 20152250277 | 100 |  | < | 100 | ng/L |  | VA | AWH |  | 2015-08-20 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-03 07:30 | 20152460212 | 100 |  | < | 250 | ng/L |  | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-03 07:00 | 20152460211 | 100 |  | < | 250 | ng/L |  | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-03 06:30 | 20152460210 | 100 |  | < | 250 | ng/L |  | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-24 08:30 | 20152670139 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-24 08:00 | 20152670135 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-24 07:00 | 20152670138 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-15 08:00 | 20152890012 | 100 |  | < | 100 | ng/L |  | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-15 07:30 | 20152890013 | 100 |  | < | 100 | ng/L |  | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-15 07:00 | 20152890014 | 100 |  | < | 100 | ng/L |  | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-05 08:00 | 20153090114 | 100 |  | < | 100 | ng/L |  | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-05 07:30 | 20153090115 | 100 |  | < | 100 | ng/L |  | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-05 07:00 | 20153090123 | 100 |  | < | 100 | ng/L |  | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-24 07:00 | 20153280162 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-24 06:30 | 20153280161 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-24 06:00 | 20153280160 | 100 |  | < | 100 | ng/L |  | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-30 08:00 | 20153640100 | 320 |  | < | 320 | ng/L |  | VA | SBH | mc | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-30 07:30 | 20153640099 | 320 |  | < | 320 | ng/L |  | VA | SBH | mc | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-30 07:00 | 20153640098 | 320 |  | < | 320 | ng/L |  | VA | SBH | mc | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-21 08:00 | 20160210084 | 320 |  | < | 320 | ng/L |  | VA | AWH | mc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-21 07:30 | 20160210082 | 320 |  | < | 320 | ng/L |  | VA | AWH | mc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-21 07:00 | 20160210083 | 320 |  | < | 320 | ng/L |  | VA | AWH | mc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-11 08:00 | 20160430108 | 320 |  | < | 320 | ng/L |  | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-11 07:30 | 20160430107 | 320 |  | < | 320 | ng/L |  | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-11 06:30 | 20160430106 | 320 |  | < | 320 | ng/L |  | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-03 07:30 | 20160630048 | 320 |  | < | 100 | ng/L |  | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-03 07:00 | 20160630049 | 320 |  | < | 100 | ng/L |  | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-03 06:30 | 20160630050 | 320 |  | < | 100 | ng/L |  | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-04-14 08:00 | 20161050141 | 320 |  | < | 320 | ng/L |  | VA | AWH | mc | 2016-05-05 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-04-14 06:30 | 20161050142 | 320 |  | < | 320 | ng/L |  | VA | AWH | mc | 2016-05-05 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-06-29 09:30 | 20161820007 | 320 |  | < | 100 | ng/L |  | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-06-29 09:00 | 20161820006 | 320 |  | < | 100 | ng/L |  | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-09-21 08:30 | 20162660010 | 320 |  | < | 320 | ng/L |  | VA | SBH | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-09-21 08:00 | 20162660009 | 320 |  | < | 320 | ng/L |  | VA | SBH | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-12-07 09:00 | 20163420124 | 320 |  | < | 320 | ng/L |  | VA | SBH | mc | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-12-07 08:30 | 20163420125 | 320 |  | < | 320 | ng/L |  | VA | SBH | mc | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-29 07:30 | 20153030065 | 100 | 149.7 | < | 100 | ng/L |  | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-29 07:00 | 20153030064 | 100 | 149.7 | < | 100 | ng/L |  | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-29 06:30 | 20153030063 | 100 | 149.7 | < | 100 | ng/L |  | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-17 08:00 | 20160770095 | 320 | 149.7 | < | 320 | ng/L |  | VA | AWH | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-17 07:30 | 20160770094 | 320 | 149.7 | < | 320 | ng/L |  | VA | AWH | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-17 06:30 | 20160770096 | 320 | 149.7 | < | 320 | ng/L |  | VA | AWH | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-07 07:30 | 20160070057 | 320 | 151 | < | 320 | ng/L |  | VA | AWH | mc | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-25 07:30 | 20160560058 | 320 | 151 | < | 320 | ng/L |  | VA | SBH | mc | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-07-31 07:00 | 20142130132 | 100 | 199.5 | < | 492 | ng/L |  | VA | KLE | c | 2014-08-11 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-08-07 09:00 | 20142200170 | 100 | 199.5 | < | 100 | ng/L |  | VA | KLE |  | 2014-08-13 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-09-03 07:45 | 20142470035 | 100 | 199.5 | < | 150 | ng/L |  | VA | KLE | c | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-04-16 07:00 | 20151110018 | 100 | 199.5 | < | 100 | ng/L |  | VA | AWH |  | 2015-04-27 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-04-09 06:30 | 20150990083 | 100 | 203.91 | < | 192 | ng/L |  | VA | KLE | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-11-02 08:00 | 20163070099 | 320 | 249.2 | < | 377 | ng/L |  | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-12-21 07:30 | 20163560021 | 320 | 249.2 | < | 400 | ng/L |  | VA | SBH | mc | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-12-21 08:00 | 20163560022 | 320 | 249.2 | < | 400 | ng/L |  | VA | SBH | mc | 2017-01-05 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-10 08:00 | 20160710224 | 320 | 299.4 | < | 320 | ng/L |  | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-10 07:30 | 20160710223 | 320 | 299.4 | < | 358 | ng/L |  | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-03-10 07:00 | 20160710222 | 320 | 299.4 | < | 320 | ng/L |  | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-27 07:30 | 20152390230 | 100 | 302 | < | 287 | ng/L |  | VA | SBH | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-07-10 07:30 | 20141910245 | 100 | 407.82 | < | 349 | ng/L |  | VA | KLE | c | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-11-30 07:30 | 20163370004 | 320 | 496.8 | < | 518 | ng/L |  | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-04 08:00 | 20160350044 | 320 | 149.7 | E | 138 | ng/L | 0.92184 | VA | AWH | mtc | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-04 07:30 | 20160350042 | 320 | 149.7 | E | 150 | ng/L | 1.002 | VA | AWH | mtc | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-04 07:00 | 20160350043 | 320 | 149.7 | E | 139 | ng/L | 0.92852 | VA | AWH | mtc | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-07 07:00 | 20160070054 | 320 | 151 | E | 123 | ng/L | 0.81457 | VA | AWH | mtc | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-07 06:30 | 20160070056 | 320 | 151 | E | 144 | ng/L | 0.95364 | VA | AWH | mtc | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-28 07:00 | 20160280055 | 320 | 151 | E | 219 | ng/L | 1.4503 | VA | AWH | mnc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-28 06:30 | 20160280059 | 320 | 151 | E | 197 | ng/L | 1.3046 | VA | AWH | mnc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-28 06:00 | 20160280058 | 320 | 151 | E | 190 | ng/L | 1.2583 | VA | AWH | mnc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-25 07:00 | 20160560057 | 320 | 151 | E | 178 | ng/L | 1.1788 | VA | SBH | mnc | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-25 06:30 | 20160560056 | 320 | 151 | E | 158 | ng/L | 1.0464 | VA | SBH | mtc | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-09-28 09:00 | 20162720259 | 320 | 248.4 | E | 200 | ng/L | 0.80515 | VA | VKJ | mnc | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-09-28 08:30 | 20162720260 | 320 | 248.4 | E | 260 | ng/L | 1.0467 | VA | VKJ | mnc | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-06-22 07:30 | 20161740281 | 320 | 249.2 | E | 233 | ng/L | 0.93499 | VA | VKJ | mnc | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-06-22 07:15 | 20161740280 | 320 | 249.2 | E | 216 | ng/L | 0.86677 | VA | VKJ | mnc | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-07-27 07:15 | 20162100011 | 320 | 249.2 | . | 302 | ng/L | 1.2119 | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-07-27 07:00 | 20162100010 | 320 | 249.2 | . | 232 | ng/L | 0.93098 | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-11-02 08:30 | 20163070100 | 320 | 249.2 | E | 776 | ng/L | 2 | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-17 07:30 | 20153510113 | 320 | 299.4 | E | 249 | ng/L | 0.83166 | VA | SBH | mnc | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-17 07:00 | 20153510111 | 320 | 299.4 | E | 332 | ng/L | 1.1089 | VA | SBH | mc | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-17 06:30 | 20153510112 | 320 | 299.4 | E | 290 | ng/L | 0.9686 | VA | SBH | mnc | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-18 08:00 | 20160490031 | 320 | 299.4 | E | 369 | ng/L | 1.2325 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-18 07:30 | 20160490030 | 320 | 299.4 | E | 375 | ng/L | 1.2525 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-02-18 07:00 | 20160490029 | 320 | 299.4 | E | 341 | ng/L | 1.1389 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-14 08:00 | 20160140035 | 320 | 302 | E | 327 | ng/L | 1.0828 | VA | AWH | mc | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-14 07:30 | 20160140036 | 320 | 302 | E | 360 | ng/L | 1.1921 | VA | AWH | mc | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-01-14 07:00 | 20160140037 | 320 | 302 | E | 301 | ng/L | 0.99669 | VA | AWH | mnc | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-04-28 06:30 | 20161190072 | 320 | 302 | . | 334 | ng/L | 1.106 | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-04-28 06:00 | 20161190071 | 320 | 302 | . | 367 | ng/L | 1.2152 | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-04-10 06:30 | 20141010010 | 100 | 126.25 | . | 186 | ng/L | 1.4733 | VA | JIV |  | 2014-04-21 | ERA 0912-13-03: 25 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-07-23 06:30 | 20152040178 | 100 | 149.7 | . | 152 | ng/L | 1.0154 | VA | VKJ |  | 2015-08-03 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-10 07:30 | 20153160006 | 100 | 149.7 | . | 145 | ng/L | 0.9686 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-10 07:00 | 20153160005 | 100 | 149.7 | . | 164 | ng/L | 1.0955 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-10 06:30 | 20153160004 | 100 | 149.7 | . | 207 | ng/L | 1.3828 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-07-30 08:00 | 20152110201 | 100 | 151 | . | 299 | ng/L | 1.9801 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-07-30 07:30 | 20152110200 | 100 | 151 | . | 312 | ng/L | 2 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-07-30 07:00 | 20152110202 | 100 | 151 | . | 260 | ng/L | 1.7219 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-10 08:00 | 20152530084 | 100 | 151 | . | 269 | ng/L | 1.7815 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-10 07:30 | 20152530086 | 100 | 151 | . | 234 | ng/L | 1.5497 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-10 07:00 | 20152530085 | 100 | 151 | . | 165 | ng/L | 1.0927 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-19 07:00 | 20153230141 | 100 | 151 | . | 164 | ng/L | 1.0861 | VA | VKJ |  | 2015-11-24 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-19 08:00 | 20153230142 | 100 | 151 | . | 145 | ng/L | 0.96026 | VA | VKJ |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-11-19 07:30 | 20153230143 | 100 | 151 | . | 187 | ng/L | 1.2384 | VA | VKJ |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-07-24 08:00 | 20142060046 | 100 | 199.5 | . | 124 | ng/L | 0.62155 | VA | CAD |  | 2014-07-30 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-02-26 06:30 | 20150570010 | 100 | 199.5 | . | 134 | ng/L | 0.67168 | VA | SBH |  | 2015-03-03 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-03-26 06:30 | 20150850163 | 100 | 199.5 | . | 236 | ng/L | 1.183 | VA | KLE |  | 2015-04-02 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-04-24 07:30 | 20141150010 | 100 | 202 | . | 172 | ng/L | 0.85149 | VA | JIV |  | 2014-05-01 | ERA 0912-13-03: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-07-17 07:30 | 20141990082 | 100 | 203.91 | . | 225 | ng/L | 1.1034 | VA | VKJ |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-09-04 08:30 | 20142480004 | 100 | 203.91 | . | 297 | ng/L | 1.4565 | VA | KLE |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-09-25 07:00 | 20142720026 | 100 | 203.91 | . | 136 | ng/L | 0.66696 | VA | KLE |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-03-05 07:00 | 20150650041 | 100 | 203.91 | . | 247 | ng/L | 1.2113 | VA | SBH |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-05-16 08:00 | 20141360090 | 100 | 252.5 | . | 227 | ng/L | 0.89901 | VA | MPO |  | 2014-05-28 | ERA 0912-13-03: 25 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-06-05 08:30 | 20141570091 | 100 | 252.5 | . | 148 | ng/L | 0.58614 | VA | KLE |  | 2014-06-17 | ERA 0912-13-03: 25 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-07-16 06:00 | 20151970155 | 100 | 299.4 | . | 332 | ng/L | 1.1089 | VA | SBH |  | 2015-07-21 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-03 08:00 | 20153370174 | 100 | 299.4 | . | 315 | ng/L | 1.0521 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-03 07:30 | 20153370175 | 100 | 299.4 | . | 300 | ng/L | 1.002 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-12-03 07:00 | 20153370173 | 100 | 299.4 | . | 275 | ng/L | 0.9185 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-06 07:30 | 20152190004 | 100 | 302 | . | 468 | ng/L | 1.5497 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-06 07:00 | 20152190005 | 100 | 302 | . | 298 | ng/L | 0.98675 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-06 06:30 | 20152190006 | 100 | 302 | . | 499 | ng/L | 1.6523 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-20 09:00 | 20152330042 | 100 | 302 | . | 506 | ng/L | 1.6755 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-20 08:30 | 20152330043 | 100 | 302 | . | 467 | ng/L | 1.5464 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-20 06:30 | 20152330044 | 100 | 302 | . | 286 | ng/L | 0.94702 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-27 08:00 | 20152390229 | 100 | 302 | . | 455 | ng/L | 1.5066 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-08-27 07:00 | 20152390225 | 100 | 302 | . | 378 | ng/L | 1.2517 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-22 07:30 | 20152950083 | 100 | 302 | . | 442 | ng/L | 1.4636 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-22 07:00 | 20152950081 | 100 | 302 | . | 237 | ng/L | 0.78477 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-22 06:30 | 20152950082 | 100 | 302 | . | 257 | ng/L | 0.85099 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-08-18 07:15 | 20142340168 | 100 | 399 | . | 138 | ng/L | 0.34586 | VA | KLE | @c | 2014-09-03 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-10-02 07:30 | 20142760029 | 100 | 399 | . | 376 | ng/L | 0.94236 | VA | KLE |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-10-23 07:00 | 20142960085 | 100 | 399 | . | 505 | ng/L | 1.2657 | VA | CAD |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-01-15 07:00 | 20150150114 | 100 | 399 | . | 344 | ng/L | 0.86216 | VA | VKJ |  | 2015-01-28 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-02-05 07:00 | 20150360050 | 100 | 399 | . | 397 | ng/L | 0.99499 | VA | MGN |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-06-26 09:00 | 20141770144 | 100 | 407.82 | . | 360 | ng/L | 0.88274 | VA | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-10-30 08:00 | 20143030096 | 100 | 407.82 | . | 423 | ng/L | 1.0372 | VA | CAD |  | 2014-11-04 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-11-26 07:30 | 20143300050 | 100 | 407.82 | . | 272 | ng/L | 0.66696 | VA | MGN |  | 2014-12-03 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-11-19 08:00 | 20143240094 | 100 | 407.82 | . | 425 | ng/L | 1.0421 | VA | MGN |  | 2014-12-03 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-12-18 07:00 | 20143520108 | 100 | 407.82 | E | 190 | ng/L | 0.46589 | VA | MGN | c | 2014-12-30 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-11-30 08:00 | 20163370005 | 320 | 496.8 | E | 532 | ng/L | 1.0709 | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-07-06 07:45 | 20161880106 | 320 | 498.4 | E | 536 | ng/L | 1.0754 | VA | AWH | mc | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-07-06 07:15 | 20161880111 | 320 | 498.4 | E | 395 | ng/L | 0.79254 | VA | AWH | mc | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-09-07 08:30 | 20162520007 | 320 | 498.4 | E | 425 | ng/L | 0.85273 | VA | VKJ | mc | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2016-09-07 08:00 | 20162520006 | 320 | 498.4 | E | 399 | ng/L | 0.80056 | VA | VKJ | mc | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-05-22 08:00 | 20141420138 | 100 | 505 | . | 490 | ng/L | 0.9703 | VA | VKJ |  | 2014-06-04 | ERA 0912-13-03: 50 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2014-06-19 08:00 | 20141710106 | 100 | 505 | . | 516 | ng/L | 1.0218 | VA | VKJ |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-17 09:30 | 20152610006 | 100 | 1197.6 | . | 1040 | ng/L | 0.8684 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-17 09:00 | 20152610005 | 100 | 1197.6 | . | 1250 | ng/L | 1.0438 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-09-17 08:30 | 20152610004 | 100 | 1197.6 | . | 1370 | ng/L | 1.144 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-01 07:30 | 20152750009 | 100 | 1197.6 | . | 873 | ng/L | 0.72896 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-01 07:00 | 20152750008 | 100 | 1197.6 | . | 695 | ng/L | 0.58033 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-01 06:30 | 20152750007 | 100 | 1197.6 | . | 933 | ng/L | 0.77906 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-08 07:00 | 20152810124 | 100 | 1208 | . | 1270 | ng/L | 1.0513 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-08 06:30 | 20152810125 | 100 | 1208 | . | 1100 | ng/L | 0.9106 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | ACETOCHLOR SULFONIC ACID | 68523LCM60 | 2015-10-08 06:00 | 20152810123 | 100 | 1208 | . | 1230 | ng/L | 1.0182 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl