## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | ALACHLOR OA | 68526LCM60 | 2013-08-29 08:30 | 20132420005 | 84 |  | < | 84 | ng/L |  | VA | CAD |  | 2013-09-20 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | ALACHLOR OA | 68526LCM60 | 2013-09-06 07:00 | 20132490346 | 84 |  | < | 84 | ng/L |  | VA | VKJ | @c | 2013-09-24 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | ALACHLOR OA | 68526LCM60 | 2013-09-19 08:00 | 20132630001 | 84 |  | < | 84 | ng/L |  | VA | CAD |  | 2013-09-28 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
2437 | ALACHLOR OA | 68526LCM60 | 2013-10-31 07:30 | 20133050048 | 84 |  | < | 84 | ng/L |  | VA | JIV |  | 2013-11-19 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | ALACHLOR OA | 68526LCM60 | 2013-11-07 08:30 | 20133110106 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2013-11-23 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | ALACHLOR OA | 68526LCM60 | 2013-11-21 08:00 | 20133260006 | 84 |  | < | 84 | ng/L |  | VA | JIV |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
2437 | ALACHLOR OA | 68526LCM60 | 2013-12-05 08:30 | 20133400005 | 84 |  | < | 84 | ng/L |  | VA | JIV |  | 2013-12-17 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
2437 | ALACHLOR OA | 68526LCM60 | 2013-12-12 08:00 | 20133470005 | 84 |  | < | 84 | ng/L |  | VA | JIV |  | 2013-12-18 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
2437 | ALACHLOR OA | 68526LCM60 | 2013-12-23 08:00 | 20133580040 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2014-01-07 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-01-09 08:00 | 20140100087 | 84 |  | < | 84 | ng/L |  | OG | CAD |  | 2014-01-28 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-01-30 09:00 | 20140300037 | 84 |  | < | 84 | ng/L |  | VA | CAD |  | 2014-02-05 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | ALACHLOR OA | 68526LCM60 | 2014-02-06 08:30 | 20140370079 | 84 |  | < | 84 | ng/L |  | VA | KLE |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | ALACHLOR OA | 68526LCM60 | 2014-02-20 08:00 | 20140510044 | 84 |  | < | 84 | ng/L |  | VA | JIV |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | ALACHLOR OA | 68526LCM60 | 2014-07-24 08:00 | 20142060046 | 84 |  | < | 84 | ng/L |  | VA | CAD |  | 2014-07-30 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-08-07 09:00 | 20142200170 | 84 |  | < | 84 | ng/L |  | VA | KLE |  | 2014-08-13 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-10-02 07:30 | 20142760029 | 84 |  | < | 84 | ng/L |  | VA | KLE |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-01-15 07:00 | 20150150114 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2015-01-28 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-01-29 06:00 | 20150290076 | 84 |  | < | 84 | ng/L |  | VA | MGN |  | 2015-02-10 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-02-26 06:30 | 20150570010 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2015-03-03 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-03-26 06:30 | 20150850163 | 84 |  | < | 84 | ng/L |  | VA | KLE |  | 2015-04-02 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-27 08:00 | 20152390229 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-27 07:30 | 20152390230 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-27 07:00 | 20152390225 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-17 09:30 | 20152610006 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-17 09:00 | 20152610005 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-17 08:30 | 20152610004 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-19 07:00 | 20153230141 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2015-11-24 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-19 08:00 | 20153230142 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-19 07:30 | 20153230143 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-17 07:30 | 20153510113 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-17 07:00 | 20153510111 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-17 06:30 | 20153510112 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-25 07:30 | 20160560058 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-25 07:00 | 20160560057 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-25 06:30 | 20160560056 | 84 |  | < | 84 | ng/L |  | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-17 08:00 | 20160770095 | 84 |  | < | 84 | ng/L |  | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-17 07:30 | 20160770094 | 84 |  | < | 84 | ng/L |  | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-17 06:30 | 20160770096 | 84 |  | < | 84 | ng/L |  | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | ALACHLOR OA | 68526LCM60 | 2016-04-28 06:30 | 20161190072 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-04-28 06:00 | 20161190071 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-06-22 07:30 | 20161740281 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | ALACHLOR OA | 68526LCM60 | 2016-06-22 07:15 | 20161740280 | 84 |  | < | 84 | ng/L |  | VA | VKJ |  | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | ALACHLOR OA | 68526LCM60 | 2014-04-10 06:30 | 20141010010 | 84 | 127.5 | < | 131 | ng/L |  | VA | JIV | c | 2014-04-21 | ERA 0912-13-03: 25 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-10 07:30 | 20153160006 | 84 | 125 | . | 138 | ng/L | 1.104 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-10 07:00 | 20153160005 | 84 | 125 | . | 145 | ng/L | 1.16 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-10 06:30 | 20153160004 | 84 | 125 | . | 171 | ng/L | 1.368 | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-07 07:30 | 20160070057 | 84 | 125 | . | 107 | ng/L | 0.856 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-07 07:00 | 20160070054 | 84 | 125 | . | 122 | ng/L | 0.976 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-07 06:30 | 20160070056 | 84 | 125 | . | 115 | ng/L | 0.92 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-21 08:00 | 20160210084 | 84 | 125 | . | 95.9 | ng/L | 0.7672 | VA | AWH |  | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-21 07:30 | 20160210082 | 84 | 125 | . | 109 | ng/L | 0.872 | VA | AWH |  | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-21 07:00 | 20160210083 | 84 | 125 | . | 117 | ng/L | 0.936 | VA | AWH |  | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | ALACHLOR OA | 68526LCM60 | 2015-07-23 06:30 | 20152040178 | 84 | 127 | . | 102 | ng/L | 0.80315 | VA | VKJ |  | 2015-08-03 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-10 08:00 | 20152530084 | 84 | 127 | . | 128 | ng/L | 1.0079 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-10 07:30 | 20152530086 | 84 | 127 | . | 146 | ng/L | 1.1496 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-10 07:00 | 20152530085 | 84 | 127 | . | 110 | ng/L | 0.86614 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-24 08:30 | 20152670139 | 84 | 127 | . | 147 | ng/L | 1.1575 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-24 08:00 | 20152670135 | 84 | 127 | . | 136 | ng/L | 1.0709 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-24 07:00 | 20152670138 | 84 | 127 | . | 143 | ng/L | 1.126 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-28 07:00 | 20160280055 | 84 | 127 | . | 106 | ng/L | 0.83465 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-28 06:30 | 20160280059 | 84 | 127 | . | 118 | ng/L | 0.92913 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-28 06:00 | 20160280058 | 84 | 127 | . | 114 | ng/L | 0.89764 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-07-31 07:00 | 20142130132 | 84 | 165.33 | . | 218 | ng/L | 1.3186 | VA | KLE |  | 2014-08-11 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-08-14 08:00 | 20142270006 | 84 | 165.33 | . | 176 | ng/L | 1.0645 | VA | KLE |  | 2014-08-19 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-04-16 07:00 | 20151110018 | 84 | 165.33 | . | 192 | ng/L | 1.1613 | VA | AWH |  | 2015-04-27 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-05-08 06:00 | 20141290002 | 84 | 168.27 | E | 181 | ng/L | 1.0757 | OG | CAD | c | 2014-05-21 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-09-03 07:45 | 20142470035 | 84 | 168.27 | . | 186 | ng/L | 1.1054 | VA | KLE |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-09-18 07:30 | 20142620041 | 84 | 168.27 | . | 186 | ng/L | 1.1054 | VA | KLE |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-04-02 06:00 | 20150930002 | 84 | 168.27 | . | 292 | ng/L | 1.7353 | VA | VKJ |  | 2015-04-07 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-07-30 08:00 | 20152110201 | 84 | 203 | . | 230 | ng/L | 1.133 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-07-30 07:30 | 20152110200 | 84 | 203 | . | 249 | ng/L | 1.2266 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-07-30 07:00 | 20152110202 | 84 | 203 | . | 215 | ng/L | 1.0591 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-29 07:30 | 20153030065 | 84 | 203 | . | 226 | ng/L | 1.1133 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-29 07:00 | 20153030064 | 84 | 203 | . | 230 | ng/L | 1.133 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-29 06:30 | 20153030063 | 84 | 203 | . | 226 | ng/L | 1.1133 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-04 08:00 | 20160350044 | 84 | 203 | . | 186 | ng/L | 0.91626 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-04 07:30 | 20160350042 | 84 | 203 | . | 198 | ng/L | 0.97537 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-04 07:00 | 20160350043 | 84 | 203 | . | 186 | ng/L | 0.91626 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-04-24 07:30 | 20141150010 | 84 | 204 | . | 150 | ng/L | 0.73529 | VA | JIV |  | 2014-05-01 | ERA 0912-13-03: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-12-21 07:30 | 20163560021 | 84 | 208.4 | . | 243 | ng/L | 1.166 | VA | SBH |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-12-21 08:00 | 20163560022 | 84 | 208.4 | . | 301 | ng/L | 1.4443 | VA | SBH |  | 2017-01-05 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-07-27 07:15 | 20162100011 | 84 | 210 | . | 299 | ng/L | 1.4238 | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-07-27 07:00 | 20162100010 | 84 | 210 | . | 267 | ng/L | 1.2714 | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-09-28 09:00 | 20162720259 | 84 | 210 | . | 217 | ng/L | 1.0333 | VA | VKJ |  | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-09-28 08:30 | 20162720260 | 84 | 210 | . | 226 | ng/L | 1.0762 | VA | VKJ |  | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-07-01 07:00 | 20151820108 | 84 | 250 | . | 315 | ng/L | 1.26 | VA | VKJ |  | 2015-07-14 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-06 07:30 | 20152190004 | 84 | 250 | . | 272 | ng/L | 1.088 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-06 07:00 | 20152190005 | 84 | 250 | . | 264 | ng/L | 1.056 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-06 06:30 | 20152190006 | 84 | 250 | . | 243 | ng/L | 0.972 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-13 07:30 | 20152250275 | 84 | 250 | . | 262 | ng/L | 1.048 | VA | AWH |  | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-13 07:00 | 20152250276 | 84 | 250 | . | 278 | ng/L | 1.112 | VA | AWH |  | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-13 08:00 | 20152250277 | 84 | 250 | . | 258 | ng/L | 1.032 | VA | AWH |  | 2015-08-20 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-20 09:00 | 20152330042 | 84 | 250 | . | 349 | ng/L | 1.396 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-20 08:30 | 20152330043 | 84 | 250 | . | 327 | ng/L | 1.308 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-08-20 06:30 | 20152330044 | 84 | 250 | . | 271 | ng/L | 1.084 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-18 08:00 | 20160490031 | 84 | 250 | . | 264 | ng/L | 1.056 | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-18 07:30 | 20160490030 | 84 | 250 | . | 278 | ng/L | 1.112 | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-18 07:00 | 20160490029 | 84 | 250 | . | 270 | ng/L | 1.08 | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-22 07:30 | 20152950083 | 84 | 254 | . | 297 | ng/L | 1.1693 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-22 07:00 | 20152950081 | 84 | 254 | . | 261 | ng/L | 1.0276 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-22 06:30 | 20152950082 | 84 | 254 | . | 297 | ng/L | 1.1693 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-03 08:00 | 20153370174 | 84 | 254 | . | 254 | ng/L | 1 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-03 07:30 | 20153370175 | 84 | 254 | . | 224 | ng/L | 0.88189 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-03 07:00 | 20153370173 | 84 | 254 | . | 237 | ng/L | 0.93307 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-03 07:30 | 20160630048 | 84 | 254 | . | 193 | ng/L | 0.75984 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-03 07:00 | 20160630049 | 84 | 254 | . | 230 | ng/L | 0.90551 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-03 06:30 | 20160630050 | 84 | 254 | . | 183 | ng/L | 0.72047 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-10 08:00 | 20160710224 | 84 | 254 | . | 162 | ng/L | 0.6378 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-10 07:30 | 20160710223 | 84 | 254 | . | 188 | ng/L | 0.74016 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-03-10 07:00 | 20160710222 | 84 | 254 | . | 190 | ng/L | 0.74803 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-05-16 08:00 | 20141360090 | 84 | 255 | . | 249 | ng/L | 0.97647 | VA | MPO |  | 2014-05-28 | ERA 0912-13-03: 25 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-06-05 08:30 | 20141570091 | 84 | 255 | . | 276 | ng/L | 1.0824 | VA | KLE |  | 2014-06-17 | ERA 0912-13-03: 25 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-09-04 08:30 | 20142480004 | 84 | 270.555 | . | 346 | ng/L | 1.2789 | VA | KLE |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-04-09 06:30 | 20150990083 | 84 | 270.555 | . | 322 | ng/L | 1.1901 | VA | KLE |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-15 08:00 | 20152890012 | 84 | 328 | . | 399 | ng/L | 1.2165 | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-15 07:30 | 20152890013 | 84 | 328 | . | 381 | ng/L | 1.1616 | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-15 07:00 | 20152890014 | 84 | 328 | . | 363 | ng/L | 1.1067 | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-11 08:00 | 20160430108 | 84 | 328 | . | 301 | ng/L | 0.91768 | VA | VKJ |  | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-11 07:30 | 20160430107 | 84 | 328 | . | 279 | ng/L | 0.85061 | VA | VKJ |  | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-02-11 06:30 | 20160430106 | 84 | 328 | . | 303 | ng/L | 0.92378 | VA | VKJ |  | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-05 08:00 | 20153090114 | 84 | 330 | . | 367 | ng/L | 1.1121 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-05 07:30 | 20153090115 | 84 | 330 | . | 318 | ng/L | 0.96364 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-05 07:00 | 20153090123 | 84 | 330 | . | 355 | ng/L | 1.0758 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-10-09 07:00 | 20142820153 | 84 | 330.66 | . | 442 | ng/L | 1.3367 | VA | CAD |  | 2014-10-20 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-10-23 07:00 | 20142960085 | 84 | 330.66 | . | 341 | ng/L | 1.0313 | VA | CAD |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-12-03 06:30 | 20143370093 | 84 | 330.66 | . | 329 | ng/L | 0.99498 | VA | JIV |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-02-05 07:00 | 20150360050 | 84 | 330.66 | . | 501 | ng/L | 1.5152 | VA | MGN |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-06-12 08:30 | 20141640081 | 84 | 336.54 | . | 456 | ng/L | 1.355 | VA | VKJ |  | 2014-06-25 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-08-18 07:15 | 20142340168 | 84 | 336.54 | . | 238 | ng/L | 0.7072 | VA | KLE | @c | 2014-09-03 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-11-13 07:30 | 20143180048 | 84 | 336.54 | . | 462 | ng/L | 1.3728 | VA | VKJ |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-11-02 08:30 | 20163070100 | 84 | 336.92 | . | 391 | ng/L | 1.1605 | VA | SBH |  | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-11-02 08:00 | 20163070099 | 84 | 336.92 | . | 369 | ng/L | 1.0952 | VA | SBH |  | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-07-16 06:00 | 20151970155 | 84 | 406 | . | 334 | ng/L | 0.82266 | VA | SBH |  | 2015-07-21 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-14 08:00 | 20160140035 | 84 | 406 | . | 340 | ng/L | 0.83744 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-14 07:30 | 20160140036 | 84 | 406 | . | 350 | ng/L | 0.86207 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-01-14 07:00 | 20160140037 | 84 | 406 | . | 364 | ng/L | 0.89655 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-09-07 08:30 | 20162520007 | 84 | 416.8 | . | 481 | ng/L | 1.154 | VA | VKJ |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-09-07 08:00 | 20162520006 | 84 | 416.8 | . | 468 | ng/L | 1.1228 | VA | VKJ |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-07-06 07:45 | 20161880106 | 84 | 420 | . | 375 | ng/L | 0.89286 | VA | AWH |  | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-07-06 07:15 | 20161880111 | 84 | 420 | . | 409 | ng/L | 0.97381 | VA | AWH |  | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-06-29 09:30 | 20161820007 | 84 | 420 | . | 451 | ng/L | 1.0738 | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | ALACHLOR OA | 68526LCM60 | 2016-06-29 09:00 | 20161820006 | 84 | 420 | . | 463 | ng/L | 1.1024 | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | ALACHLOR OA | 68526LCM60 | 2015-03-05 07:00 | 20150650041 | 84 | 435.885 | . | 591 | ng/L | 1.3559 | VA | SBH |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-07-17 07:30 | 20141990082 | 84 | 438.825 | E | 491 | ng/L | 1.1189 | VA | VKJ | c | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-09-25 07:00 | 20142720026 | 84 | 438.825 | . | 463 | ng/L | 1.0551 | VA | KLE |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-05-22 08:00 | 20141420138 | 84 | 510 | . | 621 | ng/L | 1.2176 | VA | VKJ |  | 2014-06-04 | ERA 0912-13-03: 50 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-06-19 08:00 | 20141710106 | 84 | 510 | . | 520 | ng/L | 1.0196 | VA | VKJ |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-09-21 08:30 | 20162660010 | 84 | 521 | . | 930 | ng/L | 1.785 | VA | SBH |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-09-21 08:00 | 20162660009 | 84 | 521 | . | 739 | ng/L | 1.4184 | VA | SBH |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-07-10 07:30 | 20141910245 | 84 | 541.11 | . | 563 | ng/L | 1.0405 | VA | KLE |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-10-30 08:00 | 20143030096 | 84 | 541.11 | . | 531 | ng/L | 0.98132 | VA | CAD |  | 2014-11-04 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-11-26 07:30 | 20143300050 | 84 | 541.11 | . | 417 | ng/L | 0.77064 | VA | MGN |  | 2014-12-03 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-12-07 09:00 | 20163420124 | 84 | 546.92 | . | 814 | ng/L | 1.4883 | VA | SBH |  | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-12-07 08:30 | 20163420125 | 84 | 546.92 | . | 641 | ng/L | 1.172 | VA | SBH |  | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-07-09 08:00 | 20151900133 | 84 | 656 | . | 562 | ng/L | 0.85671 | VA | AWH |  | 2015-07-17 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-03 07:30 | 20152460212 | 84 | 660 | . | 603 | ng/L | 0.91364 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-03 07:00 | 20152460211 | 84 | 660 | . | 623 | ng/L | 0.94394 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-09-03 06:30 | 20152460210 | 84 | 660 | . | 563 | ng/L | 0.85303 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-04-14 08:00 | 20161050141 | 84 | 660 | . | 807 | ng/L | 1.2227 | VA | AWH |  | 2016-05-05 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-04-14 06:30 | 20161050142 | 84 | 660 | . | 773 | ng/L | 1.1712 | VA | AWH |  | 2016-05-05 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-05-29 08:30 | 20141490204 | 84 | 673.08 | . | 826 | ng/L | 1.2272 | VA | KLE |  | 2014-06-10 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-11-30 08:00 | 20163370005 | 84 | 673.84 | . | 740 | ng/L | 1.0982 | VA | SBH |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2016-11-30 07:30 | 20163370004 | 84 | 673.84 | . | 669 | ng/L | 0.99282 | VA | SBH |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-06-26 09:00 | 20141770144 | 84 | 871.77 | . | 780 | ng/L | 0.89473 | VA | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-12-18 07:00 | 20143520108 | 84 | 871.77 | . | 879 | ng/L | 1.0083 | VA | MGN |  | 2014-12-30 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2014-11-19 08:00 | 20143240094 | 84 | 877.65 | . | 832 | ng/L | 0.94799 | VA | MGN |  | 2014-12-03 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-01 07:30 | 20152750009 | 84 | 1000 | . | 1110 | ng/L | 1.11 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-01 07:00 | 20152750008 | 84 | 1000 | . | 844 | ng/L | 0.844 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-01 06:30 | 20152750007 | 84 | 1000 | . | 974 | ng/L | 0.974 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-24 07:00 | 20153280162 | 84 | 1016 | . | 1030 | ng/L | 1.0138 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-24 06:30 | 20153280161 | 84 | 1016 | . | 1020 | ng/L | 1.0039 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-11-24 06:00 | 20153280160 | 84 | 1016 | . | 1030 | ng/L | 1.0138 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-08 07:00 | 20152810124 | 84 | 1624 | . | 1960 | ng/L | 1.2069 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-08 06:30 | 20152810125 | 84 | 1624 | . | 1930 | ng/L | 1.1884 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-10-08 06:00 | 20152810123 | 84 | 1624 | . | 2010 | ng/L | 1.2377 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-30 08:00 | 20153640100 | 84 | 2640 | . | 2610 | ng/L | 0.98864 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-30 07:30 | 20153640099 | 84 | 2640 | . | 2490 | ng/L | 0.94318 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | ALACHLOR OA | 68526LCM60 | 2015-12-30 07:00 | 20153640098 | 84 | 2640 | . | 2570 | ng/L | 0.97348 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl