## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2013-08-29 08:30 | 20132420005 | 4 |  | < | 4 | ng/L |  | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2013-11-07 08:30 | 20133110106 | 4 |  | < | 4 | ng/L |  | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2013-12-12 08:00 | 20133470005 | 4 |  | . | 64.5 | ng/L |  | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-01-30 09:00 | 20140300037 | 4 |  | < | 4 | ng/L |  | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-02-20 08:00 | 20140510044 | 4 |  | < | 4 | ng/L |  | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-04-10 06:30 | 20141010010 | 4 |  | < | 4 | ng/L |  | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-04-24 07:30 | 20141150010 | 4 |  | < | 4 | ng/L |  | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-05-16 08:00 | 20141360090 | 4 |  | < | 4 | ng/L |  | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-05-22 08:00 | 20141420138 | 4 |  | < | 4.44 | ng/L |  | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-06-05 08:30 | 20141570091 | 4 |  | < | 4 | ng/L |  | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-06-19 08:00 | 20141710106 | 4 |  | < | 4 | ng/L |  | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-07-23 06:30 | 20152040178 | 4 |  | . | 5.87 | ng/L |  | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-01 07:30 | 20152750009 | 4 |  | . | 13 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-01 07:00 | 20152750008 | 4 |  | . | 11.4 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-01 06:30 | 20152750007 | 4 |  | . | 14.6 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-10 07:30 | 20153160006 | 4 |  | . | 9.88 | ng/L |  | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-10 07:00 | 20153160005 | 4 |  | . | 11.2 | ng/L |  | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-10 06:30 | 20153160004 | 4 |  | . | 11.3 | ng/L |  | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-03 08:00 | 20153370174 | 4 |  | . | 14.1 | ng/L |  | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-03 07:30 | 20153370175 | 4 |  | . | 9.92 | ng/L |  | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-03 07:00 | 20153370173 | 4 |  | . | 12.8 | ng/L |  | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-18 08:00 | 20160490031 | 4 |  | . | 4.99 | ng/L |  | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-18 07:30 | 20160490030 | 4 |  | . | 6.84 | ng/L |  | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-18 07:00 | 20160490029 | 4 |  | . | 7.28 | ng/L |  | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-10 08:00 | 20160710224 | 4 |  | . | 11.3 | ng/L |  | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-10 07:30 | 20160710223 | 4 |  | . | 12 | ng/L |  | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-10 07:00 | 20160710222 | 4 |  | . | 9.21 | ng/L |  | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-06-22 07:30 | 20161740281 | 4 |  | < | 4 | ng/L |  | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-06-22 07:15 | 20161740280 | 4 |  | < | 4 | ng/L |  | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-06-29 09:00 | 20161820006 | 4 |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-06-29 09:30 | 20161820007 | 4 |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-07-06 07:45 | 20161880106 | 4 |  | . | 10.6 | ng/L |  | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-07-06 07:15 | 20161880111 | 4 |  | . | 10.4 | ng/L |  | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-07-27 07:15 | 20162100011 | 4 |  | . | 9.53 | ng/L |  | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-07-27 07:00 | 20162100010 | 4 |  | . | 9.92 | ng/L |  | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-09-07 08:30 | 20162520007 | 4 |  | . | 29.4 | ng/L |  | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-09-07 08:00 | 20162520006 | 4 |  | . | 33.1 | ng/L |  | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-09-21 08:30 | 20162660010 | 4 |  | . | 44.5 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-09-21 08:00 | 20162660009 | 4 |  | . | 44.6 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-11-02 08:30 | 20163070100 | 4 |  | < | 4 | ng/L |  | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-11-02 08:00 | 20163070099 | 4 |  | < | 4 | ng/L |  | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-12-21 08:00 | 20163560022 | 4 |  | . | 9.54 | ng/L |  | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-12-21 07:30 | 20163560021 | 4 |  | . | 8.73 | ng/L |  | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-12-07 09:00 | 20163420124 | 4 |  | . | 16.8 | ng/L |  | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-12-07 08:30 | 20163420125 | 4 |  | . | 12.7 | ng/L |  | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-24 08:30 | 20152670139 | 4 | 6 | . | 11.2 | ng/L | 1.8667 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-24 08:00 | 20152670135 | 4 | 6 | . | 11.8 | ng/L | 1.9667 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-24 07:00 | 20152670138 | 4 | 6 | . | 13.9 | ng/L | 2 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-01-21 08:00 | 20160210084 | 4 | 6 | . | 8.77 | ng/L | 1.4617 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-01-21 07:30 | 20160210082 | 4 | 6 | . | 7.31 | ng/L | 1.2183 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-01-21 07:00 | 20160210083 | 4 | 6 | . | 6.46 | ng/L | 1.0767 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-17 08:00 | 20160770095 | 4 | 6 | . | 5.58 | ng/L | 0.93 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-17 07:30 | 20160770094 | 4 | 6 | . | 4.86 | ng/L | 0.81 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-17 06:30 | 20160770096 | 4 | 6 | . | 3.96 | ng/L | 0.66 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-15 08:00 | 20152890012 | 4 | 6.05 | E | 12.5 | ng/L | 2 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-15 07:30 | 20152890013 | 4 | 6.05 | E | 9.67 | ng/L | 1.5983 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-15 07:00 | 20152890014 | 4 | 6.05 | E | 9.4 | ng/L | 1.5537 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-29 07:30 | 20153030065 | 4 | 6.05 | . | 4.27 | ng/L | 0.70579 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-29 07:00 | 20153030064 | 4 | 6.05 | . | 4.7 | ng/L | 0.77686 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-10-29 06:30 | 20153030063 | 4 | 6.05 | . | 3.35 | ng/L | 0.55372 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-05 08:00 | 20153090114 | 4 | 6.05 | . | 9.96 | ng/L | 1.6463 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-05 07:30 | 20153090115 | 4 | 6.05 | . | 8.36 | ng/L | 1.3818 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-05 07:00 | 20153090123 | 4 | 6.05 | . | 8.13 | ng/L | 1.3438 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-04 08:00 | 20160350044 | 4 | 6.05 | . | 5.62 | ng/L | 0.92893 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-04 07:30 | 20160350042 | 4 | 6.05 | . | 4.9 | ng/L | 0.80992 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-04 07:00 | 20160350043 | 4 | 6.05 | . | 4.2 | ng/L | 0.69421 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-11 08:00 | 20160430108 | 4 | 6.05 | . | 10.2 | ng/L | 1.686 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-11 07:30 | 20160430107 | 4 | 6.05 | . | 9.52 | ng/L | 1.5736 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-02-11 06:30 | 20160430106 | 4 | 6.05 | . | 8.66 | ng/L | 1.4314 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-07-31 07:00 | 20142130132 | 4 | 7.98 | . | 6.74 | ng/L | 0.84461 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-03-05 07:00 | 20150650041 | 4 | 7.98 | . | 7.56 | ng/L | 0.94737 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-04-16 07:00 | 20151110018 | 4 | 7.98 | . | 6.41 | ng/L | 0.80326 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-07-17 07:30 | 20141990082 | 4 | 8.025 | . | 5.82 | ng/L | 0.72523 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-09-03 07:45 | 20142470035 | 4 | 8.025 | . | 14.6 | ng/L | 1.8193 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-09-25 07:00 | 20142720026 | 4 | 8.025 | . | 6.4 | ng/L | 0.79751 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-09-28 09:00 | 20162720259 | 4 | 10.08 | . | 15.1 | ng/L | 1.498 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-09-28 08:30 | 20162720260 | 4 | 10.08 | . | 15.1 | ng/L | 1.498 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-07-01 07:00 | 20151820108 | 4 | 12 | E | 22.6 | ng/L | 1.8833 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-08-13 08:00 | 20152250277 | 4 | 12 | . | 12.3 | ng/L | 1.025 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-08-13 07:30 | 20152250275 | 4 | 12 | . | 14.2 | ng/L | 1.1833 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-08-13 07:00 | 20152250276 | 4 | 12 | . | 15.7 | ng/L | 1.3083 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-17 07:30 | 20153510113 | 4 | 12 | . | 8.85 | ng/L | 0.7375 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-17 07:00 | 20153510111 | 4 | 12 | . | 11.5 | ng/L | 0.95833 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-17 06:30 | 20153510112 | 4 | 12 | . | 8.94 | ng/L | 0.745 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-03 07:30 | 20160630048 | 4 | 12 | . | 16.8 | ng/L | 1.4 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-03 07:00 | 20160630049 | 4 | 12 | . | 19.5 | ng/L | 1.625 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-03-03 06:30 | 20160630050 | 4 | 12 | . | 22.3 | ng/L | 1.8583 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-07-09 08:00 | 20151900133 | 4 | 12.1 | . | 15.1 | ng/L | 1.2479 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-07-16 06:00 | 20151970155 | 4 | 12.1 | . | 10 | ng/L | 0.82645 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-03 07:30 | 20152460212 | 4 | 12.1 | . | 12.8 | ng/L | 1.0579 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-03 07:00 | 20152460211 | 4 | 12.1 | . | 11.7 | ng/L | 0.96694 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-03 06:30 | 20152460210 | 4 | 12.1 | . | 15.3 | ng/L | 1.2645 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-04-14 08:00 | 20161050141 | 4 | 12.1 | . | 22 | ng/L | 1.8182 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-04-14 06:30 | 20161050142 | 4 | 12.1 | . | 16.5 | ng/L | 1.3636 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-06-26 09:00 | 20141770144 | 4 | 15.96 | . | 12.5 | ng/L | 0.78321 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-10-23 07:00 | 20142960085 | 4 | 15.96 | . | 14.5 | ng/L | 0.90852 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-12-18 07:00 | 20143520108 | 4 | 15.96 | . | 16.6 | ng/L | 1.0401 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-02-05 07:00 | 20150360050 | 4 | 15.96 | . | 17.7 | ng/L | 1.109 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-08-18 07:15 | 20142340168 | 4 | 16.05 | E | 10.3 | ng/L | 0.64174 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2014-11-19 08:00 | 20143240094 | 4 | 16.05 | . | 15.6 | ng/L | 0.97196 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-11-30 08:00 | 20163370005 | 4 | 20.16 | . | 21.2 | ng/L | 1.0516 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2016-11-30 07:30 | 20163370004 | 4 | 20.16 | . | 19.7 | ng/L | 0.97718 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-17 09:30 | 20152610006 | 4 | 48 | . | 36 | ng/L | 0.75 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-17 09:00 | 20152610005 | 4 | 48 | . | 44.3 | ng/L | 0.92292 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-09-17 08:30 | 20152610004 | 4 | 48 | . | 41.9 | ng/L | 0.87292 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-24 07:00 | 20153280162 | 4 | 48 | . | 72 | ng/L | 1.5 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-24 06:30 | 20153280161 | 4 | 48 | . | 85.6 | ng/L | 1.7833 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-11-24 06:00 | 20153280160 | 4 | 48 | . | 77.1 | ng/L | 1.6062 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-30 08:00 | 20153640100 | 4 | 48.4 | . | 73 | ng/L | 1.5083 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-30 07:30 | 20153640099 | 4 | 48.4 | . | 76.8 | ng/L | 1.5868 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON SULFOXIDE | 68590LCM60 | 2015-12-30 07:00 | 20153640098 | 4 | 48.4 | . | 73.6 | ng/L | 1.5207 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl