## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | EPTC | 65080LCM60 | 2013-08-29 08:30 | 20132420005 | 206 |  | < | 206 | ng/L |  | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | EPTC | 65080LCM60 | 2013-11-07 08:30 | 20133110106 | 206 |  | < | 206 | ng/L |  | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | EPTC | 65080LCM60 | 2014-01-30 09:00 | 20140300037 | 206 |  | < | 206 | ng/L |  | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | EPTC | 65080LCM60 | 2014-02-20 08:00 | 20140510044 | 206 |  | < | 206 | ng/L |  | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | EPTC | 65080LCM60 | 2014-04-10 06:30 | 20141010010 | 206 |  | < | 206 | ng/L |  | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
2437 | EPTC | 65080LCM60 | 2014-04-24 07:30 | 20141150010 | 206 |  | < | 206 | ng/L |  | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
2437 | EPTC | 65080LCM60 | 2014-05-16 08:00 | 20141360090 | 206 |  | < | 206 | ng/L |  | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
2437 | EPTC | 65080LCM60 | 2014-05-22 08:00 | 20141420138 | 206 |  | < | 229 | ng/L |  | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
2437 | EPTC | 65080LCM60 | 2014-06-05 08:30 | 20141570091 | 206 |  | < | 206 | ng/L |  | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
2437 | EPTC | 65080LCM60 | 2014-06-19 08:00 | 20141710106 | 206 |  | < | 206 | ng/L |  | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | EPTC | 65080LCM60 | 2015-01-29 06:00 | 20150290076 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | EPTC | 65080LCM60 | 2015-07-01 07:00 | 20151820108 | 206 |  | < | 250 | ng/L |  | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | EPTC | 65080LCM60 | 2015-07-09 08:00 | 20151900133 | 206 |  | < | 206 | ng/L |  | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-13 08:00 | 20152250277 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | EPTC | 65080LCM60 | 2015-08-13 07:30 | 20152250275 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | EPTC | 65080LCM60 | 2015-08-13 07:00 | 20152250276 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | EPTC | 65080LCM60 | 2015-09-03 07:30 | 20152460212 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | EPTC | 65080LCM60 | 2015-09-03 07:00 | 20152460211 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | EPTC | 65080LCM60 | 2015-09-03 06:30 | 20152460210 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | EPTC | 65080LCM60 | 2015-09-24 08:30 | 20152670139 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | EPTC | 65080LCM60 | 2015-09-24 08:00 | 20152670135 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | EPTC | 65080LCM60 | 2015-09-24 07:00 | 20152670138 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | EPTC | 65080LCM60 | 2015-10-15 08:00 | 20152890012 | 206 |  | < | 250 | ng/L |  | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | EPTC | 65080LCM60 | 2015-10-15 07:30 | 20152890013 | 206 |  | < | 250 | ng/L |  | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | EPTC | 65080LCM60 | 2015-10-15 07:00 | 20152890014 | 206 |  | < | 250 | ng/L |  | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-05 08:00 | 20153090114 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-05 07:30 | 20153090115 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-05 07:00 | 20153090123 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-24 07:00 | 20153280162 | 206 |  | < | 206 | ng/L |  | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | EPTC | 65080LCM60 | 2015-11-24 06:30 | 20153280161 | 206 |  | < | 206 | ng/L |  | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | EPTC | 65080LCM60 | 2015-11-24 06:00 | 20153280160 | 206 |  | < | 206 | ng/L |  | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | EPTC | 65080LCM60 | 2015-12-30 08:00 | 20153640100 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | EPTC | 65080LCM60 | 2015-12-30 07:30 | 20153640099 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | EPTC | 65080LCM60 | 2015-12-30 07:00 | 20153640098 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | EPTC | 65080LCM60 | 2016-01-21 08:00 | 20160210084 | 206 |  | < | 250 | ng/L |  | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | EPTC | 65080LCM60 | 2016-01-21 07:30 | 20160210082 | 206 |  | < | 250 | ng/L |  | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | EPTC | 65080LCM60 | 2016-01-21 07:00 | 20160210083 | 206 |  | < | 250 | ng/L |  | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | EPTC | 65080LCM60 | 2016-02-11 08:00 | 20160430108 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | EPTC | 65080LCM60 | 2016-02-11 07:30 | 20160430107 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | EPTC | 65080LCM60 | 2016-02-11 06:30 | 20160430106 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | EPTC | 65080LCM60 | 2016-03-03 07:30 | 20160630048 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | EPTC | 65080LCM60 | 2016-03-03 07:00 | 20160630049 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | EPTC | 65080LCM60 | 2016-03-03 06:30 | 20160630050 | 206 |  | < | 206 | ng/L |  | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | EPTC | 65080LCM60 | 2016-04-14 08:00 | 20161050141 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | EPTC | 65080LCM60 | 2016-04-14 06:30 | 20161050142 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | EPTC | 65080LCM60 | 2016-07-06 07:45 | 20161880106 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | EPTC | 65080LCM60 | 2016-07-06 07:15 | 20161880111 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | EPTC | 65080LCM60 | 2016-07-27 07:15 | 20162100011 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | EPTC | 65080LCM60 | 2016-07-27 07:00 | 20162100010 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | EPTC | 65080LCM60 | 2016-09-07 08:30 | 20162520007 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | EPTC | 65080LCM60 | 2016-09-07 08:00 | 20162520006 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | EPTC | 65080LCM60 | 2016-09-28 09:00 | 20162720259 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | EPTC | 65080LCM60 | 2016-09-28 08:30 | 20162720260 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | EPTC | 65080LCM60 | 2016-12-21 08:00 | 20163560022 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | EPTC | 65080LCM60 | 2016-12-21 07:30 | 20163560021 | 206 |  | < | 206 | ng/L |  | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | EPTC | 65080LCM60 | 2014-08-14 08:00 | 20142270006 | 206 | 7.965 | < | 206 | ng/L |  | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | EPTC | 65080LCM60 | 2014-05-08 06:00 | 20141290002 | 206 | 8.025 | < | 206 | ng/L |  | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | EPTC | 65080LCM60 | 2014-09-18 07:30 | 20142620041 | 206 | 8.025 | < | 206 | ng/L |  | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | EPTC | 65080LCM60 | 2015-04-02 06:00 | 20150930002 | 206 | 8.025 | < | 206 | ng/L |  | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | EPTC | 65080LCM60 | 2014-10-09 07:00 | 20142820153 | 206 | 15.93 | < | 206 | ng/L |  | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | EPTC | 65080LCM60 | 2014-12-03 06:30 | 20143370093 | 206 | 15.93 | < | 206 | ng/L |  | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | EPTC | 65080LCM60 | 2014-06-12 08:30 | 20141640081 | 206 | 16.05 | < | 206 | ng/L |  | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | EPTC | 65080LCM60 | 2014-11-13 07:30 | 20143180048 | 206 | 16.05 | < | 206 | ng/L |  | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | EPTC | 65080LCM60 | 2014-05-29 08:30 | 20141490204 | 206 | 32.1 | < | 206 | ng/L |  | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | EPTC | 65080LCM60 | 2013-10-31 07:30 | 20133050048 | 206 | 50 | < | 206 | ng/L |  | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | EPTC | 65080LCM60 | 2013-12-05 08:30 | 20133400005 | 206 | 60.2 | < | 206 | ng/L |  | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
2437 | EPTC | 65080LCM60 | 2014-02-06 08:30 | 20140370079 | 206 | 125 | < | 250 | ng/L |  | OG | MPO | c | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | EPTC | 65080LCM60 | 2015-07-30 08:00 | 20152110201 | 206 | 309 | < | 231 | ng/L |  | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2015-01-15 07:00 | 20150150114 | 206 | 825 | R |  | ng/L |  | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | EPTC | 65080LCM60 | 2016-06-29 09:00 | 20161820006 | 206 | 1027.2 | R |  | ng/L |  |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | EPTC | 65080LCM60 | 2016-06-29 09:30 | 20161820007 | 206 | 1027.2 | R |  | ng/L |  |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | EPTC | 65080LCM60 | 2013-12-23 08:00 | 20133580040 | 206 | 50 | E | 23 | ng/L | 0.46 | OG | LOA | tc | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | EPTC | 65080LCM60 | 2014-01-09 08:00 | 20140100087 | 206 | 50 | . | 32.9 | ng/L | 0.658 | OG | LKK | t | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | EPTC | 65080LCM60 | 2013-11-21 08:00 | 20133260006 | 206 | 59 | . | 36.5 | ng/L | 0.61864 | OG | LKK | t | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
2437 | EPTC | 65080LCM60 | 2013-09-06 07:00 | 20132490346 | 206 | 125 | . | 128 | ng/L | 1.024 | OG | LKK | @nc | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | EPTC | 65080LCM60 | 2013-12-12 08:00 | 20133470005 | 206 | 125 | . | 168 | ng/L | 1.344 | OG | MPO | n | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
2437 | EPTC | 65080LCM60 | 2015-07-23 06:30 | 20152040178 | 206 | 306.7 | . | 324 | ng/L | 1.0564 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | EPTC | 65080LCM60 | 2015-10-29 07:30 | 20153030065 | 206 | 306.7 | . | 282 | ng/L | 0.91947 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2015-10-29 07:00 | 20153030064 | 206 | 306.7 | . | 273 | ng/L | 0.89012 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2015-10-29 06:30 | 20153030063 | 206 | 306.7 | . | 321 | ng/L | 1.0466 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-10 07:30 | 20153160006 | 206 | 306.7 | . | 339 | ng/L | 1.1053 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | EPTC | 65080LCM60 | 2015-11-10 07:00 | 20153160005 | 206 | 306.7 | . | 283 | ng/L | 0.92273 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | EPTC | 65080LCM60 | 2015-11-10 06:30 | 20153160004 | 206 | 306.7 | . | 304 | ng/L | 0.9912 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | EPTC | 65080LCM60 | 2016-02-04 08:00 | 20160350044 | 206 | 306.7 | . | 356 | ng/L | 1.1607 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2016-02-04 07:30 | 20160350042 | 206 | 306.7 | . | 333 | ng/L | 1.0858 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2016-02-04 07:00 | 20160350043 | 206 | 306.7 | . | 336 | ng/L | 1.0955 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2016-03-17 08:00 | 20160770095 | 206 | 306.7 | . | 256 | ng/L | 0.83469 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | EPTC | 65080LCM60 | 2016-03-17 07:30 | 20160770094 | 206 | 306.7 | . | 281 | ng/L | 0.9162 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | EPTC | 65080LCM60 | 2016-03-17 06:30 | 20160770096 | 206 | 306.7 | . | 245 | ng/L | 0.79883 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | EPTC | 65080LCM60 | 2015-07-30 07:30 | 20152110200 | 206 | 309 | . | 327 | ng/L | 1.0583 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2015-07-30 07:00 | 20152110202 | 206 | 309 | . | 267 | ng/L | 0.86408 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | EPTC | 65080LCM60 | 2015-09-10 08:00 | 20152530084 | 206 | 309 | . | 277 | ng/L | 0.89644 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2015-09-10 07:30 | 20152530086 | 206 | 309 | . | 208 | ng/L | 0.67314 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2015-09-10 07:00 | 20152530085 | 206 | 309 | . | 266 | ng/L | 0.86084 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-19 08:00 | 20153230142 | 206 | 309 | . | 322 | ng/L | 1.0421 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-19 07:30 | 20153230143 | 206 | 309 | . | 373 | ng/L | 1.2071 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | EPTC | 65080LCM60 | 2015-11-19 07:00 | 20153230141 | 206 | 309 | . | 436 | ng/L | 1.411 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | EPTC | 65080LCM60 | 2016-01-07 07:30 | 20160070057 | 206 | 309 | . | 327 | ng/L | 1.0583 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2016-01-07 07:00 | 20160070054 | 206 | 309 | . | 279 | ng/L | 0.90291 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2016-01-07 06:30 | 20160070056 | 206 | 309 | . | 305 | ng/L | 0.98706 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2016-01-28 07:00 | 20160280055 | 206 | 309 | . | 320 | ng/L | 1.0356 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2016-01-28 06:30 | 20160280059 | 206 | 309 | . | 309 | ng/L | 1 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2016-01-28 06:00 | 20160280058 | 206 | 309 | . | 335 | ng/L | 1.0841 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | EPTC | 65080LCM60 | 2016-02-25 07:30 | 20160560058 | 206 | 309 | . | 331 | ng/L | 1.0712 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | EPTC | 65080LCM60 | 2016-02-25 07:00 | 20160560057 | 206 | 309 | . | 284 | ng/L | 0.91909 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | EPTC | 65080LCM60 | 2016-02-25 06:30 | 20160560056 | 206 | 309 | . | 332 | ng/L | 1.0744 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | EPTC | 65080LCM60 | 2014-07-24 08:00 | 20142060046 | 206 | 412.5 | . | 526 | ng/L | 1.2752 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | EPTC | 65080LCM60 | 2014-08-07 09:00 | 20142200170 | 206 | 412.5 | . | 311 | ng/L | 0.75394 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | EPTC | 65080LCM60 | 2015-02-26 06:30 | 20150570010 | 206 | 412.5 | . | 380 | ng/L | 0.92121 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | EPTC | 65080LCM60 | 2015-03-26 06:30 | 20150850163 | 206 | 412.5 | . | 452 | ng/L | 1.0958 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | EPTC | 65080LCM60 | 2014-09-04 08:30 | 20142480004 | 206 | 413.64 | . | 318 | ng/L | 0.76878 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | EPTC | 65080LCM60 | 2015-04-09 06:30 | 20150990083 | 206 | 413.64 | . | 487 | ng/L | 1.1774 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | EPTC | 65080LCM60 | 2014-07-31 07:00 | 20142130132 | 206 | 420.465 | . | 383 | ng/L | 0.9109 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | EPTC | 65080LCM60 | 2015-04-16 07:00 | 20151110018 | 206 | 420.465 | . | 315 | ng/L | 0.74917 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | EPTC | 65080LCM60 | 2014-09-03 07:45 | 20142470035 | 206 | 420.525 | . | 350 | ng/L | 0.83229 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | EPTC | 65080LCM60 | 2015-03-05 07:00 | 20150650041 | 206 | 421.605 | . | 346 | ng/L | 0.82067 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | EPTC | 65080LCM60 | 2014-07-17 07:30 | 20141990082 | 206 | 421.665 | . | 441 | ng/L | 1.0459 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | EPTC | 65080LCM60 | 2014-09-25 07:00 | 20142720026 | 206 | 421.665 | . | 334 | ng/L | 0.7921 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | EPTC | 65080LCM60 | 2016-06-22 07:30 | 20161740281 | 206 | 513.6 | . | 100 | ng/L | 0.1947 | OG | JLE | t | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | EPTC | 65080LCM60 | 2016-06-22 07:15 | 20161740280 | 206 | 513.6 | . | 129 | ng/L | 0.25117 | OG | JLE | n | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | EPTC | 65080LCM60 | 2016-11-02 08:30 | 20163070100 | 206 | 516.4 | . | 612 | ng/L | 1.1851 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | EPTC | 65080LCM60 | 2016-11-02 08:00 | 20163070099 | 206 | 516.4 | . | 558 | ng/L | 1.0806 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | EPTC | 65080LCM60 | 2016-12-07 09:00 | 20163420124 | 206 | 516.4 | E | 593 | ng/L | 1.1483 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | EPTC | 65080LCM60 | 2016-12-07 08:30 | 20163420125 | 206 | 516.4 | E | 622 | ng/L | 1.2045 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | EPTC | 65080LCM60 | 2013-09-19 08:00 | 20132630001 | 206 | 589.5 | . | 40.9 | ng/L | 0.069381 | OG | LKK | t | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
2437 | EPTC | 65080LCM60 | 2015-07-16 06:00 | 20151970155 | 206 | 613.4 | . | 565 | ng/L | 0.9211 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | EPTC | 65080LCM60 | 2015-12-03 08:00 | 20153370174 | 206 | 613.4 | . | 585 | ng/L | 0.9537 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | EPTC | 65080LCM60 | 2015-12-03 07:30 | 20153370175 | 206 | 613.4 | . | 576 | ng/L | 0.93903 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | EPTC | 65080LCM60 | 2015-12-03 07:00 | 20153370173 | 206 | 613.4 | . | 522 | ng/L | 0.85099 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | EPTC | 65080LCM60 | 2015-12-17 07:30 | 20153510113 | 206 | 613.4 | . | 617 | ng/L | 1.0059 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | EPTC | 65080LCM60 | 2015-12-17 07:00 | 20153510111 | 206 | 613.4 | . | 692 | ng/L | 1.1281 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | EPTC | 65080LCM60 | 2015-12-17 06:30 | 20153510112 | 206 | 613.4 | . | 628 | ng/L | 1.0238 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | EPTC | 65080LCM60 | 2016-02-18 08:00 | 20160490031 | 206 | 613.4 | . | 500 | ng/L | 0.81513 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | EPTC | 65080LCM60 | 2016-02-18 07:30 | 20160490030 | 206 | 613.4 | . | 611 | ng/L | 0.99609 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | EPTC | 65080LCM60 | 2016-02-18 07:00 | 20160490029 | 206 | 613.4 | . | 565 | ng/L | 0.9211 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | EPTC | 65080LCM60 | 2016-03-10 08:00 | 20160710224 | 206 | 613.4 | . | 659 | ng/L | 1.0743 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | EPTC | 65080LCM60 | 2016-03-10 07:30 | 20160710223 | 206 | 613.4 | . | 575 | ng/L | 0.9374 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | EPTC | 65080LCM60 | 2016-03-10 07:00 | 20160710222 | 206 | 613.4 | . | 670 | ng/L | 1.0923 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-06 07:30 | 20152190004 | 206 | 618 | . | 675 | ng/L | 1.0922 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-06 07:00 | 20152190005 | 206 | 618 | . | 700 | ng/L | 1.1327 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-06 06:30 | 20152190006 | 206 | 618 | . | 607 | ng/L | 0.9822 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-20 09:00 | 20152330042 | 206 | 618 | . | 527 | ng/L | 0.85275 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-20 08:30 | 20152330043 | 206 | 618 | . | 525 | ng/L | 0.84951 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-20 06:30 | 20152330044 | 206 | 618 | . | 598 | ng/L | 0.96764 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-27 08:00 | 20152390229 | 206 | 618 | . | 425 | ng/L | 0.6877 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-27 07:30 | 20152390230 | 206 | 618 | . | 560 | ng/L | 0.90615 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | EPTC | 65080LCM60 | 2015-08-27 07:00 | 20152390225 | 206 | 618 | . | 557 | ng/L | 0.90129 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | EPTC | 65080LCM60 | 2015-10-22 07:30 | 20152950083 | 206 | 618 | . | 505 | ng/L | 0.81715 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-10-22 07:00 | 20152950081 | 206 | 618 | . | 559 | ng/L | 0.90453 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2015-10-22 06:30 | 20152950082 | 206 | 618 | . | 508 | ng/L | 0.82201 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | EPTC | 65080LCM60 | 2016-01-14 08:00 | 20160140035 | 206 | 618 | E | 560 | ng/L | 0.90615 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | EPTC | 65080LCM60 | 2016-01-14 07:30 | 20160140036 | 206 | 618 | E | 612 | ng/L | 0.99029 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | EPTC | 65080LCM60 | 2016-01-14 07:00 | 20160140037 | 206 | 618 | E | 588 | ng/L | 0.95146 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | EPTC | 65080LCM60 | 2016-04-28 06:30 | 20161190072 | 206 | 618 | . | 671 | ng/L | 1.0858 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | EPTC | 65080LCM60 | 2016-04-28 06:00 | 20161190071 | 206 | 618 | . | 630 | ng/L | 1.0194 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | EPTC | 65080LCM60 | 2014-10-02 07:30 | 20142760029 | 206 | 825 | . | 742 | ng/L | 0.89939 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | EPTC | 65080LCM60 | 2014-07-10 07:30 | 20141910245 | 206 | 827.28 | . | 935 | ng/L | 1.1302 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | EPTC | 65080LCM60 | 2014-10-30 08:00 | 20143030096 | 206 | 827.28 | . | 835 | ng/L | 1.0093 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | EPTC | 65080LCM60 | 2014-11-26 07:30 | 20143300050 | 206 | 827.28 | . | 770 | ng/L | 0.93076 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | EPTC | 65080LCM60 | 2014-10-23 07:00 | 20142960085 | 206 | 840.93 | . | 737 | ng/L | 0.87641 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | EPTC | 65080LCM60 | 2015-02-05 07:00 | 20150360050 | 206 | 840.93 | . | 715 | ng/L | 0.85025 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | EPTC | 65080LCM60 | 2014-08-18 07:15 | 20142340168 | 206 | 841.05 | . | 314 | ng/L | 0.37334 | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | EPTC | 65080LCM60 | 2014-06-26 09:00 | 20141770144 | 206 | 843.21 | . | 670 | ng/L | 0.79458 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | EPTC | 65080LCM60 | 2014-12-18 07:00 | 20143520108 | 206 | 843.21 | . | 679 | ng/L | 0.80526 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | EPTC | 65080LCM60 | 2014-11-19 08:00 | 20143240094 | 206 | 843.33 | . | 761 | ng/L | 0.90238 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | EPTC | 65080LCM60 | 2016-11-30 08:00 | 20163370005 | 206 | 1032.8 | . | 1070 | ng/L | 1.036 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | EPTC | 65080LCM60 | 2016-11-30 07:30 | 20163370004 | 206 | 1032.8 | . | 983 | ng/L | 0.95178 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | EPTC | 65080LCM60 | 2016-09-21 08:30 | 20162660010 | 206 | 1284 | . | 1460 | ng/L | 1.1371 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | EPTC | 65080LCM60 | 2016-09-21 08:00 | 20162660009 | 206 | 1284 | . | 1390 | ng/L | 1.0826 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | EPTC | 65080LCM60 | 2015-09-17 09:30 | 20152610006 | 206 | 2453.6 | . | 2090 | ng/L | 0.85181 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | EPTC | 65080LCM60 | 2015-09-17 09:00 | 20152610005 | 206 | 2453.6 | . | 1950 | ng/L | 0.79475 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | EPTC | 65080LCM60 | 2015-09-17 08:30 | 20152610004 | 206 | 2453.6 | . | 1930 | ng/L | 0.7866 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | EPTC | 65080LCM60 | 2015-10-01 07:30 | 20152750009 | 206 | 2453.6 | . | 1820 | ng/L | 0.74177 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | EPTC | 65080LCM60 | 2015-10-01 07:00 | 20152750008 | 206 | 2453.6 | . | 1840 | ng/L | 0.74992 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | EPTC | 65080LCM60 | 2015-10-01 06:30 | 20152750007 | 206 | 2453.6 | . | 1880 | ng/L | 0.76622 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | EPTC | 65080LCM60 | 2015-10-08 07:00 | 20152810124 | 206 | 2472 | . | 2250 | ng/L | 0.91019 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | EPTC | 65080LCM60 | 2015-10-08 06:30 | 20152810125 | 206 | 2472 | . | 2030 | ng/L | 0.8212 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | EPTC | 65080LCM60 | 2015-10-08 06:00 | 20152810123 | 206 | 2472 | . | 2150 | ng/L | 0.86974 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl