## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-08-29 08:30 | 20132420005 | 4 |  | < | 4 | ng/L |  | VA | CAD |  | 2013-09-20 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-11-07 08:30 | 20133110106 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2013-11-23 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-01-30 09:00 | 20140300037 | 4 |  | < | 4 | ng/L |  | VA | CAD |  | 2014-02-05 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-02-20 08:00 | 20140510044 | 4 |  | < | 4 | ng/L |  | VA | JIV |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-04-10 06:30 | 20141010010 | 4 |  | < | 4 | ng/L |  | VA | JIV |  | 2014-04-21 | ERA 0912-13-03: 25 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-04-24 07:30 | 20141150010 | 4 |  | < | 4 | ng/L |  | VA | JIV |  | 2014-05-01 | ERA 0912-13-03: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-05-16 08:00 | 20141360090 | 4 |  | < | 4 | ng/L |  | VA | MPO |  | 2014-05-28 | ERA 0912-13-03: 25 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-05-22 08:00 | 20141420138 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2014-06-04 | ERA 0912-13-03: 50 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-06-05 08:30 | 20141570091 | 4 |  | < | 4 | ng/L |  | VA | KLE |  | 2014-06-17 | ERA 0912-13-03: 25 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-06-19 08:00 | 20141710106 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-06-26 09:00 | 20141770144 | 4 |  | < | 4 | ng/L |  | VA | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-07-17 07:30 | 20141990082 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-07-31 07:00 | 20142130132 | 4 |  | < | 4 | ng/L |  | VA | KLE |  | 2014-08-11 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-08-18 07:15 | 20142340168 | 4 |  | < | 4 | ng/L |  | VA | KLE | @c | 2014-09-03 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-09-03 07:45 | 20142470035 | 4 |  | < | 4 | ng/L |  | VA | KLE |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-09-25 07:00 | 20142720026 | 4 |  | < | 4 | ng/L |  | VA | KLE |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-10-23 07:00 | 20142960085 | 4 |  | < | 4 | ng/L |  | VA | CAD |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-11-19 08:00 | 20143240094 | 4 |  | < | 4 | ng/L |  | VA | MGN |  | 2014-12-03 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-12-18 07:00 | 20143520108 | 4 |  | < | 4 | ng/L |  | VA | MGN |  | 2014-12-30 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-02-05 07:00 | 20150360050 | 4 |  | < | 4 | ng/L |  | VA | MGN |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-03-05 07:00 | 20150650041 | 4 |  | < | 4 | ng/L |  | VA | SBH |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-04-16 07:00 | 20151110018 | 4 |  | < | 4 | ng/L |  | VA | AWH |  | 2015-04-27 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-07-01 07:00 | 20151820108 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-07-14 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-07-23 06:30 | 20152040178 | 4 |  | < | 5 | ng/L |  | VA | VKJ | c | 2015-08-03 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-06 07:30 | 20152190004 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-06 07:00 | 20152190005 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-06 06:30 | 20152190006 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-20 09:00 | 20152330042 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-20 08:30 | 20152330043 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-20 06:30 | 20152330044 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-10 08:00 | 20152530084 | 4 |  | < | 4 | ng/L |  | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-10 07:30 | 20152530086 | 4 |  | < | 4 | ng/L |  | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-10 07:00 | 20152530085 | 4 |  | < | 4 | ng/L |  | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-01 07:30 | 20152750009 | 4 |  | . | 0.62 | ng/L |  | VA | VKJ | bt | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-01 07:00 | 20152750008 | 4 |  | . | 0.4 | ng/L |  | VA | VKJ | bt | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-01 06:30 | 20152750007 | 4 |  | . | 0.57 | ng/L |  | VA | VKJ | bt | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-22 07:30 | 20152950083 | 4 |  | < | 4 | ng/L |  | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-22 07:00 | 20152950081 | 4 |  | < | 4 | ng/L |  | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-22 06:30 | 20152950082 | 4 |  | < | 4 | ng/L |  | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-10 07:30 | 20153160006 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-10 07:00 | 20153160005 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-10 06:30 | 20153160004 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-03 08:00 | 20153370174 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-03 07:30 | 20153370175 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-03 07:00 | 20153370173 | 4 |  | < | 4 | ng/L |  | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-07 07:30 | 20160070057 | 5.6 |  | < | 4 | ng/L |  | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-07 07:00 | 20160070054 | 5.6 |  | < | 4 | ng/L |  | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-07 06:30 | 20160070056 | 5.6 |  | < | 4 | ng/L |  | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-28 07:00 | 20160280055 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-28 06:30 | 20160280059 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-28 06:00 | 20160280058 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-18 08:00 | 20160490031 | 5.6 |  | < | 5.6 | ng/L |  | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-18 07:30 | 20160490030 | 5.6 |  | < | 5.6 | ng/L |  | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-18 07:00 | 20160490029 | 5.6 |  | < | 5.6 | ng/L |  | VA | SBH |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-10 08:00 | 20160710224 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-10 07:30 | 20160710223 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-10 07:00 | 20160710222 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-07-06 07:45 | 20161880106 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-07-06 07:15 | 20161880111 | 5.6 |  | < | 5.6 | ng/L |  | VA | AWH |  | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-07-27 07:15 | 20162100011 | 5.6 |  | < | 4 | ng/L |  | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-07-27 07:00 | 20162100010 | 5.6 |  | < | 4 | ng/L |  | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-09-07 08:30 | 20162520007 | 5.6 |  | < | 5.6 | ng/L |  | VA | VKJ |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-09-07 08:00 | 20162520006 | 5.6 |  | < | 5.6 | ng/L |  | VA | VKJ |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-09-28 09:00 | 20162720259 | 5.6 |  | < | 5.6 | ng/L |  | VA | VKJ |  | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-09-28 08:30 | 20162720260 | 5.6 |  | < | 5.6 | ng/L |  | VA | VKJ |  | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-12-21 07:30 | 20163560021 | 5.6 |  | < | 5.6 | ng/L |  | VA | SBH |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-12-21 08:00 | 20163560022 | 5.6 |  | < | 5.6 | ng/L |  | VA | SBH |  | 2017-01-05 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-21 07:00 | 20160210083 | 5.6 | 6 | < | 5.6 | ng/L |  | VA | AWH |  | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-06-22 07:30 | 20161740281 | 5.6 | 10 | < | 5.6 | ng/L |  | VA | VKJ |  | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-12-07 09:00 | 20163420124 | 5.6 | 10.04 | < | 5.6 | ng/L |  | VA | SBH |  | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-07-30 08:00 | 20152110201 | 4 | 5.97 | . | 5.88 | ng/L | 0.98492 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-07-30 07:30 | 20152110200 | 4 | 5.97 | . | 6.17 | ng/L | 1.0335 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-07-30 07:00 | 20152110202 | 4 | 5.97 | . | 5.54 | ng/L | 0.92797 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-15 08:00 | 20152890012 | 4 | 5.97 | E | 5.47 | ng/L | 0.91625 | VA | AWH | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-15 07:30 | 20152890013 | 4 | 5.97 | E | 6.07 | ng/L | 1.0168 | VA | AWH | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-15 07:00 | 20152890014 | 4 | 5.97 | E | 5.77 | ng/L | 0.9665 | VA | AWH | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-05 08:00 | 20153090114 | 4 | 5.97 | E | 8.12 | ng/L | 1.3601 | VA | SBH | c | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-05 07:30 | 20153090115 | 4 | 5.97 | E | 7.23 | ng/L | 1.2111 | VA | SBH | c | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-05 07:00 | 20153090123 | 4 | 5.97 | E | 6.98 | ng/L | 1.1692 | VA | SBH | c | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-29 07:30 | 20153030065 | 4 | 5.97 | E | 7.38 | ng/L | 1.2362 | VA | SBH | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-29 07:00 | 20153030064 | 4 | 5.97 | E | 7.45 | ng/L | 1.2479 | VA | SBH | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-29 06:30 | 20153030063 | 4 | 5.97 | E | 7.57 | ng/L | 1.268 | VA | SBH | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-04 08:00 | 20160350044 | 5.6 | 5.97 | . | 7.2 | ng/L | 1.206 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-04 07:30 | 20160350042 | 5.6 | 5.97 | . | 6.8 | ng/L | 1.139 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-04 07:00 | 20160350043 | 5.6 | 5.97 | . | 7.1 | ng/L | 1.1893 | VA | AWH |  | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-11 08:00 | 20160430108 | 5.6 | 5.97 | . | 6.2 | ng/L | 1.0385 | VA | VKJ |  | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-11 07:30 | 20160430107 | 5.6 | 5.97 | . | 5.8 | ng/L | 0.97152 | VA | VKJ |  | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-11 06:30 | 20160430106 | 5.6 | 5.97 | . | 5.5 | ng/L | 0.92127 | VA | VKJ | n | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-24 08:30 | 20152670139 | 4 | 6 | . | 5.52 | ng/L | 0.92 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-24 08:00 | 20152670135 | 4 | 6 | . | 5.7 | ng/L | 0.95 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-24 07:00 | 20152670138 | 4 | 6 | . | 5.34 | ng/L | 0.89 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-19 07:00 | 20153230141 | 4 | 6 | E | 9.35 | ng/L | 1.5583 | VA | VKJ | c | 2015-11-24 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-19 08:00 | 20153230142 | 4 | 6 | E | 8.97 | ng/L | 1.495 | VA | VKJ | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-19 07:30 | 20153230143 | 4 | 6 | E | 9.65 | ng/L | 1.6083 | VA | VKJ | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-21 08:00 | 20160210084 | 5.6 | 6 | . | 5.3 | ng/L | 0.88333 | VA | AWH | n | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-21 07:30 | 20160210082 | 5.6 | 6 | . | 5.3 | ng/L | 0.88333 | VA | AWH | n | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-25 07:30 | 20160560058 | 5.6 | 6 | . | 7.6 | ng/L | 1.2667 | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-25 07:00 | 20160560057 | 5.6 | 6 | . | 8.4 | ng/L | 1.4 | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-02-25 06:30 | 20160560056 | 5.6 | 6 | . | 7.6 | ng/L | 1.2667 | VA | SBH |  | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-17 08:00 | 20160770095 | 5.6 | 6 | . | 7.2 | ng/L | 1.2 | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-17 07:30 | 20160770094 | 5.6 | 6 | . | 6.3 | ng/L | 1.05 | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-17 06:30 | 20160770096 | 5.6 | 6 | . | 6 | ng/L | 1 | VA | AWH |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-07-24 08:00 | 20142060046 | 4 | 7.965 | E | 8.86 | ng/L | 1.1124 | VA | CAD | v | 2014-07-30 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-08-14 08:00 | 20142270006 | 4 | 7.965 | E | 7.11 | ng/L | 0.89266 | VA | KLE | c | 2014-08-19 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-09-04 08:30 | 20142480004 | 4 | 7.965 | E | 15.1 | ng/L | 1.8958 | VA | KLE | vc | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-09-18 07:30 | 20142620041 | 4 | 7.965 | . | 9.17 | ng/L | 1.1513 | VA | KLE |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-03-26 06:30 | 20150850163 | 4 | 7.965 | . | 6.96 | ng/L | 0.87382 | VA | KLE |  | 2015-04-02 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-04-02 06:00 | 20150930002 | 4 | 7.965 | . | 12.4 | ng/L | 1.5568 | VA | VKJ |  | 2015-04-07 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-05-08 06:00 | 20141290002 | 4 | 8.145 | . | 7.18 | ng/L | 0.88152 | OG | CAD |  | 2014-05-21 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-08-07 09:00 | 20142200170 | 4 | 8.145 | E | 11.3 | ng/L | 1.3874 | VA | KLE | c | 2014-08-13 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-02-26 06:30 | 20150570010 | 4 | 8.145 | . | 3.08 | ng/L | 0.37815 | VA | SBH | n | 2015-03-03 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-04-09 06:30 | 20150990083 | 4 | 8.145 | . | 3.86 | ng/L | 0.47391 | VA | KLE | n | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-06-22 07:15 | 20161740280 | 5.6 | 10 | . | 3 | ng/L | 0.3 | VA | VKJ | n | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-11-02 08:30 | 20163070100 | 5.6 | 10.04 | . | 10.2 | ng/L | 1.0159 | VA | SBH |  | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-11-02 08:00 | 20163070099 | 5.6 | 10.04 | . | 9.5 | ng/L | 0.94622 | VA | SBH |  | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-12-07 08:30 | 20163420125 | 5.6 | 10.04 | . | 7.6 | ng/L | 0.75697 | VA | SBH |  | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-07-09 08:00 | 20151900133 | 4 | 11.94 | . | 10.9 | ng/L | 0.9129 | VA | AWH |  | 2015-07-17 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-07-16 06:00 | 20151970155 | 4 | 11.94 | . | 9.37 | ng/L | 0.78476 | VA | SBH |  | 2015-07-21 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-03 07:30 | 20152460212 | 4 | 11.94 | . | 7.29 | ng/L | 0.61055 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-03 07:00 | 20152460211 | 4 | 11.94 | . | 9.62 | ng/L | 0.8057 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-03 06:30 | 20152460210 | 4 | 11.94 | . | 9.01 | ng/L | 0.75461 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-14 08:00 | 20160140035 | 5.6 | 11.94 | . | 9.7 | ng/L | 0.8124 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-14 07:30 | 20160140036 | 5.6 | 11.94 | . | 10.1 | ng/L | 0.8459 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-01-14 07:00 | 20160140037 | 5.6 | 11.94 | . | 9.5 | ng/L | 0.79564 | VA | AWH |  | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-04-14 08:00 | 20161050141 | 5.6 | 11.94 | . | 12.1 | ng/L | 1.0134 | VA | AWH |  | 2016-05-05 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-04-14 06:30 | 20161050142 | 5.6 | 11.94 | . | 11.6 | ng/L | 0.97152 | VA | AWH |  | 2016-05-05 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-13 07:30 | 20152250275 | 4 | 12 | E | 12.3 | ng/L | 1.025 | VA | AWH | c | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-13 07:00 | 20152250276 | 4 | 12 | E | 13.8 | ng/L | 1.15 | VA | AWH | c | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-13 08:00 | 20152250277 | 4 | 12 | E | 16.1 | ng/L | 1.3417 | VA | AWH | c | 2015-08-20 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-27 08:00 | 20152390229 | 4 | 12 | . | 14.6 | ng/L | 1.2167 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-27 07:30 | 20152390230 | 4 | 12 | . | 15.9 | ng/L | 1.325 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-08-27 07:00 | 20152390225 | 4 | 12 | . | 10.6 | ng/L | 0.88333 | VA | SBH |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-17 07:30 | 20153510113 | 5.6 | 12 | . | 11.2 | ng/L | 0.93333 | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-17 07:00 | 20153510111 | 5.6 | 12 | . | 11.6 | ng/L | 0.96667 | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-17 06:30 | 20153510112 | 5.6 | 12 | . | 10 | ng/L | 0.83333 | VA | SBH |  | 2016-01-20 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-03 07:30 | 20160630048 | 5.6 | 12 | . | 13.8 | ng/L | 1.15 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-03 07:00 | 20160630049 | 5.6 | 12 | . | 15.3 | ng/L | 1.275 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-03-03 06:30 | 20160630050 | 5.6 | 12 | . | 13.9 | ng/L | 1.1583 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-04-28 06:30 | 20161190072 | 5.6 | 12 | . | 13.4 | ng/L | 1.1167 | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-04-28 06:00 | 20161190071 | 5.6 | 12 | . | 13.2 | ng/L | 1.1 | VA | VKJ |  | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-07-10 07:30 | 20141910245 | 4 | 15.93 | . | 15.8 | ng/L | 0.99184 | VA | KLE |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-10-09 07:00 | 20142820153 | 4 | 15.93 | . | 18.1 | ng/L | 1.1362 | VA | CAD |  | 2014-10-20 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-10-30 08:00 | 20143030096 | 4 | 15.93 | . | 18.2 | ng/L | 1.1425 | VA | CAD |  | 2014-11-04 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-11-13 07:30 | 20143180048 | 4 | 15.93 | . | 19.8 | ng/L | 1.2429 | VA | VKJ |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-01-15 07:00 | 20150150114 | 4 | 15.93 | . | 13.6 | ng/L | 0.85374 | VA | VKJ |  | 2015-01-28 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-01-29 06:00 | 20150290076 | 4 | 16.11 | . | 14.3 | ng/L | 0.88765 | VA | MGN |  | 2015-02-10 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-06-12 08:30 | 20141640081 | 4 | 16.29 | . | 15.3 | ng/L | 0.93923 | VA | VKJ |  | 2014-06-25 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-10-02 07:30 | 20142760029 | 4 | 16.29 | E | 19.6 | ng/L | 1.2032 | VA | KLE | c | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-11-26 07:30 | 20143300050 | 4 | 16.29 | . | 15 | ng/L | 0.92081 | VA | MGN |  | 2014-12-03 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-12-03 06:30 | 20143370093 | 4 | 16.29 | . | 17 | ng/L | 1.0436 | VA | JIV |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-06-29 09:30 | 20161820007 | 5.6 | 20 | . | 4.88 | ng/L | 0.244 | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-06-29 09:00 | 20161820006 | 5.6 | 20 | . | 2.53 | ng/L | 0.1265 | VA | SBH | bn | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-11-30 08:00 | 20163370005 | 5.6 | 20.08 | . | 11.2 | ng/L | 0.55777 | VA | SBH |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-11-30 07:30 | 20163370004 | 5.6 | 20.08 | . | 14.1 | ng/L | 0.70219 | VA | SBH |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-09-21 08:30 | 20162660010 | 5.6 | 25 | . | 30.3 | ng/L | 1.212 | VA | SBH |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2016-09-21 08:00 | 20162660009 | 5.6 | 25 | . | 28.8 | ng/L | 1.152 | VA | SBH |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-05-29 08:30 | 20141490204 | 4 | 32.58 | . | 31.3 | ng/L | 0.96071 | VA | KLE |  | 2014-06-10 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-08 07:00 | 20152810124 | 4 | 47.76 | E | 45.1 | ng/L | 0.9443 | VA | AWH | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-08 06:30 | 20152810125 | 4 | 47.76 | E | 44.6 | ng/L | 0.93384 | VA | AWH | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-10-08 06:00 | 20152810123 | 4 | 47.76 | E | 47.3 | ng/L | 0.99037 | VA | AWH | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-30 08:00 | 20153640100 | 5.6 | 47.76 | . | 36 | ng/L | 0.75377 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-30 07:30 | 20153640099 | 5.6 | 47.76 | . | 31.7 | ng/L | 0.66374 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-12-30 07:00 | 20153640098 | 5.6 | 47.76 | . | 37.7 | ng/L | 0.78936 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-17 09:30 | 20152610006 | 4 | 48 | . | 59 | ng/L | 1.2292 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-17 09:00 | 20152610005 | 4 | 48 | . | 59.7 | ng/L | 1.2438 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-09-17 08:30 | 20152610004 | 4 | 48 | . | 57.8 | ng/L | 1.2042 | VA | SBH |  | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-24 07:00 | 20153280162 | 4 | 48 | . | 54.3 | ng/L | 1.1312 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-24 06:30 | 20153280161 | 4 | 48 | . | 54.9 | ng/L | 1.1438 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2015-11-24 06:00 | 20153280160 | 4 | 48 | . | 56.3 | ng/L | 1.1729 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-09-19 08:00 | 20132630001 | 4 | 200 | . | 188 | ng/L | 0.94 | VA | CAD |  | 2013-09-28 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-11-21 08:00 | 20133260006 | 4 | 200 | E | 189 | ng/L | 0.945 | VA | JIV | c | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-12-05 08:30 | 20133400005 | 4 | 200 | . | 162 | ng/L | 0.81 | VA | JIV |  | 2013-12-17 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-12-23 08:00 | 20133580040 | 4 | 298 | . | 193 | ng/L | 0.64765 | VA | VKJ |  | 2014-01-07 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-10-31 07:30 | 20133050048 | 4 | 300 | . | 259 | ng/L | 0.86333 | VA | JIV |  | 2013-11-19 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-01-09 08:00 | 20140100087 | 4 | 300 | . | 256 | ng/L | 0.85333 | OG | CAD |  | 2014-01-28 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-09-06 07:00 | 20132490346 | 4 | 745 | . | 528 | ng/L | 0.70872 | VA | VKJ | @c | 2013-09-24 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | FIPRONIL SULFONE | 66613LCM60 | 2014-02-06 08:30 | 20140370079 | 4 | 745 | . | 600 | ng/L | 0.80537 | VA | KLE |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | FIPRONIL SULFONE | 66613LCM60 | 2013-12-12 08:00 | 20133470005 | 4 | 750 | . | 478 | ng/L | 0.63733 | VA | JIV |  | 2013-12-18 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl