## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | MALATHION | 65087LCM60 | 2013-08-29 08:30 | 20132420005 | 6 |  | < | 6 | ng/L |  | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | MALATHION | 65087LCM60 | 2013-11-07 08:30 | 20133110106 | 6 |  | < | 6 | ng/L |  | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | MALATHION | 65087LCM60 | 2014-01-30 09:00 | 20140300037 | 6 |  | < | 6 | ng/L |  | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | MALATHION | 65087LCM60 | 2014-02-20 08:00 | 20140510044 | 6 |  | < | 6 | ng/L |  | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | MALATHION | 65087LCM60 | 2014-04-10 06:30 | 20141010010 | 6 |  | < | 6 | ng/L |  | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
2437 | MALATHION | 65087LCM60 | 2014-04-24 07:30 | 20141150010 | 6 |  | < | 6 | ng/L |  | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
2437 | MALATHION | 65087LCM60 | 2014-05-16 08:00 | 20141360090 | 6 |  | < | 10 | ng/L |  | OG | MPO | c | 2014-05-29 | ERA 0912-13-03: 25 µl
2437 | MALATHION | 65087LCM60 | 2014-05-22 08:00 | 20141420138 | 6 |  | < | 6.66 | ng/L |  | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
2437 | MALATHION | 65087LCM60 | 2014-06-05 08:30 | 20141570091 | 6 |  | < | 6 | ng/L |  | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
2437 | MALATHION | 65087LCM60 | 2014-06-19 08:00 | 20141710106 | 6 |  | < | 6 | ng/L |  | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | MALATHION | 65087LCM60 | 2014-06-26 09:00 | 20141770144 | 6 |  | < | 6 | ng/L |  | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-07-17 07:30 | 20141990082 | 6 |  | < | 6 | ng/L |  | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-07-31 07:00 | 20142130132 | 6 |  | < | 6 | ng/L |  | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-08-18 07:15 | 20142340168 | 6 |  | < | 6 | ng/L |  | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-09-03 07:45 | 20142470035 | 6 |  | < | 6 | ng/L |  | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-09-25 07:00 | 20142720026 | 6 |  | < | 6 | ng/L |  | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-10-23 07:00 | 20142960085 | 6 |  | < | 6 | ng/L |  | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-11-19 08:00 | 20143240094 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-12-18 07:00 | 20143520108 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | MALATHION | 65087LCM60 | 2015-02-05 07:00 | 20150360050 | 6 |  | < | 6 | ng/L |  | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | MALATHION | 65087LCM60 | 2015-03-05 07:00 | 20150650041 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | MALATHION | 65087LCM60 | 2015-04-16 07:00 | 20151110018 | 6 |  | < | 6 | ng/L |  | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | MALATHION | 65087LCM60 | 2015-07-23 06:30 | 20152040178 | 6 |  | < | 6 | ng/L |  | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-08-06 07:30 | 20152190004 | 6 |  | < | 6 | ng/L |  | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-08-06 07:00 | 20152190005 | 6 |  | < | 6 | ng/L |  | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-08-06 06:30 | 20152190006 | 6 |  | < | 6 | ng/L |  | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-08-20 09:00 | 20152330042 | 6 |  | < | 10 | ng/L |  | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-08-20 08:30 | 20152330043 | 6 |  | < | 10 | ng/L |  | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-08-20 06:30 | 20152330044 | 6 |  | < | 10 | ng/L |  | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-09-10 08:00 | 20152530084 | 6 |  | < | 6 | ng/L |  | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-09-10 07:30 | 20152530086 | 6 |  | < | 6 | ng/L |  | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-09-10 07:00 | 20152530085 | 6 |  | < | 6 | ng/L |  | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-10-01 07:30 | 20152750009 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | MALATHION | 65087LCM60 | 2015-10-01 07:00 | 20152750008 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | MALATHION | 65087LCM60 | 2015-10-01 06:30 | 20152750007 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | MALATHION | 65087LCM60 | 2015-10-22 07:30 | 20152950083 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-10-22 07:00 | 20152950081 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-10-22 06:30 | 20152950082 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-11-10 07:30 | 20153160006 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | MALATHION | 65087LCM60 | 2015-11-10 07:00 | 20153160005 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | MALATHION | 65087LCM60 | 2015-11-10 06:30 | 20153160004 | 6 |  | < | 6 | ng/L |  | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | MALATHION | 65087LCM60 | 2015-12-03 08:00 | 20153370174 | 6 |  | < | 6 | ng/L |  | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-12-03 07:30 | 20153370175 | 6 |  | < | 6 | ng/L |  | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-12-03 07:00 | 20153370173 | 6 |  | < | 6 | ng/L |  | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-01-07 07:30 | 20160070057 | 5.4 |  | < | 5.4 | ng/L |  | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-01-07 07:00 | 20160070054 | 5.4 |  | < | 5.4 | ng/L |  | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-01-07 06:30 | 20160070056 | 5.4 |  | < | 5.4 | ng/L |  | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-01-28 07:00 | 20160280055 | 5.4 |  | < | 5.4 | ng/L |  | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-01-28 06:30 | 20160280059 | 5.4 |  | < | 5.4 | ng/L |  | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-01-28 06:00 | 20160280058 | 5.4 |  | < | 5.4 | ng/L |  | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-18 08:00 | 20160490031 | 5.4 |  | < | 5.4 | ng/L |  | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | MALATHION | 65087LCM60 | 2016-02-18 07:30 | 20160490030 | 5.4 |  | < | 5.4 | ng/L |  | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | MALATHION | 65087LCM60 | 2016-02-18 07:00 | 20160490029 | 5.4 |  | < | 5.4 | ng/L |  | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | MALATHION | 65087LCM60 | 2016-03-10 08:00 | 20160710224 | 5.4 |  | < | 10 | ng/L |  | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-03-10 07:30 | 20160710223 | 5.4 |  | < | 10 | ng/L |  | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-03-10 07:00 | 20160710222 | 5.4 |  | < | 10 | ng/L |  | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-06-29 09:00 | 20161820006 | 5.4 |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | MALATHION | 65087LCM60 | 2016-06-29 09:30 | 20161820007 | 5.4 |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | MALATHION | 65087LCM60 | 2016-09-21 08:30 | 20162660010 | 5.4 |  | < | 5.4 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | MALATHION | 65087LCM60 | 2016-09-21 08:00 | 20162660009 | 5.4 |  | < | 5.4 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | MALATHION | 65087LCM60 | 2016-12-07 09:00 | 20163420124 | 5.4 |  | < | 5.4 | ng/L |  | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-12-07 08:30 | 20163420125 | 5.4 |  | . | 3.12 | ng/L |  | OG | DME | bn | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | MALATHION | 65087LCM60 | 2015-07-30 08:00 | 20152110201 | 6 | 8.98 | < | 6.05 | ng/L |  | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-01-21 07:30 | 20160210082 | 5.4 | 9.1 | < | 6.33 | ng/L |  | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | MALATHION | 65087LCM60 | 2015-04-09 06:30 | 20150990083 | 6 | 12.06 | < | 6.66 | ng/L |  | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | MALATHION | 65087LCM60 | 2015-07-09 08:00 | 20151900133 | 6 | 17.96 | < | 21.2 | ng/L |  | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-01-15 07:00 | 20150150114 | 6 | 24.09 | R |  | ng/L |  | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | MALATHION | 65087LCM60 | 2015-07-30 07:30 | 20152110200 | 6 | 8.98 | E | 7.14 | ng/L | 0.7951 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-07-30 07:00 | 20152110202 | 6 | 8.98 | E | 10.2 | ng/L | 1.1359 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-10-15 08:00 | 20152890012 | 6 | 8.98 | . | 12.5 | ng/L | 1.392 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-10-15 07:30 | 20152890013 | 6 | 8.98 | . | 13.9 | ng/L | 1.5479 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-10-15 07:00 | 20152890014 | 6 | 8.98 | . | 9.86 | ng/L | 1.098 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-10-29 07:30 | 20153030065 | 6 | 8.98 | . | 10.1 | ng/L | 1.1247 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-10-29 07:00 | 20153030064 | 6 | 8.98 | . | 12 | ng/L | 1.3363 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-10-29 06:30 | 20153030063 | 6 | 8.98 | . | 10.7 | ng/L | 1.1915 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-11-05 08:00 | 20153090114 | 6 | 8.98 | . | 10.3 | ng/L | 1.147 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-11-05 07:30 | 20153090115 | 6 | 8.98 | . | 13.5 | ng/L | 1.5033 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-11-05 07:00 | 20153090123 | 6 | 8.98 | . | 11.7 | ng/L | 1.3029 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-04 08:00 | 20160350044 | 5.4 | 8.98 | . | 6.94 | ng/L | 0.77283 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-04 07:30 | 20160350042 | 5.4 | 8.98 | . | 6.4 | ng/L | 0.71269 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-04 07:00 | 20160350043 | 5.4 | 8.98 | . | 6.38 | ng/L | 0.71047 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-11 08:00 | 20160430108 | 5.4 | 8.98 | . | 8.51 | ng/L | 0.94766 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-11 07:30 | 20160430107 | 5.4 | 8.98 | . | 6.94 | ng/L | 0.77283 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-11 06:30 | 20160430106 | 5.4 | 8.98 | . | 7.63 | ng/L | 0.84967 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-09-24 08:30 | 20152670139 | 6 | 9.1 | . | 13.5 | ng/L | 1.4835 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-09-24 08:00 | 20152670135 | 6 | 9.1 | . | 13.7 | ng/L | 1.5055 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-09-24 07:00 | 20152670138 | 6 | 9.1 | . | 16.4 | ng/L | 1.8022 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-11-19 08:00 | 20153230142 | 6 | 9.1 | . | 14.6 | ng/L | 1.6044 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-11-19 07:30 | 20153230143 | 6 | 9.1 | . | 15 | ng/L | 1.6484 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | MALATHION | 65087LCM60 | 2015-11-19 07:00 | 20153230141 | 6 | 9.1 | . | 15 | ng/L | 1.6484 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-01-21 08:00 | 20160210084 | 5.4 | 9.1 | E | 9.52 | ng/L | 1.0462 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | MALATHION | 65087LCM60 | 2016-01-21 07:00 | 20160210083 | 5.4 | 9.1 | E | 11.5 | ng/L | 1.2637 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | MALATHION | 65087LCM60 | 2016-02-25 07:30 | 20160560058 | 5.4 | 9.1 | . | 9.63 | ng/L | 1.0582 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-25 07:00 | 20160560057 | 5.4 | 9.1 | . | 6.71 | ng/L | 0.73736 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-02-25 06:30 | 20160560056 | 5.4 | 9.1 | . | 12.3 | ng/L | 1.3516 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | MALATHION | 65087LCM60 | 2016-03-17 08:00 | 20160770095 | 5.4 | 9.1 | . | 8.51 | ng/L | 0.93516 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | MALATHION | 65087LCM60 | 2016-03-17 07:30 | 20160770094 | 5.4 | 9.1 | . | 10.9 | ng/L | 1.1978 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | MALATHION | 65087LCM60 | 2016-03-17 06:30 | 20160770096 | 5.4 | 9.1 | . | 9.48 | ng/L | 1.0418 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | MALATHION | 65087LCM60 | 2014-07-24 08:00 | 20142060046 | 6 | 12.045 | E | 11.2 | ng/L | 0.92985 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-08-14 08:00 | 20142270006 | 6 | 12.045 | . | 18.7 | ng/L | 1.5525 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-09-04 08:30 | 20142480004 | 6 | 12.045 | . | 12.5 | ng/L | 1.0378 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-09-18 07:30 | 20142620041 | 6 | 12.045 | . | 11.1 | ng/L | 0.92154 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | MALATHION | 65087LCM60 | 2015-04-02 06:00 | 20150930002 | 6 | 12.045 | . | 13.8 | ng/L | 1.1457 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | MALATHION | 65087LCM60 | 2015-03-26 06:30 | 20150850163 | 6 | 12.045 | . | 12.4 | ng/L | 1.0295 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-05-08 06:00 | 20141290002 | 6 | 12.06 | . | 17.2 | ng/L | 1.4262 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-08-07 09:00 | 20142200170 | 6 | 12.06 | . | 10.2 | ng/L | 0.84577 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | MALATHION | 65087LCM60 | 2015-02-26 06:30 | 20150570010 | 6 | 12.06 | . | 14.1 | ng/L | 1.1692 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | MALATHION | 65087LCM60 | 2016-09-28 09:00 | 20162720259 | 5.4 | 14.84 | . | 13.5 | ng/L | 0.9097 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-09-28 08:30 | 20162720260 | 5.4 | 14.84 | . | 13.4 | ng/L | 0.90296 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-06-22 07:30 | 20161740281 | 5.4 | 15.2 | . | 0.95 | ng/L | 0.0625 | OG | JLE | bt | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | MALATHION | 65087LCM60 | 2016-06-22 07:15 | 20161740280 | 5.4 | 15.2 | . | 3.71 | ng/L | 0.24408 | OG | JLE | bn | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | MALATHION | 65087LCM60 | 2016-07-27 07:15 | 20162100011 | 5.4 | 15.2 | . | 16.1 | ng/L | 1.0592 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-07-27 07:00 | 20162100010 | 5.4 | 15.2 | . | 18.1 | ng/L | 1.1908 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-11-02 08:30 | 20163070100 | 5.4 | 15.2 | . | 14.2 | ng/L | 0.93421 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-11-02 08:00 | 20163070099 | 5.4 | 15.2 | . | 13.6 | ng/L | 0.89474 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-12-21 08:00 | 20163560022 | 5.4 | 15.2 | . | 16.2 | ng/L | 1.0658 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | MALATHION | 65087LCM60 | 2016-12-21 07:30 | 20163560021 | 5.4 | 15.2 | . | 13 | ng/L | 0.85526 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | MALATHION | 65087LCM60 | 2015-07-16 06:00 | 20151970155 | 6 | 17.96 | . | 19.1 | ng/L | 1.0635 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-09-03 07:30 | 20152460212 | 6 | 17.96 | E | 18.6 | ng/L | 1.0356 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-09-03 07:00 | 20152460211 | 6 | 17.96 | E | 26.7 | ng/L | 1.4866 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-09-03 06:30 | 20152460210 | 6 | 17.96 | E | 19.7 | ng/L | 1.0969 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-01-14 08:00 | 20160140035 | 5.4 | 17.96 | E | 9.63 | ng/L | 0.53619 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-01-14 07:30 | 20160140036 | 5.4 | 17.96 | E | 10.7 | ng/L | 0.59577 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-01-14 07:00 | 20160140037 | 5.4 | 17.96 | E | 13.9 | ng/L | 0.77394 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-04-14 08:00 | 20161050141 | 5.4 | 17.96 | . | 16.9 | ng/L | 0.94098 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-04-14 06:30 | 20161050142 | 5.4 | 17.96 | . | 13 | ng/L | 0.72383 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-07-01 07:00 | 20151820108 | 6 | 18.2 | E | 39.4 | ng/L | 2 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | MALATHION | 65087LCM60 | 2015-08-13 08:00 | 20152250277 | 6 | 18.2 | . | 19.6 | ng/L | 1.0769 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | MALATHION | 65087LCM60 | 2015-08-13 07:30 | 20152250275 | 6 | 18.2 | . | 28 | ng/L | 1.5385 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | MALATHION | 65087LCM60 | 2015-08-13 07:00 | 20152250276 | 6 | 18.2 | . | 31 | ng/L | 1.7033 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | MALATHION | 65087LCM60 | 2015-08-27 08:00 | 20152390229 | 6 | 18.2 | E | 45 | ng/L | 2 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-08-27 07:30 | 20152390230 | 6 | 18.2 | E | 45.7 | ng/L | 2 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-08-27 07:00 | 20152390225 | 6 | 18.2 | E | 44.7 | ng/L | 2 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | MALATHION | 65087LCM60 | 2015-12-17 07:30 | 20153510113 | 5.4 | 18.2 | . | 17.9 | ng/L | 0.98352 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | MALATHION | 65087LCM60 | 2015-12-17 07:00 | 20153510111 | 5.4 | 18.2 | . | 20.1 | ng/L | 1.1044 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | MALATHION | 65087LCM60 | 2015-12-17 06:30 | 20153510112 | 5.4 | 18.2 | . | 21.3 | ng/L | 1.1703 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | MALATHION | 65087LCM60 | 2016-03-03 07:30 | 20160630048 | 5.4 | 18.2 | . | 18 | ng/L | 0.98901 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-03-03 07:00 | 20160630049 | 5.4 | 18.2 | . | 21.3 | ng/L | 1.1703 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-03-03 06:30 | 20160630050 | 5.4 | 18.2 | . | 18.6 | ng/L | 1.022 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-04-28 06:30 | 20161190072 | 5.4 | 18.2 | . | 18.8 | ng/L | 1.033 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | MALATHION | 65087LCM60 | 2016-04-28 06:00 | 20161190071 | 5.4 | 18.2 | . | 18.5 | ng/L | 1.0165 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | MALATHION | 65087LCM60 | 2014-07-10 07:30 | 20141910245 | 6 | 24.09 | . | 33.5 | ng/L | 1.3906 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-10-09 07:00 | 20142820153 | 6 | 24.09 | . | 23.9 | ng/L | 0.99211 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-10-30 08:00 | 20143030096 | 6 | 24.09 | . | 24 | ng/L | 0.99626 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-11-13 07:30 | 20143180048 | 6 | 24.09 | . | 25.6 | ng/L | 1.0627 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | MALATHION | 65087LCM60 | 2015-01-29 06:00 | 20150290076 | 6 | 24.105 | . | 26.4 | ng/L | 1.0952 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | MALATHION | 65087LCM60 | 2014-06-12 08:30 | 20141640081 | 6 | 24.12 | E | 18.9 | ng/L | 0.78358 | K | JIV | c | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-10-02 07:30 | 20142760029 | 6 | 24.12 | . | 22.9 | ng/L | 0.94942 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-11-26 07:30 | 20143300050 | 6 | 24.12 | . | 21.8 | ng/L | 0.90381 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | MALATHION | 65087LCM60 | 2014-12-03 06:30 | 20143370093 | 6 | 24.12 | . | 25.1 | ng/L | 1.0406 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | MALATHION | 65087LCM60 | 2016-11-30 08:00 | 20163370005 | 5.4 | 29.68 | . | 24 | ng/L | 0.80863 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | MALATHION | 65087LCM60 | 2016-11-30 07:30 | 20163370004 | 5.4 | 29.68 | . | 22.3 | ng/L | 0.75135 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | MALATHION | 65087LCM60 | 2016-07-06 07:45 | 20161880106 | 5.4 | 30.4 | . | 36.7 | ng/L | 1.2072 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | MALATHION | 65087LCM60 | 2016-07-06 07:15 | 20161880111 | 5.4 | 30.4 | . | 42.2 | ng/L | 1.3882 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | MALATHION | 65087LCM60 | 2016-09-07 08:30 | 20162520007 | 5.4 | 30.4 | . | 28.7 | ng/L | 0.94408 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | MALATHION | 65087LCM60 | 2016-09-07 08:00 | 20162520006 | 5.4 | 30.4 | . | 26.5 | ng/L | 0.87171 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | MALATHION | 65087LCM60 | 2014-05-29 08:30 | 20141490204 | 6 | 48.24 | E | 79.8 | ng/L | 1.6542 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | MALATHION | 65087LCM60 | 2015-10-08 07:00 | 20152810124 | 6 | 71.84 | . | 71.8 | ng/L | 0.99944 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-10-08 06:30 | 20152810125 | 6 | 71.84 | . | 65.3 | ng/L | 0.90896 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-10-08 06:00 | 20152810123 | 6 | 71.84 | . | 66.5 | ng/L | 0.92567 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-12-30 08:00 | 20153640100 | 5.4 | 71.84 | . | 52.4 | ng/L | 0.7294 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-12-30 07:30 | 20153640099 | 5.4 | 71.84 | . | 43.7 | ng/L | 0.6083 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-12-30 07:00 | 20153640098 | 5.4 | 71.84 | . | 41.9 | ng/L | 0.58324 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-09-17 09:30 | 20152610006 | 6 | 72.8 | . | 117 | ng/L | 1.6071 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | MALATHION | 65087LCM60 | 2015-09-17 09:00 | 20152610005 | 6 | 72.8 | . | 121 | ng/L | 1.6621 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | MALATHION | 65087LCM60 | 2015-09-17 08:30 | 20152610004 | 6 | 72.8 | . | 107 | ng/L | 1.4698 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | MALATHION | 65087LCM60 | 2015-11-24 07:00 | 20153280162 | 6 | 72.8 | . | 89.2 | ng/L | 1.2253 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-11-24 06:30 | 20153280161 | 6 | 72.8 | . | 90.2 | ng/L | 1.239 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | MALATHION | 65087LCM60 | 2015-11-24 06:00 | 20153280160 | 6 | 72.8 | . | 88.7 | ng/L | 1.2184 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | MALATHION | 65087LCM60 | 2013-12-23 08:00 | 20133580040 | 6 | 150 | . | 95 | ng/L | 0.63333 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | MALATHION | 65087LCM60 | 2013-10-31 07:30 | 20133050048 | 6 | 150.4 | . | 157 | ng/L | 1.0439 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | MALATHION | 65087LCM60 | 2014-01-09 08:00 | 20140100087 | 6 | 150.4 | . | 156 | ng/L | 1.0372 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | MALATHION | 65087LCM60 | 2013-09-19 08:00 | 20132630001 | 6 | 151 | . | 146 | ng/L | 0.96689 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
2437 | MALATHION | 65087LCM60 | 2013-11-21 08:00 | 20133260006 | 6 | 151 | . | 146 | ng/L | 0.96689 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
2437 | MALATHION | 65087LCM60 | 2013-12-05 08:30 | 20133400005 | 6 | 151 | . | 193 | ng/L | 1.2781 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
2437 | MALATHION | 65087LCM60 | 2013-09-06 07:00 | 20132490346 | 6 | 375 | . | 291 | ng/L | 0.776 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | MALATHION | 65087LCM60 | 2014-02-06 08:30 | 20140370079 | 6 | 375 | . | 307 | ng/L | 0.81867 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | MALATHION | 65087LCM60 | 2013-12-12 08:00 | 20133470005 | 6 | 376 | . | 386 | ng/L | 1.0266 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl