## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | PROPANIL | 66641LCM60 | 2013-08-29 08:30 | 20132420005 | 11 |  | < | 11 | ng/L |  | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | PROPANIL | 66641LCM60 | 2013-11-07 08:30 | 20133110106 | 11 |  | < | 11 | ng/L |  | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | PROPANIL | 66641LCM60 | 2014-01-30 09:00 | 20140300037 | 11 |  | < | 11 | ng/L |  | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | PROPANIL | 66641LCM60 | 2014-02-20 08:00 | 20140510044 | 11 |  | < | 11 | ng/L |  | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | PROPANIL | 66641LCM60 | 2014-04-10 06:30 | 20141010010 | 11 |  | < | 11 | ng/L |  | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
2437 | PROPANIL | 66641LCM60 | 2014-04-24 07:30 | 20141150010 | 11 |  | < | 11 | ng/L |  | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
2437 | PROPANIL | 66641LCM60 | 2014-05-16 08:00 | 20141360090 | 11 |  | < | 11 | ng/L |  | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
2437 | PROPANIL | 66641LCM60 | 2014-05-22 08:00 | 20141420138 | 11 |  | < | 12.2 | ng/L |  | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
2437 | PROPANIL | 66641LCM60 | 2014-06-05 08:30 | 20141570091 | 11 |  | < | 11 | ng/L |  | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
2437 | PROPANIL | 66641LCM60 | 2014-06-19 08:00 | 20141710106 | 11 |  | < | 11 | ng/L |  | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | PROPANIL | 66641LCM60 | 2014-06-26 09:00 | 20141770144 | 11 |  | < | 11 | ng/L |  | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-07-17 07:30 | 20141990082 | 11 |  | < | 11 | ng/L |  | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-07-31 07:00 | 20142130132 | 11 |  | < | 11 | ng/L |  | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-08-18 07:15 | 20142340168 | 11 |  | < | 11 | ng/L |  | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-09-03 07:45 | 20142470035 | 11 |  | < | 11 | ng/L |  | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-09-25 07:00 | 20142720026 | 11 |  | < | 11 | ng/L |  | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-10-23 07:00 | 20142960085 | 11 |  | < | 11 | ng/L |  | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-11-19 08:00 | 20143240094 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-12-18 07:00 | 20143520108 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | PROPANIL | 66641LCM60 | 2015-02-05 07:00 | 20150360050 | 11 |  | < | 11 | ng/L |  | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | PROPANIL | 66641LCM60 | 2015-03-05 07:00 | 20150650041 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | PROPANIL | 66641LCM60 | 2015-04-16 07:00 | 20151110018 | 11 |  | < | 11 | ng/L |  | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | PROPANIL | 66641LCM60 | 2015-07-01 07:00 | 20151820108 | 11 |  | < | 11 | ng/L |  | OG | MNO |  | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | PROPANIL | 66641LCM60 | 2015-07-09 08:00 | 20151900133 | 11 |  | < | 50 | ng/L |  | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-13 08:00 | 20152250277 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | PROPANIL | 66641LCM60 | 2015-08-13 07:30 | 20152250275 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | PROPANIL | 66641LCM60 | 2015-08-13 07:00 | 20152250276 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | PROPANIL | 66641LCM60 | 2015-09-03 07:30 | 20152460212 | 11 |  | < | 11 | ng/L |  | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-03 07:00 | 20152460211 | 11 |  | < | 11 | ng/L |  | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-03 06:30 | 20152460210 | 11 |  | < | 11 | ng/L |  | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-24 08:30 | 20152670139 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-24 08:00 | 20152670135 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-24 07:00 | 20152670138 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-15 08:00 | 20152890012 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-15 07:30 | 20152890013 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-15 07:00 | 20152890014 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-05 08:00 | 20153090114 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-05 07:30 | 20153090115 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-05 07:00 | 20153090123 | 11 |  | < | 11 | ng/L |  | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-24 07:00 | 20153280162 | 11 |  | < | 11 | ng/L |  | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-24 06:30 | 20153280161 | 11 |  | < | 11 | ng/L |  | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-24 06:00 | 20153280160 | 11 |  | < | 11 | ng/L |  | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-12-30 08:00 | 20153640100 | 12 |  | < | 12 | ng/L |  | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-12-30 07:30 | 20153640099 | 12 |  | < | 12 | ng/L |  | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-12-30 07:00 | 20153640098 | 12 |  | < | 12 | ng/L |  | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-21 08:00 | 20160210084 | 12 |  | < | 12 | ng/L |  | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | PROPANIL | 66641LCM60 | 2016-01-21 07:30 | 20160210082 | 12 |  | < | 12 | ng/L |  | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | PROPANIL | 66641LCM60 | 2016-01-21 07:00 | 20160210083 | 12 |  | < | 12 | ng/L |  | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | PROPANIL | 66641LCM60 | 2016-02-11 08:00 | 20160430108 | 12 |  | < | 12 | ng/L |  | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-02-11 07:30 | 20160430107 | 12 |  | < | 12 | ng/L |  | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-02-11 06:30 | 20160430106 | 12 |  | < | 12 | ng/L |  | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-03-03 07:30 | 20160630048 | 12 |  | < | 11 | ng/L |  | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-03-03 07:00 | 20160630049 | 12 |  | < | 11 | ng/L |  | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-03-03 06:30 | 20160630050 | 12 |  | < | 11 | ng/L |  | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-04-14 08:00 | 20161050141 | 12 |  | < | 12 | ng/L |  | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-04-14 06:30 | 20161050142 | 12 |  | < | 12 | ng/L |  | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-06-29 09:00 | 20161820006 | 12 |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | PROPANIL | 66641LCM60 | 2016-06-29 09:30 | 20161820007 | 12 |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | PROPANIL | 66641LCM60 | 2016-09-21 08:30 | 20162660010 | 12 |  | < | 12 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | PROPANIL | 66641LCM60 | 2016-09-21 08:00 | 20162660009 | 12 |  | < | 12 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | PROPANIL | 66641LCM60 | 2016-12-07 09:00 | 20163420124 | 12 |  | < | 12 | ng/L |  | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-12-07 08:30 | 20163420125 | 12 |  | < | 12 | ng/L |  | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | PROPANIL | 66641LCM60 | 2015-01-15 07:00 | 20150150114 | 11 | 43.53 | R |  | ng/L |  | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | PROPANIL | 66641LCM60 | 2015-07-30 08:00 | 20152110201 | 11 | 16.3 | . | 17.3 | ng/L | 1.0613 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-07-30 07:30 | 20152110200 | 11 | 16.3 | . | 14.6 | ng/L | 0.89571 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-07-30 07:00 | 20152110202 | 11 | 16.3 | . | 16.6 | ng/L | 1.0184 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-10 08:00 | 20152530084 | 11 | 16.3 | . | 18.8 | ng/L | 1.1534 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-10 07:30 | 20152530086 | 11 | 16.3 | E | 18.3 | ng/L | 1.1227 | OG | JLE | v | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-10 07:00 | 20152530085 | 11 | 16.3 | E | 11.5 | ng/L | 0.70552 | OG | JLE | v | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-19 08:00 | 20153230142 | 11 | 16.3 | . | 17 | ng/L | 1.0429 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-19 07:30 | 20153230143 | 11 | 16.3 | . | 13.7 | ng/L | 0.84049 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-19 07:00 | 20153230141 | 11 | 16.3 | . | 13 | ng/L | 0.79755 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-07 07:30 | 20160070057 | 12 | 16.3 | . | 11.6 | ng/L | 0.71166 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-07 07:00 | 20160070054 | 12 | 16.3 | . | 12.4 | ng/L | 0.76074 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-07 06:30 | 20160070056 | 12 | 16.3 | . | 18.5 | ng/L | 1.135 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-28 07:00 | 20160280055 | 12 | 16.3 | . | 18.2 | ng/L | 1.1166 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-28 06:30 | 20160280059 | 12 | 16.3 | . | 22.4 | ng/L | 1.3742 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-28 06:00 | 20160280058 | 12 | 16.3 | . | 17.8 | ng/L | 1.092 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-02-25 07:30 | 20160560058 | 12 | 16.3 | . | 15.6 | ng/L | 0.95706 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-02-25 07:00 | 20160560057 | 12 | 16.3 | . | 20 | ng/L | 1.227 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-02-25 06:30 | 20160560056 | 12 | 16.3 | . | 20.3 | ng/L | 1.2454 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-07-23 06:30 | 20152040178 | 11 | 16.7 | . | 21.1 | ng/L | 1.2635 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-29 07:30 | 20153030065 | 11 | 16.7 | . | 9.94 | ng/L | 0.59521 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-29 07:00 | 20153030064 | 11 | 16.7 | . | 16.1 | ng/L | 0.96407 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-29 06:30 | 20153030063 | 11 | 16.7 | . | 16.6 | ng/L | 0.99401 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2015-11-10 07:30 | 20153160006 | 11 | 16.7 | . | 15.4 | ng/L | 0.92216 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | PROPANIL | 66641LCM60 | 2015-11-10 07:00 | 20153160005 | 11 | 16.7 | . | 15.8 | ng/L | 0.94611 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | PROPANIL | 66641LCM60 | 2015-11-10 06:30 | 20153160004 | 11 | 16.7 | . | 18.7 | ng/L | 1.1198 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | PROPANIL | 66641LCM60 | 2016-02-04 08:00 | 20160350044 | 12 | 16.7 | . | 18.8 | ng/L | 1.1257 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-02-04 07:30 | 20160350042 | 12 | 16.7 | . | 21 | ng/L | 1.2575 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-02-04 07:00 | 20160350043 | 12 | 16.7 | . | 23.9 | ng/L | 1.4311 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPANIL | 66641LCM60 | 2016-03-17 08:00 | 20160770095 | 12 | 16.7 | . | 10.3 | ng/L | 0.61677 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | PROPANIL | 66641LCM60 | 2016-03-17 07:30 | 20160770094 | 12 | 16.7 | . | 13.9 | ng/L | 0.83234 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | PROPANIL | 66641LCM60 | 2016-03-17 06:30 | 20160770096 | 12 | 16.7 | . | 10.9 | ng/L | 0.65269 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | PROPANIL | 66641LCM60 | 2014-07-24 08:00 | 20142060046 | 11 | 21.765 | . | 23.5 | ng/L | 1.0797 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-08-14 08:00 | 20142270006 | 11 | 21.765 | . | 21.5 | ng/L | 0.98782 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-09-04 08:30 | 20142480004 | 11 | 21.765 | . | 21.1 | ng/L | 0.96945 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-09-18 07:30 | 20142620041 | 11 | 21.765 | . | 26.2 | ng/L | 1.2038 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | PROPANIL | 66641LCM60 | 2015-04-02 06:00 | 20150930002 | 11 | 21.765 | . | 21.7 | ng/L | 0.99701 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | PROPANIL | 66641LCM60 | 2015-03-26 06:30 | 20150850163 | 11 | 21.765 | . | 17.3 | ng/L | 0.79485 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-05-08 06:00 | 20141290002 | 11 | 21.945 | . | 16.1 | ng/L | 0.73365 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-08-07 09:00 | 20142200170 | 11 | 21.945 | . | 22 | ng/L | 1.0025 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | PROPANIL | 66641LCM60 | 2015-02-26 06:30 | 20150570010 | 11 | 21.945 | . | 27.7 | ng/L | 1.2622 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | PROPANIL | 66641LCM60 | 2015-04-09 06:30 | 20150990083 | 11 | 21.945 | . | 24.6 | ng/L | 1.121 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | PROPANIL | 66641LCM60 | 2016-06-22 07:30 | 20161740281 | 12 | 27.64 | . | 23.8 | ng/L | 0.86107 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | PROPANIL | 66641LCM60 | 2016-06-22 07:15 | 20161740280 | 12 | 27.64 | . | 30.8 | ng/L | 1.1143 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | PROPANIL | 66641LCM60 | 2016-07-27 07:15 | 20162100011 | 12 | 27.64 | . | 27.1 | ng/L | 0.98046 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-07-27 07:00 | 20162100010 | 12 | 27.64 | . | 28.8 | ng/L | 1.042 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-09-28 09:00 | 20162720259 | 12 | 27.64 | . | 21.2 | ng/L | 0.767 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-09-28 08:30 | 20162720260 | 12 | 27.64 | . | 23.3 | ng/L | 0.84298 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-11-02 08:30 | 20163070100 | 12 | 27.64 | . | 27.5 | ng/L | 0.99493 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-11-02 08:00 | 20163070099 | 12 | 27.64 | . | 24.2 | ng/L | 0.87554 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-12-21 08:00 | 20163560022 | 12 | 27.64 | E | 22.7 | ng/L | 0.82127 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPANIL | 66641LCM60 | 2016-12-21 07:30 | 20163560021 | 12 | 27.64 | E | 32.4 | ng/L | 1.1722 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-06 07:30 | 20152190004 | 11 | 32.6 | . | 32.7 | ng/L | 1.0031 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-06 07:00 | 20152190005 | 11 | 32.6 | . | 26.5 | ng/L | 0.81288 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-06 06:30 | 20152190006 | 11 | 32.6 | . | 30.8 | ng/L | 0.94479 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-20 09:00 | 20152330042 | 11 | 32.6 | . | 24.6 | ng/L | 0.7546 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-20 08:30 | 20152330043 | 11 | 32.6 | . | 29.8 | ng/L | 0.91411 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-20 06:30 | 20152330044 | 11 | 32.6 | . | 32.4 | ng/L | 0.99387 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-27 08:00 | 20152390229 | 11 | 32.6 | . | 34 | ng/L | 1.0429 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-27 07:30 | 20152390230 | 11 | 32.6 | . | 32.3 | ng/L | 0.9908 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-08-27 07:00 | 20152390225 | 11 | 32.6 | . | 38.1 | ng/L | 1.1687 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-22 07:30 | 20152950083 | 11 | 32.6 | . | 28.6 | ng/L | 0.8773 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-22 07:00 | 20152950081 | 11 | 32.6 | . | 26.7 | ng/L | 0.81902 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-22 06:30 | 20152950082 | 11 | 32.6 | . | 31.2 | ng/L | 0.95706 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-14 08:00 | 20160140035 | 12 | 32.6 | . | 25.9 | ng/L | 0.79448 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-14 07:30 | 20160140036 | 12 | 32.6 | . | 33.5 | ng/L | 1.0276 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-01-14 07:00 | 20160140037 | 12 | 32.6 | . | 34.9 | ng/L | 1.0706 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-04-28 06:30 | 20161190072 | 12 | 32.6 | . | 35 | ng/L | 1.0736 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-04-28 06:00 | 20161190071 | 12 | 32.6 | . | 30.6 | ng/L | 0.93865 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-07-16 06:00 | 20151970155 | 11 | 33.4 | . | 32.4 | ng/L | 0.97006 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-12-03 08:00 | 20153370174 | 11 | 33.4 | . | 23.9 | ng/L | 0.71557 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-12-03 07:30 | 20153370175 | 11 | 33.4 | . | 19.2 | ng/L | 0.57485 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-12-03 07:00 | 20153370173 | 11 | 33.4 | . | 35.7 | ng/L | 1.0689 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPANIL | 66641LCM60 | 2015-12-17 07:30 | 20153510113 | 12 | 33.4 | . | 30.5 | ng/L | 0.91317 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | PROPANIL | 66641LCM60 | 2015-12-17 07:00 | 20153510111 | 12 | 33.4 | . | 33 | ng/L | 0.98802 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | PROPANIL | 66641LCM60 | 2015-12-17 06:30 | 20153510112 | 12 | 33.4 | . | 35.1 | ng/L | 1.0509 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | PROPANIL | 66641LCM60 | 2016-02-18 08:00 | 20160490031 | 12 | 33.4 | . | 36.8 | ng/L | 1.1018 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | PROPANIL | 66641LCM60 | 2016-02-18 07:30 | 20160490030 | 12 | 33.4 | . | 26 | ng/L | 0.77844 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | PROPANIL | 66641LCM60 | 2016-02-18 07:00 | 20160490029 | 12 | 33.4 | . | 31.7 | ng/L | 0.9491 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | PROPANIL | 66641LCM60 | 2016-03-10 08:00 | 20160710224 | 12 | 33.4 | . | 39.5 | ng/L | 1.1826 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-03-10 07:30 | 20160710223 | 12 | 33.4 | . | 34.8 | ng/L | 1.0419 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPANIL | 66641LCM60 | 2016-03-10 07:00 | 20160710222 | 12 | 33.4 | . | 28.4 | ng/L | 0.8503 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPANIL | 66641LCM60 | 2014-07-10 07:30 | 20141910245 | 11 | 43.53 | . | 50.4 | ng/L | 1.1578 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-10-09 07:00 | 20142820153 | 11 | 43.53 | . | 69.7 | ng/L | 1.6012 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-10-30 08:00 | 20143030096 | 11 | 43.53 | . | 42.9 | ng/L | 0.98553 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-11-13 07:30 | 20143180048 | 11 | 43.53 | . | 43.4 | ng/L | 0.99701 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | PROPANIL | 66641LCM60 | 2015-01-29 06:00 | 20150290076 | 11 | 43.71 | . | 35.3 | ng/L | 0.8076 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | PROPANIL | 66641LCM60 | 2014-06-12 08:30 | 20141640081 | 11 | 43.89 | . | 50.8 | ng/L | 1.1574 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-10-02 07:30 | 20142760029 | 11 | 43.89 | . | 52.3 | ng/L | 1.1916 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-11-26 07:30 | 20143300050 | 11 | 43.89 | . | 44 | ng/L | 1.0025 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | PROPANIL | 66641LCM60 | 2014-12-03 06:30 | 20143370093 | 11 | 43.89 | . | 45.5 | ng/L | 1.0367 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | PROPANIL | 66641LCM60 | 2016-07-06 07:45 | 20161880106 | 12 | 55.28 | . | 47 | ng/L | 0.85022 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPANIL | 66641LCM60 | 2016-07-06 07:15 | 20161880111 | 12 | 55.28 | . | 53.3 | ng/L | 0.96418 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPANIL | 66641LCM60 | 2016-09-07 08:30 | 20162520007 | 12 | 55.28 | . | 53.6 | ng/L | 0.96961 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPANIL | 66641LCM60 | 2016-09-07 08:00 | 20162520006 | 12 | 55.28 | . | 53.8 | ng/L | 0.97323 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPANIL | 66641LCM60 | 2016-11-30 08:00 | 20163370005 | 12 | 55.28 | . | 48.4 | ng/L | 0.87554 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PROPANIL | 66641LCM60 | 2016-11-30 07:30 | 20163370004 | 12 | 55.28 | . | 45.3 | ng/L | 0.81946 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PROPANIL | 66641LCM60 | 2014-05-29 08:30 | 20141490204 | 11 | 87.78 | E | 98.2 | ng/L | 1.1187 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-08 07:00 | 20152810124 | 11 | 130.4 | . | 122 | ng/L | 0.93558 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-08 06:30 | 20152810125 | 11 | 130.4 | . | 127 | ng/L | 0.97393 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-10-08 06:00 | 20152810123 | 11 | 130.4 | . | 102 | ng/L | 0.78221 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PROPANIL | 66641LCM60 | 2015-09-17 09:30 | 20152610006 | 11 | 133.6 | . | 144 | ng/L | 1.0778 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | PROPANIL | 66641LCM60 | 2015-09-17 09:00 | 20152610005 | 11 | 133.6 | . | 139 | ng/L | 1.0404 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | PROPANIL | 66641LCM60 | 2015-09-17 08:30 | 20152610004 | 11 | 133.6 | . | 124 | ng/L | 0.92814 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | PROPANIL | 66641LCM60 | 2015-10-01 07:30 | 20152750009 | 11 | 133.6 | . | 127 | ng/L | 0.9506 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | PROPANIL | 66641LCM60 | 2015-10-01 07:00 | 20152750008 | 11 | 133.6 | . | 103 | ng/L | 0.77096 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | PROPANIL | 66641LCM60 | 2015-10-01 06:30 | 20152750007 | 11 | 133.6 | . | 122 | ng/L | 0.91317 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | PROPANIL | 66641LCM60 | 2013-12-23 08:00 | 20133580040 | 11 | 199 | . | 204 | ng/L | 1.0251 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | PROPANIL | 66641LCM60 | 2013-10-31 07:30 | 20133050048 | 11 | 200 | . | 212 | ng/L | 1.06 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | PROPANIL | 66641LCM60 | 2014-01-09 08:00 | 20140100087 | 11 | 200 | . | 221 | ng/L | 1.105 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | PROPANIL | 66641LCM60 | 2013-09-19 08:00 | 20132630001 | 11 | 301 | . | 341 | ng/L | 1.1329 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
2437 | PROPANIL | 66641LCM60 | 2013-11-21 08:00 | 20133260006 | 11 | 301 | . | 326 | ng/L | 1.0831 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
2437 | PROPANIL | 66641LCM60 | 2013-12-05 08:30 | 20133400005 | 11 | 301 | . | 413 | ng/L | 1.3721 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
2437 | PROPANIL | 66641LCM60 | 2013-09-06 07:00 | 20132490346 | 11 | 497.5 | . | 526 | ng/L | 1.0573 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | PROPANIL | 66641LCM60 | 2014-02-06 08:30 | 20140370079 | 11 | 497.5 | . | 585 | ng/L | 1.1759 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | PROPANIL | 66641LCM60 | 2013-12-12 08:00 | 20133470005 | 11 | 500 | . | 671 | ng/L | 1.342 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl