## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2013-08-29 08:30 | 20132420005 | 3 |  | < | 3 | ng/L |  | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2013-11-07 08:30 | 20133110106 | 3 |  | < | 3 | ng/L |  | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-01-30 09:00 | 20140300037 | 3 |  | < | 3 | ng/L |  | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-02-20 08:00 | 20140510044 | 3 |  | < | 3 | ng/L |  | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-04-10 06:30 | 20141010010 | 3 |  | < | 3 | ng/L |  | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-04-24 07:30 | 20141150010 | 3 |  | < | 3 | ng/L |  | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-05-16 08:00 | 20141360090 | 3 |  | < | 3 | ng/L |  | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-05-22 08:00 | 20141420138 | 3 |  | < | 3.33 | ng/L |  | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-06-05 08:30 | 20141570091 | 3 |  | < | 3 | ng/L |  | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-06-19 08:00 | 20141710106 | 3 |  | < | 3 | ng/L |  | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-01-29 06:00 | 20150290076 | 3 |  | < | 3 | ng/L |  | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-07-16 06:00 | 20151970155 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-17 09:30 | 20152610006 | 3 |  | < | 3 | ng/L |  | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-17 09:00 | 20152610005 | 3 |  | < | 3 | ng/L |  | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-17 08:30 | 20152610004 | 3 |  | < | 3 | ng/L |  | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-29 07:30 | 20153030065 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-29 07:00 | 20153030064 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-29 06:30 | 20153030063 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-17 07:30 | 20153510113 | 3 |  | < | 3 | ng/L |  | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-17 07:00 | 20153510111 | 3 |  | < | 3 | ng/L |  | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-17 06:30 | 20153510112 | 3 |  | < | 3 | ng/L |  | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-04 08:00 | 20160350044 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-04 07:30 | 20160350042 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-04 07:00 | 20160350043 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-17 08:00 | 20160770095 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-17 07:30 | 20160770094 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-17 06:30 | 20160770096 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-07-06 07:45 | 20161880106 | 3 |  | . | 1.05 | ng/L |  | OG | DME | bt | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-07-06 07:15 | 20161880111 | 3 |  | . | 1.08 | ng/L |  | OG | DME | bt | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-07-27 07:15 | 20162100011 | 3 |  | < | 3 | ng/L |  | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-07-27 07:00 | 20162100010 | 3 |  | . | 1.46 | ng/L |  | OG | DME | n | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-09-07 08:30 | 20162520007 | 3 |  | . | 2.48 | ng/L |  | OG | DME | n | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-09-07 08:00 | 20162520006 | 3 |  | . | 2.41 | ng/L |  | OG | DME | n | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-09-21 08:30 | 20162660010 | 3 |  | < | 3 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-09-21 08:00 | 20162660009 | 3 |  | < | 3 | ng/L |  | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-09-28 09:00 | 20162720259 | 3 |  | . | 4.63 | ng/L |  | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-09-28 08:30 | 20162720260 | 3 |  | . | 4.21 | ng/L |  | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-12-21 08:00 | 20163560022 | 3 |  | . | 2.09 | ng/L |  | OG | DME | n | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-12-21 07:30 | 20163560021 | 3 |  | . | 2.36 | ng/L |  | OG | DME | n | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-24 08:30 | 20152670139 | 3 | 4.49 | < | 4.21 | ng/L |  | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-01-15 07:00 | 20150150114 | 3 | 12.03 | R |  | ng/L |  | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-06-29 09:00 | 20161820006 | 3 | 14.4 | R |  | ng/L |  |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-06-29 09:30 | 20161820007 | 3 | 14.4 | R |  | ng/L |  |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-07-23 06:30 | 20152040178 | 3 | 4.49 | . | 5.25 | ng/L | 1.1693 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-24 08:00 | 20152670135 | 3 | 4.49 | . | 5.15 | ng/L | 1.147 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-24 07:00 | 20152670138 | 3 | 4.49 | . | 5.02 | ng/L | 1.118 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-05 08:00 | 20153090114 | 3 | 4.49 | . | 5.66 | ng/L | 1.2606 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-05 07:30 | 20153090115 | 3 | 4.49 | . | 5.43 | ng/L | 1.2094 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-05 07:00 | 20153090123 | 3 | 4.49 | . | 4.58 | ng/L | 1.02 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-15 08:00 | 20152890012 | 3 | 4.5 | . | 5.03 | ng/L | 1.1178 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-15 07:30 | 20152890013 | 3 | 4.5 | . | 6.01 | ng/L | 1.3356 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-15 07:00 | 20152890014 | 3 | 4.5 | . | 5.41 | ng/L | 1.2022 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-10 07:30 | 20153160006 | 3 | 4.5 | . | 5.81 | ng/L | 1.2911 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-10 07:00 | 20153160005 | 3 | 4.5 | . | 5.32 | ng/L | 1.1822 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-10 06:30 | 20153160004 | 3 | 4.5 | . | 5.96 | ng/L | 1.3244 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-01-21 08:00 | 20160210084 | 3 | 4.5 | . | 4.29 | ng/L | 0.95333 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-01-21 07:30 | 20160210082 | 3 | 4.5 | . | 3.32 | ng/L | 0.73778 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-01-21 07:00 | 20160210083 | 3 | 4.5 | . | 4.12 | ng/L | 0.91556 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-11 08:00 | 20160430108 | 3 | 4.5 | . | 4.07 | ng/L | 0.90444 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-11 07:30 | 20160430107 | 3 | 4.5 | . | 4.29 | ng/L | 0.95333 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-11 06:30 | 20160430106 | 3 | 4.5 | . | 3.57 | ng/L | 0.79333 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-07-24 08:00 | 20142060046 | 3 | 6.015 | . | 3.62 | ng/L | 0.60183 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-08-07 09:00 | 20142200170 | 3 | 6.015 | . | 4.49 | ng/L | 0.74647 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-09-04 08:30 | 20142480004 | 3 | 6.015 | E | 5.13 | ng/L | 0.85287 | OG | CAD | i | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-02-26 06:30 | 20150570010 | 3 | 6.015 | E | 5.6 | ng/L | 0.93101 | OG | SBH | c | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-03-26 06:30 | 20150850163 | 3 | 6.015 | . | 3.7 | ng/L | 0.61513 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-04-09 06:30 | 20150990083 | 3 | 6.015 | . | 9.74 | ng/L | 1.6193 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-06-22 07:30 | 20161740281 | 3 | 7.2 | . | 2.84 | ng/L | 0.39444 | OG | JLE | n | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-06-22 07:15 | 20161740280 | 3 | 7.2 | . | 3.06 | ng/L | 0.425 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-11-02 08:30 | 20163070100 | 3 | 7.6 | . | 7.5 | ng/L | 0.98684 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-11-02 08:00 | 20163070099 | 3 | 7.6 | . | 8.32 | ng/L | 1.0947 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-12-07 09:00 | 20163420124 | 3 | 7.6 | . | 5.4 | ng/L | 0.71053 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-12-07 08:30 | 20163420125 | 3 | 7.6 | . | 7.8 | ng/L | 1.0263 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-03 07:30 | 20152460212 | 3 | 8.98 | . | 7.18 | ng/L | 0.79955 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-03 07:00 | 20152460211 | 3 | 8.98 | . | 6.41 | ng/L | 0.71381 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-09-03 06:30 | 20152460210 | 3 | 8.98 | . | 9.56 | ng/L | 1.0646 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-03 08:00 | 20153370174 | 3 | 8.98 | . | 8.28 | ng/L | 0.92205 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-03 07:30 | 20153370175 | 3 | 8.98 | . | 6.8 | ng/L | 0.75724 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-03 07:00 | 20153370173 | 3 | 8.98 | . | 7.06 | ng/L | 0.78619 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-03 07:30 | 20160630048 | 3 | 8.98 | . | 6.59 | ng/L | 0.73385 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-03 07:00 | 20160630049 | 3 | 8.98 | . | 7.82 | ng/L | 0.87082 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-03 06:30 | 20160630050 | 3 | 8.98 | . | 6.69 | ng/L | 0.74499 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-10 08:00 | 20160710224 | 3 | 8.98 | . | 6.68 | ng/L | 0.74388 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-10 07:30 | 20160710223 | 3 | 8.98 | . | 7.87 | ng/L | 0.87639 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-03-10 07:00 | 20160710222 | 3 | 8.98 | . | 6.24 | ng/L | 0.69488 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-04-14 08:00 | 20161050141 | 3 | 8.98 | . | 9.71 | ng/L | 1.0813 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-04-14 06:30 | 20161050142 | 3 | 8.98 | . | 6.64 | ng/L | 0.73942 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-07-01 07:00 | 20151820108 | 3 | 9 | E | 12.6 | ng/L | 1.4 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-07-09 08:00 | 20151900133 | 3 | 9 | . | 7.72 | ng/L | 0.85778 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-08-13 08:00 | 20152250277 | 3 | 9 | . | 4.51 | ng/L | 0.50111 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-08-13 07:30 | 20152250275 | 3 | 9 | . | 5.09 | ng/L | 0.56556 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-08-13 07:00 | 20152250276 | 3 | 9 | . | 5.29 | ng/L | 0.58778 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-18 08:00 | 20160490031 | 3 | 9 | . | 6.18 | ng/L | 0.68667 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-18 07:30 | 20160490030 | 3 | 9 | . | 6.69 | ng/L | 0.74333 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-02-18 07:00 | 20160490029 | 3 | 9 | . | 7.03 | ng/L | 0.78111 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-07-10 07:30 | 20141910245 | 3 | 12.03 | . | 13.8 | ng/L | 1.1471 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-10-02 07:30 | 20142760029 | 3 | 12.03 | . | 10 | ng/L | 0.83126 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-10-30 08:00 | 20143030096 | 3 | 12.03 | . | 10.2 | ng/L | 0.84788 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2014-11-26 07:30 | 20143300050 | 3 | 12.03 | . | 10.9 | ng/L | 0.90607 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-11-30 08:00 | 20163370005 | 3 | 15.2 | . | 13.8 | ng/L | 0.90789 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2016-11-30 07:30 | 20163370004 | 3 | 15.2 | . | 11.4 | ng/L | 0.75 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-24 07:00 | 20153280162 | 3 | 35.92 | . | 25 | ng/L | 0.69599 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-24 06:30 | 20153280161 | 3 | 35.92 | . | 26 | ng/L | 0.72383 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-11-24 06:00 | 20153280160 | 3 | 35.92 | . | 24.1 | ng/L | 0.67094 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-30 08:00 | 20153640100 | 3 | 35.92 | . | 26.7 | ng/L | 0.74332 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-30 07:30 | 20153640099 | 3 | 35.92 | . | 24.8 | ng/L | 0.69042 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-12-30 07:00 | 20153640098 | 3 | 35.92 | . | 25.4 | ng/L | 0.70713 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-01 07:30 | 20152750009 | 3 | 36 | . | 25.8 | ng/L | 0.71667 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-01 07:00 | 20152750008 | 3 | 36 | . | 24.4 | ng/L | 0.67778 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2015-10-01 06:30 | 20152750007 | 3 | 36 | . | 28.9 | ng/L | 0.80278 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8