## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-04-03 08:30 | 20140930049 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-05-01 08:00 | 20141220012 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-05-22 08:30 | 20141420139 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-06-12 09:00 | 20141640080 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-07-10 08:00 | 20141910244 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-08-07 09:30 | 20142200171 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-09-03 07:30 | 20142470036 | 7.49 |  | < | 7.49 | ng/L |  | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-09-25 08:00 | 20142720025 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-10-16 08:30 | 20142890076 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-11-06 08:00 | 20143110110 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-12-03 07:00 | 20143370092 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-01-29 06:30 | 20150290075 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-03-05 07:30 | 20150650042 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-04-09 07:00 | 20150990082 | 7.49 |  | < | 80 | ng/L |  | U | LJC | c | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-06-18 07:00 | 20151690193 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-07-16 07:30 | 20151970156 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-08-06 08:00 | 20152190007 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-08-20 07:00 | 20152330041 | 7.49 |  | < | 7.49 | ng/L |  | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-09-10 08:30 | 20152530083 | 7.49 |  | < | 7.49 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-10-01 08:00 | 20152750004 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-11-19 08:30 | 20153230140 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-10-29 08:00 | 20153030062 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-01-07 08:00 | 20160070055 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-02-04 08:30 | 20160350045 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-03-03 08:00 | 20160630051 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-03-24 07:30 | 20160840084 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-05-05 06:30 | 20161260154 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-05-05 06:00 | 20161260153 | 7.49 |  | < | 7.49 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-07-20 08:30 | 20162020116 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-07-20 08:15 | 20162020117 | 7.49 |  | < | 7.49 | ng/L |  | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-10 07:30 | 20162230166 | 7.49 |  | < | 20 | ng/L |  | K | SBH | c | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-10 07:15 | 20162230165 | 7.49 |  | < | 20 | ng/L |  | K | SBH | c | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-31 08:00 | 20162440106 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-31 07:45 | 20162440107 | 7.49 |  | < | 7.49 | ng/L |  | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-10-05 09:00 | 20162800005 | 84 |  | < | 84 | ng/L |  | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-10-05 08:30 | 20162800004 | 84 |  | < | 84 | ng/L |  | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-11-09 09:30 | 20163150008 | 84 |  | < | 84 | ng/L |  | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-11-09 09:00 | 20163150009 | 84 |  | < | 84 | ng/L |  | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-12-28 08:00 | 20163630039 | 84 |  | < | 84 | ng/L |  | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-12-28 07:30 | 20163630038 | 84 |  | < | 84 | ng/L |  | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-08-13 08:30 | 20152250278 | 7.49 | 11.28 | < | 9.42 | ng/L |  | U | SLW | c | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-03-26 07:00 | 20150850164 | 7.49 | 30 | < | 80 | ng/L |  | U | LJC | c | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-03-31 08:00 | 20160910144 | 7.49 | 5.6 | . | 2.74 | ng/L | 0.48929 | U | LJC | bt | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-03-17 07:00 | 20160770097 | 7.49 | 5.6 | . | 2.53 | ng/L | 0.45179 | U | LJC | bt | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-09-21 09:30 | 20162660012 | 84 | 18.8 | . | 15.6 | ng/L | 0.82979 | K | MNI | t | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-09-21 09:00 | 20162660011 | 84 | 18.8 | . | 15.7 | ng/L | 0.83511 | K | MNI | t | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-12-14 09:00 | 20163500007 | 84 | 18.8 | . | 20.6 | ng/L | 1.0957 | U | MNI | t | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-12-14 08:30 | 20163500006 | 84 | 18.8 | . | 19.1 | ng/L | 1.016 | U | MNI | t | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-11-21 09:00 | 20163280003 | 84 | 18.84 | . | 15 | ng/L | 0.79618 | U | MNI | t | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-11-21 08:30 | 20163280002 | 84 | 18.84 | . | 13 | ng/L | 0.69002 | U | MNI | t | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-11-02 09:30 | 20163070102 | 84 | 37.6 | . | 26.6 | ng/L | 0.70745 | K | LJC | t | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-11-02 09:00 | 20163070101 | 84 | 37.6 | . | 29.1 | ng/L | 0.77394 | K | LJC | t | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-10-19 07:45 | 20162930165 | 84 | 47 | . | 35 | ng/L | 0.74468 | K | LJC | t | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-10-19 07:30 | 20162930164 | 84 | 47 | . | 35.6 | ng/L | 0.75745 | K | LJC | t | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-05-21 07:30 | 20151410214 | 7.49 | 11.2 | E | 6.69 | ng/L | 0.59732 | U | MNO | nc | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-06-04 06:00 | 20151550290 | 7.49 | 11.2 | E | 8.86 | ng/L | 0.79107 | K | SLW | v | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-07-30 08:30 | 20152110203 | 7.49 | 11.2 | E | 5.8 | ng/L | 0.51786 | U | SLW | nc | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-01-28 07:30 | 20160280057 | 7.49 | 11.2 | . | 7.3 | ng/L | 0.65179 | U | MNO | n | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-08-27 08:30 | 20152390226 | 7.49 | 11.28 | . | 8.42 | ng/L | 0.74645 | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-11-05 08:30 | 20153090116 | 7.49 | 11.28 | . | 9.42 | ng/L | 0.83511 | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-12-09 07:00 | 20153440005 | 7.49 | 11.28 | . | 7.22 | ng/L | 0.64007 | U | SLW | n | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-03-10 09:00 | 20160710221 | 7.49 | 11.28 | E | 8 | ng/L | 0.70922 | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-04-07 06:00 | 20160980151 | 7.49 | 11.28 | . | 11.3 | ng/L | 1.0018 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-05-16 08:30 | 20141360091 | 7.49 | 15 | . | 9.24 | ng/L | 0.616 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-07-02 08:30 | 20141840099 | 7.49 | 15 | . | 9.73 | ng/L | 0.64867 | U | LJC | v | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-06-26 08:30 | 20141770145 | 7.49 | 15 | . | 10.3 | ng/L | 0.68667 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-07-31 07:30 | 20142130133 | 7.49 | 15 | . | 5.41 | ng/L | 0.36067 | U | MNO | n | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-08-18 07:30 | 20142340169 | 7.49 | 15 | . | 12.4 | ng/L | 0.82667 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-09-18 08:00 | 20142620042 | 7.49 | 15 | . | 9.34 | ng/L | 0.62267 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-09-10 08:00 | 20142530091 | 7.49 | 15 | . | 9.6 | ng/L | 0.64 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-10-02 08:00 | 20142760028 | 7.49 | 16 | . | 8.64 | ng/L | 0.54 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-10-09 07:30 | 20142820152 | 7.49 | 16 | . | 13.7 | ng/L | 0.85625 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-10-30 08:30 | 20143030095 | 7.49 | 16 | E | 12.7 | ng/L | 0.79375 | U | MNO | c | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-10-23 07:30 | 20142960084 | 7.49 | 16 | E | 12.4 | ng/L | 0.775 | U | MNO | c | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-03-19 07:30 | 20150790013 | 7.49 | 16 | E | 7.88 | ng/L | 0.4925 | U | SLW | c | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-17 10:00 | 20162300274 | 7.49 | 18.8 | . | 13.6 | ng/L | 0.7234 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-17 09:30 | 20162300275 | 7.49 | 18.8 | . | 13.1 | ng/L | 0.69681 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-07-27 07:45 | 20162100013 | 7.49 | 18.84 | . | 12.4 | ng/L | 0.65817 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-07-27 07:30 | 20162100012 | 7.49 | 18.84 | . | 11.4 | ng/L | 0.6051 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-02 09:00 | 20162150208 | 7.49 | 18.84 | . | 12.8 | ng/L | 0.67941 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-02 08:30 | 20162150209 | 7.49 | 18.84 | . | 11.2 | ng/L | 0.59448 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-24 07:45 | 20162380011 | 7.49 | 18.84 | E | 12.4 | ng/L | 0.65817 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-08-24 07:30 | 20162380010 | 7.49 | 18.84 | E | 11.7 | ng/L | 0.62102 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-07-01 07:30 | 20151820109 | 7.49 | 22.4 | . | 18.4 | ng/L | 0.82143 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-07-23 07:00 | 20152040179 | 7.49 | 22.4 | . | 14 | ng/L | 0.625 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-11-24 07:30 | 20153280157 | 7.49 | 22.4 | . | 13.7 | ng/L | 0.61161 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-04-21 08:00 | 20161130022 | 7.49 | 22.4 | . | 11.3 | ng/L | 0.50446 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-04-21 06:00 | 20161130023 | 7.49 | 22.4 | . | 12.9 | ng/L | 0.57589 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-09-03 08:00 | 20152460209 | 7.49 | 22.56 | . | 16.1 | ng/L | 0.71365 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-10-08 07:30 | 20152810122 | 7.49 | 22.56 | . | 17.3 | ng/L | 0.76684 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-01-21 06:30 | 20160210081 | 7.49 | 22.56 | . | 18 | ng/L | 0.79787 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-02-25 08:00 | 20160560046 | 7.49 | 22.56 | . | 18.8 | ng/L | 0.83333 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-05-08 08:30 | 20141290006 | 7.49 | 30 | . | 20.8 | ng/L | 0.69333 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-06-05 09:00 | 20141570089 | 7.49 | 30 | . | 25.2 | ng/L | 0.84 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-06-19 08:30 | 20141710105 | 7.49 | 30 | . | 19 | ng/L | 0.63333 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-07-17 08:00 | 20141990083 | 7.49 | 30 | . | 25.9 | ng/L | 0.86333 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-08-14 08:30 | 20142270003 | 7.49 | 30 | E | 18.9 | ng/L | 0.63 | K | MNO | c | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-11-13 08:00 | 20143180049 | 7.49 | 30 | . | 20.8 | ng/L | 0.69333 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-11-26 08:00 | 20143300051 | 7.49 | 30 | . | 24.2 | ng/L | 0.80667 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2014-12-31 07:00 | 20143650002 | 7.49 | 30 | . | 28.1 | ng/L | 0.93667 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-01-22 07:30 | 20150230027 | 7.49 | 30 | . | 25.1 | ng/L | 0.83667 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-02-26 07:00 | 20150570011 | 7.49 | 30 | . | 26.7 | ng/L | 0.89 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-02-12 07:00 | 20150430093 | 7.49 | 30 | . | 22.5 | ng/L | 0.75 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-04-23 06:30 | 20151140150 | 7.49 | 30 | E | 19.6 | ng/L | 0.65333 | K | MNO | c | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-06-22 08:00 | 20161740257 | 7.49 | 37.68 | . | 30.7 | ng/L | 0.81476 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-06-22 07:45 | 20161740283 | 7.49 | 37.68 | . | 33.3 | ng/L | 0.88376 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-07-06 08:30 | 20161880102 | 7.49 | 37.68 | . | 33.8 | ng/L | 0.89703 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-07-06 08:00 | 20161880107 | 7.49 | 37.68 | . | 33.9 | ng/L | 0.89968 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-09-14 07:30 | 20162580143 | 7.49 | 37.68 | . | 26.8 | ng/L | 0.71125 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-09-14 07:15 | 20162580144 | 7.49 | 37.68 | . | 28.1 | ng/L | 0.74575 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-09-24 07:30 | 20152670140 | 7.49 | 44.8 | . | 29.5 | ng/L | 0.65848 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-09-17 07:00 | 20152610009 | 7.49 | 44.8 | . | 38.5 | ng/L | 0.85938 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-11-10 08:00 | 20153160007 | 7.49 | 44.8 | . | 40.2 | ng/L | 0.89732 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2015-10-22 08:00 | 20152950084 | 7.49 | 45.12 | . | 39 | ng/L | 0.86436 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
2440 | DESVENLAFAXINE | 68251LCM56 | 2016-02-11 08:30 | 20160430109 | 7.49 | 45.12 | . | 36.1 | ng/L | 0.80009 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl