## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-04-03 08:30 | 20140930049 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-05-16 08:30 | 20141360091 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-06-05 09:00 | 20141570089 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-06-26 08:30 | 20141770145 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-07-17 08:00 | 20141990083 | 5.79 |  | < | 5.79 | ng/L |  | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-08-18 07:30 | 20142340169 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-09-18 08:00 | 20142620042 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-10-09 07:30 | 20142820152 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-10-30 08:30 | 20143030095 | 5.79 |  | < | 5.79 | ng/L |  | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-11-26 08:00 | 20143300051 | 5.79 |  | < | 5.79 | ng/L |  | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-01-22 07:30 | 20150230027 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-02-26 07:00 | 20150570011 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-03-26 07:00 | 20150850164 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-05-21 07:30 | 20151410214 | 5.79 |  | < | 5.79 | ng/L |  | U | MNO |  | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-07-01 07:30 | 20151820109 | 5.79 |  | < | 10 | ng/L |  | U | LJC | c | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-07-30 08:30 | 20152110203 | 5.79 |  | < | 15.5 | ng/L |  | U | SLW | vc | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-08-27 08:30 | 20152390226 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-09-17 07:00 | 20152610009 | 5.79 |  | < | 5.79 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-10-08 07:30 | 20152810122 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-11-05 08:30 | 20153090116 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-11-24 07:30 | 20153280157 | 5.79 |  | < | 5.79 | ng/L |  | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-02-11 08:30 | 20160430109 | 5.79 |  | < | 5.79 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-01-21 06:30 | 20160210081 | 5.79 |  | < | 5.79 | ng/L |  | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-03-10 09:00 | 20160710221 | 5.79 |  | < | 5.79 | ng/L |  | U | LJC |  | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-04-21 08:00 | 20161130022 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-04-21 06:00 | 20161130023 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-04-07 06:00 | 20160980151 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-06-22 08:00 | 20161740257 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-06-22 07:45 | 20161740283 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-07-27 07:45 | 20162100013 | 5.79 |  | < | 5.79 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-07-27 07:30 | 20162100012 | 5.79 |  | < | 5.79 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-17 10:00 | 20162300274 | 5.79 |  | < | 5.79 | ng/L |  | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-17 09:30 | 20162300275 | 5.79 |  | < | 5.79 | ng/L |  | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-09-14 07:30 | 20162580143 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-09-14 07:15 | 20162580144 | 5.79 |  | < | 5.79 | ng/L |  | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-10-19 07:45 | 20162930165 | 19 |  | < | 19 | ng/L |  | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-10-19 07:30 | 20162930164 | 19 |  | < | 19 | ng/L |  | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-11-21 09:00 | 20163280003 | 19 |  | < | 19 | ng/L |  | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-11-21 08:30 | 20163280002 | 19 |  | < | 19 | ng/L |  | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-03-31 08:00 | 20160910144 | 5.79 | 4.38 | < | 5.79 | ng/L |  | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-03-17 07:00 | 20160770097 | 5.79 | 4.38 | < | 5.79 | ng/L |  | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-06-04 06:00 | 20151550290 | 5.79 | 8.62 | < | 11.1 | ng/L |  | K | SLW | vc | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-06-18 07:00 | 20151690193 | 5.79 | 8.62 | < | 5.79 | ng/L |  | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-08-06 08:00 | 20152190007 | 5.79 | 8.62 | < | 10 | ng/L |  | U | LJC | c | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-08-13 08:30 | 20152250278 | 5.79 | 8.62 | < | 8.04 | ng/L |  | U | SLW | vc | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-11-19 08:30 | 20153230140 | 5.79 | 8.62 | < | 6.85 | ng/L |  | K | LJC | vc | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-01-28 07:30 | 20160280057 | 5.79 | 8.62 | < | 5.79 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-05-05 06:30 | 20161260154 | 5.79 | 8.62 | < | 5.79 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-05-05 06:00 | 20161260153 | 5.79 | 8.62 | < | 5.79 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-09-10 08:30 | 20152530083 | 5.79 | 8.76 | < | 5.79 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-12-09 07:00 | 20153440005 | 5.79 | 8.76 | < | 5.79 | ng/L |  | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-03-03 08:00 | 20160630051 | 5.79 | 8.76 | < | 5.79 | ng/L |  | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-08-20 07:00 | 20152330041 | 5.79 | 17.24 | < | 9.52 | ng/L |  | U | SLW | vc | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-09-21 09:30 | 20162660012 | 19 | 14.44 | E | 11.6 | ng/L | 0.80332 | K | MNI | in | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-09-21 09:00 | 20162660011 | 19 | 14.44 | E | 12 | ng/L | 0.83102 | K | MNI | in | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-12-14 09:00 | 20163500007 | 19 | 14.44 | E | 20.2 | ng/L | 1.3989 | U | MNI | c | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-12-14 08:30 | 20163500006 | 19 | 14.44 | E | 16.9 | ng/L | 1.1704 | U | MNI | nc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-10-05 09:00 | 20162800005 | 19 | 14.56 | . | 9.68 | ng/L | 0.66484 | K | MNI | n | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-10-05 08:30 | 20162800004 | 19 | 14.56 | . | 9.11 | ng/L | 0.62569 | K | MNI | t | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-10-29 08:00 | 20153030062 | 5.79 | 8.76 | E | 6.91 | ng/L | 0.78881 | K | LJC | vc | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-03-24 07:30 | 20160840084 | 5.79 | 8.76 | E | 6.34 | ng/L | 0.72374 | U | LJC | v | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-05-01 08:00 | 20141220012 | 5.79 | 11.2875 | . | 7.4 | ng/L | 0.65559 | U | MNO | v | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-06-12 09:00 | 20141640080 | 5.79 | 11.2875 | . | 6.03 | ng/L | 0.53422 | U | MNO | v | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-07-10 08:00 | 20141910244 | 5.79 | 11.2875 | . | 6.17 | ng/L | 0.54662 | U | LJC | v | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-09-10 08:00 | 20142530091 | 5.79 | 11.2875 | . | 7.77 | ng/L | 0.68837 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-07-02 08:30 | 20141840099 | 5.79 | 11.475 | . | 6.2 | ng/L | 0.54031 | U | LJC | v | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-07-31 07:30 | 20142130133 | 5.79 | 11.475 | . | 6.97 | ng/L | 0.60741 | U | MNO | v | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-09-03 07:30 | 20142470036 | 5.79 | 11.475 | . | 6.27 | ng/L | 0.54641 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-10-23 07:30 | 20142960084 | 5.79 | 12.04 | E | 7.64 | ng/L | 0.63455 | U | MNO | vc | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-10-02 08:00 | 20142760028 | 5.79 | 12.24 | . | 7.77 | ng/L | 0.6348 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-12-03 07:00 | 20143370092 | 5.79 | 12.24 | . | 9.51 | ng/L | 0.77696 | U | MNO | v | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-01-29 06:30 | 20150290075 | 5.79 | 12.24 | . | 7.63 | ng/L | 0.62337 | K | LJC | v | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-03-19 07:30 | 20150790013 | 5.79 | 12.24 | E | 8.2 | ng/L | 0.66993 | U | SLW | v | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-04-09 07:00 | 20150990082 | 5.79 | 12.24 | . | 8.8 | ng/L | 0.71895 | U | LJC | v | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-07-20 08:30 | 20162020116 | 5.79 | 14.44 | . | 8.22 | ng/L | 0.56925 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-07-20 08:15 | 20162020117 | 5.79 | 14.44 | . | 9.33 | ng/L | 0.64612 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-02 09:00 | 20162150208 | 5.79 | 14.44 | E | 13.7 | ng/L | 0.94875 | K | MNO | v | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-02 08:30 | 20162150209 | 5.79 | 14.44 | E | 11.8 | ng/L | 0.81717 | K | MNO | v | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-31 08:00 | 20162440106 | 5.79 | 14.44 | E | 11.1 | ng/L | 0.7687 | K | LJC | v | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-31 07:45 | 20162440107 | 5.79 | 14.44 | E | 10.7 | ng/L | 0.741 | K | LJC | v | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-24 07:45 | 20162380011 | 5.79 | 14.56 | . | 9.43 | ng/L | 0.64766 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-24 07:30 | 20162380010 | 5.79 | 14.56 | . | 8.76 | ng/L | 0.60165 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-07-23 07:00 | 20152040179 | 5.79 | 17.24 | E | 15.6 | ng/L | 0.90487 | U | LJC | vc | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-02-04 08:30 | 20160350045 | 5.79 | 17.24 | E | 11.5 | ng/L | 0.66705 | U | MNO | v | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-02-25 08:00 | 20160560046 | 5.79 | 17.24 | E | 11.1 | ng/L | 0.64385 | U | LJC | v | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-07-16 07:30 | 20151970156 | 5.79 | 17.52 | E | 10.2 | ng/L | 0.58219 | U | LJC | vc | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-09-03 08:00 | 20152460209 | 5.79 | 17.52 | E | 13.9 | ng/L | 0.79338 | U | SLW | v | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-05-08 08:30 | 20141290006 | 5.79 | 22.575 | . | 15.1 | ng/L | 0.66888 | U | MNO | v | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-05-22 08:30 | 20141420139 | 5.79 | 22.575 | . | 14.6 | ng/L | 0.64673 | U | MNO | v | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-06-19 08:30 | 20141710105 | 5.79 | 22.575 | . | 15.1 | ng/L | 0.66888 | U | LJC | v | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-08-07 09:30 | 20142200171 | 5.79 | 22.575 | . | 13.2 | ng/L | 0.58472 | U | MNO | v | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-11-13 08:00 | 20143180049 | 5.79 | 22.575 | . | 15.2 | ng/L | 0.67331 | U | MNO | v | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-12-31 07:00 | 20143650002 | 5.79 | 22.575 | . | 16.8 | ng/L | 0.74419 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-03-05 07:30 | 20150650042 | 5.79 | 22.575 | E | 17.6 | ng/L | 0.77962 | U | LJC | v | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-04-23 06:30 | 20151140150 | 5.79 | 22.575 | . | 20.8 | ng/L | 0.92137 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-08-14 08:30 | 20142270003 | 5.79 | 22.95 | . | 13.4 | ng/L | 0.58388 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-09-25 08:00 | 20142720025 | 5.79 | 22.95 | . | 14.9 | ng/L | 0.64924 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-10-16 08:30 | 20142890076 | 5.79 | 22.95 | . | 17.7 | ng/L | 0.77124 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2014-11-06 08:00 | 20143110110 | 5.79 | 22.95 | . | 16.2 | ng/L | 0.70588 | U | MNO | v | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-02-12 07:00 | 20150430093 | 5.79 | 22.95 | E | 15.7 | ng/L | 0.6841 | U | LJC | v | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-07-06 08:30 | 20161880102 | 5.79 | 28.88 | . | 23.5 | ng/L | 0.81371 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-07-06 08:00 | 20161880107 | 5.79 | 28.88 | . | 24.1 | ng/L | 0.83449 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-10 07:30 | 20162230166 | 5.79 | 28.88 | . | 22.5 | ng/L | 0.77909 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-08-10 07:15 | 20162230165 | 5.79 | 28.88 | . | 21 | ng/L | 0.72715 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-11-09 09:30 | 20163150008 | 19 | 29.12 | . | 19.2 | ng/L | 0.65934 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-11-09 09:00 | 20163150009 | 19 | 29.12 | . | 18.6 | ng/L | 0.63874 | K | LJC | n | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-11-02 09:30 | 20163070102 | 19 | 29.12 | . | 22.2 | ng/L | 0.76236 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-11-02 09:00 | 20163070101 | 19 | 29.12 | . | 23.6 | ng/L | 0.81044 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-10-01 08:00 | 20152750004 | 5.79 | 34.48 | E | 27.5 | ng/L | 0.79756 | K | LJC | @vc | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-10-22 08:00 | 20152950084 | 5.79 | 34.48 | E | 24.6 | ng/L | 0.71346 | K | LJC | v | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-09-24 07:30 | 20152670140 | 5.79 | 35.04 | E | 21.3 | ng/L | 0.60788 | U | SLW | v | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2015-11-10 08:00 | 20153160007 | 5.79 | 35.04 | E | 26.4 | ng/L | 0.75342 | K | LJC | v | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-01-07 08:00 | 20160070055 | 5.79 | 35.04 | E | 24.1 | ng/L | 0.68779 | U | MNO | v | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-12-28 08:00 | 20163630039 | 19 | 36.4 | . | 27.7 | ng/L | 0.76099 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | DIPHENHYDRAMINE | 67447LCM56 | 2016-12-28 07:30 | 20163630038 | 19 | 36.4 | . | 25.3 | ng/L | 0.69505 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl