## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2440 | IMINOSTILBENE | 67481LCM56 | 2014-04-03 08:30 | 20140930049 | 145 |  | < | 145 | ng/L |  | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-05-01 08:00 | 20141220012 | 145 |  | < | 145 | ng/L |  | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-05-22 08:30 | 20141420139 | 145 |  | < | 145 | ng/L |  | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-06-12 09:00 | 20141640080 | 145 |  | < | 145 | ng/L |  | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-07-10 08:00 | 20141910244 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-08-07 09:30 | 20142200171 | 145 |  | < | 145 | ng/L |  | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-09-03 07:30 | 20142470036 | 145 |  | < | 145 | ng/L |  | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-09-25 08:00 | 20142720025 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-10-16 08:30 | 20142890076 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-11-06 08:00 | 20143110110 | 145 |  | < | 145 | ng/L |  | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-12-03 07:00 | 20143370092 | 145 |  | < | 145 | ng/L |  | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-01-29 06:30 | 20150290075 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-03-05 07:30 | 20150650042 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-04-09 07:00 | 20150990082 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-06-04 06:00 | 20151550290 | 145 |  | < | 145 | ng/L |  | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-07-23 07:00 | 20152040179 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-08-13 08:30 | 20152250278 | 145 |  | < | 145 | ng/L |  | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-09-24 07:30 | 20152670140 | 145 |  | < | 145 | ng/L |  | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-09-03 08:00 | 20152460209 | 145 |  | < | 145 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-10-22 08:00 | 20152950084 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-11-10 08:00 | 20153160007 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-12-09 07:00 | 20153440005 | 145 |  | < | 145 | ng/L |  | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-01-28 07:30 | 20160280057 | 145 |  | < | 145 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-02-25 08:00 | 20160560046 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-03-31 08:00 | 20160910144 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-03-17 07:00 | 20160770097 | 145 |  | < | 145 | ng/L |  | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-06-22 08:00 | 20161740257 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-06-22 07:45 | 20161740283 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-07-27 07:45 | 20162100013 | 145 |  | < | 145 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-07-27 07:30 | 20162100012 | 145 |  | < | 145 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-17 10:00 | 20162300274 | 145 |  | < | 145 | ng/L |  | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-17 09:30 | 20162300275 | 145 |  | < | 145 | ng/L |  | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-09-14 07:30 | 20162580143 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-09-14 07:15 | 20162580144 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-10-19 07:45 | 20162930165 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-10-19 07:30 | 20162930164 | 145 |  | < | 145 | ng/L |  | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-11-21 09:00 | 20163280003 | 145 |  | < | 145 | ng/L |  | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-11-21 08:30 | 20163280002 | 145 |  | < | 145 | ng/L |  | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-05-21 07:30 | 20151410214 | 145 | 216.7418 | . | 99.5 | ng/L | 0.45907 | U | MNO | n | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-06-18 07:00 | 20151690193 | 145 | 216.7418 | . | 93.5 | ng/L | 0.43139 | K | LJC | n | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-07-30 08:30 | 20152110203 | 145 | 216.7418 | E | 64.9 | ng/L | 0.29943 | U | SLW | tc | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-08-06 08:00 | 20152190007 | 145 | 216.7418 | . | 95 | ng/L | 0.43831 | U | LJC | n | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-10-29 08:00 | 20153030062 | 145 | 216.7418 | . | 77.3 | ng/L | 0.35665 | K | LJC | n | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-11-05 08:30 | 20153090116 | 145 | 216.7418 | . | 63.8 | ng/L | 0.29436 | K | LJC | t | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-08-27 08:30 | 20152390226 | 145 | 218 | . | 172 | ng/L | 0.78899 | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-09-10 08:30 | 20152530083 | 145 | 218 | . | 141 | ng/L | 0.64679 | U | SLW | n | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-11-19 08:30 | 20153230140 | 145 | 218 | . | 175 | ng/L | 0.80275 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-03-03 08:00 | 20160630051 | 145 | 218 | . | 158 | ng/L | 0.72477 | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-03-24 07:30 | 20160840084 | 145 | 218 | . | 203 | ng/L | 0.93119 | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-03-10 09:00 | 20160710221 | 145 | 218 | E | 211 | ng/L | 0.96789 | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-04-07 06:00 | 20160980151 | 145 | 218 | . | 232 | ng/L | 1.0642 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-05-05 06:30 | 20161260154 | 145 | 218 | . | 128 | ng/L | 0.58716 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-05-05 06:00 | 20161260153 | 145 | 218 | . | 144 | ng/L | 0.66055 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-05-16 08:30 | 20141360091 | 145 | 288.99 | . | 292 | ng/L | 1.0104 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-06-26 08:30 | 20141770145 | 145 | 288.99 | . | 358 | ng/L | 1.2388 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-09-18 08:00 | 20142620042 | 145 | 288.99 | . | 284 | ng/L | 0.98273 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-09-10 08:00 | 20142530091 | 145 | 288.99 | . | 267 | ng/L | 0.92391 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-07-02 08:30 | 20141840099 | 145 | 292.5 | . | 361 | ng/L | 1.2342 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-07-31 07:30 | 20142130133 | 145 | 292.5 | . | 191 | ng/L | 0.65299 | U | MNO |  | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-08-18 07:30 | 20142340169 | 145 | 292.5 | . | 266 | ng/L | 0.9094 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-10-02 08:00 | 20142760028 | 145 | 308.256 | . | 159 | ng/L | 0.51581 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-10-30 08:30 | 20143030095 | 145 | 308.256 | . | 195 | ng/L | 0.63259 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-03-19 07:30 | 20150790013 | 145 | 308.256 | . | 302 | ng/L | 0.97971 | U | SLW |  | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-10-09 07:30 | 20142820152 | 145 | 312 | . | 204 | ng/L | 0.65385 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-10-23 07:30 | 20142960084 | 145 | 312 | . | 84.2 | ng/L | 0.26987 | U | MNO | n | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-24 07:45 | 20162380011 | 145 | 362.8 | E | 229 | ng/L | 0.6312 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-24 07:30 | 20162380010 | 145 | 362.8 | E | 222 | ng/L | 0.61191 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-10-05 09:00 | 20162800005 | 145 | 362.8 | . | 290 | ng/L | 0.79934 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-10-05 08:30 | 20162800004 | 145 | 362.8 | . | 262 | ng/L | 0.72216 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-07-20 08:30 | 20162020116 | 145 | 365.24 | . | 226 | ng/L | 0.61877 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-07-20 08:15 | 20162020117 | 145 | 365.24 | . | 214 | ng/L | 0.58592 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-02 09:00 | 20162150208 | 145 | 365.24 | . | 232 | ng/L | 0.6352 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-02 08:30 | 20162150209 | 145 | 365.24 | . | 211 | ng/L | 0.5777 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-31 08:00 | 20162440106 | 145 | 365.24 | . | 339 | ng/L | 0.92816 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-31 07:45 | 20162440107 | 145 | 365.24 | . | 339 | ng/L | 0.92816 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-09-21 09:30 | 20162660012 | 145 | 365.24 | . | 317 | ng/L | 0.86792 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-09-21 09:00 | 20162660011 | 145 | 365.24 | . | 335 | ng/L | 0.91721 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-12-14 09:00 | 20163500007 | 145 | 365.24 | E | 446 | ng/L | 1.2211 | U | MNI | c | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-12-14 08:30 | 20163500006 | 145 | 365.24 | E | 442 | ng/L | 1.2102 | U | MNI | c | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-07-01 07:30 | 20151820109 | 145 | 433.4836 | E | 197 | ng/L | 0.45446 | U | LJC | c | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-07-16 07:30 | 20151970156 | 145 | 433.4836 | E | 176 | ng/L | 0.40601 | U | LJC | c | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-02-04 08:30 | 20160350045 | 145 | 433.4836 | . | 151 | ng/L | 0.34834 | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-01-21 06:30 | 20160210081 | 145 | 433.4836 | . | 119 | ng/L | 0.27452 | U | MNO | @nc | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-04-21 08:00 | 20161130022 | 145 | 433.4836 | . | 241 | ng/L | 0.55596 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-04-21 06:00 | 20161130023 | 145 | 433.4836 | . | 278 | ng/L | 0.64132 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-08-20 07:00 | 20152330041 | 145 | 436 | . | 371 | ng/L | 0.85092 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-10-08 07:30 | 20152810122 | 145 | 436 | . | 348 | ng/L | 0.79817 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-11-24 07:30 | 20153280157 | 145 | 436 | . | 293 | ng/L | 0.67202 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-05-08 08:30 | 20141290006 | 145 | 577.98 | . | 584 | ng/L | 1.0104 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-06-05 09:00 | 20141570089 | 145 | 577.98 | . | 629 | ng/L | 1.0883 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-06-19 08:30 | 20141710105 | 145 | 577.98 | . | 668 | ng/L | 1.1557 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-01-22 07:30 | 20150230027 | 145 | 577.98 | . | 624 | ng/L | 1.0796 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-02-12 07:00 | 20150430093 | 145 | 577.98 | . | 655 | ng/L | 1.1333 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-07-17 08:00 | 20141990083 | 145 | 585 | . | 608 | ng/L | 1.0393 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-08-14 08:30 | 20142270003 | 145 | 585 | E | 463 | ng/L | 0.79145 | K | MNO | c | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-11-13 08:00 | 20143180049 | 145 | 585 | . | 492 | ng/L | 0.84103 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-11-26 08:00 | 20143300051 | 145 | 585 | . | 433 | ng/L | 0.74017 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2014-12-31 07:00 | 20143650002 | 145 | 585 | . | 577 | ng/L | 0.98632 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-02-26 07:00 | 20150570011 | 145 | 585 | . | 675 | ng/L | 1.1538 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-03-26 07:00 | 20150850164 | 145 | 585 | . | 696 | ng/L | 1.1897 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-04-23 06:30 | 20151140150 | 145 | 585 | . | 682 | ng/L | 1.1658 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-11-09 09:30 | 20163150008 | 145 | 725.6 | . | 492 | ng/L | 0.67806 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-11-09 09:00 | 20163150009 | 145 | 725.6 | . | 485 | ng/L | 0.66841 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-11-02 09:30 | 20163070102 | 145 | 725.6 | . | 523 | ng/L | 0.72078 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-11-02 09:00 | 20163070101 | 145 | 725.6 | . | 522 | ng/L | 0.7194 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-07-06 08:30 | 20161880102 | 145 | 730.48 | . | 524 | ng/L | 0.71734 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-07-06 08:00 | 20161880107 | 145 | 730.48 | . | 345 | ng/L | 0.47229 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-10 07:30 | 20162230166 | 145 | 730.48 | . | 598 | ng/L | 0.81864 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-08-10 07:15 | 20162230165 | 145 | 730.48 | . | 578 | ng/L | 0.79126 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-10-01 08:00 | 20152750004 | 145 | 866.9671 | . | 336 | ng/L | 0.38756 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-02-11 08:30 | 20160430109 | 145 | 866.9671 | . | 649 | ng/L | 0.74859 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2015-09-17 07:00 | 20152610009 | 145 | 872 | . | 568 | ng/L | 0.65138 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-01-07 08:00 | 20160070055 | 145 | 872 | . | 632 | ng/L | 0.72477 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-12-28 08:00 | 20163630039 | 145 | 907 | E | 923 | ng/L | 1.0176 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | IMINOSTILBENE | 67481LCM56 | 2016-12-28 07:30 | 20163630038 | 145 | 907 | E | 927 | ng/L | 1.0221 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl