## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2440 | LAMIVUDINE | 68018LCM56 | 2014-04-03 08:30 | 20140930049 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-05-16 08:30 | 20141360091 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-06-05 09:00 | 20141570089 | 16.1 |  | < | 80 | ng/L |  | U | LJC | c | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-06-26 08:30 | 20141770145 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-07-17 08:00 | 20141990083 | 16.1 |  | < | 16.1 | ng/L |  | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-08-18 07:30 | 20142340169 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-09-18 08:00 | 20142620042 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-10-09 07:30 | 20142820152 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-10-30 08:30 | 20143030095 | 16.1 |  | < | 16.1 | ng/L |  | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-11-26 08:00 | 20143300051 | 16.1 |  | < | 20 | ng/L |  | U | MNO | c | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-01-22 07:30 | 20150230027 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-02-26 07:00 | 20150570011 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-03-26 07:00 | 20150850164 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-06-18 07:00 | 20151690193 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-07-16 07:30 | 20151970156 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-08-06 08:00 | 20152190007 | 16.1 |  | < | 80 | ng/L |  | U | LJC | c | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-08-20 07:00 | 20152330041 | 16.1 |  | < | 16.1 | ng/L |  | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-09-10 08:30 | 20152530083 | 16.1 |  | < | 16.1 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-10-01 08:00 | 20152750004 | 16.1 |  | < | 20 | ng/L |  | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-11-19 08:30 | 20153230140 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-10-29 08:00 | 20153030062 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-01-07 08:00 | 20160070055 | 16.1 |  | < | 16.1 | ng/L |  | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-02-04 08:30 | 20160350045 | 16.1 |  | < | 20 | ng/L |  | U | MNO | c | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-03-03 08:00 | 20160630051 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-03-24 07:30 | 20160840084 | 16.1 |  | < | 20 | ng/L |  | U | LJC | c | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-05-05 06:30 | 20161260154 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-05-05 06:00 | 20161260153 | 16.1 |  | < | 16.1 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-06-22 08:00 | 20161740257 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-06-22 07:45 | 20161740283 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-07-27 07:45 | 20162100013 | 16.1 |  | < | 16.1 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-07-27 07:30 | 20162100012 | 16.1 |  | < | 16.1 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-17 10:00 | 20162300274 | 16.1 |  | < | 20 | ng/L |  | K | SBH | c | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-17 09:30 | 20162300275 | 16.1 |  | < | 20 | ng/L |  | K | SBH | c | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-09-14 07:30 | 20162580143 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-09-14 07:15 | 20162580144 | 16.1 |  | < | 16.1 | ng/L |  | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-10-19 07:45 | 20162930165 | 16 |  | < | 16 | ng/L |  | K | LJC | mc | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-10-19 07:30 | 20162930164 | 16 |  | < | 16 | ng/L |  | K | LJC | mc | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-11-21 09:00 | 20163280003 | 16 |  | < | 16 | ng/L |  | U | MNI | mc | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-11-21 08:30 | 20163280002 | 16 |  | < | 16 | ng/L |  | U | MNI | mc | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-03-31 08:00 | 20160910144 | 16.1 | 12.01 | < | 20 | ng/L |  | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-03-17 07:00 | 20160770097 | 16.1 | 12.01 | < | 20 | ng/L |  | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-05-21 07:30 | 20151410214 | 16.1 | 24.02 | < | 26.1 | ng/L |  | U | MNO | c | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-07-30 08:30 | 20152110203 | 16.1 | 24.02 | < | 16.1 | ng/L |  | U | SLW |  | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-01-28 07:30 | 20160280057 | 16.1 | 24.02 | < | 20 | ng/L |  | U | MNO | c | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-08-27 08:30 | 20152390226 | 16.1 | 24.4 | < | 16.1 | ng/L |  | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-03-10 09:00 | 20160710221 | 16.1 | 24.4 | < | 20 | ng/L |  | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-07-10 08:00 | 20141910244 | 16.1 | 31.545 | < | 16.1 | ng/L |  | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-10-23 07:30 | 20142960084 | 16.1 | 33.648 | < | 16.1 | ng/L |  | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-12-14 09:00 | 20163500007 | 16 | 40.04 | < | 24.1 | ng/L |  | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-12-14 08:30 | 20163500006 | 16 | 40.04 | < | 28.7 | ng/L |  | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-07-23 07:00 | 20152040179 | 16.1 | 48.04 | < | 16.1 | ng/L |  | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-11-24 07:30 | 20153280157 | 16.1 | 48.04 | < | 16.1 | ng/L |  | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-04-21 08:00 | 20161130022 | 16.1 | 48.04 | < | 16.1 | ng/L |  | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-04-21 06:00 | 20161130023 | 16.1 | 48.04 | < | 16.1 | ng/L |  | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-06-19 08:30 | 20141710105 | 16.1 | 63.09 | < | 16.1 | ng/L |  | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-08-07 09:30 | 20142200171 | 16.1 | 63.09 | < | 16.1 | ng/L |  | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-11-13 08:00 | 20143180049 | 16.1 | 63.09 | < | 20 | ng/L |  | U | MNO | c | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-12-31 07:00 | 20143650002 | 16.1 | 63.09 | < | 16.1 | ng/L |  | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-09-24 07:30 | 20152670140 | 16.1 | 96.08 | < | 16.1 | ng/L |  | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-06-04 06:00 | 20151550290 | 16.1 | 24.02 | . | 21.7 | ng/L | 0.90341 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-08-13 08:30 | 20152250278 | 16.1 | 24.4 | . | 22.5 | ng/L | 0.92213 | U | SLW | c | 2015-09-10 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-11-05 08:30 | 20153090116 | 16.1 | 24.4 | . | 12.8 | ng/L | 0.52459 | K | LJC | n | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-12-09 07:00 | 20153440005 | 16.1 | 24.4 | . | 16.7 | ng/L | 0.68443 | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-04-07 06:00 | 20160980151 | 16.1 | 24.4 | . | 25 | ng/L | 1.0246 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-05-01 08:00 | 20141220012 | 16.1 | 31.545 | . | 12.4 | ng/L | 0.39309 | U | MNO | n | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-06-12 09:00 | 20141640080 | 16.1 | 31.545 | . | 5.02 | ng/L | 0.15914 | U | MNO | bn | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-09-10 08:00 | 20142530091 | 16.1 | 31.545 | . | 37.8 | ng/L | 1.1983 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-07-02 08:30 | 20141840099 | 16.1 | 31.95 | . | 22.2 | ng/L | 0.69484 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-07-31 07:30 | 20142130133 | 16.1 | 31.95 | . | 23.6 | ng/L | 0.73865 | U | MNO |  | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-09-03 07:30 | 20142470036 | 16.1 | 31.95 | . | 30.1 | ng/L | 0.9421 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-10-02 08:00 | 20142760028 | 16.1 | 34.08 | . | 33 | ng/L | 0.96831 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-12-03 07:00 | 20143370092 | 16.1 | 34.08 | E | 31.6 | ng/L | 0.92723 | U | MNO | c | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-01-29 06:30 | 20150290075 | 16.1 | 34.08 | E | 48.7 | ng/L | 1.429 | K | LJC | c | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-03-19 07:30 | 20150790013 | 16.1 | 34.08 | E | 36.2 | ng/L | 1.0622 | U | SLW | c | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-04-09 07:00 | 20150990082 | 16.1 | 34.08 | E | 45.8 | ng/L | 1.3439 | U | LJC | c | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-07-20 08:30 | 20162020116 | 16.1 | 40.04 | . | 15.3 | ng/L | 0.38212 | U | MNO | n | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-07-20 08:15 | 20162020117 | 16.1 | 40.04 | . | 16.4 | ng/L | 0.40959 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-02 09:00 | 20162150208 | 16.1 | 40.04 | . | 16.9 | ng/L | 0.42208 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-02 08:30 | 20162150209 | 16.1 | 40.04 | . | 14.7 | ng/L | 0.36713 | K | MNO | n | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-31 08:00 | 20162440106 | 16.1 | 40.04 | . | 26.8 | ng/L | 0.66933 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-31 07:45 | 20162440107 | 16.1 | 40.04 | . | 25.5 | ng/L | 0.63686 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-09-21 09:30 | 20162660012 | 16 | 40.04 | E | 30.5 | ng/L | 0.76174 | K | MNI | mc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-09-21 09:00 | 20162660011 | 16 | 40.04 | E | 30.5 | ng/L | 0.76174 | K | MNI | mc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-24 07:45 | 20162380011 | 16.1 | 40.4 | . | 25.7 | ng/L | 0.63614 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-24 07:30 | 20162380010 | 16.1 | 40.4 | . | 26.1 | ng/L | 0.64604 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-10-05 09:00 | 20162800005 | 16 | 40.4 | E | 36.7 | ng/L | 0.90842 | K | MNI | mc | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-10-05 08:30 | 20162800004 | 16 | 40.4 | E | 32.4 | ng/L | 0.80198 | K | MNI | mc | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-07-01 07:30 | 20151820109 | 16.1 | 48.04 | . | 33.4 | ng/L | 0.69525 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-09-03 08:00 | 20152460209 | 16.1 | 48.8 | . | 32.5 | ng/L | 0.66598 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-10-08 07:30 | 20152810122 | 16.1 | 48.8 | . | 34.8 | ng/L | 0.71311 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-01-21 06:30 | 20160210081 | 16.1 | 48.8 | . | 18.2 | ng/L | 0.37295 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-02-25 08:00 | 20160560046 | 16.1 | 48.8 | . | 40.7 | ng/L | 0.83402 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-05-08 08:30 | 20141290006 | 16.1 | 63.09 | . | 30.4 | ng/L | 0.48185 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-05-22 08:30 | 20141420139 | 16.1 | 63.09 | . | 4.45 | ng/L | 0.070534 | U | MNO | bn | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-03-05 07:30 | 20150650042 | 16.1 | 63.09 | E | 8.79 | ng/L | 0.13932 | U | LJC | bnc | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-04-23 06:30 | 20151140150 | 16.1 | 63.09 | E | 8.08 | ng/L | 0.12807 | K | MNO | bnc | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-08-14 08:30 | 20142270003 | 16.1 | 63.9 | . | 50.6 | ng/L | 0.79186 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-09-25 08:00 | 20142720025 | 16.1 | 63.9 | . | 63.2 | ng/L | 0.98905 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-10-16 08:30 | 20142890076 | 16.1 | 63.9 | . | 79.9 | ng/L | 1.2504 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2014-11-06 08:00 | 20143110110 | 16.1 | 63.9 | E | 52.4 | ng/L | 0.82003 | U | MNO | c | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-02-12 07:00 | 20150430093 | 16.1 | 63.9 | E | 84 | ng/L | 1.3146 | U | LJC | c | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-07-06 08:30 | 20161880102 | 16.1 | 80.08 | . | 85.3 | ng/L | 1.0652 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-07-06 08:00 | 20161880107 | 16.1 | 80.08 | . | 79.2 | ng/L | 0.98901 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-10 07:30 | 20162230166 | 16.1 | 80.08 | . | 54.4 | ng/L | 0.67932 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-08-10 07:15 | 20162230165 | 16.1 | 80.08 | . | 54.8 | ng/L | 0.68432 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-11-09 09:30 | 20163150008 | 16 | 80.8 | E | 54.6 | ng/L | 0.67574 | K | LJC | mc | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-11-09 09:00 | 20163150009 | 16 | 80.8 | E | 51.7 | ng/L | 0.63985 | K | LJC | mc | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-11-02 09:30 | 20163070102 | 16 | 80.8 | E | 58.4 | ng/L | 0.72277 | K | LJC | mc | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-11-02 09:00 | 20163070101 | 16 | 80.8 | E | 56.7 | ng/L | 0.70173 | K | LJC | mc | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-09-17 07:00 | 20152610009 | 16.1 | 96.08 | . | 64.3 | ng/L | 0.66923 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-11-10 08:00 | 20153160007 | 16.1 | 96.08 | . | 75.8 | ng/L | 0.78893 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2015-10-22 08:00 | 20152950084 | 16.1 | 97.6 | . | 79.9 | ng/L | 0.81865 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-02-11 08:30 | 20160430109 | 16.1 | 97.6 | . | 85.5 | ng/L | 0.87602 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-12-28 08:00 | 20163630039 | 16 | 101 | E | 72.5 | ng/L | 0.71782 | U | MNI | mc | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | LAMIVUDINE | 68018LCM56 | 2016-12-28 07:30 | 20163630038 | 16 | 101 | E | 79.4 | ng/L | 0.78614 | U | MNI | mc | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl