## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2440 | PROPRANOLOL | 67516LCM56 | 2014-04-03 08:30 | 20140930049 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-05-16 08:30 | 20141360091 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-06-05 09:00 | 20141570089 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-06-26 08:30 | 20141770145 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-07-17 08:00 | 20141990083 | 26.3 |  | < | 26.3 | ng/L |  | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-08-18 07:30 | 20142340169 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-09-18 08:00 | 20142620042 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-10-09 07:30 | 20142820152 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-10-30 08:30 | 20143030095 | 26.3 |  | < | 26.3 | ng/L |  | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-11-26 08:00 | 20143300051 | 26.3 |  | < | 26.3 | ng/L |  | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-01-22 07:30 | 20150230027 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-02-26 07:00 | 20150570011 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-03-26 07:00 | 20150850164 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-05-21 07:30 | 20151410214 | 26.3 |  | < | 26.3 | ng/L |  | U | MNO |  | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-07-01 07:30 | 20151820109 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-07-30 08:30 | 20152110203 | 26.3 |  | < | 26.3 | ng/L |  | U | SLW |  | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-08-27 08:30 | 20152390226 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-09-17 07:00 | 20152610009 | 26.3 |  | < | 26.3 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-10-08 07:30 | 20152810122 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-11-05 08:30 | 20153090116 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-11-24 07:30 | 20153280157 | 26.3 |  | < | 26.3 | ng/L |  | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-02-11 08:30 | 20160430109 | 26.3 |  | < | 26.3 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-01-21 06:30 | 20160210081 | 26.3 |  | < | 26.3 | ng/L |  | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-03-10 09:00 | 20160710221 | 26.3 |  | < | 26.3 | ng/L |  | U | LJC |  | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-04-21 08:00 | 20161130022 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-04-21 06:00 | 20161130023 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-04-07 06:00 | 20160980151 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-07-06 08:30 | 20161880102 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-07-06 08:00 | 20161880107 | 26.3 |  | < | 26.3 | ng/L |  | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-02 09:00 | 20162150208 | 26.3 |  | < | 26.3 | ng/L |  | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-02 08:30 | 20162150209 | 26.3 |  | < | 26.3 | ng/L |  | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-24 07:45 | 20162380011 | 26.3 |  | < | 26.3 | ng/L |  | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-24 07:30 | 20162380010 | 26.3 |  | < | 26.3 | ng/L |  | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-09-21 09:30 | 20162660012 | 26 |  | < | 26 | ng/L |  | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-09-21 09:00 | 20162660011 | 26 |  | < | 26 | ng/L |  | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-11-02 09:30 | 20163070102 | 26 |  | < | 26 | ng/L |  | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-11-02 09:00 | 20163070101 | 26 |  | < | 26 | ng/L |  | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-12-14 09:00 | 20163500007 | 26 |  | < | 26 | ng/L |  | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-12-14 08:30 | 20163500006 | 26 |  | < | 26 | ng/L |  | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-03-31 08:00 | 20160910144 | 26.3 | 19.4 | < | 26.3 | ng/L |  | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-09-10 08:30 | 20152530083 | 26.3 | 38.8 | < | 29 | ng/L |  | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-03-17 07:00 | 20160770097 | 26.3 | 19.4 | . | 9.53 | ng/L | 0.49124 | U | LJC | bt | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-10-29 08:00 | 20153030062 | 26.3 | 38.8 | . | 27.2 | ng/L | 0.70103 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-12-09 07:00 | 20153440005 | 26.3 | 38.8 | . | 25.4 | ng/L | 0.65464 | U | SLW | n | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-03-03 08:00 | 20160630051 | 26.3 | 38.8 | . | 21.8 | ng/L | 0.56186 | U | LJC | n | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-03-24 07:30 | 20160840084 | 26.3 | 38.8 | . | 27.6 | ng/L | 0.71134 | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-06-04 06:00 | 20151550290 | 26.3 | 39.5 | . | 25.6 | ng/L | 0.6481 | K | SLW | n | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-06-18 07:00 | 20151690193 | 26.3 | 39.5 | . | 27.4 | ng/L | 0.69367 | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-08-06 08:00 | 20152190007 | 26.3 | 39.5 | E | 25.8 | ng/L | 0.65316 | U | LJC | nc | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-08-13 08:30 | 20152250278 | 26.3 | 39.5 | . | 30.7 | ng/L | 0.77722 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-11-19 08:30 | 20153230140 | 26.3 | 39.5 | . | 28.3 | ng/L | 0.71646 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-01-28 07:30 | 20160280057 | 26.3 | 39.5 | . | 28.6 | ng/L | 0.72405 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-05-05 06:30 | 20161260154 | 26.3 | 39.5 | . | 16.6 | ng/L | 0.42025 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-05-05 06:00 | 20161260153 | 26.3 | 39.5 | . | 19 | ng/L | 0.48101 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-07-02 08:30 | 20141840099 | 26.3 | 51.975 | . | 27.8 | ng/L | 0.53487 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-07-31 07:30 | 20142130133 | 26.3 | 51.975 | . | 31.1 | ng/L | 0.59836 | U | MNO |  | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-09-03 07:30 | 20142470036 | 26.3 | 51.975 | . | 28.6 | ng/L | 0.55026 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-05-01 08:00 | 20141220012 | 26.3 | 52.6425 | . | 38 | ng/L | 0.72185 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-06-12 09:00 | 20141640080 | 26.3 | 52.6425 | . | 33.7 | ng/L | 0.64017 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-07-10 08:00 | 20141910244 | 26.3 | 52.6425 | . | 27.3 | ng/L | 0.51859 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-09-10 08:00 | 20142530091 | 26.3 | 52.6425 | . | 31.4 | ng/L | 0.59648 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-10-02 08:00 | 20142760028 | 26.3 | 55.44 | . | 33 | ng/L | 0.59524 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-12-03 07:00 | 20143370092 | 26.3 | 55.44 | . | 39.1 | ng/L | 0.70527 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-01-29 06:30 | 20150290075 | 26.3 | 55.44 | . | 37.2 | ng/L | 0.671 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-03-19 07:30 | 20150790013 | 26.3 | 55.44 | E | 36.1 | ng/L | 0.65115 | U | SLW | v | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-04-09 07:00 | 20150990082 | 26.3 | 55.44 | . | 37.3 | ng/L | 0.6728 | U | LJC |  | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-10-23 07:30 | 20142960084 | 26.3 | 56.152 | . | 32 | ng/L | 0.56988 | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-07-20 08:30 | 20162020116 | 26.3 | 65.88 | . | 41.7 | ng/L | 0.63297 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-07-20 08:15 | 20162020117 | 26.3 | 65.88 | . | 39.9 | ng/L | 0.60565 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-07-27 07:45 | 20162100013 | 26.3 | 65.88 | . | 40.6 | ng/L | 0.61627 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-07-27 07:30 | 20162100012 | 26.3 | 65.88 | . | 32.7 | ng/L | 0.49636 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-17 10:00 | 20162300274 | 26.3 | 65.88 | . | 48 | ng/L | 0.7286 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-17 09:30 | 20162300275 | 26.3 | 65.88 | . | 46.1 | ng/L | 0.69976 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-10-05 09:00 | 20162800005 | 26 | 65.88 | . | 47.8 | ng/L | 0.72556 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-10-05 08:30 | 20162800004 | 26 | 65.88 | . | 45.9 | ng/L | 0.69672 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-31 08:00 | 20162440106 | 26.3 | 66.4 | . | 58.1 | ng/L | 0.875 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-31 07:45 | 20162440107 | 26.3 | 66.4 | . | 58.4 | ng/L | 0.87952 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-11-21 09:00 | 20163280003 | 26 | 66.4 | . | 47.4 | ng/L | 0.71386 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-11-21 08:30 | 20163280002 | 26 | 66.4 | . | 52.1 | ng/L | 0.78464 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-07-16 07:30 | 20151970156 | 26.3 | 77.6 | . | 64.7 | ng/L | 0.83376 | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-09-03 08:00 | 20152460209 | 26.3 | 77.6 | . | 52.6 | ng/L | 0.67784 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-07-23 07:00 | 20152040179 | 26.3 | 79 | . | 48.7 | ng/L | 0.61646 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-08-20 07:00 | 20152330041 | 26.3 | 79 | . | 66.4 | ng/L | 0.84051 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-02-04 08:30 | 20160350045 | 26.3 | 79 | . | 58.7 | ng/L | 0.74304 | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-02-25 08:00 | 20160560046 | 26.3 | 79 | . | 47.6 | ng/L | 0.60253 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-08-14 08:30 | 20142270003 | 26.3 | 103.95 | . | 62.6 | ng/L | 0.60221 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-09-25 08:00 | 20142720025 | 26.3 | 103.95 | . | 66.4 | ng/L | 0.63877 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-10-16 08:30 | 20142890076 | 26.3 | 103.95 | . | 77.6 | ng/L | 0.74651 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-11-06 08:00 | 20143110110 | 26.3 | 103.95 | . | 68.2 | ng/L | 0.65608 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-02-12 07:00 | 20150430093 | 26.3 | 103.95 | . | 59 | ng/L | 0.56758 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-05-08 08:30 | 20141290006 | 26.3 | 105.285 | . | 72.4 | ng/L | 0.68766 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-05-22 08:30 | 20141420139 | 26.3 | 105.285 | . | 66.1 | ng/L | 0.62782 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-06-19 08:30 | 20141710105 | 26.3 | 105.285 | . | 67.2 | ng/L | 0.63827 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-08-07 09:30 | 20142200171 | 26.3 | 105.285 | . | 60.3 | ng/L | 0.57273 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-11-13 08:00 | 20143180049 | 26.3 | 105.285 | . | 67.2 | ng/L | 0.63827 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2014-12-31 07:00 | 20143650002 | 26.3 | 105.285 | . | 80.2 | ng/L | 0.76174 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-03-05 07:30 | 20150650042 | 26.3 | 105.285 | E | 80.1 | ng/L | 0.76079 | U | LJC | v | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-04-23 06:30 | 20151140150 | 26.3 | 105.285 | . | 84.6 | ng/L | 0.80353 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-06-22 08:00 | 20161740257 | 26.3 | 131.76 | . | 106 | ng/L | 0.80449 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-06-22 07:45 | 20161740283 | 26.3 | 131.76 | . | 104 | ng/L | 0.78931 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-10 07:30 | 20162230166 | 26.3 | 131.76 | . | 96.4 | ng/L | 0.73163 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-08-10 07:15 | 20162230165 | 26.3 | 131.76 | . | 90.8 | ng/L | 0.68913 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-09-14 07:30 | 20162580143 | 26.3 | 132.8 | . | 110 | ng/L | 0.82831 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-09-14 07:15 | 20162580144 | 26.3 | 132.8 | . | 106 | ng/L | 0.79819 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-11-09 09:30 | 20163150008 | 26 | 132.8 | . | 99.8 | ng/L | 0.75151 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-11-09 09:00 | 20163150009 | 26 | 132.8 | . | 102 | ng/L | 0.76807 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-09-24 07:30 | 20152670140 | 26.3 | 155.2 | . | 131 | ng/L | 0.84407 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-11-10 08:00 | 20153160007 | 26.3 | 155.2 | . | 113 | ng/L | 0.72809 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-01-07 08:00 | 20160070055 | 26.3 | 155.2 | . | 119 | ng/L | 0.76675 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-10-01 08:00 | 20152750004 | 26.3 | 158 | . | 108 | ng/L | 0.68354 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2015-10-22 08:00 | 20152950084 | 26.3 | 158 | . | 120 | ng/L | 0.75949 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-12-28 08:00 | 20163630039 | 26 | 164.7 | . | 134 | ng/L | 0.8136 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-12-28 07:30 | 20163630038 | 26 | 164.7 | . | 130 | ng/L | 0.78931 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-10-19 07:45 | 20162930165 | 26 | 166 | . | 138 | ng/L | 0.83133 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | PROPRANOLOL | 67516LCM56 | 2016-10-19 07:30 | 20162930164 | 26 | 166 | . | 138 | ng/L | 0.83133 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl