## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2440 | SITAGLIPTIN | 67531LCM56 | 2014-04-03 08:30 | 20140930049 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-05-08 08:30 | 20141290006 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-06-19 08:30 | 20141710105 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-07-02 08:30 | 20141840099 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-07-31 07:30 | 20142130133 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO |  | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-08-14 08:30 | 20142270003 | 97.3 |  | < | 97.3 | ng/L |  | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-09-10 08:00 | 20142530091 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-10-02 08:00 | 20142760028 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-10-23 07:30 | 20142960084 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-11-13 08:00 | 20143180049 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-12-31 07:00 | 20143650002 | 97.3 |  | < | 97.3 | ng/L |  | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-02-12 07:00 | 20150430093 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-03-19 07:30 | 20150790013 | 97.3 |  | < | 97.3 | ng/L |  | U | SLW |  | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-04-23 06:30 | 20151140150 | 97.3 |  | < | 97.3 | ng/L |  | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-06-18 07:00 | 20151690193 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-07-16 07:30 | 20151970156 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-08-06 08:00 | 20152190007 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-08-13 08:30 | 20152250278 | 97.3 |  | < | 97.3 | ng/L |  | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-08-20 07:00 | 20152330041 | 97.3 |  | < | 97.3 | ng/L |  | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-08-27 08:30 | 20152390226 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-09-10 08:30 | 20152530083 | 97.3 |  | < | 97.3 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-09-03 08:00 | 20152460209 | 97.3 |  | < | 97.3 | ng/L |  | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-10-08 07:30 | 20152810122 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-10-01 08:00 | 20152750004 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-10-22 08:00 | 20152950084 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-11-19 08:30 | 20153230140 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-10-29 08:00 | 20153030062 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-11-05 08:30 | 20153090116 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-12-09 07:00 | 20153440005 | 97.3 |  | < | 97.3 | ng/L |  | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-01-07 08:00 | 20160070055 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-02-11 08:30 | 20160430109 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-02-04 08:30 | 20160350045 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-01-21 06:30 | 20160210081 | 97.3 |  | < | 97.3 | ng/L |  | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-03-03 08:00 | 20160630051 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-02-25 08:00 | 20160560046 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-03-24 07:30 | 20160840084 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-03-10 09:00 | 20160710221 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-04-07 06:00 | 20160980151 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-05-05 06:30 | 20161260154 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-05-05 06:00 | 20161260153 | 97.3 |  | < | 97.3 | ng/L |  | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-06-22 08:00 | 20161740257 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-06-22 07:45 | 20161740283 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-07-27 07:45 | 20162100013 | 97.3 |  | < | 97.3 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-07-27 07:30 | 20162100012 | 97.3 |  | < | 97.3 | ng/L |  | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-17 10:00 | 20162300274 | 97.3 |  | < | 97.3 | ng/L |  | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-17 09:30 | 20162300275 | 97.3 |  | < | 97.3 | ng/L |  | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-09-14 07:30 | 20162580143 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-09-14 07:15 | 20162580144 | 97.3 |  | < | 97.3 | ng/L |  | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-10-19 07:45 | 20162930165 | 97 |  | < | 200 | ng/L |  | K | LJC | c | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-10-19 07:30 | 20162930164 | 97 |  | < | 200 | ng/L |  | K | LJC | c | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-11-21 09:00 | 20163280003 | 97 |  | < | 200 | ng/L |  | U | MNI | c | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-11-21 08:30 | 20163280002 | 97 |  | < | 200 | ng/L |  | U | MNI | c | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-03-31 08:00 | 20160910144 | 97.3 | 73.18 | . | 94 | ng/L | 1.2845 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-03-17 07:00 | 20160770097 | 97.3 | 73.18 | . | 58.5 | ng/L | 0.7994 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-05-21 07:30 | 20151410214 | 97.3 | 146.36 | . | 80.5 | ng/L | 0.55001 | U | MNO | n | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-06-04 06:00 | 20151550290 | 97.3 | 146.36 | . | 81.1 | ng/L | 0.55411 | K | SLW | n | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-07-30 08:30 | 20152110203 | 97.3 | 146.36 | E | 80.6 | ng/L | 0.5507 | U | SLW | nc | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-01-28 07:30 | 20160280057 | 97.3 | 146.36 | . | 72.5 | ng/L | 0.49535 | U | MNO | n | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-07-10 08:00 | 20141910244 | 97.3 | 195 | E | 96 | ng/L | 0.49231 | U | LJC | nc | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-08-18 07:30 | 20142340169 | 97.3 | 195 | . | 149 | ng/L | 0.7641 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-09-18 08:00 | 20142620042 | 97.3 | 195 | . | 193 | ng/L | 0.98974 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-05-01 08:00 | 20141220012 | 97.3 | 195.4875 | E | 106 | ng/L | 0.54223 | U | MNO | c | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-05-16 08:30 | 20141360091 | 97.3 | 195.4875 | E | 82.7 | ng/L | 0.42304 | U | LJC | nc | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-06-12 09:00 | 20141640080 | 97.3 | 195.4875 | E | 87.4 | ng/L | 0.44709 | U | MNO | nc | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-06-26 08:30 | 20141770145 | 97.3 | 195.4875 | E | 85.1 | ng/L | 0.43532 | U | LJC | nc | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-09-03 07:30 | 20142470036 | 97.3 | 195.4875 | . | 121 | ng/L | 0.61897 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-10-30 08:30 | 20143030095 | 97.3 | 208 | . | 203 | ng/L | 0.97596 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-12-03 07:00 | 20143370092 | 97.3 | 208 | . | 203 | ng/L | 0.97596 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-10-09 07:30 | 20142820152 | 97.3 | 208.52 | E | 157 | ng/L | 0.75293 | U | LJC | c | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-01-29 06:30 | 20150290075 | 97.3 | 208.52 | . | 159 | ng/L | 0.76252 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-04-09 07:00 | 20150990082 | 97.3 | 208.52 | E | 179 | ng/L | 0.85843 | U | LJC | c | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-24 07:45 | 20162380011 | 97.3 | 243.6 | . | 165 | ng/L | 0.67734 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-24 07:30 | 20162380010 | 97.3 | 243.6 | . | 154 | ng/L | 0.63218 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-10-05 09:00 | 20162800005 | 97 | 243.6 | . | 200 | ng/L | 0.82102 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-10-05 08:30 | 20162800004 | 97 | 243.6 | . | 158 | ng/L | 0.6486 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-07-20 08:30 | 20162020116 | 97.3 | 244.6 | . | 200 | ng/L | 0.81766 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-07-20 08:15 | 20162020117 | 97.3 | 244.6 | . | 182 | ng/L | 0.74407 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-02 09:00 | 20162150208 | 97.3 | 244.6 | . | 172 | ng/L | 0.70319 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-02 08:30 | 20162150209 | 97.3 | 244.6 | . | 155 | ng/L | 0.63369 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-31 08:00 | 20162440106 | 97.3 | 244.6 | . | 243 | ng/L | 0.99346 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-31 07:45 | 20162440107 | 97.3 | 244.6 | . | 205 | ng/L | 0.8381 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-09-21 09:30 | 20162660012 | 97 | 244.6 | . | 178 | ng/L | 0.72772 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-09-21 09:00 | 20162660011 | 97 | 244.6 | . | 202 | ng/L | 0.82584 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-12-14 09:00 | 20163500007 | 97 | 244.6 | E | 336 | ng/L | 1.3737 | U | MNI | c | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-12-14 08:30 | 20163500006 | 97 | 244.6 | E | 295 | ng/L | 1.2061 | U | MNI | c | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-07-01 07:30 | 20151820109 | 97.3 | 292.72 | E | 192 | ng/L | 0.65592 | U | LJC | c | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-07-23 07:00 | 20152040179 | 97.3 | 292.72 | E | 159 | ng/L | 0.54318 | U | LJC | c | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-11-24 07:30 | 20153280157 | 97.3 | 292.72 | . | 201 | ng/L | 0.68666 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-04-21 08:00 | 20161130022 | 97.3 | 292.72 | . | 170 | ng/L | 0.58076 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-04-21 06:00 | 20161130023 | 97.3 | 292.72 | . | 179 | ng/L | 0.61151 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-07-17 08:00 | 20141990083 | 97.3 | 390 | E | 269 | ng/L | 0.68974 | U | MNO | c | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-08-07 09:30 | 20142200171 | 97.3 | 390 | E | 209 | ng/L | 0.5359 | U | MNO | c | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-09-25 08:00 | 20142720025 | 97.3 | 390 | . | 328 | ng/L | 0.84103 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-11-06 08:00 | 20143110110 | 97.3 | 390 | . | 321 | ng/L | 0.82308 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-01-22 07:30 | 20150230027 | 97.3 | 390 | . | 388 | ng/L | 0.99487 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-03-05 07:30 | 20150650042 | 97.3 | 390 | . | 440 | ng/L | 1.1282 | U | LJC |  | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-03-26 07:00 | 20150850164 | 97.3 | 390 | . | 458 | ng/L | 1.1744 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-05-22 08:30 | 20141420139 | 97.3 | 390.975 | E | 195 | ng/L | 0.49875 | U | MNO | c | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-06-05 09:00 | 20141570089 | 97.3 | 390.975 | E | 308 | ng/L | 0.78777 | U | LJC | c | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-10-16 08:30 | 20142890076 | 97.3 | 390.975 | E | 337 | ng/L | 0.86195 | U | LJC | c | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2014-11-26 08:00 | 20143300051 | 97.3 | 390.975 | . | 314 | ng/L | 0.80312 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-02-26 07:00 | 20150570011 | 97.3 | 390.975 | . | 273 | ng/L | 0.69825 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-11-09 09:30 | 20163150008 | 97 | 487.2 | . | 324 | ng/L | 0.66502 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-11-09 09:00 | 20163150009 | 97 | 487.2 | . | 317 | ng/L | 0.65066 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-11-02 09:30 | 20163070102 | 97 | 487.2 | . | 364 | ng/L | 0.74713 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-11-02 09:00 | 20163070101 | 97 | 487.2 | . | 339 | ng/L | 0.69581 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-07-06 08:30 | 20161880102 | 97.3 | 489.2 | . | 399 | ng/L | 0.81562 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-07-06 08:00 | 20161880107 | 97.3 | 489.2 | . | 370 | ng/L | 0.75634 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-10 07:30 | 20162230166 | 97.3 | 489.2 | E | 402 | ng/L | 0.82175 | K | SBH | i | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-08-10 07:15 | 20162230165 | 97.3 | 489.2 | E | 408 | ng/L | 0.83401 | K | SBH | i | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-09-24 07:30 | 20152670140 | 97.3 | 585.44 | E | 109 | ng/L | 0.18618 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-09-17 07:00 | 20152610009 | 97.3 | 585.44 | E | 402 | ng/L | 0.68666 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2015-11-10 08:00 | 20153160007 | 97.3 | 585.44 | . | 433 | ng/L | 0.73961 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-12-28 08:00 | 20163630039 | 97 | 609 | . | 498 | ng/L | 0.81773 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
2440 | SITAGLIPTIN | 67531LCM56 | 2016-12-28 07:30 | 20163630038 | 97 | 609 | . | 544 | ng/L | 0.89327 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl