## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-02-02 07:30 | 20110340009 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2011-02-18 | ChemService 448-12A: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-03-24 07:30 | 20110840109 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-04-15 | Abs 090910WW: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-03-31 08:30 | 20110910083 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-04-14 08:30 | 20111050151 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-05-03 | Abs 090910WW: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-05-19 08:30 | 20111390173 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-06-28 | ChemService 448-12A: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-06-02 09:00 | 20111540005 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-06-16 09:30 | 20111680036 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2011-07-07 | Abs 090910WW: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-07-07 08:30 | 20111890007 | 1.6 |  | < | 1.6 | ug/L |  | E | jiv | mc | 2011-08-06 | ChemService 448-12A: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-07-14 09:30 | 20111960036 | 1.6 |  | < | 1.6 | ug/L |  | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-07-28 08:30 | 20112100004 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-08-16 | Abs 090910WW: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-08-10 09:30 | 20112220129 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-08-17 | ChemService 448-12A: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-08-18 08:50 | 20112310029 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2011-10-04 | Supelco LB77171: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-09-15 08:30 | 20112590002 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-09-08 09:30 | 20112520211 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-11-22 | Abs 090910WW: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-10-20 07:30 | 20112930084 | 1.6 |  | < | 1.6 | ug/L |  | E | cli | mc | 2011-12-08 | Abs 090910WW: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-11-29 07:30 | 20113340047 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2012-02-01 | ChemService 448-12A: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-12-15 08:30 | 20113500022 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2012-03-01 | Supelco LB77171: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-01-12 08:00 | 20120120069 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2012-03-06 | ChemService 448-12A: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-02-09 07:30 | 20120400055 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2012-03-07 | ChemService 448-12A: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-01-26 08:00 | 20120260060 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2012-03-07 | Abs 090910WW: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-03-01 08:30 | 20120620013 | 1.6 |  | < | 1.6 | ug/L |  | B | fww | mc | 2012-04-10 | Abs 090910WW: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-04-05 06:30 | 20120960124 | 1.6 |  | < | 1.6 | ug/L |  | Y | awh | mc | 2012-05-04 | Abs 090910WW: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-03-22 07:30 | 20120830078 | 1.6 |  | < | 1.6 | ug/L |  | Y | awh | mc | 2012-05-04 | ChemService 448-12A: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-04-19 07:00 | 20121110020 | 1.6 |  | < | 1.6 | ug/L |  | E | cli | mc | 2012-05-22 | ChemService 448-12A: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-05-03 07:00 | 20121250043 | 1.6 |  | < | 1.6 | ug/L |  | Y | awh | mc | 2012-07-26 | Supelco LB77171: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-06-07 08:00 | 20121600155 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2012-07-28 | Supelco LB92782: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-07-12 08:00 | 20121950066 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-08-23 07:30 | 20122370103 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-09-27 06:30 | 20122720049 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-11-08 07:30 | 20123140092 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-01-24 06:30 | 20130250062 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-02-14 08:00 | 20130460007 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-04-11 07:00 | 20131020082 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-05-09 07:30 | 20131290118 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-05-23 07:30 | 20131440104 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-07-11 07:00 | 20131920148 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-06-13 07:30 | 20131650075 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-08-08 08:00 | 20132210039 | 1.6 |  | R |  | ug/L |  |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-09-12 08:00 | 20132560002 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-09-25 07:30 | 20132690008 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-11-07 07:30 | 20133110109 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-01-16 08:00 | 20140160088 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-03-06 08:00 | 20140650080 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-01-30 08:00 | 20140300033 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-04-03 08:00 | 20140930054 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-05-18 06:00 | 20161400194 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-06-08 08:00 | 20161600088 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-06-15 08:00 | 20161680360 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-06-29 08:00 | 20161820002 | 1.6 |  | R |  | ug/L |  | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-07-06 07:00 | 20161880110 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-07-13 08:00 | 20161960001 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-07-27 06:30 | 20162100008 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-08-02 07:30 | 20162150212 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-08-10 07:00 | 20162230167 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-08-24 07:15 | 20162380005 | 1.6 |  | E | 2.63 | ug/L |  | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-08-31 07:00 | 20162440114 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-09-21 07:30 | 20162660006 | 1.6 |  | E | 0.94 | ug/L |  | B | sgs | mnc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-09-14 06:30 | 20162580142 | 1.6 |  | E | 1.88 | ug/L |  | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-10-12 07:30 | 20162860080 | 1.6 |  | E | 0.57 | ug/L |  | B | sgs | mtc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-11-21 08:00 | 20163280007 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-10-25 07:00 | 20162990149 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-10-19 06:30 | 20162930160 | 1.6 |  | E | 1.91 | ug/L |  | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-11-09 07:30 | 20163150005 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-11-02 07:00 | 20163070096 | 1.6 |  | E | 0.85 | ug/L |  | B | sgs | mnc | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-12-07 07:30 | 20163420127 | 1.6 |  | E | 2.21 | ug/L |  | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-11-30 07:00 | 20163370002 | 1.6 |  | E | 0.87 | ug/L |  | B | sgs | mnc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-12-21 07:00 | 20163560020 | 1.6 |  | E | 2.79 | ug/L |  | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2016-12-14 08:00 | 20163500003 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-05-05 08:30 | 20111260151 | 1.6 | 1.6116 | E | 2.14 | ug/L | 1.3279 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-06-23 08:30 | 20111750002 | 1.6 | 2.3 | E | 3.23 | ug/L | 1.4043 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-09-01 09:00 | 20112450021 | 1.6 | 2.3 | E | 3.41 | ug/L | 1.4826 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-02-16 09:00 | 20120470077 | 1.6 | 2.3 | E | 3.73 | ug/L | 1.6217 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-03-10 07:30 | 20110690080 | 1.6 | 2.3062 | E | 4.39 | ug/L | 1.9035 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2015-05-21 06:30 | 20151410210 | 1.6 | 2.36 | E | 2.5 | ug/L | 1.0593 | B | sgs | mc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-08-25 11:10 | 20112380056 | 1.6 | 2.56 | E | 2.92 | ug/L | 1.1406 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-10-17 07:30 | 20132910006 | 1.6 | 2.76 | E | 2.43 | ug/L | 0.88043 | B | sgs | mc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-11-21 07:00 | 20133260003 | 1.6 | 2.76 | E | 3.02 | ug/L | 1.0942 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-03-27 07:00 | 20140860103 | 1.6 | 2.76 | E | 2.66 | ug/L | 0.96377 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-02-06 07:30 | 20140370076 | 1.6 | 2.76 | E | 2.38 | ug/L | 0.86232 | B | sgs | mc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2015-12-03 08:30 | 20153370177 | 1.6 | 4.72 | E | 4.78 | ug/L | 1.0127 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-01-19 08:00 | 20120200071 | 1.6 | 5.75 | E | 8.38 | ug/L | 1.4574 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-03-08 07:30 | 20120690028 | 1.6 | 5.75 | E | 7.81 | ug/L | 1.3583 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-01-02 06:15 | 20140030013 | 1.6 | 6.9 | E | 7.94 | ug/L | 1.1507 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-08-04 09:30 | 20112170170 | 1.6 | 9.2 | E | 15.1 | ug/L | 1.6413 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-11-03 07:30 | 20113080004 | 1.6 | 9.2 | E | 13.7 | ug/L | 1.4891 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-05-17 07:30 | 20121390007 | 1.6 | 9.2 | E | 13.9 | ug/L | 1.5109 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-07-25 07:30 | 20132070037 | 1.6 | 13.8 | E | 11.8 | ug/L | 0.85507 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl