## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-02-02 07:30 | 20110340009 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2011-02-18 | ChemService 448-12A: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-03-24 07:30 | 20110840109 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-04-15 | Abs 090910WW: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-04-14 08:30 | 20111050151 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-05-03 | Abs 090910WW: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-05-19 08:30 | 20111390173 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-06-28 | ChemService 448-12A: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-06-16 09:30 | 20111680036 | 1.6 |  | < | 1.6 | ug/L |  | B | sgs | mc | 2011-07-07 | Abs 090910WW: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-07-07 08:30 | 20111890007 | 1.6 |  | < | 1.6 | ug/L |  | E | jiv | mc | 2011-08-06 | ChemService 448-12A: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-07-28 08:30 | 20112100004 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-08-16 | Abs 090910WW: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-08-10 09:30 | 20112220129 | 1.6 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-08-17 | ChemService 448-12A: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-09-08 09:30 | 20112520211 | 4.8 |  | < | 1.6 | ug/L |  | R | jiv | mc | 2011-11-22 | Abs 090910WW: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-10-20 07:30 | 20112930084 | 4.8 |  | < | 4.8 | ug/L |  | E | cli | mc | 2011-12-08 | Abs 090910WW: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-11-29 07:30 | 20113340047 | 4.8 |  | < | 4.8 | ug/L |  | R | jiv | mc | 2012-02-01 | ChemService 448-12A: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-01-12 08:00 | 20120120069 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2012-03-06 | ChemService 448-12A: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-02-09 07:30 | 20120400055 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2012-03-07 | ChemService 448-12A: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-01-26 08:00 | 20120260060 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2012-03-07 | Abs 090910WW: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-03-01 08:30 | 20120620013 | 4.8 |  | < | 4.8 | ug/L |  | B | fww | mc | 2012-04-10 | Abs 090910WW: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-04-05 06:30 | 20120960124 | 4.8 |  | < | 4.8 | ug/L |  | Y | awh | mc | 2012-05-04 | Abs 090910WW: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-03-22 07:30 | 20120830078 | 4.8 |  | < | 4.8 | ug/L |  | Y | awh | mc | 2012-05-04 | ChemService 448-12A: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-04-19 07:00 | 20121110020 | 4.8 |  | < | 4.8 | ug/L |  | E | cli | mc | 2012-05-22 | ChemService 448-12A: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-07-12 08:00 | 20121950066 | 4.8 |  | < | 4.8 | ug/L |  | R | jiv | mc | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-09-27 06:30 | 20122720049 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-12-06 07:00 | 20123420075 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-02-14 08:00 | 20130460007 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-04-11 07:00 | 20131020082 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-05-09 07:30 | 20131290118 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-07-11 07:00 | 20131920148 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-06-13 07:30 | 20131650075 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-09-12 08:00 | 20132560002 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-11-07 07:30 | 20133110109 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-01-16 08:00 | 20140160088 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-03-06 08:00 | 20140650080 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-05-16 06:30 | 20141360095 | 4.8 |  | E | 1.3 | ug/L |  | B | sgs | mtc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-06-12 06:30 | 20141640077 | 4.8 |  | E | 1.36 | ug/L |  | B | sgs | mtc | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-06-26 06:30 | 20141770150 | 4.8 |  | E | 0.91 | ug/L |  | B | sgs | mtc | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-07-31 06:00 | 20142130131 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-09-03 06:30 | 20142470040 | 4.8 |  | E | 1.9 | ug/L |  | B | sgs | mtc | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-10-02 07:00 | 20142760025 | 4.8 |  | E | 4.13 | ug/L |  | B | sgs | mnc | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-11-26 07:00 | 20143300047 | 4.8 |  | E | 2.5 | ug/L |  | B | sgs | mnc | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-03-26 06:00 | 20150850162 | 4.8 |  | E | 1.5 | ug/L |  | B | sgs | mtc | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-04-09 06:00 | 20150990066 | 4.8 |  | E | 1.65 | ug/L |  | B | sgs | mtc | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-06-11 06:00 | 20151620180 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-07-16 06:30 | 20151970168 | 4.8 |  | < | 4.8 | ug/L |  |  | sgs | mc | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-08-27 09:00 | 20152390223 | 4.8 |  | < | 4.8 | ug/L |  |  | sgs | mc | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-10-22 08:30 | 20152950079 | 4.8 |  | < | 4.8 | ug/L |  |  | sgs | mc | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-11-24 08:00 | 20153280156 | 4.8 |  | < | 4.8 | ug/L |  |  | sgs | mc | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-12-30 08:30 | 20153640095 | 4.8 |  | E | 0.56 | ug/L |  |  | rcr | mtc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-01-14 08:30 | 20160140040 | 4.8 |  | < | 4.8 | ug/L |  |  | rcr | mc | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-03-10 08:30 | 20160710218 | 4.8 |  | < | 4.8 | ug/L |  | V | rcr | mc | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-04-28 07:00 | 20161190076 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-06-15 08:00 | 20161680360 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-07-13 08:00 | 20161960001 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-08-10 07:00 | 20162230167 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-09-14 06:30 | 20162580142 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-10-12 07:30 | 20162860080 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-11-02 07:00 | 20163070096 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-11-30 07:00 | 20163370002 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-12-21 07:00 | 20163560020 | 4.8 |  | < | 4.8 | ug/L |  | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-08-08 08:00 | 20132210039 | 4.8 | 6.212 | R |  | ug/L |  |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-04-07 06:30 | 20160980150 | 4.8 | 7.204 | < | 4.8 | ug/L |  | B | sgs | mc | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-03-24 08:00 | 20160840086 | 4.8 | 7.24 | < | 4.8 | ug/L |  | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-06-29 08:00 | 20161820002 | 4.8 | 11.924 | R |  | ug/L |  | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-05-05 08:30 | 20111260151 | 1.6 | 3.8678 | E | 1.96 | ug/L | 0.50674 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-06-23 08:30 | 20111750002 | 1.6 | 4.88 | E | 3.66 | ug/L | 0.75 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-09-01 09:00 | 20112450021 | 4.8 | 4.88 | E | 2.83 | ug/L | 0.57992 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-02-16 09:00 | 20120470077 | 4.8 | 4.88 | E | 1.92 | ug/L | 0.39344 | B | sgs | mtc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-03-10 07:30 | 20110690080 | 1.6 | 4.8932 | E | 4.89 | ug/L | 0.99934 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-03-31 08:30 | 20110910083 | 1.6 | 4.9485 | E | 3.02 | ug/L | 0.61028 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-08-18 08:50 | 20112310029 | 4.8 | 4.95 | E | 1.78 | ug/L | 0.3596 | B | sgs | mc | 2011-10-04 | Supelco LB77171: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-12-15 08:30 | 20113500022 | 4.8 | 4.95 | E | 2.82 | ug/L | 0.5697 | B | sgs | mnc | 2012-03-01 | Supelco LB77171: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-05-03 07:00 | 20121250043 | 4.8 | 4.95 | E | 2.8 | ug/L | 0.56566 | Y | awh | mnc | 2012-07-26 | Supelco LB77171: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-08-07 07:00 | 20122210008 | 4.8 | 5.92 | E | 3.13 | ug/L | 0.52872 | R | jiv | mnc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-10-30 08:00 | 20123040158 | 4.8 | 5.92 | E | 5.98 | ug/L | 1.0101 | B | sgs | mc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-03-27 07:00 | 20130870086 | 4.8 | 5.92 | E | 2.32 | ug/L | 0.39189 | B | sgs | mtc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-06-07 08:00 | 20121600155 | 4.8 | 5.992 | E | 3.07 | ug/L | 0.51235 | R | jiv | mnc | 2012-07-28 | Supelco LB92782: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-08-23 07:30 | 20122370103 | 4.8 | 5.992 | E | 4.64 | ug/L | 0.77437 | R | jiv | mnc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-10-17 07:30 | 20132910006 | 4.8 | 6.12 | E | 2.86 | ug/L | 0.46732 | B | sgs | mnc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-11-21 07:00 | 20133260003 | 4.8 | 6.12 | E | 2.64 | ug/L | 0.43137 | B | sgs | mnc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-03-27 07:00 | 20140860103 | 4.8 | 6.12 | E | 4.32 | ug/L | 0.70588 | B | sgs | mnc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-02-06 07:30 | 20140370076 | 4.8 | 6.12 | E | 2.1 | ug/L | 0.34314 | B | sgs | mtc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-08-25 11:10 | 20112380056 | 4.8 | 6.144 | E | 3.79 | ug/L | 0.61686 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-09-25 07:30 | 20132690008 | 4.8 | 6.212 | E | 2.91 | ug/L | 0.46845 | B | sgs | mnc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-01-30 08:00 | 20140300033 | 4.8 | 6.212 | E | 3.14 | ug/L | 0.50547 | B | sgs | mnc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-04-03 08:00 | 20140930054 | 4.8 | 6.212 | E | 3.73 | ug/L | 0.60045 | B | sgs | mnc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-04-30 07:30 | 20151210038 | 4.8 | 7.204 | E | 5.68 | ug/L | 0.78845 | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-05-21 06:30 | 20151410210 | 4.8 | 7.204 | E | 4.04 | ug/L | 0.5608 | B | sgs | mnc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-06-25 06:30 | 20151760207 | 4.8 | 7.204 | E | 2.05 | ug/L | 0.28456 |  | sgs | mtc | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-01-28 08:00 | 20160280053 | 4.8 | 7.204 | E | 2.13 | ug/L | 0.29567 |  | rcr | mtc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-09-10 09:00 | 20152530087 | 4.8 | 7.24 | E | 4.18 | ug/L | 0.57735 |  | sgs | mnc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-10-29 08:30 | 20153030067 | 4.8 | 7.24 | E | 4.76 | ug/L | 0.65746 |  | sgs | mnc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-02-18 08:30 | 20160490032 | 4.8 | 7.24 | E | 2.06 | ug/L | 0.28453 |  | rcr | mtc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-04-10 06:00 | 20141010007 | 4.8 | 9.465 | E | 1.86 | ug/L | 0.19651 | B | sgs | mtc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-08-18 06:45 | 20142340162 | 4.8 | 9.465 | E | 5.17 | ug/L | 0.54622 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-12-18 06:00 | 20143520107 | 4.8 | 9.465 | E | 6.35 | ug/L | 0.67089 | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-02-26 06:00 | 20150570009 | 4.8 | 9.465 | E | 7.01 | ug/L | 0.74062 | B | sgs | mc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-05-01 06:30 | 20141220026 | 4.8 | 9.6102 | E | 2.66 | ug/L | 0.27679 | B | sgs | mnc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-05-08 07:30 | 20141290007 | 4.8 | 9.6102 | E | 8.02 | ug/L | 0.83453 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-07-17 06:00 | 20141990081 | 4.8 | 9.6102 | E | 2.73 | ug/L | 0.28407 | B | sgs | mnc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-08-14 06:30 | 20142270002 | 4.8 | 9.6102 | E | 5.32 | ug/L | 0.55358 | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-09-25 06:30 | 20142720001 | 4.8 | 9.6102 | E | 3.76 | ug/L | 0.39125 | B | sgs | mnc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-04-23 06:00 | 20151140152 | 4.8 | 9.6102 | E | 10.7 | ug/L | 1.1134 | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-06-21 07:00 | 20121730124 | 4.8 | 11.84 | E | 8.41 | ug/L | 0.7103 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-05-18 06:00 | 20161400194 | 4.8 | 11.84 | E | 3.1 | ug/L | 0.26182 | B | sgs | mnc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-06-08 08:00 | 20161600088 | 4.8 | 11.84 | E | 2.31 | ug/L | 0.1951 | B | sgs | mtc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-08-02 07:30 | 20162150212 | 4.8 | 11.84 | E | 8.38 | ug/L | 0.70777 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-09-21 07:30 | 20162660006 | 4.8 | 11.84 | E | 4.38 | ug/L | 0.36993 | B | sgs | mnc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-07-06 07:00 | 20161880110 | 4.8 | 11.924 | E | 6.52 | ug/L | 0.5468 | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-08-31 07:00 | 20162440114 | 4.8 | 11.924 | E | 3.8 | ug/L | 0.31869 | B | sgs | mnc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-11-09 07:30 | 20163150005 | 4.8 | 11.924 | E | 5.03 | ug/L | 0.42184 | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-12-14 08:00 | 20163500003 | 4.8 | 11.924 | E | 3.77 | ug/L | 0.31617 | B | sgs | mnc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-01-24 06:30 | 20130250062 | 4.8 | 11.984 | E | 6.19 | ug/L | 0.51652 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-01-19 08:00 | 20120200071 | 4.8 | 12.2 | E | 9.04 | ug/L | 0.74098 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-03-08 07:30 | 20120690028 | 4.8 | 12.2 | E | 10.1 | ug/L | 0.82787 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-09-15 08:30 | 20112590002 | 4.8 | 12.375 | E | 3.24 | ug/L | 0.26182 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-12-03 08:30 | 20153370177 | 4.8 | 14.408 | E | 6.39 | ug/L | 0.4435 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-12-17 08:00 | 20153510110 | 4.8 | 14.408 | E | 3.12 | ug/L | 0.21655 |  | sgs | mnc | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-07-30 09:00 | 20152110199 | 4.8 | 14.48 | E | 8.77 | ug/L | 0.60566 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-08-13 09:00 | 20152250271 | 4.8 | 14.48 | E | 5.52 | ug/L | 0.38122 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-01-02 06:15 | 20140030013 | 4.8 | 15.3 | E | 10.2 | ug/L | 0.66667 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-05-23 07:30 | 20131440104 | 4.8 | 15.53 | E | 15.9 | ug/L | 1.0238 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-06-19 07:00 | 20141710103 | 4.8 | 18.93 | E | 7.52 | ug/L | 0.39725 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-07-10 06:30 | 20141910242 | 4.8 | 18.93 | E | 15.1 | ug/L | 0.79768 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-10-23 06:30 | 20142960087 | 4.8 | 18.93 | E | 25.3 | ug/L | 1.3365 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-01-29 07:00 | 20150290077 | 4.8 | 18.93 | E | 10.8 | ug/L | 0.57052 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-05-29 06:30 | 20141490201 | 4.8 | 19.2204 | E | 11 | ug/L | 0.57231 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-09-04 07:00 | 20142480001 | 4.8 | 19.2204 | E | 9.97 | ug/L | 0.51872 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2014-11-13 07:00 | 20143180046 | 4.8 | 19.2204 | E | 16.2 | ug/L | 0.84285 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-08-04 09:30 | 20112170170 | 1.6 | 19.52 | E | 13.4 | ug/L | 0.68648 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-11-03 07:30 | 20113080004 | 4.8 | 19.52 | E | 6.19 | ug/L | 0.31711 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-05-17 07:30 | 20121390007 | 4.8 | 19.52 | E | 11 | ug/L | 0.56352 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-06-02 09:00 | 20111540005 | 1.6 | 19.6429 | E | 16.1 | ug/L | 0.81964 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2011-07-14 09:30 | 20111960036 | 1.6 | 19.8 | E | 10.7 | ug/L | 0.5404 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-01-10 07:00 | 20130100068 | 4.8 | 23.68 | E | 17.4 | ug/L | 0.7348 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-07-27 06:30 | 20162100008 | 4.8 | 23.68 | E | 16.1 | ug/L | 0.6799 | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-11-21 08:00 | 20163280007 | 4.8 | 23.68 | E | 13.1 | ug/L | 0.55321 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-12-07 07:30 | 20163420127 | 4.8 | 23.68 | E | 11.5 | ug/L | 0.48564 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-10-25 07:00 | 20162990149 | 4.8 | 23.848 | E | 7.26 | ug/L | 0.30443 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-10-19 06:30 | 20162930160 | 4.8 | 23.848 | E | 10.4 | ug/L | 0.4361 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2012-11-08 07:30 | 20123140092 | 4.8 | 23.968 | E | 13.6 | ug/L | 0.56742 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-02-28 07:30 | 20130590064 | 4.8 | 23.968 | E | 8.16 | ug/L | 0.34045 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-10-08 08:00 | 20152810121 | 4.8 | 28.816 | E | 16.3 | ug/L | 0.56566 |  | sgs | mc | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-09-24 09:00 | 20152670134 | 4.8 | 28.96 | E | 18 | ug/L | 0.62155 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2015-11-10 08:30 | 20153160002 | 4.8 | 28.96 | E | 18.4 | ug/L | 0.63536 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2016-08-24 07:15 | 20162380005 | 4.8 | 29.81 | E | 6.01 | ug/L | 0.20161 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | BETA-SITOSTEROL | 62815GCM99 | 2013-07-25 07:30 | 20132070037 | 4.8 | 61.66 | E | 23.7 | ug/L | 0.38437 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl