## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-03-10 07:30 | 20110690080 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-03-31 08:30 | 20110910083 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-06-02 09:00 | 20111540005 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-06-23 08:30 | 20111750002 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-07-14 09:30 | 20111960036 | 0.4 |  | < | 0.4 | ug/L |  | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-08-04 09:30 | 20112170170 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-08-18 08:50 | 20112310029 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-09-15 08:30 | 20112590002 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-09-01 09:00 | 20112450021 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-11-03 07:30 | 20113080004 | 0.4 |  | < | 0.4 | ug/L |  | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-12-15 08:30 | 20113500022 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-01-19 08:00 | 20120200071 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-02-16 09:00 | 20120470077 | 0.4 |  | . | 0.12 | ug/L |  | B | sgs | t | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-03-08 07:30 | 20120690028 | 0.4 |  | < | 0.4 | ug/L |  | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-05-03 07:00 | 20121250043 | 0.4 |  | < | 0.4 | ug/L |  | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-05-17 07:30 | 20121390007 | 0.4 |  | < | 0.4 | ug/L |  | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-07-12 08:00 | 20121950066 | 0.4 |  | < | 0.4 | ug/L |  | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-09-27 06:30 | 20122720049 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-12-06 07:00 | 20123420075 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-02-14 08:00 | 20130460007 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-04-11 07:00 | 20131020082 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-05-09 07:30 | 20131290118 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-07-11 07:00 | 20131920148 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-06-13 07:30 | 20131650075 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-09-12 08:00 | 20132560002 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-11-07 07:30 | 20133110109 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-01-16 08:00 | 20140160088 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-03-06 08:00 | 20140650080 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-04-10 06:00 | 20141010007 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-05-01 06:30 | 20141220026 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-06-19 07:00 | 20141710103 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-07-17 06:00 | 20141990081 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-08-18 06:45 | 20142340162 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-09-25 06:30 | 20142720001 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-11-13 07:00 | 20143180046 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-01-29 07:00 | 20150290077 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-06-25 06:30 | 20151760207 | 0.4 |  | < | 0.4 | ug/L |  |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-07-30 09:00 | 20152110199 | 0.4 |  | < | 0.4 | ug/L |  |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-09-10 09:00 | 20152530087 | 0.4 |  | < | 0.4 | ug/L |  |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-10-08 08:00 | 20152810121 | 0.4 |  | . | 0.24 | ug/L |  |  | sgs | n | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-11-10 08:30 | 20153160002 | 0.4 |  | < | 0.4 | ug/L |  |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-12-17 08:00 | 20153510110 | 0.4 |  | < | 0.4 | ug/L |  |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-02-18 08:30 | 20160490032 | 0.4 |  | < | 0.4 | ug/L |  |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-04-07 06:30 | 20160980150 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-06-15 08:00 | 20161680360 | 0.4 |  | E | 0.12 | ug/L |  | B | sgs | vt | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-07-13 08:00 | 20161960001 | 0.4 |  | E | 0.17 | ug/L |  | B | sgs | vt | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-08-10 07:00 | 20162230167 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-09-14 06:30 | 20162580142 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-10-12 07:30 | 20162860080 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-11-02 07:00 | 20163070096 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-11-30 07:00 | 20163370002 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-12-21 07:00 | 20163560020 | 0.4 |  | < | 0.4 | ug/L |  | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-08-10 09:30 | 20112220129 | 0.4 | 0.4584 | < | 0.48 | ug/L |  | R | jiv | c | 2011-08-17 | ChemService 448-12A: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-08-08 08:00 | 20132210039 | 0.4 | 0.6216 | R |  | ug/L |  |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-06-29 08:00 | 20161820002 | 0.4 | 1 | R |  | ug/L |  | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-05-05 08:30 | 20111260151 | 0.4 | 0.20145 | . | 0.26 | ug/L | 1.2906 | B | sgs | n | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-08-25 11:10 | 20112380056 | 0.4 | 0.32 | . | 0.42 | ug/L | 1.3125 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-02-02 07:30 | 20110340009 | 0.4 | 0.44928 | . | 0.45 | ug/L | 1.0016 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-04-14 08:30 | 20111050151 | 0.4 | 0.453 | . | 0.45 | ug/L | 0.99338 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-02-09 07:30 | 20120400055 | 0.4 | 0.4584 | . | 0.41 | ug/L | 0.89442 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-07-28 08:30 | 20112100004 | 0.4 | 0.4612 | E | 0.41 | ug/L | 0.88899 | R | jiv | c | 2011-08-16 | Abs 090910WW: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-10-20 07:30 | 20112930084 | 0.4 | 0.4612 | . | 0.4 | ug/L | 0.8673 | E | cli | n | 2011-12-08 | Abs 090910WW: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-03-01 08:30 | 20120620013 | 0.4 | 0.4612 | . | 0.48 | ug/L | 1.0408 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-06-07 08:00 | 20121600155 | 0.4 | 0.5 | . | 0.52 | ug/L | 1.04 | R | jiv | v | 2012-07-28 | Supelco LB92782: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-08-07 07:00 | 20122210008 | 0.4 | 0.5 | . | 0.48 | ug/L | 0.96 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-08-23 07:30 | 20122370103 | 0.4 | 0.5 | . | 0.49 | ug/L | 0.98 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-10-30 08:00 | 20123040158 | 0.4 | 0.5 | . | 0.59 | ug/L | 1.18 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-03-27 07:00 | 20130870086 | 0.4 | 0.5 | . | 0.48 | ug/L | 0.96 | B | sgs | v | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-05-21 06:30 | 20151410210 | 0.4 | 0.59 | . | 0.51 | ug/L | 0.86441 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-08-27 09:00 | 20152390223 | 0.4 | 0.59 | . | 0.59 | ug/L | 1 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-10-22 08:30 | 20152950079 | 0.4 | 0.59 | . | 0.58 | ug/L | 0.98305 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-12-30 08:30 | 20153640095 | 0.4 | 0.59 | E | 0.54 | ug/L | 0.91525 |  | rcr | v | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-03-24 08:00 | 20160840086 | 0.4 | 0.59 | . | 0.53 | ug/L | 0.89831 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-04-30 07:30 | 20151210038 | 0.4 | 0.602 | . | 0.66 | ug/L | 1.0963 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-07-16 06:30 | 20151970168 | 0.4 | 0.602 | . | 0.74 | ug/L | 1.2292 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-10-29 08:30 | 20153030067 | 0.4 | 0.602 | . | 0.6 | ug/L | 0.99668 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-01-28 08:00 | 20160280053 | 0.4 | 0.602 | E | 0.49 | ug/L | 0.81395 |  | rcr | v | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-10-17 07:30 | 20132910006 | 0.4 | 0.61 | . | 0.44 | ug/L | 0.72131 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-11-21 07:00 | 20133260003 | 0.4 | 0.61 | . | 0.5 | ug/L | 0.81967 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-03-27 07:00 | 20140860103 | 0.4 | 0.61 | . | 0.44 | ug/L | 0.72131 | B | sgs | v | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-02-06 07:30 | 20140370076 | 0.4 | 0.61 | . | 0.43 | ug/L | 0.70492 | B | sgs | v | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-09-25 07:30 | 20132690008 | 0.4 | 0.6216 | . | 0.44 | ug/L | 0.70785 | B | sgs | v | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-01-30 08:00 | 20140300033 | 0.4 | 0.6216 | . | 0.52 | ug/L | 0.83655 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-04-03 08:00 | 20140930054 | 0.4 | 0.6216 | . | 0.42 | ug/L | 0.67568 | B | sgs | v | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-05-08 07:30 | 20141290007 | 0.4 | 0.8031 | . | 0.61 | ug/L | 0.75956 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-06-12 06:30 | 20141640077 | 0.4 | 0.8031 | . | 0.59 | ug/L | 0.73465 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-06-26 06:30 | 20141770150 | 0.4 | 0.8031 | . | 0.61 | ug/L | 0.75956 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-02-26 06:00 | 20150570009 | 0.4 | 0.8031 | . | 0.57 | ug/L | 0.70975 | B | sgs | v | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-03-26 06:00 | 20150850162 | 0.4 | 0.8031 | . | 0.72 | ug/L | 0.89653 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-04-23 06:00 | 20151140152 | 0.4 | 0.8031 | . | 0.74 | ug/L | 0.92143 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-07-31 06:00 | 20142130131 | 0.4 | 0.81 | . | 0.74 | ug/L | 0.91358 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-08-14 06:30 | 20142270002 | 0.4 | 0.81 | . | 0.76 | ug/L | 0.93827 | B | sgs | v | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-12-18 06:00 | 20143520107 | 0.4 | 0.81 | . | 0.64 | ug/L | 0.79012 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-04-09 06:00 | 20150990066 | 0.4 | 0.81 | . | 0.73 | ug/L | 0.90123 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-05-18 06:00 | 20161400194 | 0.4 | 0.984 | . | 1 | ug/L | 1.0163 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-06-08 08:00 | 20161600088 | 0.4 | 0.984 | . | 0.84 | ug/L | 0.85366 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-08-02 07:30 | 20162150212 | 0.4 | 0.984 | E | 0.8 | ug/L | 0.81301 | B | sgs | @vc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-09-21 07:30 | 20162660006 | 0.4 | 0.984 | . | 0.88 | ug/L | 0.89431 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-06-21 07:00 | 20121730124 | 0.4 | 1 | . | 1.28 | ug/L | 1.28 | R | jiv |  | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-01-24 06:30 | 20130250062 | 0.4 | 1 | E | 0.72 | ug/L | 0.72 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-07-06 07:00 | 20161880110 | 0.4 | 1 | . | 0.72 | ug/L | 0.72 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-08-31 07:00 | 20162440114 | 0.4 | 1 | . | 0.65 | ug/L | 0.65 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-11-09 07:30 | 20163150005 | 0.4 | 1 | . | 0.79 | ug/L | 0.79 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-12-14 08:00 | 20163500003 | 0.4 | 1 | . | 0.64 | ug/L | 0.64 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-07-07 08:30 | 20111890007 | 0.4 | 1.146 | . | 1.04 | ug/L | 0.9075 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-11-29 07:30 | 20113340047 | 0.4 | 1.146 | E | 0.62 | ug/L | 0.54101 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-03-22 07:30 | 20120830078 | 0.4 | 1.146 | . | 1.13 | ug/L | 0.98604 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-03-24 07:30 | 20110840109 | 0.4 | 1.1525 | . | 1.17 | ug/L | 1.0152 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-01-26 08:00 | 20120260060 | 0.4 | 1.153 | . | 1.12 | ug/L | 0.97138 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-04-05 06:30 | 20120960124 | 0.4 | 1.153 | . | 0.98 | ug/L | 0.84996 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-06-16 09:30 | 20111680036 | 0.4 | 1.1575 | . | 1.04 | ug/L | 0.89848 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-12-03 08:30 | 20153370177 | 0.4 | 1.18 | . | 1.12 | ug/L | 0.94915 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-04-28 07:00 | 20161190076 | 0.4 | 1.18 | . | 1.16 | ug/L | 0.98305 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-06-11 06:00 | 20151620180 | 0.4 | 1.204 | . | 1.07 | ug/L | 0.8887 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-08-13 09:00 | 20152250271 | 0.4 | 1.204 | . | 1.06 | ug/L | 0.8804 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-11-24 08:00 | 20153280156 | 0.4 | 1.204 | . | 1.15 | ug/L | 0.95515 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-03-10 08:30 | 20160710218 | 0.4 | 1.204 | . | 1.21 | ug/L | 1.005 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-01-02 06:15 | 20140030013 | 0.4 | 1.525 | . | 1.24 | ug/L | 0.81311 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-05-23 07:30 | 20131440104 | 0.4 | 1.554 | . | 1.5 | ug/L | 0.96525 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-07-10 06:30 | 20141910242 | 0.4 | 1.6062 | . | 1.5 | ug/L | 0.93388 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-09-04 07:00 | 20142480001 | 0.4 | 1.6062 | . | 1.44 | ug/L | 0.89653 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-11-26 07:00 | 20143300047 | 0.4 | 1.6062 | . | 1.45 | ug/L | 0.90275 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-05-16 06:30 | 20141360095 | 0.4 | 1.62 | E | 0.99 | ug/L | 0.61111 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-05-29 06:30 | 20141490201 | 0.4 | 1.62 | . | 1.16 | ug/L | 0.71605 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-09-03 06:30 | 20142470040 | 0.4 | 1.62 | . | 1.36 | ug/L | 0.83951 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-10-02 07:00 | 20142760025 | 0.4 | 1.62 | . | 1.25 | ug/L | 0.7716 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2014-10-23 06:30 | 20142960087 | 0.4 | 1.62 | . | 1.43 | ug/L | 0.88272 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-05-19 08:30 | 20111390173 | 0.4 | 1.8227 | . | 1.53 | ug/L | 0.83943 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-01-12 08:00 | 20120120069 | 0.4 | 1.8336 | . | 1.57 | ug/L | 0.85624 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-04-19 07:00 | 20121110020 | 0.4 | 1.8336 | . | 1.67 | ug/L | 0.91078 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2011-09-08 09:30 | 20112520211 | 0.4 | 1.8448 | . | 1.74 | ug/L | 0.94319 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-07-27 06:30 | 20162100008 | 0.4 | 1.968 | . | 2.28 | ug/L | 1.1585 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-11-21 08:00 | 20163280007 | 0.4 | 1.968 | . | 1.9 | ug/L | 0.96545 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-12-07 07:30 | 20163420127 | 0.4 | 1.968 | . | 1.95 | ug/L | 0.99085 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2012-11-08 07:30 | 20123140092 | 0.4 | 2 | . | 1.64 | ug/L | 0.82 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-01-10 07:00 | 20130100068 | 0.4 | 2 | . | 2.37 | ug/L | 1.185 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-02-28 07:30 | 20130590064 | 0.4 | 2 | . | 1.54 | ug/L | 0.77 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-10-25 07:00 | 20162990149 | 0.4 | 2 | . | 1.29 | ug/L | 0.645 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-10-19 06:30 | 20162930160 | 0.4 | 2 | . | 1.54 | ug/L | 0.77 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2015-09-24 09:00 | 20152670134 | 0.4 | 2.36 | . | 2.23 | ug/L | 0.94492 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-01-14 08:30 | 20160140040 | 0.4 | 2.36 | E | 2.03 | ug/L | 0.86017 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2016-08-24 07:15 | 20162380005 | 0.4 | 2.5 | . | 1.88 | ug/L | 0.752 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | DIETHYL PHTHALATE | 34336GCM99 | 2013-07-25 07:30 | 20132070037 | 0.4 | 6.158 | E | 4.04 | ug/L | 0.65606 | B | sgs |  | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl