## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-02-02 07:30 | 20110340009 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2011-02-18 | ChemService 448-12A: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-03-24 07:30 | 20110840109 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2011-04-15 | Abs 090910WW: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-04-14 08:30 | 20111050151 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2011-05-03 | Abs 090910WW: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-05-19 08:30 | 20111390173 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2011-06-28 | ChemService 448-12A: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-06-16 09:30 | 20111680036 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2011-07-07 | Abs 090910WW: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-07-07 08:30 | 20111890007 | 0.04 |  | < | 0.04 | ug/L |  | E | jiv | mc | 2011-08-06 | ChemService 448-12A: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-07-28 08:30 | 20112100004 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2011-08-16 | Abs 090910WW: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-08-10 09:30 | 20112220129 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2011-08-17 | ChemService 448-12A: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-09-08 09:30 | 20112520211 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2011-11-22 | Abs 090910WW: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-10-20 07:30 | 20112930084 | 0.04 |  | < | 0.04 | ug/L |  | E | cli | mc | 2011-12-08 | Abs 090910WW: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-11-29 07:30 | 20113340047 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2012-02-01 | ChemService 448-12A: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-01-12 08:00 | 20120120069 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2012-03-06 | ChemService 448-12A: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-02-09 07:30 | 20120400055 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2012-03-07 | ChemService 448-12A: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-01-26 08:00 | 20120260060 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2012-03-07 | Abs 090910WW: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-03-01 08:30 | 20120620013 | 0.04 |  | < | 0.04 | ug/L |  | B | fww | mc | 2012-04-10 | Abs 090910WW: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-04-05 06:30 | 20120960124 | 0.04 |  | < | 0.04 | ug/L |  | Y | awh | mc | 2012-05-04 | Abs 090910WW: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-03-22 07:30 | 20120830078 | 0.04 |  | < | 0.04 | ug/L |  | Y | awh | mc | 2012-05-04 | ChemService 448-12A: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-04-19 07:00 | 20121110020 | 0.04 |  | < | 0.04 | ug/L |  | E | cli | mc | 2012-05-22 | ChemService 448-12A: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-06-07 08:00 | 20121600155 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2012-07-28 | Supelco LB92782: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-06-21 07:00 | 20121730124 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-08-07 07:00 | 20122210008 | 0.04 |  | < | 0.04 | ug/L |  | R | jiv | mc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-10-30 08:00 | 20123040158 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-01-10 07:00 | 20130100068 | 0.04 |  | E | 0.007 | ug/L |  | B | sgs | vbm | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-02-28 07:30 | 20130590064 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-05-23 07:30 | 20131440104 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-08-08 08:00 | 20132210039 | 0.04 |  | R |  | ug/L |  |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-07-25 07:30 | 20132070037 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-10-17 07:30 | 20132910006 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-01-02 06:15 | 20140030013 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-02-06 07:30 | 20140370076 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-04-03 08:00 | 20140930054 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-05-08 07:30 | 20141290007 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-05-29 06:30 | 20141490201 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-07-10 06:30 | 20141910242 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-08-14 06:30 | 20142270002 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-09-04 07:00 | 20142480001 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-10-23 06:30 | 20142960087 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-12-18 06:00 | 20143520107 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-02-26 06:00 | 20150570009 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-04-23 06:00 | 20151140152 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-06-11 06:00 | 20151620180 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-07-16 06:30 | 20151970168 | 0.04 |  | < | 0.04 | ug/L |  |  | sgs | mc | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-08-27 09:00 | 20152390223 | 0.04 |  | < | 0.04 | ug/L |  |  | sgs | mc | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-10-22 08:30 | 20152950079 | 0.04 |  | < | 0.04 | ug/L |  |  | sgs | mc | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-11-24 08:00 | 20153280156 | 0.04 |  | < | 0.04 | ug/L |  |  | sgs | mc | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-12-30 08:30 | 20153640095 | 0.04 |  | < | 0.04 | ug/L |  |  | rcr | mc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-01-14 08:30 | 20160140040 | 0.04 |  | E | 0.005 | ug/L |  |  | rcr | bmt | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-03-10 08:30 | 20160710218 | 0.04 |  | < | 0.04 | ug/L |  | V | rcr | mc | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-04-28 07:00 | 20161190076 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-06-15 08:00 | 20161680360 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-07-13 08:00 | 20161960001 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-08-10 07:00 | 20162230167 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-09-14 06:30 | 20162580142 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-10-12 07:30 | 20162860080 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-11-02 07:00 | 20163070096 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-11-30 07:00 | 20163370002 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-12-21 07:00 | 20163560020 | 0.04 |  | < | 0.04 | ug/L |  | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-04-30 07:30 | 20151210038 | 0.04 | 0.0601 | < | 0.04 | ug/L |  | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-09-10 09:00 | 20152530087 | 0.04 | 0.0606 | < | 0.04 | ug/L |  |  | sgs | mc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-06-29 08:00 | 20161820002 | 0.04 | 0.1 | R |  | ug/L |  | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-09-25 07:30 | 20132690008 | 0.04 | 0.054 | E | 0.039 | ug/L | 0.72222 | B | sgs | mnc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-11-07 07:30 | 20133110109 | 0.04 | 0.054 | E | 0.048 | ug/L | 0.88889 | B | sgs | mc | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-01-16 08:00 | 20140160088 | 0.04 | 0.054 | E | 0.045 | ug/L | 0.83333 | B | sgs | mc | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-01-30 08:00 | 20140300033 | 0.04 | 0.054 | E | 0.045 | ug/L | 0.83333 | B | sgs | vmc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-09-12 08:00 | 20132560002 | 0.04 | 0.055 | E | 0.053 | ug/L | 0.96364 | B | sgs | vmc | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-11-21 07:00 | 20133260003 | 0.04 | 0.055 | E | 0.055 | ug/L | 1 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-03-06 08:00 | 20140650080 | 0.04 | 0.055 | E | 0.035 | ug/L | 0.63636 | B | sgs | vmn | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-03-27 07:00 | 20140860103 | 0.04 | 0.055 | E | 0.047 | ug/L | 0.85455 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-05-21 06:30 | 20151410210 | 0.04 | 0.0601 | E | 0.06 | ug/L | 0.99834 | B | sgs | mc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-06-25 06:30 | 20151760207 | 0.04 | 0.0601 | E | 0.06 | ug/L | 0.99834 |  | sgs | mc | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-01-28 08:00 | 20160280053 | 0.04 | 0.0601 | E | 0.043 | ug/L | 0.71547 |  | rcr | mc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-04-07 06:30 | 20160980150 | 0.04 | 0.0601 | E | 0.044 | ug/L | 0.73211 | B | sgs | mc | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-10-29 08:30 | 20153030067 | 0.04 | 0.0606 | E | 0.048 | ug/L | 0.79208 |  | sgs | mc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-02-18 08:30 | 20160490032 | 0.04 | 0.0606 | E | 0.053 | ug/L | 0.87459 |  | rcr | mc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-03-24 08:00 | 20160840086 | 0.04 | 0.0606 | E | 0.053 | ug/L | 0.87459 | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-06-26 06:30 | 20141770150 | 0.04 | 0.0792 | E | 0.064 | ug/L | 0.80808 | B | sgs | mc | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-07-17 06:00 | 20141990081 | 0.04 | 0.0792 | E | 0.08 | ug/L | 1.0101 | B | sgs | mc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-07-31 06:00 | 20142130131 | 0.04 | 0.0792 | E | 0.072 | ug/L | 0.90909 | B | sgs | mc | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-08-18 06:45 | 20142340162 | 0.04 | 0.0792 | E | 0.076 | ug/L | 0.9596 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-09-25 06:30 | 20142720001 | 0.04 | 0.0792 | E | 0.078 | ug/L | 0.98485 | B | sgs | mc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-04-09 06:00 | 20150990066 | 0.04 | 0.0792 | E | 0.082 | ug/L | 1.0354 | B | sgs | mc | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-04-10 06:00 | 20141010007 | 0.04 | 0.0804 | E | 0.059 | ug/L | 0.73383 | B | sgs | mc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-05-01 06:30 | 20141220026 | 0.04 | 0.0804 | E | 0.056 | ug/L | 0.69652 | B | sgs | mc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-06-12 06:30 | 20141640077 | 0.04 | 0.0804 | E | 0.059 | ug/L | 0.73383 | B | sgs | mc | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-03-26 06:00 | 20150850162 | 0.04 | 0.0804 | E | 0.08 | ug/L | 0.99502 | B | sgs | mc | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-05-18 06:00 | 20161400194 | 0.04 | 0.0992 | E | 0.082 | ug/L | 0.82661 | B | sgs | mc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-06-08 08:00 | 20161600088 | 0.04 | 0.0992 | E | 0.074 | ug/L | 0.74597 | B | sgs | mc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-08-02 07:30 | 20162150212 | 0.04 | 0.0992 | E | 0.072 | ug/L | 0.72581 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-09-21 07:30 | 20162660006 | 0.04 | 0.0992 | E | 0.068 | ug/L | 0.68548 | B | sgs | mc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-07-06 07:00 | 20161880110 | 0.04 | 0.1 | E | 0.06 | ug/L | 0.6 | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-08-31 07:00 | 20162440114 | 0.04 | 0.1 | E | 0.056 | ug/L | 0.56 | B | sgs | mc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-11-09 07:30 | 20163150005 | 0.04 | 0.1 | E | 0.054 | ug/L | 0.54 | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-12-14 08:00 | 20163500003 | 0.04 | 0.1 | E | 0.055 | ug/L | 0.55 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-12-03 08:30 | 20153370177 | 0.04 | 0.1202 | E | 0.098 | ug/L | 0.81531 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-12-17 08:00 | 20153510110 | 0.04 | 0.1202 | E | 0.098 | ug/L | 0.81531 |  | sgs | mc | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-07-30 09:00 | 20152110199 | 0.04 | 0.1212 | E | 0.116 | ug/L | 0.9571 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-08-13 09:00 | 20152250271 | 0.04 | 0.1212 | E | 0.123 | ug/L | 1.0149 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-05-09 07:30 | 20131290118 | 0.04 | 0.135 | E | 0.11 | ug/L | 0.81481 | B | sgs | mc | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-09-03 06:30 | 20142470040 | 0.04 | 0.1584 | E | 0.169 | ug/L | 1.0669 | B | sgs | mc | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-11-26 07:00 | 20143300047 | 0.04 | 0.1584 | E | 0.147 | ug/L | 0.92803 | B | sgs | mc | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-01-29 07:00 | 20150290077 | 0.04 | 0.1584 | E | 0.131 | ug/L | 0.82702 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-05-16 06:30 | 20141360095 | 0.04 | 0.1608 | E | 0.106 | ug/L | 0.6592 | B | sgs | mc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-06-19 07:00 | 20141710103 | 0.04 | 0.1608 | E | 0.135 | ug/L | 0.83955 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-10-02 07:00 | 20142760025 | 0.04 | 0.1608 | E | 0.132 | ug/L | 0.8209 | B | sgs | mc | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2014-11-13 07:00 | 20143180046 | 0.04 | 0.1608 | E | 0.147 | ug/L | 0.91418 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-07-27 06:30 | 20162100008 | 0.04 | 0.1984 | E | 0.152 | ug/L | 0.76613 | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-11-21 08:00 | 20163280007 | 0.04 | 0.1984 | E | 0.156 | ug/L | 0.78629 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-12-07 07:30 | 20163420127 | 0.04 | 0.1984 | E | 0.166 | ug/L | 0.83669 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-10-25 07:00 | 20162990149 | 0.04 | 0.2 | E | 0.103 | ug/L | 0.515 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-10-19 06:30 | 20162930160 | 0.04 | 0.2 | E | 0.117 | ug/L | 0.585 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-05-05 08:30 | 20111260151 | 0.04 | 0.20145 | E | 0.183 | ug/L | 0.90841 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-10-08 08:00 | 20152810121 | 0.04 | 0.2404 | E | 0.191 | ug/L | 0.79451 |  | sgs | mc | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-09-24 09:00 | 20152670134 | 0.04 | 0.2424 | E | 0.266 | ug/L | 1.0974 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2015-11-10 08:30 | 20153160002 | 0.04 | 0.2424 | E | 0.208 | ug/L | 0.85809 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2016-08-24 07:15 | 20162380005 | 0.04 | 0.25 | E | 0.15 | ug/L | 0.6 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-06-13 07:30 | 20131650075 | 0.04 | 0.2725 | E | 0.236 | ug/L | 0.86606 | B | sgs | mc | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-07-11 07:00 | 20131920148 | 0.04 | 0.275 | E | 0.234 | ug/L | 0.85091 | B | sgs | mc | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-07-12 08:00 | 20121950066 | 0.04 | 0.3 | E | 0.294 | ug/L | 0.98 | R | jiv | mc | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-08-23 07:30 | 20122370103 | 0.04 | 0.3 | E | 0.262 | ug/L | 0.87333 | R | jiv | mc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-02-14 08:00 | 20130460007 | 0.04 | 0.3 | E | 0.224 | ug/L | 0.74667 | B | sgs | mc | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-03-27 07:00 | 20130870086 | 0.04 | 0.3 | E | 0.258 | ug/L | 0.86 | B | sgs | mc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-08-25 11:10 | 20112380056 | 0.04 | 0.32 | E | 0.313 | ug/L | 0.97813 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-06-23 08:30 | 20111750002 | 0.04 | 0.392 | E | 0.286 | ug/L | 0.72959 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-09-01 09:00 | 20112450021 | 0.04 | 0.392 | E | 0.362 | ug/L | 0.92347 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-02-16 09:00 | 20120470077 | 0.04 | 0.392 | E | 0.356 | ug/L | 0.90816 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-03-10 07:30 | 20110690080 | 0.04 | 0.39306 | E | 0.373 | ug/L | 0.94896 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-03-31 08:30 | 20110910083 | 0.04 | 0.39488 | E | 0.364 | ug/L | 0.9218 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-08-18 08:50 | 20112310029 | 0.04 | 0.395 | E | 0.303 | ug/L | 0.76709 | B | sgs | mc | 2011-10-04 | Supelco LB77171: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-12-15 08:30 | 20113500022 | 0.04 | 0.395 | E | 0.354 | ug/L | 0.8962 | B | sgs | mc | 2012-03-01 | Supelco LB77171: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-05-03 07:00 | 20121250043 | 0.04 | 0.395 | E | 0.335 | ug/L | 0.8481 | Y | awh | mc | 2012-07-26 | Supelco LB77171: 20 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-09-27 06:30 | 20122720049 | 0.04 | 0.6 | E | 0.473 | ug/L | 0.78833 | B | sgs | mc | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-12-06 07:00 | 20123420075 | 0.04 | 0.6 | E | 0.49 | ug/L | 0.81667 | B | sgs | mc | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-01-24 06:30 | 20130250062 | 0.04 | 0.6 | E | 0.44 | ug/L | 0.73333 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2013-04-11 07:00 | 20131020082 | 0.04 | 0.6 | E | 0.482 | ug/L | 0.80333 | B | sgs | mc | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-01-19 08:00 | 20120200071 | 0.04 | 0.98 | E | 0.93 | ug/L | 0.94898 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-03-08 07:30 | 20120690028 | 0.04 | 0.98 | E | 0.854 | ug/L | 0.87143 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-09-15 08:30 | 20112590002 | 0.04 | 0.9875 | E | 0.781 | ug/L | 0.79089 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-11-08 07:30 | 20123140092 | 0.04 | 1.2 | E | 0.941 | ug/L | 0.78417 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-06-02 09:00 | 20111540005 | 0.04 | 1.5675 | E | 1.3 | ug/L | 0.82937 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-08-04 09:30 | 20112170170 | 0.04 | 1.568 | E | 1.45 | ug/L | 0.92474 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-11-03 07:30 | 20113080004 | 0.04 | 1.568 | E | 1.36 | ug/L | 0.86735 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2012-05-17 07:30 | 20121390007 | 0.04 | 1.568 | E | 1.58 | ug/L | 1.0077 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | ISOPROPYLBENZENE (CUMENE) | 77223GCM99 | 2011-07-14 09:30 | 20111960036 | 0.04 | 1.58 | E | 1.22 | ug/L | 0.77215 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl