## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-01-06 07:30 | 20110070106 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2011-03-10 | Spex Organics T1100629008: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-02-02 08:00 | 20110340010 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2011-03-30 | Abs 081810: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-03-03 08:00 | 20110620086 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2011-03-31 | Spex Organics T1100629008: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-03-31 09:00 | 20110910087 | 0.8 |  | < | 0.8 | ng/L |  | AT | JEM |  | 2011-05-09 | Abs 081810: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-04-28 08:00 | 20111190186 | 0.8 |  | < | 0.8 | ng/L |  | AT | JEM |  | 2011-05-26 | Spex Organics T1100629008: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-05-26 08:30 | 20111470069 | 0.8 |  | < | 0.8 | ng/L |  | AT | JEM |  | 2011-06-13 | Abs 081810: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-06-16 10:00 | 20111680031 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2011-07-11 | Spex Organics T1100629008: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-07-14 10:00 | 20111950200 | 0.8 |  | < | 0.8 | ng/L |  | AT | JEM |  | 2011-09-29 | Spex Organics T1100629008: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-08-04 10:00 | 20112170148 | 0.8 |  | < | 0.8 | ng/L |  | AT | JEM |  | 2011-10-03 | Abs 081810: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-08-25 11:20 | 20112380057 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2011-10-12 | Abs 081810: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-09-15 09:00 | 20112590006 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2011-10-13 | Spex Organics T1100629008: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-11-03 08:00 | 20113080005 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2011-11-28 | Spex Organics T1100629008: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-11-29 08:00 | 20113340044 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-01-27 | Abs 081810: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-12-13 08:30 | 20113490064 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-02-01 | Spex Organics T1100629008: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-01-26 08:30 | 20120260027 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-03-27 | Abs 081810: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-03-15 09:00 | 20120760110 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-04-17 | Abs 081810: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-04-12 07:30 | 20121040013 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-07-02 | Abs 081810: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-05-31 07:30 | 20121520253 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-08-16 | Spex Organics T1100629008: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-06-14 08:30 | 20121670019 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-08-24 | Abs 051512: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-08-09 07:00 | 20122230020 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-10-04 08:00 | 20122790026 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-11-20 08:30 | 20123260038 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-01-24 08:00 | 20130250063 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-03-21 07:30 | 20130810107 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-07-03 07:30 | 20131840103 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-08-21 08:00 | 20132340084 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-10-24 08:00 | 20132980022 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-11-21 07:30 | 20133260007 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-01-02 06:30 | 20140030014 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-02-27 08:00 | 20140590012 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-05-22 07:30 | 20141420137 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-06-12 07:00 | 20141640082 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-07-10 07:00 | 20141910241 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-08-07 07:30 | 20142200165 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-09-03 06:45 | 20142470037 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-10-09 06:30 | 20142820150 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-11-19 06:30 | 20143240098 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-02-12 06:30 | 20150430091 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-07-09 07:30 | 20151900131 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-07-30 09:30 | 20152110198 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-08-20 07:30 | 20152330045 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-10-01 08:30 | 20152750003 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-12-09 06:30 | 20153440002 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-11-05 09:00 | 20153090108 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-02-11 09:00 | 20160430110 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-03-24 07:00 | 20160840085 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-06-22 07:00 | 20161740282 | 0.8 |  | . | 10.2 | ng/L |  | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-07-20 07:30 | 20162020125 | 0.8 |  | < | 0.8 | ng/L |  | AT | RCR |  | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-08-17 08:00 | 20162300273 | 0.8 |  | < | 0.8 | ng/L |  | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-12-07 08:00 | 20163420126 | 0.8 |  | R |  | ng/L |  |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-10-19 06:45 | 20162930166 | 0.8 |  | < | 0.8 | ng/L |  | AT | TPE |  | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-05-21 07:00 | 20151410211 | 0.8 | 1.2 | < | 1.6 | ng/L |  | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-02-25 08:30 | 20160560045 | 0.8 | 1.2 | < | 0.8 | ng/L |  | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-05-14 06:00 | 20151380010 | 0.8 | 1.2038 | < | 1.25 | ng/L |  | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-05-28 06:30 | 20151480171 | 0.8 | 1.2038 | < | 1.87 | ng/L |  | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-06-11 06:30 | 20151620181 | 0.8 | 2 | < | 1.3 | ng/L |  | AT | RCR |  | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-04-21 06:30 | 20161130024 | 0.8 | 2 | < | 1.58 | ng/L |  | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-04-25 07:00 | 20131160077 | 0.8 | 3.1474 | R |  | ng/L |  |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-05-29 07:00 | 20141490203 | 0.8 | 3.1579 | < | 2.98 | ng/L |  | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-08-06 08:30 | 20152190002 | 0.8 | 1.2 | . | 1.28 | ng/L | 1.0667 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-09-03 08:30 | 20152460213 | 0.8 | 1.2 | . | 0.82 | ng/L | 0.68333 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-03-03 08:30 | 20160630047 | 0.8 | 1.2 | . | 0.96 | ng/L | 0.8 | AT | RCR |  | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-01-07 08:30 | 20160070058 | 0.8 | 1.2038 | . | 1.09 | ng/L | 0.90547 | AT | RCR |  | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-07-03 07:00 | 20121870005 | 0.8 | 1.5737 | . | 1.57 | ng/L | 0.99766 | AT | RCR |  | 2012-08-29 | Spex Organics T1120525010: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-01-17 08:00 | 20130180026 | 0.8 | 1.5737 | . | 1.49 | ng/L | 0.94682 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-02-19 08:30 | 20130510049 | 0.8 | 1.5737 | . | 1.15 | ng/L | 0.73077 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-04-24 08:00 | 20141150017 | 0.8 | 1.5789 | . | 1.47 | ng/L | 0.931 | AT | RCR |  | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-05-08 08:00 | 20141290003 | 0.8 | 1.5789 | . | 1.34 | ng/L | 0.84867 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-06-26 07:00 | 20141770146 | 0.8 | 1.5789 | . | 1.18 | ng/L | 0.74733 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-09-10 06:30 | 20142530088 | 0.8 | 1.5789 | . | 1.47 | ng/L | 0.931 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-09-18 07:00 | 20142620040 | 0.8 | 1.5789 | . | 1.26 | ng/L | 0.798 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-11-06 06:30 | 20143110109 | 0.8 | 1.5789 | . | 1.14 | ng/L | 0.722 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-12-31 06:00 | 20143650001 | 0.8 | 1.5789 | . | 1.31 | ng/L | 0.82967 | AT | RCR |  | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-04-23 07:00 | 20151140151 | 0.8 | 1.5789 | . | 1.65 | ng/L | 1.045 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-08-30 08:00 | 20122430224 | 0.8 | 1.5947 | . | 1.42 | ng/L | 0.89043 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-12-13 07:30 | 20123490149 | 0.8 | 1.5947 | . | 1.24 | ng/L | 0.77756 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-07-27 06:45 | 20162100009 | 0.8 | 1.9958 | . | 1.74 | ng/L | 0.87184 | AT | RCR |  | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-10-05 08:00 | 20162800003 | 0.8 | 1.9958 | . | 1.86 | ng/L | 0.93196 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-06-06 08:30 | 20131580025 | 0.8 | 1.9958 | . | 1.31 | ng/L | 0.65638 | AT | RCR |  | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-08-01 08:00 | 20132140004 | 0.8 | 1.9958 | . | 1.87 | ng/L | 0.93697 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-03-27 08:00 | 20140860105 | 0.8 | 1.9958 | . | 1.8 | ng/L | 0.9019 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-11-24 08:30 | 20153280158 | 0.8 | 2 | . | 1.68 | ng/L | 0.84 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-03-31 07:30 | 20160910145 | 0.8 | 2 | . | 1.99 | ng/L | 0.995 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-07-16 07:00 | 20151970169 | 0.8 | 2.0063 | . | 1.75 | ng/L | 0.87225 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-09-17 06:30 | 20152610010 | 0.8 | 2.0063 | . | 1.51 | ng/L | 0.75262 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-01-28 08:30 | 20160280054 | 0.8 | 2.0063 | . | 1.08 | ng/L | 0.5383 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-05-16 08:00 | 20131370002 | 0.8 | 2.0211 | . | 1.52 | ng/L | 0.75208 | AT | RCR |  | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-06-20 08:30 | 20131720019 | 0.8 | 2.0211 | . | 1.64 | ng/L | 0.81146 | AT | RCR |  | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-08-29 08:00 | 20132420003 | 0.8 | 2.0211 | . | 1.33 | ng/L | 0.65807 | AT | RCR |  | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-09-19 06:30 | 20132630005 | 0.8 | 2.0211 | . | 1.41 | ng/L | 0.69766 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-06-29 08:30 | 20161820010 | 0.8 | 2.0211 | . | 2.11 | ng/L | 1.044 | AT | RCR |  | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-07-13 08:30 | 20161960002 | 0.8 | 2.0211 | . | 1.78 | ng/L | 0.88073 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-11-16 08:00 | 20163220167 | 0.8 | 2.0211 | . | 1.82 | ng/L | 0.90052 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-03-17 09:00 | 20110770007 | 0.8 | 2.0513 | . | 1.46 | ng/L | 0.71175 | AT | JEM |  | 2011-05-09 | Crescent 162776: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-02-17 07:00 | 20110490039 | 0.8 | 2.0644 | . | 1.56 | ng/L | 0.75566 | AT | RCR |  | 2011-03-31 | Supelco LB77167: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-04-14 09:00 | 20111050148 | 0.8 | 2.0781 | . | 2.04 | ng/L | 0.98165 | AT | JEM |  | 2011-05-19 | Supelco LB77167: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-06-29 08:30 | 20111810006 | 0.8 | 2.1053 | . | 1.11 | ng/L | 0.52725 | AT | RCR |  | 2011-07-25 | Crescent 162776: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-07-28 09:00 | 20112100009 | 0.8 | 2.1053 | . | 1.48 | ng/L | 0.703 | AT | JEM |  | 2011-09-29 | Supelco LB77167: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-08-18 08:51 | 20112310028 | 0.8 | 2.1053 | . | 1.85 | ng/L | 0.87875 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-10-20 08:00 | 20112930083 | 0.8 | 2.1053 | . | 1.79 | ng/L | 0.85025 | AT | RCR |  | 2011-11-17 | Crescent 162776: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-02-09 08:00 | 20120400059 | 0.8 | 2.1053 | . | 2.14 | ng/L | 1.0165 | AT | RCR |  | 2012-04-04 | Supelco LB77167: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-03-01 09:00 | 20120620012 | 0.8 | 2.1053 | . | 2.34 | ng/L | 1.1115 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-03-22 08:00 | 20120830079 | 0.8 | 2.1053 | . | 2.28 | ng/L | 1.083 | AT | RCR |  | 2012-04-17 | Supelco LB77167: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-05-10 07:30 | 20121310026 | 0.8 | 2.1053 | . | 1.69 | ng/L | 0.80275 | AT | RCR |  | 2012-07-27 | Supelco LB77167: 25 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-11-19 09:00 | 20153230146 | 0.8 | 2.4 | . | 2.44 | ng/L | 1.0167 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-10-15 08:30 | 20152890008 | 0.8 | 2.4076 | . | 1.83 | ng/L | 0.7601 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-10-18 08:00 | 20122930150 | 0.8 | 3.1474 | . | 2.77 | ng/L | 0.8801 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-03-05 08:00 | 20130650006 | 0.8 | 3.1474 | . | 2.79 | ng/L | 0.88645 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-04-17 06:30 | 20141080003 | 0.8 | 3.1579 | . | 4 | ng/L | 1.2667 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-06-19 07:30 | 20141710107 | 0.8 | 3.1579 | . | 2.9 | ng/L | 0.91833 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-08-18 07:00 | 20142340163 | 0.8 | 3.1579 | . | 2.77 | ng/L | 0.87717 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-10-16 07:00 | 20142890075 | 0.8 | 3.1579 | . | 2.71 | ng/L | 0.85817 | AT | RCR |  | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-01-22 07:00 | 20150230030 | 0.8 | 3.1579 | . | 3.05 | ng/L | 0.96583 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2015-03-19 07:00 | 20150790010 | 0.8 | 3.1579 | . | 2.19 | ng/L | 0.6935 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-09-13 08:00 | 20122570124 | 0.8 | 3.1895 | . | 2.82 | ng/L | 0.88416 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-11-01 08:30 | 20123070009 | 0.8 | 3.1895 | . | 2.4 | ng/L | 0.75248 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-04-04 07:00 | 20130940099 | 0.8 | 3.1895 | . | 2.46 | ng/L | 0.77129 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-05-18 06:15 | 20161400193 | 0.8 | 3.3263 | . | 5.67 | ng/L | 1.7046 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-09-07 07:30 | 20162520002 | 0.8 | 3.3263 | . | 3.33 | ng/L | 1.0011 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2016-06-02 06:00 | 20161540125 | 0.8 | 3.3684 | . | 8.47 | ng/L | 2 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-10-31 07:00 | 20133050049 | 0.8 | 4.9895 | . | 3.49 | ng/L | 0.69947 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2013-12-19 07:30 | 20133540013 | 0.8 | 4.9895 | . | 4.21 | ng/L | 0.84378 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-03-13 08:00 | 20140730136 | 0.8 | 4.9895 | . | 4.58 | ng/L | 0.91793 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-02-13 08:00 | 20140440054 | 0.8 | 5.0526 | . | 3.38 | ng/L | 0.66896 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2014-01-23 07:30 | 20140230084 | 0.8 | 5.0526 | . | 4.12 | ng/L | 0.81542 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-06-07 08:00 | 20111590009 | 0.8 | 8.2525 | . | 7.71 | ng/L | 0.93426 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-01-20 08:00 | 20110210093 | 0.8 | 8.2919 | . | 7.41 | ng/L | 0.89365 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-05-12 08:00 | 20111330150 | 0.8 | 8.3091 | . | 7.6 | ng/L | 0.91466 | AT | JEM |  | 2011-06-07 | Supelco LB77167: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-09-01 09:30 | 20112450026 | 0.8 | 8.4211 | . | 7.47 | ng/L | 0.88706 | AT | RCR |  | 2011-10-13 | Supelco LB77167: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2011-11-17 07:30 | 20113220197 | 0.8 | 8.4211 | . | 6.64 | ng/L | 0.7885 | AT | RCR |  | 2012-01-27 | Supelco LB77167: 100 µl
4434 | 17-ALPHA-ESTRADIOL | 64528GM005 | 2012-01-19 08:30 | 20120200075 | 0.8 | 8.4211 | . | 7.78 | ng/L | 0.92388 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl