## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2014-10-16 07:00 | 20142890075 | 10 |  | < | 10 | ng/L |  | AT | RCR |  | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2014-10-09 06:30 | 20142820150 | 10 |  | < | 10 | ng/L |  | AT | RCR |  | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2014-11-06 06:30 | 20143110109 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2014-11-19 06:30 | 20143240098 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-02-12 06:30 | 20150430091 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-01-22 07:00 | 20150230030 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2014-12-31 06:00 | 20143650001 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-03-19 07:00 | 20150790010 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-04-23 07:00 | 20151140151 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-07-09 07:30 | 20151900131 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-07-30 09:30 | 20152110198 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-08-20 07:30 | 20152330045 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-10-01 08:30 | 20152750003 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-12-09 06:30 | 20153440002 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-11-05 09:00 | 20153090108 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-02-11 09:00 | 20160430110 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-03-24 07:00 | 20160840085 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-05-18 06:15 | 20161400193 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-06-02 06:00 | 20161540125 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-06-22 07:00 | 20161740282 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-06-29 08:30 | 20161820010 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-07-13 08:30 | 20161960002 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-07-20 07:30 | 20162020125 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-07-27 06:45 | 20162100009 | 10 |  | < | 10 | ng/L |  | AT | RCR | mc | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-10-05 08:00 | 20162800003 | 10 |  | < | 10 | ng/L |  | AT | TPE | mc | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-10-19 06:45 | 20162930166 | 10 |  | < | 10 | ng/L |  | AT | TPE | mc | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-11-16 08:00 | 20163220167 | 10 |  | < | 10 | ng/L |  | AT | TPE | mc | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-12-07 08:00 | 20163420126 | 10 | 65.7533 | R |  | ng/L |  |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-05-14 06:00 | 20151380010 | 10 | 14.9198 | E | 20 | ng/L | 1.3405 | AT | RCR | mc | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-05-28 06:30 | 20151480171 | 10 | 14.9198 | E | 13 | ng/L | 0.87133 | AT | RCR | mc | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-01-07 08:30 | 20160070058 | 10 | 14.9198 | E | 18 | ng/L | 1.2065 | AT | RCR | mc | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-05-21 07:00 | 20151410211 | 10 | 15 | E | 13 | ng/L | 0.86667 | AT | RCR | mc | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-08-06 08:30 | 20152190002 | 10 | 15 | E | 19 | ng/L | 1.2667 | AT | RCR | mc | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-09-03 08:30 | 20152460213 | 10 | 15 | E | 12 | ng/L | 0.8 | AT | RCR | mc | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-03-03 08:30 | 20160630047 | 10 | 15 | E | 12 | ng/L | 0.8 | AT | RCR | mc | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-02-25 08:30 | 20160560045 | 10 | 15 | E | 13 | ng/L | 0.86667 | AT | RCR | mc | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-08-17 08:00 | 20162300273 | 10 | 24.6575 | E | 23 | ng/L | 0.93278 | AT | TPE | mc | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-07-16 07:00 | 20151970169 | 10 | 24.8663 | E | 22 | ng/L | 0.88473 | AT | RCR | mc | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-09-17 06:30 | 20152610010 | 10 | 24.8663 | E | 27 | ng/L | 1.0858 | AT | RCR | @mc | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-01-28 08:30 | 20160280054 | 10 | 24.8663 | E | 29 | ng/L | 1.1662 | AT | RCR | mc | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-06-11 06:30 | 20151620181 | 10 | 25 | E | 11 | ng/L | 0.44 | AT | RCR | mc | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-11-24 08:30 | 20153280158 | 10 | 25 | E | 21 | ng/L | 0.84 | AT | RCR | *mc | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-03-31 07:30 | 20160910145 | 10 | 25 | E | 40 | ng/L | 1.6 | AT | RCR | mc | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-04-21 06:30 | 20161130024 | 10 | 25 | E | 16 | ng/L | 0.64 | AT | RCR | mc | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-10-15 08:30 | 20152890008 | 10 | 29.8396 | E | 41 | ng/L | 1.374 | AT | RCR | mc | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2015-11-19 09:00 | 20153230146 | 10 | 30 | E | 37 | ng/L | 1.2333 | AT | RCR | mc | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
4434 | 4,4^-BISPHENOL F | 51294GM005 | 2016-09-07 07:30 | 20162520002 | 10 | 41.0958 | E | 34 | ng/L | 0.82734 | AT | TPE | mc | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl