## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4434 | PROGESTERONE | 64543GM005 | 2011-01-20 08:00 | 20110210093 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2011-03-10 | Crescent 162776: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-02-17 07:00 | 20110490039 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2011-03-31 | Supelco LB77167: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-03-17 09:00 | 20110770007 | 8 |  | < | 8 | ng/L |  | AT | JEM | mc | 2011-05-09 | Crescent 162776: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-04-14 09:00 | 20111050148 | 8 |  | < | 8 | ng/L |  | AT | JEM | mc | 2011-05-19 | Supelco LB77167: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-05-12 08:00 | 20111330150 | 8 |  | < | 8 | ng/L |  | AT | JEM | mc | 2011-06-07 | Supelco LB77167: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-06-07 08:00 | 20111590009 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2011-06-23 | Crescent 162776: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-06-29 08:30 | 20111810006 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2011-07-25 | Crescent 162776: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-07-28 09:00 | 20112100009 | 8 |  | < | 8 | ng/L |  | AT | JEM | mc | 2011-09-29 | Supelco LB77167: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-08-18 08:51 | 20112310028 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2011-10-12 | Crescent 162776: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-09-01 09:30 | 20112450026 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2011-10-13 | Supelco LB77167: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-10-20 08:00 | 20112930083 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2011-11-17 | Crescent 162776: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-11-17 07:30 | 20113220197 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-01-27 | Supelco LB77167: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2012-01-19 08:30 | 20120200075 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-03-27 | Crescent 162776: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2012-02-09 08:00 | 20120400059 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-04-04 | Supelco LB77167: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-03-01 09:00 | 20120620012 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-04-06 | Crescent 162776: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-03-22 08:00 | 20120830079 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-04-17 | Supelco LB77167: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-05-10 07:30 | 20121310026 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-07-27 | Supelco LB77167: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-07-03 07:00 | 20121870005 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-08-29 | Spex Organics T1120525010: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-09-13 08:00 | 20122570124 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2012-11-01 08:30 | 20123070009 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2013-01-17 08:00 | 20130180026 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2013-03-05 08:00 | 20130650006 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2013-04-04 07:00 | 20130940099 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2013-06-20 08:30 | 20131720019 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-08-01 08:00 | 20132140004 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-09-19 06:30 | 20132630005 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-12-19 07:30 | 20133540013 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2014-02-13 08:00 | 20140440054 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2014-03-27 08:00 | 20140860105 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2014-03-13 08:00 | 20140730136 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2014-04-17 06:30 | 20141080003 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2014-04-24 08:00 | 20141150017 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-06-19 07:30 | 20141710107 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2014-09-10 06:30 | 20142530088 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-10-16 07:00 | 20142890075 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2014-12-31 06:00 | 20143650001 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-03-19 07:00 | 20150790010 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2015-07-16 07:00 | 20151970169 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2015-08-06 08:30 | 20152190002 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-09-03 08:30 | 20152460213 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-10-15 08:30 | 20152890008 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2015-11-24 08:30 | 20153280158 | 8 |  | < | 8 | ng/L |  | AT | RCR | *mc | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-01-07 08:30 | 20160070058 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-02-25 08:30 | 20160560045 | 8 |  | < | 8 | ng/L |  | AT | RCR | mc | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-03-31 07:30 | 20160910145 | 12 |  | < | 12 | ng/L |  | AT | RCR | mc | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-05-18 06:15 | 20161400193 | 12 |  | < | 12 | ng/L |  | AT | RCR | mc | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-06-02 06:00 | 20161540125 | 12 |  | < | 12 | ng/L |  | AT | RCR | mc | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-07-13 08:30 | 20161960002 | 12 |  | < | 12 | ng/L |  | AT | RCR | mc | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-10-05 08:00 | 20162800003 | 12 |  | < | 12 | ng/L |  | AT | TPE | mc | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-11-16 08:00 | 20163220167 | 12 |  | < | 12 | ng/L |  | AT | TPE | mc | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2011-11-29 08:00 | 20113340044 | 8 | 9.4737 | < | 8 | ng/L |  | AT | RCR | mc | 2012-01-27 | Abs 081810: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2015-05-14 06:00 | 20151380010 | 8 | 12 | < | 8 | ng/L |  | AT | RCR | mc | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-05-28 06:30 | 20151480171 | 8 | 12 | < | 8 | ng/L |  | AT | RCR | mc | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-05-21 07:00 | 20151410211 | 8 | 12 | < | 8 | ng/L |  | AT | RCR | mc | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-12-09 06:30 | 20153440002 | 8 | 12 | < | 8 | ng/L |  | AT | RCR | mc | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-03-03 08:30 | 20160630047 | 8 | 12 | < | 8 | ng/L |  | AT | RCR | mc | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-02-11 09:00 | 20160430110 | 8 | 12 | < | 8 | ng/L |  | AT | RCR | mc | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-04-23 07:00 | 20151140151 | 8 | 16.0421 | < | 8 | ng/L |  | AT | RCR | mc | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-06-11 06:30 | 20151620181 | 8 | 20 | < | 8 | ng/L |  | AT | RCR | mc | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-06-29 08:30 | 20161820010 | 12 | 20.2358 | < | 12 | ng/L |  | AT | RCR | mc | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2013-04-25 07:00 | 20131160077 | 8 | 25.2632 | R |  | ng/L |  |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-12-07 08:00 | 20163420126 | 12 | 53.888 | R |  | ng/L |  |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
4434 | PROGESTERONE | 64543GM005 | 2011-02-02 08:00 | 20110340010 | 8 | 9.3187 | E | 7.13 | ng/L | 0.76513 | AT | RCR | mnc | 2011-03-30 | Abs 081810: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-05-26 08:30 | 20111470069 | 8 | 9.3322 | E | 5.38 | ng/L | 0.5765 | AT | JEM | mnc | 2011-06-13 | Abs 081810: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-08-25 11:20 | 20112380057 | 8 | 9.4737 | E | 4.02 | ng/L | 0.42433 | AT | RCR | mnc | 2011-10-12 | Abs 081810: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-01-26 08:30 | 20120260027 | 8 | 9.4737 | E | 6.68 | ng/L | 0.70511 | AT | RCR | mnc | 2012-03-27 | Abs 081810: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-06-16 10:00 | 20111680031 | 8 | 10.3756 | E | 5.33 | ng/L | 0.51371 | AT | RCR | mnc | 2011-07-11 | Spex Organics T1100629008: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-01-06 07:30 | 20110070106 | 8 | 10.4406 | E | 6.02 | ng/L | 0.5766 | AT | RCR | mnc | 2011-03-10 | Spex Organics T1100629008: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-09-15 09:00 | 20112590006 | 8 | 10.5263 | E | 3.36 | ng/L | 0.3192 | AT | RCR | mnc | 2011-10-13 | Spex Organics T1100629008: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-11-03 08:00 | 20113080005 | 8 | 10.5263 | E | 3.66 | ng/L | 0.3477 | AT | RCR | mnc | 2011-11-28 | Spex Organics T1100629008: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-05-31 07:30 | 20121520253 | 8 | 10.5263 | E | 6.38 | ng/L | 0.6061 | AT | RCR | mnc | 2012-08-16 | Spex Organics T1100629008: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-11-20 08:30 | 20123260038 | 8 | 10.5263 | E | 4.03 | ng/L | 0.38285 | AT | RCR | mnc | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-12-13 07:30 | 20123490149 | 8 | 10.5263 | E | 5.04 | ng/L | 0.4788 | AT | RCR | mnc | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2013-03-21 07:30 | 20130810107 | 8 | 10.5263 | E | 7.71 | ng/L | 0.73245 | AT | RCR | mnc | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2011-04-28 08:00 | 20111190186 | 8 | 10.609 | E | 4.71 | ng/L | 0.44396 | AT | JEM | mnc | 2011-05-26 | Spex Organics T1100629008: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2013-05-16 08:00 | 20131370002 | 8 | 10.9895 | E | 4.97 | ng/L | 0.45225 | AT | RCR | mnc | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-06-06 08:30 | 20131580025 | 8 | 10.9895 | E | 2.5 | ng/L | 0.22749 | AT | RCR | mnc | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-08-29 08:00 | 20132420003 | 8 | 10.9895 | E | 3.28 | ng/L | 0.29847 | AT | RCR | mnc | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-08-21 08:00 | 20132340084 | 8 | 11.0539 | E | 4.23 | ng/L | 0.38267 | AT | RCR | mnc | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-10-24 08:00 | 20132980022 | 8 | 11.0539 | E | 2.93 | ng/L | 0.26507 | AT | RCR | mnc | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2013-11-21 07:30 | 20133260007 | 8 | 11.0539 | E | 3.47 | ng/L | 0.31392 | AT | RCR | mnc | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
4434 | PROGESTERONE | 64543GM005 | 2015-08-20 07:30 | 20152330045 | 8 | 12 | E | 4.62 | ng/L | 0.385 | AT | RCR | mnc | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-11-05 09:00 | 20153090108 | 8 | 12 | E | 4.32 | ng/L | 0.36 | AT | RCR | mnc | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2012-06-14 08:30 | 20121670019 | 8 | 12.6316 | E | 6.11 | ng/L | 0.48371 | AT | RCR | mnc | 2012-08-24 | Abs 051512: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-08-09 07:00 | 20122230020 | 8 | 12.6316 | E | 6.38 | ng/L | 0.50508 | AT | RCR | mnc | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2012-08-30 08:00 | 20122430224 | 8 | 12.6316 | E | 8.48 | ng/L | 0.67133 | AT | RCR | mc | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2013-02-19 08:30 | 20130510049 | 8 | 12.6316 | E | 5.34 | ng/L | 0.42275 | AT | RCR | mnc | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
4434 | PROGESTERONE | 64543GM005 | 2014-09-03 06:45 | 20142470037 | 8 | 15.9789 | E | 5.14 | ng/L | 0.32167 | AT | RCR | mnc | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-09-18 07:00 | 20142620040 | 8 | 15.9789 | E | 5.56 | ng/L | 0.34796 | AT | RCR | mnc | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-10-09 06:30 | 20142820150 | 8 | 15.9789 | E | 5.51 | ng/L | 0.34483 | AT | RCR | mnc | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-11-06 06:30 | 20143110109 | 8 | 15.9789 | E | 5.12 | ng/L | 0.32042 | AT | RCR | mnc | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-05-08 08:00 | 20141290003 | 8 | 16.0421 | E | 9.74 | ng/L | 0.60715 | AT | RCR | mc | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-05-22 07:30 | 20141420137 | 8 | 16.0421 | E | 10.8 | ng/L | 0.67323 | AT | RCR | mc | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-06-26 07:00 | 20141770146 | 8 | 16.0421 | E | 8.18 | ng/L | 0.50991 | AT | RCR | mc | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2014-08-07 07:30 | 20142200165 | 8 | 16.0421 | E | 7.81 | ng/L | 0.48684 | AT | RCR | mnc | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2015-07-09 07:30 | 20151900131 | 8 | 20 | E | 6.48 | ng/L | 0.324 | AT | RCR | mnc | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2015-07-30 09:30 | 20152110198 | 8 | 20 | E | 8.38 | ng/L | 0.419 | AT | RCR | mc | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2015-09-17 06:30 | 20152610010 | 8 | 20 | E | 12.8 | ng/L | 0.64 | AT | RCR | @mc | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-01-28 08:30 | 20160280054 | 8 | 20 | E | 12.3 | ng/L | 0.615 | AT | RCR | mc | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-03-24 07:00 | 20160840085 | 12 | 20 | E | 6.7 | ng/L | 0.335 | AT | RCR | mnc | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-04-21 06:30 | 20161130024 | 12 | 20 | E | 7.2 | ng/L | 0.36 | AT | RCR | mnc | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-08-17 08:00 | 20162300273 | 12 | 20.208 | E | 8.4 | ng/L | 0.41568 | AT | TPE | mnc | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-07-20 07:30 | 20162020125 | 12 | 20.2358 | E | 8.9 | ng/L | 0.43981 | AT | RCR | mnc | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-07-27 06:45 | 20162100009 | 12 | 20.2358 | E | 7.3 | ng/L | 0.36075 | AT | RCR | mnc | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2016-10-19 06:45 | 20162930166 | 12 | 20.2358 | E | 9.5 | ng/L | 0.46947 | AT | TPE | mnc | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
4434 | PROGESTERONE | 64543GM005 | 2012-10-18 08:00 | 20122930150 | 8 | 21.0526 | E | 9.32 | ng/L | 0.4427 | AT | RCR | mc | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2013-01-24 08:00 | 20130250063 | 8 | 21.0526 | E | 10.3 | ng/L | 0.48925 | AT | RCR | mc | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2015-10-01 08:30 | 20152750003 | 8 | 24 | E | 11.3 | ng/L | 0.47083 | AT | RCR | mc | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2015-11-19 09:00 | 20153230146 | 8 | 24 | E | 11.2 | ng/L | 0.46667 | AT | RCR | mc | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2012-10-04 08:00 | 20122790026 | 8 | 25.2632 | E | 10.4 | ng/L | 0.41167 | AT | RCR | mc | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2013-07-03 07:30 | 20131840103 | 8 | 27.4737 | E | 10.2 | ng/L | 0.37126 | AT | RCR | mc | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2014-01-02 06:30 | 20140030014 | 8 | 27.4737 | E | 11.4 | ng/L | 0.41494 | AT | RCR | mc | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2014-02-27 08:00 | 20140590012 | 8 | 27.4737 | E | 9.97 | ng/L | 0.36289 | AT | RCR | mc | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2013-10-31 07:00 | 20133050049 | 8 | 27.6347 | E | 7.83 | ng/L | 0.28334 | AT | RCR | mnc | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2014-01-23 07:30 | 20140230084 | 8 | 27.6347 | E | 7.75 | ng/L | 0.28044 | AT | RCR | mnc | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2014-07-10 07:00 | 20141910241 | 8 | 31.9579 | E | 16.2 | ng/L | 0.50692 | AT | RCR | mc | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2014-08-18 07:00 | 20142340163 | 8 | 31.9579 | E | 7.53 | ng/L | 0.23562 | AT | RCR | mnc | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2014-11-19 06:30 | 20143240098 | 8 | 31.9579 | E | 8.62 | ng/L | 0.26973 | AT | RCR | mc | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2015-01-22 07:00 | 20150230030 | 8 | 31.9579 | E | 6.07 | ng/L | 0.18994 | AT | RCR | mnc | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2014-05-29 07:00 | 20141490203 | 8 | 32.0842 | E | 10.8 | ng/L | 0.33661 | AT | RCR | mc | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2014-06-12 07:00 | 20141640082 | 8 | 32.0842 | E | 8.7 | ng/L | 0.27116 | AT | RCR | mc | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2015-02-12 06:30 | 20150430091 | 8 | 32.0842 | E | 9.8 | ng/L | 0.30545 | AT | RCR | mc | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
4434 | PROGESTERONE | 64543GM005 | 2016-09-07 07:30 | 20162520002 | 12 | 33.68 | E | 13.4 | ng/L | 0.39786 | AT | TPE | mc | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2016-06-22 07:00 | 20161740282 | 12 | 33.7263 | E | 19.3 | ng/L | 0.57225 | AT | RCR | mc | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
4434 | PROGESTERONE | 64543GM005 | 2011-08-04 10:00 | 20112170148 | 8 | 37.8947 | E | 19.4 | ng/L | 0.51194 | AT | JEM | mc | 2011-10-03 | Abs 081810: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2012-03-15 09:00 | 20120760110 | 8 | 37.8947 | E | 32.2 | ng/L | 0.84972 | AT | RCR | mc | 2012-04-17 | Abs 081810: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2012-04-12 07:30 | 20121040013 | 8 | 37.8947 | E | 35.4 | ng/L | 0.93417 | AT | RCR | mc | 2012-07-02 | Abs 081810: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-03-31 09:00 | 20110910087 | 8 | 38.1114 | E | 19.1 | ng/L | 0.50116 | AT | JEM | mc | 2011-05-09 | Abs 081810: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-03-03 08:00 | 20110620086 | 8 | 42.0875 | E | 17.8 | ng/L | 0.42293 | AT | RCR | mc | 2011-03-31 | Spex Organics T1100629008: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-07-14 10:00 | 20111950200 | 8 | 42.1053 | E | 25.1 | ng/L | 0.59612 | AT | JEM | mc | 2011-09-29 | Spex Organics T1100629008: 100 µl
4434 | PROGESTERONE | 64543GM005 | 2011-12-13 08:30 | 20113490064 | 8 | 42.1053 | E | 15.2 | ng/L | 0.361 | AT | RCR | mc | 2012-02-01 | Spex Organics T1100629008: 100 µl