## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4437 | ACETATE, ETHYL | 81585GM016 | 2014-05-01 07:00 | 20141220027 | 0.06 |  | . | 0.269 | ug/L |  | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-06-12 07:30 | 20141640079 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-07-17 06:30 | 20141990077 | 0.06 |  | . | 0.327 | ug/L |  | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-08-14 07:00 | 20142270004 | 0.06 |  | . | 1.02 | ug/L |  | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-09-10 07:00 | 20142530089 | 0.06 |  | . | 0.211 | ug/L |  | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-12-08 07:00 | 20143420011 | 0.06 |  | E | 0.167 | ug/L |  | T | dlr | v | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-03-12 06:30 | 20150720067 | 0.06 |  | E | 1.67 | ug/L |  | T | dlr | c | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-06-11 07:00 | 20151620183 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-06-18 07:30 | 20151690196 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-08-06 09:00 | 20152190008 | 0.06 |  | < | 0.06 | ug/L |  | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-09-17 07:30 | 20152610007 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-10-22 09:00 | 20152950080 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-11-10 09:00 | 20153160003 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-12-03 09:00 | 20153370176 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-01-21 08:30 | 20160210086 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-04-07 07:00 | 20160980153 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-06-15 07:30 | 20161680364 | 0.06 |  | . | 0.359 | ug/L |  | T | dlr |  | 2016-06-23
4437 | ACETATE, ETHYL | 81585GM016 | 2016-06-22 06:45 | 20161740256 | 0.06 |  | . | 0.974 | ug/L |  | T | dlr |  | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-08-10 06:45 | 20162230173 | 0.06 |  | < | 0.06 | ug/L |  | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-07-24 07:00 | 20142060044 | 0.06 | 0.12 | < | 0.06 | ug/L |  | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-05-14 06:30 | 20151380011 | 0.06 | 0.08982 | . | 0.065 | ug/L | 0.72367 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-12-30 09:00 | 20153640101 | 0.06 | 0.08982 | . | 0.086 | ug/L | 0.95747 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-02-04 09:00 | 20160350048 | 0.06 | 0.08982 | . | 0.077 | ug/L | 0.85727 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-04-30 08:30 | 20151210034 | 0.06 | 0.09 | . | 0.094 | ug/L | 1.0444 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-12-09 07:30 | 20153440004 | 0.06 | 0.09 | . | 0.1 | ug/L | 1.1111 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-03-17 08:30 | 20160770091 | 0.06 | 0.09 | . | 0.105 | ug/L | 1.1667 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-05-16 07:00 | 20141360093 | 0.06 | 0.12 | . | 0.181 | ug/L | 1.5083 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-11-19 07:00 | 20143240096 | 0.06 | 0.12 | E | 0.978 | ug/L | 2 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-09-04 07:30 | 20142480010 | 0.06 | 0.1202 | . | 0.793 | ug/L | 2 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-10-16 07:30 | 20142890079 | 0.06 | 0.1202 | E | 0.412 | ug/L | 2 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-04-16 07:30 | 20151110020 | 0.06 | 0.1202 | . | 0.1 | ug/L | 0.83195 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-09-03 09:00 | 20152460214 | 0.06 | 0.13473 | . | 0.125 | ug/L | 0.92778 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-11-24 09:00 | 20153280159 | 0.06 | 0.13473 | . | 0.136 | ug/L | 1.0094 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-05-07 08:00 | 20151270113 | 0.06 | 0.135 | . | 0.156 | ug/L | 1.1556 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-07-23 07:30 | 20152040180 | 0.06 | 0.135 | . | 0.114 | ug/L | 0.84444 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-08-20 08:00 | 20152330040 | 0.06 | 0.135 | . | 0.107 | ug/L | 0.79259 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-04-28 07:30 | 20161190073 | 0.06 | 0.135 | . | 0.143 | ug/L | 1.0593 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-06-02 06:30 | 20161540129 | 0.06 | 0.15 | . | 0.166 | ug/L | 1.1067 | T | dlr |  | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-06-29 07:30 | 20161820012 | 0.06 | 0.15 | . | 0.155 | ug/L | 1.0333 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-05-13 06:05 | 20161340231 | 0.06 | 0.1503 | . | 0.217 | ug/L | 1.4438 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-07-20 07:00 | 20162020127 | 0.06 | 0.1503 | . | 0.436 | ug/L | 2 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-06-25 07:00 | 20151760209 | 0.06 | 0.22455 | . | 0.217 | ug/L | 0.96638 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-10-01 09:00 | 20152750005 | 0.06 | 0.22455 | . | 0.179 | ug/L | 0.79715 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-10-08 08:30 | 20152810127 | 0.06 | 0.225 | . | 0.22 | ug/L | 0.97778 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-05-29 07:30 | 20141490200 | 0.06 | 0.24 | . | 0.06 | ug/L | 0.25 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-06-05 07:30 | 20141570087 | 0.06 | 0.24 | . | 1.31 | ug/L | 2 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-06-26 07:30 | 20141770148 | 0.06 | 0.24 | . | 0.07 | ug/L | 0.29167 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-07-02 07:30 | 20141840102 | 0.06 | 0.24 | . | 0.314 | ug/L | 1.3083 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2014-08-07 08:00 | 20142200169 | 0.06 | 0.2404 | . | 0.645 | ug/L | 2 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2015-01-08 07:00 | 20150090092 | 0.06 | 0.2404 | E | 0.326 | ug/L | 1.3561 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-05-18 06:30 | 20161400192 | 0.06 | 0.25 | . | 0.317 | ug/L | 1.268 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-07-13 07:30 | 20161960008 | 0.06 | 0.25 | . | 1.6 | ug/L | 2 | T | dlr |  | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-08-02 07:00 | 20162150211 | 0.06 | 0.25 | . | 0.19 | ug/L | 0.76 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-07-06 06:30 | 20161880112 | 0.06 | 0.4 | . | 0.425 | ug/L | 1.0625 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
4437 | ACETATE, ETHYL | 81585GM016 | 2016-07-27 06:15 | 20162100018 | 0.06 | 0.4 | . | 0.363 | ug/L | 0.9075 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl