## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-05-16 07:00 | 20141360093 | 0.8 |  | . | 0.59 | ug/L |  | T | dlr | n | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-06-05 07:30 | 20141570087 | 0.8 |  | . | 0.6 | ug/L |  | T | dlr | n | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-07-02 07:30 | 20141840102 | 0.8 |  | < | 0.8 | ug/L |  | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-08-07 08:00 | 20142200169 | 0.8 |  | < | 0.8 | ug/L |  | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-09-04 07:30 | 20142480010 | 0.8 |  | < | 0.8 | ug/L |  | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-10-16 07:30 | 20142890079 | 0.6 |  | . | 0.63 | ug/L |  | T | dlr | b | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-11-19 07:00 | 20143240096 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-05-07 08:00 | 20151270113 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-05-14 06:30 | 20151380011 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-06-25 07:00 | 20151760209 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-08-20 08:00 | 20152330040 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-10-01 09:00 | 20152750005 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-11-10 09:00 | 20153160003 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-12-09 07:30 | 20153440004 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-02-04 09:00 | 20160350048 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-04-28 07:30 | 20161190073 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-06-02 06:30 | 20161540129 | 0.6 |  | . | 12.4 | ug/L |  | T | dlr |  | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-06-22 06:45 | 20161740256 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-07-13 07:30 | 20161960008 | 0.6 |  | < | 0.6 | ug/L |  | T | dlr |  | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-04-30 08:30 | 20151210034 | 0.6 | 0.9 | . | 0.97 | ug/L | 1.0778 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-08-06 09:00 | 20152190008 | 0.6 | 0.9 | . | 0.73 | ug/L | 0.81111 | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-10-22 09:00 | 20152950080 | 0.6 | 0.9 | . | 0.87 | ug/L | 0.96667 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-12-30 09:00 | 20153640101 | 0.6 | 0.9 | . | 1.21 | ug/L | 1.3444 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-04-07 07:00 | 20160980153 | 0.6 | 0.9 | . | 1.2 | ug/L | 1.3333 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-12-03 09:00 | 20153370176 | 0.6 | 0.904 | . | 0.95 | ug/L | 1.0509 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-03-17 08:30 | 20160770091 | 0.6 | 0.904 | . | 1.25 | ug/L | 1.3827 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-09-17 07:30 | 20152610007 | 0.6 | 1.35 | . | 1.26 | ug/L | 0.93333 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-11-24 09:00 | 20153280159 | 0.6 | 1.35 | . | 1.21 | ug/L | 0.8963 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-06-11 07:00 | 20151620183 | 0.6 | 1.356 | . | 1.17 | ug/L | 0.86283 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-07-23 07:30 | 20152040180 | 0.6 | 1.356 | . | 1.15 | ug/L | 0.84808 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-09-03 09:00 | 20152460214 | 0.6 | 1.356 | . | 1.27 | ug/L | 0.93658 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-07-20 07:00 | 20162020127 | 0.6 | 1.5 | . | 1.22 | ug/L | 0.81333 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-05-13 06:05 | 20161340231 | 0.6 | 1.503 | . | 2.29 | ug/L | 1.5236 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-06-15 07:30 | 20161680364 | 0.6 | 1.503 | E | 1.04 | ug/L | 0.69195 | T | dlr | i | 2016-06-23
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-06-29 07:30 | 20161820012 | 0.6 | 1.503 | . | 11.9 | ug/L | 2 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-08-10 06:45 | 20162230173 | 0.6 | 1.503 | . | 1.42 | ug/L | 0.94478 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-06-12 07:30 | 20141640079 | 0.8 | 1.6 | . | 2.05 | ug/L | 1.2812 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-07-24 07:00 | 20142060044 | 0.8 | 1.6 | . | 1.98 | ug/L | 1.2375 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-09-10 07:00 | 20142530089 | 0.8 | 1.6 | . | 1.96 | ug/L | 1.225 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-12-08 07:00 | 20143420011 | 0.6 | 1.6 | . | 1.7 | ug/L | 1.0625 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-04-16 07:30 | 20151110020 | 0.6 | 1.6 | . | 1.41 | ug/L | 0.88125 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-06-18 07:30 | 20151690196 | 0.6 | 2.26 | . | 1.93 | ug/L | 0.85398 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-10-08 08:30 | 20152810127 | 0.6 | 2.26 | . | 2.26 | ug/L | 1 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-01-21 08:30 | 20160210086 | 0.6 | 2.26 | . | 2.18 | ug/L | 0.9646 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-05-18 06:30 | 20161400192 | 0.6 | 2.5 | . | 3.08 | ug/L | 1.232 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-08-02 07:00 | 20162150211 | 0.6 | 2.5 | . | 22.6 | ug/L | 2 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-05-01 07:00 | 20141220027 | 0.8 | 3.2 | . | 3.41 | ug/L | 1.0656 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-05-29 07:30 | 20141490200 | 0.8 | 3.2 | . | 3.71 | ug/L | 1.1594 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-06-26 07:30 | 20141770148 | 0.8 | 3.2 | . | 3.52 | ug/L | 1.1 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-07-17 06:30 | 20141990077 | 0.8 | 3.2 | . | 3.55 | ug/L | 1.1094 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2014-08-14 07:00 | 20142270004 | 0.8 | 3.2 | . | 3.63 | ug/L | 1.1344 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-01-08 07:00 | 20150090092 | 0.6 | 3.2 | . | 3.84 | ug/L | 1.2 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2015-03-12 06:30 | 20150720067 | 0.6 | 3.2 | . | 3.31 | ug/L | 1.0344 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-07-27 06:15 | 20162100018 | 0.6 | 4 | . | 4.11 | ug/L | 1.0275 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
4437 | ISOPROPYL ALCOHOL | 77015GM016 | 2016-07-06 06:30 | 20161880112 | 0.6 | 4.008 | . | 4.18 | ug/L | 1.0429 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl