## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-05-01 07:00 | 20141220027 | 0.012 |  | < | 0.0269 | ug/L |  | T | dlr | ic | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-06-12 07:30 | 20141640079 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-08-14 07:00 | 20142270004 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-12-08 07:00 | 20143420011 | 0.012 |  | < | 0.0154 | ug/L |  | T | dlr | i | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-03-12 06:30 | 20150720067 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-06-11 07:00 | 20151620183 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-06-18 07:30 | 20151690196 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-08-06 09:00 | 20152190008 | 0.012 |  | < | 0.012 | ug/L |  | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-09-17 07:30 | 20152610007 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-10-22 09:00 | 20152950080 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-11-10 09:00 | 20153160003 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-12-03 09:00 | 20153370176 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-01-21 08:30 | 20160210086 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-04-07 07:00 | 20160980153 | 0.012 |  | < | 0.012 | ug/L |  | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-06-02 06:30 | 20161540129 | 0.012 |  | . | 0.018 | ug/L |  | T | dlr |  | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-06-22 06:45 | 20161740256 | 0.012 |  | < | 0.0146 | ug/L |  | T | dlr | ic | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-07-13 07:30 | 20161960008 | 0.012 |  | < | 0.02 | ug/L |  | T | dlr | ic | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-05-14 06:30 | 20151380011 | 0.012 | 0.01798 | < | 0.0203 | ug/L |  | T | dlr | ic | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-08-20 08:00 | 20152330040 | 0.012 | 0.027 | < | 0.0251 | ug/L |  | T | dlr | ic | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-07-20 07:00 | 20162020127 | 0.012 | 0.03 | < | 0.0392 | ug/L |  | T | dlr | i | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-01-08 07:00 | 20150090092 | 0.012 | 0.0476 | < | 0.0488 | ug/L |  | T | dlr | c | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-12-30 09:00 | 20153640101 | 0.012 | 0.01798 | . | 0.0186 | ug/L | 1.0345 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-02-04 09:00 | 20160350048 | 0.012 | 0.01798 | . | 0.0171 | ug/L | 0.95106 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-04-30 08:30 | 20151210034 | 0.012 | 0.018 | . | 0.021 | ug/L | 1.1667 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-12-09 07:30 | 20153440004 | 0.012 | 0.018 | . | 0.019 | ug/L | 1.0556 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-03-17 08:30 | 20160770091 | 0.012 | 0.018 | . | 0.0221 | ug/L | 1.2278 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-09-04 07:30 | 20142480010 | 0.012 | 0.0238 | . | 0.0251 | ug/L | 1.0546 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-10-16 07:30 | 20142890079 | 0.012 | 0.0238 | . | 0.0397 | ug/L | 1.6681 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-04-16 07:30 | 20151110020 | 0.012 | 0.0238 | . | 0.0271 | ug/L | 1.1387 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-05-16 07:00 | 20141360093 | 0.012 | 0.024 | . | 0.0361 | ug/L | 1.5042 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-07-24 07:00 | 20142060044 | 0.012 | 0.024 | . | 0.0207 | ug/L | 0.8625 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-11-19 07:00 | 20143240096 | 0.012 | 0.024 | . | 0.0215 | ug/L | 0.89583 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-09-03 09:00 | 20152460214 | 0.012 | 0.02697 | . | 0.0257 | ug/L | 0.95291 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-11-24 09:00 | 20153280159 | 0.012 | 0.02697 | . | 0.026 | ug/L | 0.96403 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-05-07 08:00 | 20151270113 | 0.012 | 0.027 | . | 0.0328 | ug/L | 1.2148 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-07-23 07:30 | 20152040180 | 0.012 | 0.027 | . | 0.0312 | ug/L | 1.1556 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-04-28 07:30 | 20161190073 | 0.012 | 0.027 | . | 0.0301 | ug/L | 1.1148 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-05-13 06:05 | 20161340231 | 0.012 | 0.02997 | . | 0.037 | ug/L | 1.2346 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-06-15 07:30 | 20161680364 | 0.012 | 0.02997 | . | 0.0356 | ug/L | 1.1879 | T | dlr |  | 2016-06-23
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-06-29 07:30 | 20161820012 | 0.012 | 0.02997 | . | 0.0403 | ug/L | 1.3447 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-08-10 06:45 | 20162230173 | 0.012 | 0.02997 | . | 0.0286 | ug/L | 0.95429 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-06-25 07:00 | 20151760209 | 0.012 | 0.04495 | . | 0.0437 | ug/L | 0.97219 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-10-01 09:00 | 20152750005 | 0.012 | 0.04495 | . | 0.0422 | ug/L | 0.93882 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2015-10-08 08:30 | 20152810127 | 0.012 | 0.045 | . | 0.0495 | ug/L | 1.1 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-08-07 08:00 | 20142200169 | 0.012 | 0.0476 | . | 0.0773 | ug/L | 1.6239 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-05-29 07:30 | 20141490200 | 0.012 | 0.048 | . | 0.0466 | ug/L | 0.97083 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-06-05 07:30 | 20141570087 | 0.012 | 0.048 | . | 0.0469 | ug/L | 0.97708 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-06-26 07:30 | 20141770148 | 0.012 | 0.048 | . | 0.0527 | ug/L | 1.0979 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2014-07-02 07:30 | 20141840102 | 0.012 | 0.048 | . | 0.0642 | ug/L | 1.3375 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-05-18 06:30 | 20161400192 | 0.012 | 0.05 | . | 0.0701 | ug/L | 1.402 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-08-02 07:00 | 20162150211 | 0.012 | 0.05 | . | 0.0806 | ug/L | 1.612 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-07-06 06:30 | 20161880112 | 0.012 | 0.07992 | . | 0.0886 | ug/L | 1.1086 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
4437 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GM016 | 2016-07-27 06:15 | 20162100018 | 0.012 | 0.08 | . | 0.111 | ug/L | 1.3875 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl