## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-04-24 07:00 | 20141150020 | 0.032 |  | < | 0.032 | ug/L |  | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-05-29 08:00 | 20141490202 | 0.032 |  | < | 0.032 | ug/L |  | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-06-26 08:00 | 20141770147 | 0.032 |  | < | 0.032 | ug/L |  | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-07-24 07:30 | 20142060045 | 0.032 |  | < | 0.032 | ug/L |  | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-09-03 07:15 | 20142470038 | 0.032 |  | < | 0.032 | ug/L |  | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-09-25 07:30 | 20142720027 | 0.032 |  | < | 0.032 | ug/L |  | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-11-06 07:30 | 20143110111 | 0.032 |  | < | 0.032 | ug/L |  | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-01-08 07:30 | 20150090093 | 0.032 |  | < | 0.032 | ug/L |  | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-04-02 06:30 | 20150930003 | 0.032 |  | < | 0.032 | ug/L |  | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-05-07 07:30 | 20151270114 | 0.032 |  | < | 0.032 | ug/L |  | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-04-30 08:00 | 20151210035 | 0.032 |  | < | 0.032 | ug/L |  | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-05-14 07:00 | 20151380012 | 0.032 |  | < | 0.032 | ug/L |  | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-08-13 09:30 | 20152250274 | 0.032 |  | < | 0.032 | ug/L |  | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-11-05 09:30 | 20153090111 | 0.032 |  | < | 0.032 | ug/L |  | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-12-17 08:30 | 20153510114 | 0.032 |  | < | 0.032 | ug/L |  | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-02-18 09:00 | 20160490036 | 0.032 |  | < | 0.032 | ug/L |  | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-03-31 06:00 | 20160910143 | 0.032 |  | < | 0.032 | ug/L |  | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-05-05 07:30 | 20161260157 | 0.032 |  | < | 0.032 | ug/L |  | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-05-13 06:10 | 20161340232 | 0.032 |  | < | 0.032 | ug/L |  | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-06-15 07:00 | 20161680363 | 0.032 |  | < | 0.032 | ug/L |  | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-07-06 06:15 | 20161880113 | 0.032 |  | < | 0.032 | ug/L |  | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-07-27 06:00 | 20162100019 | 0.032 |  | < | 0.032 | ug/L |  | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-08-17 07:00 | 20162300276 | 0.032 |  | < | 0.032 | ug/L |  | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-09-07 06:30 | 20162520004 | 0.032 |  | < | 0.032 | ug/L |  | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-10-05 07:00 | 20162800001 | 0.032 |  | < | 0.032 | ug/L |  | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-12-07 07:00 | 20163420128 | 0.032 |  | < | 0.032 | ug/L |  | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-08-27 09:30 | 20152390224 | 0.032 | 0.048 | E | 0.0368 | ug/L | 0.76667 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-12-09 08:00 | 20153440003 | 0.032 | 0.048 | . | 0.0426 | ug/L | 0.8875 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-01-14 09:00 | 20160140041 | 0.032 | 0.048 | . | 0.0359 | ug/L | 0.74792 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-03-17 09:00 | 20160770093 | 0.032 | 0.048 | . | 0.0391 | ug/L | 0.81458 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-06-18 08:00 | 20151690197 | 0.032 | 0.0482 | . | 0.0602 | ug/L | 1.249 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-07-23 08:00 | 20152040181 | 0.032 | 0.0482 | . | 0.0558 | ug/L | 1.1577 | D | kas | @c | 2015-08-07 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-11-19 09:30 | 20153230147 | 0.032 | 0.0482 | . | 0.0597 | ug/L | 1.2386 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-05-01 07:30 | 20141220028 | 0.032 | 0.064 | . | 0.0627 | ug/L | 0.97969 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-05-16 07:30 | 20141360092 | 0.032 | 0.064 | . | 0.0629 | ug/L | 0.98281 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-06-12 08:00 | 20141640078 | 0.032 | 0.064 | . | 0.0751 | ug/L | 1.1734 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-07-02 08:00 | 20141840101 | 0.032 | 0.064 | . | 0.0665 | ug/L | 1.0391 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-07-17 07:00 | 20141990078 | 0.032 | 0.064 | . | 0.0637 | ug/L | 0.99531 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-09-04 08:00 | 20142480009 | 0.032 | 0.064 | . | 0.0689 | ug/L | 1.0766 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-10-16 08:00 | 20142890080 | 0.032 | 0.064 | . | 0.0735 | ug/L | 1.1484 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-10-30 07:30 | 20143030098 | 0.032 | 0.064 | . | 0.0716 | ug/L | 1.1187 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-05-28 07:30 | 20151480172 | 0.032 | 0.072 | . | 0.0629 | ug/L | 0.87361 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-10-15 09:00 | 20152890011 | 0.032 | 0.072 | . | 0.0584 | ug/L | 0.81111 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-10-29 09:00 | 20153030066 | 0.032 | 0.072 | . | 0.0664 | ug/L | 0.92222 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-10-08 09:00 | 20152810126 | 0.032 | 0.0723 | . | 0.0912 | ug/L | 1.2614 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-01-28 09:00 | 20160280060 | 0.032 | 0.0723 | . | 0.0789 | ug/L | 1.0913 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-03-03 09:00 | 20160630052 | 0.032 | 0.0723 | . | 0.0802 | ug/L | 1.1093 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-04-14 07:00 | 20161050145 | 0.032 | 0.0723 | . | 0.104 | ug/L | 1.4385 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-05-25 06:10 | 20161470002 | 0.032 | 0.0807 | . | 0.0865 | ug/L | 1.0719 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-10-12 06:30 | 20162860092 | 0.032 | 0.0807 | . | 0.083 | ug/L | 1.0285 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-06-08 06:00 | 20161600091 | 0.032 | 0.081 | . | 0.073 | ug/L | 0.90123 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-06-29 07:00 | 20161820011 | 0.032 | 0.081 | . | 0.0868 | ug/L | 1.0716 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-09-21 06:30 | 20162660007 | 0.032 | 0.081 | . | 0.0884 | ug/L | 1.0914 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-11-21 07:00 | 20163280006 | 0.032 | 0.081 | . | 0.0864 | ug/L | 1.0667 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-07-01 08:00 | 20151820110 | 0.032 | 0.12 | . | 0.102 | ug/L | 0.85 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-06-11 07:30 | 20151620184 | 0.032 | 0.1205 | . | 0.104 | ug/L | 0.86307 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-09-17 08:00 | 20152610008 | 0.032 | 0.1205 | . | 0.117 | ug/L | 0.97095 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-06-05 08:00 | 20141570084 | 0.032 | 0.128 | . | 0.128 | ug/L | 1 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-08-07 08:30 | 20142200168 | 0.032 | 0.128 | . | 0.12 | ug/L | 0.9375 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-08-14 07:30 | 20142270005 | 0.032 | 0.128 | . | 0.122 | ug/L | 0.95312 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-09-10 07:30 | 20142530090 | 0.032 | 0.128 | . | 0.165 | ug/L | 1.2891 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-11-19 07:30 | 20143240097 | 0.032 | 0.128 | . | 0.132 | ug/L | 1.0312 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2014-12-08 07:30 | 20143420010 | 0.032 | 0.128 | . | 0.121 | ug/L | 0.94531 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-02-19 07:30 | 20150510046 | 0.032 | 0.128 | . | 0.131 | ug/L | 1.0234 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2015-03-12 07:00 | 20150720068 | 0.032 | 0.128 | . | 0.132 | ug/L | 1.0312 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-08-31 06:30 | 20162440115 | 0.032 | 0.1345 | . | 0.114 | ug/L | 0.84758 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-11-16 07:00 | 20163220168 | 0.032 | 0.1345 | . | 0.118 | ug/L | 0.87732 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-06-22 06:30 | 20161740255 | 0.032 | 0.135 | . | 0.141 | ug/L | 1.0444 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-08-10 06:30 | 20162230172 | 0.032 | 0.135 | . | 0.133 | ug/L | 0.98519 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-08-24 06:15 | 20162380006 | 0.032 | 0.135 | . | 0.128 | ug/L | 0.94815 | A | dlr |  | 2016-08-31 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-07-20 06:45 | 20162020126 | 0.032 | 0.2152 | . | 0.183 | ug/L | 0.85037 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-08-02 06:30 | 20162150210 | 0.032 | 0.2152 | E | 0.162 | ug/L | 0.75279 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
4440 | ETHYL TERT-BUTYL ETHER | 50004GCM66 | 2016-12-14 07:00 | 20163500004 | 0.032 | 0.216 | . | 0.202 | ug/L | 0.93519 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl