## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4440 | METHYL IODIDE | 77424GCM66 | 2014-04-24 07:00 | 20141150020 | 0.26 |  | E | 0.195 | ug/L |  | D | ahe | mnc | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-05-29 08:00 | 20141490202 | 0.26 |  | < | 0.26 | ug/L |  | A | dlr | mc | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-06-26 08:00 | 20141770147 | 0.26 |  | E | 0.428 | ug/L |  | D | ahe | bmc | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-07-24 07:30 | 20142060045 | 0.26 |  | E | 0.251 | ug/L |  | D | ahe | mnc | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-09-03 07:15 | 20142470038 | 0.26 |  | E | 0.283 | ug/L |  | D | dlr | +mc | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-09-25 07:30 | 20142720027 | 0.34 |  | E | 0.164 | ug/L |  | D | dlr | mnc | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-11-06 07:30 | 20143110111 | 0.34 |  | E | 0.335 | ug/L |  | D | dlr | mnc | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-01-08 07:30 | 20150090093 | 0.34 |  | E | 0.136 | ug/L |  | D | KAS | mtc | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-04-02 06:30 | 20150930003 | 0.34 |  | E | 0.324 | ug/L |  | D | mgu | mnc | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-05-28 07:30 | 20151480172 | 0.34 |  | < | 0.34 | ug/L |  | A | lmu | mc | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-07-01 08:00 | 20151820110 | 0.34 |  | E | 0.189 | ug/L |  | D | kas | bmn | 2015-07-18 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-07-23 08:00 | 20152040181 | 0.34 |  | E | 0.214 | ug/L |  | D | kas | mnc | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-09-17 08:00 | 20152610008 | 0.34 |  | < | 0.34 | ug/L |  | A | KAS | mc | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-10-15 09:00 | 20152890011 | 0.34 |  | < | 0.34 | ug/L |  | D | kas | mc | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-11-19 09:30 | 20153230147 | 0.34 |  | < | 0.34 | ug/L |  | D | kas | mc | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-01-14 09:00 | 20160140041 | 0.34 |  | E | 0.149 | ug/L |  | D | kas | mtc | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-03-03 09:00 | 20160630052 | 0.34 |  | E | 0.23 | ug/L |  | D | lmu | bmn | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-05-13 06:10 | 20161340232 | 0.34 |  | < | 0.34 | ug/L |  | A | lmu | mc | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-06-15 07:00 | 20161680363 | 0.34 |  | < | 0.34 | ug/L |  | D | dlr | mc | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-07-06 06:15 | 20161880113 | 0.34 |  | < | 0.34 | ug/L |  | D | kas | mc | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-07-27 06:00 | 20162100019 | 0.34 |  | < | 0.34 | ug/L |  | A | kas | mc | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-08-17 07:00 | 20162300276 | 0.34 |  | < | 0.34 | ug/L |  | D | kas | mc | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-09-07 06:30 | 20162520004 | 0.34 |  | < | 0.34 | ug/L |  | D | kas | mc | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-10-05 07:00 | 20162800001 | 0.34 |  | < | 0.34 | ug/L |  | A | dlr | mc | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-12-07 07:00 | 20163420128 | 0.34 |  | < | 0.34 | ug/L |  | A | dlr | mc | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-06-18 08:00 | 20151690197 | 0.34 | 0.502 | E | 0.481 | ug/L | 0.95817 | D | kas | mc | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-04-30 08:00 | 20151210035 | 0.34 | 0.502 | E | 0.54 | ug/L | 1.0757 | A | mgu | mc | 2015-06-29 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-12-09 08:00 | 20153440003 | 0.34 | 0.502 | E | 0.492 | ug/L | 0.98008 | A | kas | mc | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-03-17 09:00 | 20160770093 | 0.34 | 0.502 | E | 0.407 | ug/L | 0.81076 | D | lmu | mc | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-05-05 07:30 | 20161260157 | 0.34 | 0.502 | E | 0.53 | ug/L | 1.0558 | A | kas | mc | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-07-02 08:00 | 20141840101 | 0.26 | 0.52 | E | 0.37 | ug/L | 0.71154 | D | dlr | bmc | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-07-17 07:00 | 20141990078 | 0.26 | 0.52 | E | 0.523 | ug/L | 1.0058 | D | ahe | mc | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-09-04 08:00 | 20142480009 | 0.26 | 0.52 | E | 0.72 | ug/L | 1.3846 | D | dlr | mc | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-10-30 07:30 | 20143030098 | 0.34 | 0.52 | E | 0.202 | ug/L | 0.38846 | D | dlr | bmn | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-05-14 07:00 | 20151380012 | 0.34 | 0.52 | E | 0.678 | ug/L | 1.3038 | A | lmu | mc | 2015-06-04 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-08-27 09:30 | 20152390224 | 0.34 | 0.52 | E | 0.556 | ug/L | 1.0692 | D | mgu | mc | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-11-05 09:30 | 20153090111 | 0.34 | 0.52 | E | 0.527 | ug/L | 1.0135 | D | kas | @mc | 2015-11-20 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-02-18 09:00 | 20160490036 | 0.34 | 0.52 | E | 0.585 | ug/L | 1.125 | D | kas | mc | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-05-01 07:30 | 20141220028 | 0.26 | 0.5204 | E | 0.178 | ug/L | 0.34204 | D | dlr | mnc | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-05-16 07:30 | 20141360092 | 0.26 | 0.5204 | E | 0.604 | ug/L | 1.1606 | A | dlr | mc | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-06-12 08:00 | 20141640078 | 0.26 | 0.5204 | E | 0.469 | ug/L | 0.90123 | D | lmu | mc | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-10-16 08:00 | 20142890080 | 0.34 | 0.5204 | E | 0.348 | ug/L | 0.66872 | D | dlr | mc | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-12-17 08:30 | 20153510114 | 0.34 | 0.753 | E | 0.777 | ug/L | 1.0319 | D | kas | mc | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-03-31 06:00 | 20160910143 | 0.34 | 0.753 | E | 0.664 | ug/L | 0.88181 | D | lmu | mc | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-05-07 07:30 | 20151270114 | 0.34 | 0.78 | E | 0.908 | ug/L | 1.1641 | A | mgu | mc | 2015-06-29 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-10-08 09:00 | 20152810126 | 0.34 | 0.78 | E | 0.822 | ug/L | 1.0538 | D | kas | mc | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-10-29 09:00 | 20153030066 | 0.34 | 0.78 | E | 0.704 | ug/L | 0.90256 | D | kas | mc | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-01-28 09:00 | 20160280060 | 0.34 | 0.78 | E | 0.697 | ug/L | 0.89359 | D | kas | mc | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-04-14 07:00 | 20161050145 | 0.34 | 0.78 | E | 1.39 | ug/L | 1.7821 | D | kas | mc | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-05-25 06:10 | 20161470002 | 0.34 | 0.849 | E | 0.791 | ug/L | 0.93168 | A | lmu | mc | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-06-08 06:00 | 20161600091 | 0.34 | 0.849 | E | 0.537 | ug/L | 0.63251 | D | dlr | mc | 2016-06-15 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-06-29 07:00 | 20161820011 | 0.34 | 0.849 | E | 0.984 | ug/L | 1.159 | D | kas | mc | 2016-07-06 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-09-21 06:30 | 20162660007 | 0.34 | 0.849 | E | 0.971 | ug/L | 1.1437 | A | jco | mc | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-10-12 06:30 | 20162860092 | 0.34 | 0.849 | E | 0.86 | ug/L | 1.013 | A | dlr | mc | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-11-21 07:00 | 20163280006 | 0.34 | 0.849 | E | 0.97 | ug/L | 1.1425 | A | jco | mc | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-08-07 08:30 | 20142200168 | 0.26 | 1.04 | E | 0.831 | ug/L | 0.79904 | D | dlr | mc | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-08-14 07:30 | 20142270005 | 0.26 | 1.04 | E | 0.817 | ug/L | 0.78558 | D | lmu | mc | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-11-19 07:30 | 20143240097 | 0.34 | 1.04 | E | 0.798 | ug/L | 0.76731 | D | dlr | mc | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-03-12 07:00 | 20150720068 | 0.34 | 1.04 | E | 0.949 | ug/L | 0.9125 | D | KAS | mc | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-06-05 08:00 | 20141570084 | 0.26 | 1.0408 | E | 1.32 | ug/L | 1.2683 | A | dlr | mc | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-09-10 07:30 | 20142530090 | 0.26 | 1.0408 | E | 0.699 | ug/L | 0.6716 | D | dlr | mc | 2014-09-21 | Supelco LC06438: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2014-12-08 07:30 | 20143420010 | 0.34 | 1.0408 | E | 0.597 | ug/L | 0.5736 | D | KAS | mc | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-02-19 07:30 | 20150510046 | 0.34 | 1.0408 | E | 0.781 | ug/L | 0.75038 | D | KAS | mc | 2015-02-28 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-06-11 07:30 | 20151620184 | 0.34 | 1.255 | E | 1.37 | ug/L | 1.0916 | A | lmu | mc | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2015-08-13 09:30 | 20152250274 | 0.34 | 1.255 | E | 1.35 | ug/L | 1.0757 | A | mgu | mc | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-06-22 06:30 | 20161740255 | 0.34 | 1.415 | E | 1.07 | ug/L | 0.75618 | D | kas | mc | 2016-07-06 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-08-10 06:30 | 20162230172 | 0.34 | 1.415 | E | 1.32 | ug/L | 0.93286 | D | kas | mc | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-08-24 06:15 | 20162380006 | 0.34 | 1.415 | E | 1.6 | ug/L | 1.1307 | A | dlr | mc | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-08-31 06:30 | 20162440115 | 0.34 | 1.415 | E | 0.886 | ug/L | 0.62615 | D | kas | mc | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-11-16 07:00 | 20163220168 | 0.34 | 1.415 | E | 1.19 | ug/L | 0.84099 | A | dlr | mc | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-07-20 06:45 | 20162020126 | 0.34 | 2.264 | E | 2.05 | ug/L | 0.90548 | A | kas | mc | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-08-02 06:30 | 20162150210 | 0.34 | 2.264 | E | 1.41 | ug/L | 0.62279 | D | kas | mc | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
4440 | METHYL IODIDE | 77424GCM66 | 2016-12-14 07:00 | 20163500004 | 0.34 | 2.264 | E | 2.55 | ug/L | 1.1263 | A | lmu | mc | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl