## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-02-17 07:30 | 20110490038 | 0.3 | 0.80142 | . | 1.15 | mg/L | 1.4349 | x | PGO | b | 2011-03-17 | Restek A075535: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-07-21 10:00 | 20112030052 | 0.3 | 0.81818 | . | 1 | mg/L | 1.2222 | x | PGO | b | 2011-08-03 | Restek A075535: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-02-02 12:40 | 20120370007 | 0.46 | 0.81818 | . | 0.98 | mg/L | 1.1978 | x | PGO | b | 2012-02-08 | Restek A075535: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-03-29 09:00 | 20120930007 | 0.46 | 0.81818 | . | 0.87 | mg/L | 1.0633 | x | PGO | b | 2012-04-05 | Restek A075535: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-06-07 09:00 | 20111590008 | 0.3 | 1.629 | . | 1.95 | mg/L | 1.1971 | x | PGO | b | 2011-06-15 | Restek A075535: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-11-17 08:00 | 20113220203 | 0.46 | 1.6364 | . | 1.9 | mg/L | 1.1611 | x | PGO | b | 2011-11-30 | Restek A075535: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-07-13 06:00 | 20161960003 | 0.46 | 1.6364 | . | 1.6 | mg/L | 0.97778 | X | JLA | b | 2016-07-16 | HPS 1610903: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-11-02 06:00 | 20163070098 | 0.46 | 1.6364 | . | 1.92 | mg/L | 1.1733 | X | CML | b | 2016-11-03 | HPS 1610903: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-05-12 08:30 | 20111330151 | 0.3 | 1.8002 | . | 1.92 | mg/L | 1.0666 | x | PGO | b | 2011-05-19 | NSI 062910: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-10-20 08:30 | 20112930090 | 0.46 | 1.8182 | . | 2.02 | mg/L | 1.111 | x | PGO | b | 2011-11-03 | NSI 062910: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-06-29 06:00 | 20161820008 | 0.46 | 2.1818 | . | 2.61 | mg/L | 1.1963 | X | JLA | b | 2016-07-06 | Accu 216035119: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-10-19 06:00 | 20162930158 | 0.46 | 2.1818 | . | 2.59 | mg/L | 1.1871 | X | CML | b | 2016-10-20 | Phenova B20160307: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-12-07 06:00 | 20163420122 | 0.46 | 2.1818 | . | 2.13 | mg/L | 0.97625 | X | JLA | b | 2016-12-14 | Accu 216035119: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-04-07 08:00 | 20110980043 | 0.3 | 2.3684 | . | 2.78 | mg/L | 1.1738 | x | PGO | b | 2011-04-22 | Restek A075535: 150 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-08-10 10:30 | 20112220123 | 0.3 | 2.4545 | . | 2.85 | mg/L | 1.1611 | x | PGO | b | 2011-08-19 | Restek A075535: 150 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-06-21 08:00 | 20121730104 | 0.46 | 2.7273 | . | 3.12 | mg/L | 1.144 | x | PGO | b | 2012-07-11 | ERA 0507-12-03.2 TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-07-03 06:00 | 20121870006 | 0.46 | 2.7273 | . | 2.83 | mg/L | 1.0377 | x | PGO | b | 2012-07-17 | Accu 212055044: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-09-19 07:30 | 20122640134 | 0.46 | 2.7273 | . | 2.96 | mg/L | 1.0853 | x | PGO | b | 2012-09-21 | Accu 212055044: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-10-18 07:00 | 20122930151 | 0.46 | 2.7273 | . | 3.17 | mg/L | 1.1623 | x | PGO | b | 2012-10-25 | ERA 0507-12-03.2 TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-02-07 07:30 | 20130390110 | 0.46 | 2.7273 | . | 2.88 | mg/L | 1.056 | x | PGO | b | 2013-02-19 | Accu 212055044: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-03-05 07:00 | 20130650007 | 0.46 | 2.7273 | . | 2.89 | mg/L | 1.0597 | x | PGO | b | 2013-03-15 | ERA 0507-12-03.2 TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-05-16 06:00 | 20131370004 | 0.46 | 2.7273 | . | 2.85 | mg/L | 1.045 | x | pgo | b | 2013-06-04 | Accu 213045015: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-07-03 06:00 | 20131840115 | 0.46 | 2.7273 | . | 3.19 | mg/L | 1.1697 | x | pgo | b | 2013-07-18 | ERA 0318-13-01.2 TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-08-21 06:00 | 20132340086 | 0.46 | 2.7273 | . | 2.84 | mg/L | 1.0413 | x | pgo | b | 2013-09-20 | Accu 213045015: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-09-12 06:00 | 20132560006 | 0.46 | 2.7273 | . | 2.84 | mg/L | 1.0413 | x | pgo | b | 2013-10-25 | ERA 0318-13-01.2 TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-11-26 06:00 | 20133310031 | 0.46 | 2.7273 | . | 2.83 | mg/L | 1.0377 | x | pgo | b | 2013-12-04 | ERA 0318-13-01.2 TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-01-16 06:00 | 20140160085 | 0.46 | 2.7273 | . | 3.04 | mg/L | 1.1147 | x | pgo | b | 2014-01-23 | Accu 213045015: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-03-06 06:00 | 20140650081 | 0.46 | 2.7273 | . | 3.07 | mg/L | 1.1257 | X | PGO | b | 2014-03-11 | Accu 213045015: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-03-19 06:00 | 20140780044 | 0.46 | 2.7273 | . | 3.23 | mg/L | 1.1843 | X | PGO | b | 2014-03-25 | ERA 0318-13-01.2 TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-07-01 06:00 | 20151820107 | 0.46 | 2.7273 | . | 3.08 | mg/L | 1.1293 | X | PGO | b | 2015-07-16 | ERA 0602-15-03: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-10-15 06:00 | 20152890009 | 0.46 | 2.7273 | . | 2.91 | mg/L | 1.067 | X | PGO | b | 2015-10-28 | Accu 215045102: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-11-05 06:00 | 20153090109 | 0.46 | 2.7273 | . | 3.02 | mg/L | 1.1073 | X | PGO | b | 2015-11-11 | ERA 0602-15-03: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-02-18 06:00 | 20160490033 | 0.46 | 2.7273 | . | 3.07 | mg/L | 1.1257 | X | PGO | b | 2016-02-29 | Accu 215045102: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-03-10 06:00 | 20160710219 | 0.46 | 2.7273 | . | 2.81 | mg/L | 1.0303 | X | PGO | b | 2016-03-17 | ERA 0602-15-03: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-05-13 06:15 | 20161340229 | 0.46 | 2.7273 | . | 2.82 | mg/L | 1.034 | X | JLA | b | 2016-05-18 | HPS 1610903: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-12-14 06:00 | 20163500001 | 0.46 | 2.7273 | . | 2.75 | mg/L | 1.0083 | X | JLA | b | 2016-12-20 | HPS 1610903: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-05-08 06:30 | 20141290005 | 0.46 | 3.2727 | . | 3.75 | mg/L | 1.1458 | X | PGO | b | 2014-05-21 | ChemService 2604600: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-08-07 06:00 | 20142200167 | 0.46 | 3.2727 | . | 3.68 | mg/L | 1.1244 | X | PGO | b | 2014-08-21 | NSI 031314: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-10-02 06:00 | 20142760027 | 0.46 | 3.2727 | . | 3.4 | mg/L | 1.0389 | X | PGO | b | 2014-10-22 | NSI 031314: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-12-08 06:00 | 20143420008 | 0.46 | 3.2727 | . | 3.44 | mg/L | 1.0511 | X | PGO | b | 2014-12-10 | ChemService 2604600: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-03-05 06:00 | 20150650043 | 0.46 | 3.2727 | . | 3.85 | mg/L | 1.1764 | X | PGO | b | 2015-03-13 | NSI 031314: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-04-02 07:30 | 20150930004 | 0.46 | 3.2727 | . | 3.58 | mg/L | 1.0939 | X | PGO | b | 2015-04-09 | ChemService 2604600: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-03-10 08:00 | 20110690083 | 0.3 | 3.5746 | . | 3.6 | mg/L | 1.0071 | x | PGO | b | 2011-03-24 | NSI 062910: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-09-01 10:00 | 20112450027 | 0.3 | 3.6364 | . | 3.85 | mg/L | 1.0587 | x | PGO | b | 2011-09-14 | NSI 062910: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-03-08 08:00 | 20120690025 | 0.46 | 3.6364 | . | 3.82 | mg/L | 1.0505 | x | PGO | b | 2012-03-14 | NSI 062910: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-09-14 06:00 | 20162580149 | 0.46 | 4.3636 | . | 5.27 | mg/L | 1.2077 | X | CML |  | 2016-09-30 | HPS 1610903: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-06-29 09:30 | 20111810008 | 0.3 | 5.4545 | . | 5.65 | mg/L | 1.0358 | x | PGO |  | 2011-07-08 | NSI 062910: 150 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-01-12 08:30 | 20120120075 | 0.46 | 5.4545 | . | 4.93 | mg/L | 0.90383 | x | PGO | b | 2012-01-27 | NSI 062910: 150 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-08-30 07:00 | 20122430225 | 0.46 | 5.4545 | . | 5.68 | mg/L | 1.0413 | x | PGO |  | 2012-09-06 | Accu 212055044: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-01-10 07:30 | 20130100070 | 0.46 | 5.4545 | . | 5.55 | mg/L | 1.0175 | x | PGO |  | 2013-01-16 | ERA 0507-12-03.2 TOC: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-04-11 07:30 | 20131020086 | 0.46 | 5.4545 | . | 5.38 | mg/L | 0.98633 | x | PGO |  | 2013-04-18 | Accu 212055044: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-08-08 06:00 | 20132210042 | 0.46 | 5.4545 | . | 5.21 | mg/L | 0.95517 | x | pgo |  | 2013-08-23 | ERA 0318-13-01.2 TOC: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-11-14 06:00 | 20133190013 | 0.46 | 5.4545 | . | 5.76 | mg/L | 1.056 | x | pgo |  | 2013-11-27 | Accu 213045015: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-01-30 06:00 | 20140300035 | 0.46 | 5.4545 | . | 6.07 | mg/L | 1.1128 | x | pgo |  | 2014-01-31 | ERA 0318-13-01.2 TOC: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-04-10 07:00 | 20141010008 | 0.46 | 5.4545 | . | 5.79 | mg/L | 1.0615 | X | PGO |  | 2014-04-16 | ChemService 2604600: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-06-05 06:00 | 20141570086 | 0.46 | 5.4545 | . | 5.81 | mg/L | 1.0652 | X | PGO |  | 2014-06-19 | ChemService 2604600: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-09-04 06:00 | 20142480002 | 0.46 | 5.4545 | . | 5.65 | mg/L | 1.0358 | X | PGO |  | 2014-10-01 | NSI 031314: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-10-30 06:00 | 20143030094 | 0.46 | 5.4545 | . | 5.08 | mg/L | 0.93133 | X | PGO |  | 2014-11-19 | NSI 031314: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-02-19 06:00 | 20150510047 | 0.46 | 5.4545 | . | 5.98 | mg/L | 1.0963 | X | PGO |  | 2015-03-03 | ChemService 2604600: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-05-05 08:30 | 20161260152 | 0.46 | 5.4545 | . | 5.56 | mg/L | 1.0193 | X | JLA |  | 2016-05-09 | Accu 216035119: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-06-08 07:00 | 20161600089 | 0.46 | 5.4545 | . | 5.55 | mg/L | 1.0175 | X | JLA |  | 2016-06-09 | Phenova B20160307: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-06-15 06:00 | 20161680362 | 0.46 | 5.4545 | . | 5.81 | mg/L | 1.0652 | X | JLA |  | 2016-06-21 | NSI 041416: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-08-10 06:00 | 20162230170 | 0.46 | 5.4545 | . | 5.4 | mg/L | 0.99 | X | JLA |  | 2016-08-24 | Phenova B20160307: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-09-28 06:00 | 20162720211 | 0.46 | 5.4545 | . | 6.45 | mg/L | 1.1825 | X | CML |  | 2016-10-04 | NSI 041416: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-10-05 06:00 | 20162800006 | 0.46 | 5.4545 | . | 6.81 | mg/L | 1.2485 | X | CML |  | 2016-10-14 | Accu 216035119: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-08-16 07:30 | 20122300019 | 0.46 | 6.8182 | . | 7.15 | mg/L | 1.0487 | x | PGO |  | 2012-08-23 | NSI 052312TOC/DOC: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-01-24 07:00 | 20130250059 | 0.46 | 6.8182 | . | 7.13 | mg/L | 1.0457 | x | PGO |  | 2013-01-31 | NSI 052312TOC/DOC: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-05-30 06:00 | 20131510010 | 0.46 | 6.8182 | . | 7.01 | mg/L | 1.0281 | x | pgo |  | 2013-06-14 | NSI 042313TOC: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-06-20 06:00 | 20131720015 | 0.46 | 6.8182 | . | 6.56 | mg/L | 0.96213 | x | pgo |  | 2013-07-10 | NSI 042313TOC: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-02-13 06:00 | 20140440055 | 0.46 | 6.8182 | . | 7.53 | mg/L | 1.1044 | x | pgo |  | 2014-02-14 | NSI 042313TOC: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-05-07 06:00 | 20151270110 | 0.46 | 6.8182 | . | 7.03 | mg/L | 1.0311 | X | PGO |  | 2015-05-26 | Accu 215045102: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-07-30 06:00 | 20152110196 | 0.46 | 6.8182 | . | 7.57 | mg/L | 1.1103 | X | PGO |  | 2015-08-17 | ERA 0602-15-03: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-12-30 06:00 | 20153640096 | 0.46 | 6.8182 | . | 7.42 | mg/L | 1.0883 | X | PGO | @c | 2016-01-29 | Accu 215045102: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-01-07 09:00 | 20160070053 | 0.46 | 6.8182 | . | 7.63 | mg/L | 1.1191 | X | PGO | @c | 2016-02-08 | ERA 0602-15-03: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-04-21 07:00 | 20161130025 | 0.46 | 6.8182 | . | 7.19 | mg/L | 1.0545 | X | JLA |  | 2016-05-05 | Accu 215045102: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-09-06 06:00 | 20132490344 | 0.46 | 6.825 | . | 7.55 | mg/L | 1.1062 | x | pgo |  | 2013-10-25 | Supelco LC00153: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-10-24 06:00 | 20132980024 | 0.46 | 6.825 | . | 6.92 | mg/L | 1.0139 | x | pgo |  | 2013-11-15 | Supelco LC00153: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-12-19 06:00 | 20133540015 | 0.46 | 6.825 | . | 7.55 | mg/L | 1.1062 | x | pgo |  | 2014-01-01 | Supelco LC00153: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-02-27 06:00 | 20140590011 | 0.46 | 6.825 | . | 7.49 | mg/L | 1.0974 | X | PGO |  | 2014-03-10 | Supelco LC00153: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-06-14 06:30 | 20121670017 | 0.46 | 6.8273 | . | 7.13 | mg/L | 1.0443 | x | PGO |  | 2012-07-06 | Supelco LB92786: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-09-13 07:00 | 20122570121 | 0.46 | 6.8273 | . | 7.59 | mg/L | 1.1117 | x | PGO |  | 2012-09-14 | Supelco LB92786: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-02-19 07:30 | 20130510053 | 0.46 | 6.8273 | . | 7.33 | mg/L | 1.0736 | x | PGO |  | 2013-03-05 | Supelco LB92786: 25 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-03-24 08:00 | 20110840106 | 0.3 | 6.8906 | . | 8.77 | mg/L | 1.2727 | x | PGO |  | 2011-04-14 | Crescent 06MM149: 40 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-05-26 09:00 | 20111470067 | 0.3 | 6.9264 | . | 7.32 | mg/L | 1.0568 | x | PGO |  | 2011-06-09 | Crescent 06MM149: 40 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-03-03 08:30 | 20110620087 | 0.3 | 7.0922 | . | 7.58 | mg/L | 1.0688 | x | PGO |  | 2011-03-24 | Spex Organics T1100628004: 40 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-07-28 10:00 | 20112100011 | 0.3 | 7.2727 | . | 8.15 | mg/L | 1.1206 | x | PGO |  | 2011-08-04 | Spex Organics T1100628004: 40 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-11-03 08:30 | 20113080007 | 0.46 | 7.2727 | . | 9.93 | mg/L | 1.3654 | x | PGO |  | 2011-11-17 | Crescent 06MM149: 40 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-04-30 06:00 | 20151210036 | 0.46 | 7.2727 | . | 7.59 | mg/L | 1.0436 | X | PGO |  | 2015-05-08 | abs 040315TOCDOC: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-07-09 06:00 | 20151900134 | 0.46 | 7.2727 | . | 8.01 | mg/L | 1.1014 | X | PGO |  | 2015-07-21 | NSI 041315: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-11-19 06:00 | 20153230144 | 0.46 | 7.2727 | . | 8.13 | mg/L | 1.1179 | X | PGO | @c | 2015-12-18 | NSI 041315: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-03-24 06:00 | 20160840088 | 0.46 | 7.2727 | . | 7.27 | mg/L | 0.99963 | X | COC |  | 2016-04-06 | NSI 041315: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-03-31 07:00 | 20160910147 | 0.46 | 7.2727 | . | 8.08 | mg/L | 1.111 | X | PGO |  | 2016-04-20 | Abs 040315TOCDOC: 20 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-08-07 07:30 | 20122210010 | 0.46 | 8.1818 | . | 8.02 | mg/L | 0.98022 | x | PGO |  | 2012-08-15 | ERA 0507-12-03.2 TOC: 150 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-11-20 07:30 | 20123260040 | 0.46 | 8.1818 | . | 8.12 | mg/L | 0.99244 | x | PGO |  | 2012-12-04 | Accu 212055044: 150 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-08-18 06:00 | 20142340165 | 0.46 | 8.1818 | . | 8.28 | mg/L | 1.012 | X | PGO | +c | 2014-09-09 | Accu 214035048: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-11-13 06:00 | 20143180050 | 0.46 | 8.1818 | . | 8.37 | mg/L | 1.023 | X | PGO |  | 2014-11-25 | Accu 214035048: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-02-05 06:00 | 20150360048 | 0.46 | 8.1818 | . | 9.8 | mg/L | 1.1978 | X | PGO |  | 2015-02-06 | ERA 0227-14-06.2: 30 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-10-16 06:00 | 20142890078 | 0.46 | 8.7273 | . | 9.4 | mg/L | 1.0771 | X | PGO |  | 2014-10-29 | ChemService 2604600: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-01-08 06:00 | 20150090094 | 0.46 | 8.7273 | . | 9.35 | mg/L | 1.0714 | X | PGO |  | 2015-01-16 | NSI 031314: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-08-31 06:00 | 20162440112 | 0.46 | 8.7273 | . | 8.52 | mg/L | 0.97625 | X | JLA |  | 2016-09-15 | Accu 216035119: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-11-21 06:00 | 20163280004 | 0.46 | 8.7273 | . | 9.31 | mg/L | 1.0668 | X | JLA |  | 2016-12-07 | Phenova B20160307: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-06-23 09:30 | 20111750009 | 0.3 | 9.0909 | . | 9.91 | mg/L | 1.0901 | x | PGO |  | 2011-06-30 | Spex Organics T1100628004: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-08-18 08:52 | 20112310027 | 0.3 | 9.0909 | . | 9.67 | mg/L | 1.0637 | x | PGO |  | 2011-09-01 | Crescent 06MM149: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-10-07 06:10 | 20112840028 | 0.46 | 9.0909 | . | 9.76 | mg/L | 1.0736 | x | PGO |  | 2011-11-03 | Spex Organics T1100628004: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-03-22 08:30 | 20120830081 | 0.46 | 9.0909 | . | 9.21 | mg/L | 1.0131 | x | PGO |  | 2012-03-29 | Crescent 06MM149: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-04-19 07:30 | 20121110022 | 0.46 | 9.0909 | . | 9.3 | mg/L | 1.023 | x | PGO |  | 2012-04-28 | Crescent 06MM149: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-05-31 08:00 | 20121520250 | 0.46 | 9.0909 | . | 9.08 | mg/L | 0.9988 | x | PGO |  | 2012-06-21 | Spex Organics T1100628004: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-08-13 06:00 | 20152250272 | 0.46 | 10.9091 | . | 11.9 | mg/L | 1.0908 | X | PGO |  | 2015-09-09 | Accu 215045102: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-08-27 06:00 | 20152390227 | 0.46 | 10.9091 | . | 11.2 | mg/L | 1.0267 | X | PGO |  | 2015-09-23 | ERA 0602-15-03: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-10-04 07:00 | 20122790027 | 0.46 | 13.6364 | . | 15.3 | mg/L | 1.122 | x | PGO |  | 2012-10-11 | NSI 052312TOC/DOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-03-27 07:30 | 20130870084 | 0.46 | 13.6364 | . | 14.1 | mg/L | 1.034 | x | PGO |  | 2013-04-05 | NSI 052312TOC/DOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-07-25 06:00 | 20132070035 | 0.46 | 13.6364 | . | 13.9 | mg/L | 1.0193 | x | pgo |  | 2013-08-07 | NSI 042313TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-12-05 06:00 | 20133400004 | 0.46 | 13.6364 | . | 14.6 | mg/L | 1.0707 | x | pgo |  | 2013-12-13 | NSI 042313TOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-05-22 06:00 | 20141420136 | 0.46 | 13.6364 | . | 14.8 | mg/L | 1.0853 | X | PGO |  | 2014-06-10 | ERA 0227-14-06.2: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-06-19 06:00 | 20141710102 | 0.46 | 13.6364 | . | 15.3 | mg/L | 1.122 | X | PGO |  | 2014-07-02 | Accu 214035048: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-07-17 08:30 | 20141990079 | 0.46 | 13.6364 | . | 14.1 | mg/L | 1.034 | X | PGO |  | 2014-08-01 | ERA 0227-14-06.2: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-09-18 06:00 | 20142620044 | 0.46 | 13.6364 | . | 13.7 | mg/L | 1.0047 | X | PGO |  | 2014-10-07 | ERA 0227-14-06.2: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-01-22 06:00 | 20150230028 | 0.46 | 13.6364 | . | 15 | mg/L | 1.1 | X | PGO |  | 2015-02-04 | Accu 214035048: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-04-16 06:00 | 20151110017 | 0.46 | 13.6364 | . | 15.8 | mg/L | 1.1587 | X | PGO |  | 2015-04-22 | Accu 214035048: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-11-16 06:00 | 20163220165 | 0.46 | 13.6364 | . | 13.4 | mg/L | 0.98267 | X | JLA |  | 2016-12-07 | NSI 041416: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-06-06 06:00 | 20131580023 | 0.46 | 13.65 | . | 13 | mg/L | 0.95238 | x | pgo |  | 2013-06-19 | Supelco LC00153: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-12-06 07:30 | 20123420071 | 0.46 | 13.6546 | . | 14.5 | mg/L | 1.0619 | x | PGO |  | 2012-12-13 | Supelco LB92786: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2013-05-02 07:00 | 20131230086 | 0.46 | 13.6546 | . | 17 | mg/L | 1.245 | x | pgo |  | 2013-05-23 | Supelco LB92786: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-01-27 07:00 | 20110280001 | 0.3 | 17.6212 | . | 17.2 | mg/L | 0.9761 | x | PGO |  | 2011-02-03 | Crescent 06MM149: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-04-28 08:30 | 20111190188 | 0.3 | 18.1159 | . | 19.3 | mg/L | 1.0654 | x | PGO |  | 2011-05-11 | Spex Organics T1100628004: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-07-07 09:30 | 20111890012 | 0.3 | 18.1818 | . | 19.9 | mg/L | 1.0945 | x | PGO |  | 2011-07-14 | Crescent 06MM149: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-09-15 09:30 | 20112590008 | 0.46 | 18.1818 | . | 18.9 | mg/L | 1.0395 | x | PGO |  | 2011-10-07 | Spex Organics T1100628004: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2011-11-29 08:30 | 20113340043 | 0.46 | 18.1818 | . | 19.6 | mg/L | 1.078 | x | PGO |  | 2011-12-07 | Spex Organics T1100628004: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-02-23 08:00 | 20120540037 | 0.46 | 18.1818 | . | 25.5 | mg/L | 1.4025 | x | PGO |  | 2012-03-01 | Crescent 06MM149: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-04-05 07:30 | 20120960122 | 0.46 | 18.1818 | . | 18 | mg/L | 0.99 | x | PGO |  | 2012-04-17 | Crescent 06MM149: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-05-03 07:30 | 20121250045 | 0.46 | 18.1818 | . | 18.2 | mg/L | 1.001 | x | PGO |  | 2012-05-23 | Spex Organics T1100628004: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-05-17 08:00 | 20121390012 | 0.46 | 18.1818 | . | 20.2 | mg/L | 1.111 | x | PGO |  | 2012-05-31 | Crescent 06MM149: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-09-24 06:00 | 20152670136 | 0.46 | 18.1818 | . | 18.3 | mg/L | 1.0065 | X | PGO |  | 2015-10-09 | Abs 040315TOCDOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-01-14 06:00 | 20160140038 | 0.46 | 18.1818 | . | 19.9 | mg/L | 1.0945 | X | PGO |  | 2016-02-09 | NSI 041315: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-02-04 06:00 | 20160350046 | 0.46 | 18.1818 | . | 19 | mg/L | 1.045 | X | PGO |  | 2016-02-19 | Abs 040315TOCDOC: 50 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-04-24 06:00 | 20141150018 | 0.46 | 21.8182 | . | 23.4 | mg/L | 1.0725 | X | PGO |  | 2014-04-30 | Accu 214035048: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-07-02 06:00 | 20141840100 | 0.46 | 21.8182 | . | 23.9 | mg/L | 1.0954 | X | PGO |  | 2014-07-17 | ERA 0227-14-06.2: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2014-11-26 06:00 | 20143300048 | 0.46 | 21.8182 | . | 22.5 | mg/L | 1.0313 | X | PGO |  | 2014-12-04 | ERA 0227-14-06.2: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-03-19 06:00 | 20150790011 | 0.46 | 21.8182 | . | 26.1 | mg/L | 1.1963 | X | PGO |  | 2015-03-31 | Accu 214035048: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2016-08-17 06:00 | 20162300280 | 0.46 | 21.8182 | . | 22.4 | mg/L | 1.0267 | X | JLA |  | 2016-08-30 | NSI 041416: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-11-01 07:30 | 20123070012 | 0.46 | 27.2727 | . | 28.4 | mg/L | 1.0413 | x | PGO |  | 2012-11-07 | NSI 052312TOC/DOC: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2012-07-19 07:30 | 20122020002 | 0.46 | 27.3091 | . | 28 | mg/L | 1.0253 | x | PGO |  | 2012-08-03 | Supelco LB92786: 100 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-09-10 06:00 | 20152530082 | 0.46 | 29.0909 | . | 32.3 | mg/L | 1.1103 | X | PGO | d | 2015-09-30 | NSI 041315: 80 µl
LC2612 | DISSOLVED ORGANIC CARBON | 00681OX006 | 2015-12-03 06:00 | 20153370172 | 0.46 | 29.0909 | . | 30.9 | mg/L | 1.0622 | X | PGO | @dc | 2016-01-13 | Abs 040315TOCDOC: 80 µl