## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-07-20 09:30 | 20162020122 | 0.2 |  | < | 0.2 | ug/k |  | C | sst | mc | 2016-09-23 | Abs 051916sed8L3: 0 µl & Abs 051816sed8H1: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-09-14 08:15 | 20162580145 | 0.2 |  | < | 0.2 | ug/k |  | C | sgs | mc | 2017-04-06 | ERA 04121609: 0 µl & ERA 04121607: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-08-24 08:45 | 20162380015 | 0.2 |  | < | 0.2 | ug/k |  | C | sgs | mc | 2017-04-06 | Abs 051916sed8L3: 0 µl & Abs 051816sed8L1: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2017-01-04 09:00 | 20170040041 | 0.2 |  | < | 0.2 | ug/k |  | C | sgs | mc | 2017-04-07 | Abs 051916sed8H3: 0 µl & ERA 04121607: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-10-25 08:30 | 20162990155 | 0.2 |  | < | 0.2 | ug/k |  | C | sgs | mc | 2017-04-07 | ERA 04121609: 0 µl & Abs 051816sed8L1: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2017-01-25 09:00 | 20170260003 | 0.2 | 0.497 | < | 0.2 | ug/k |  | C | sgs | mc | 2017-04-07 | ERA 04121607: 0 µl & ERA 04121608: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-11-16 09:30 | 20163220159 | 0.2 | 0.497 | < | 0.2 | ug/k |  | C | sgs | mc | 2017-04-07 | Abs 051816sed8L1: 0 µl & ERA 04121608: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-09-07 09:00 | 20162520003 | 0.2 | 0.497 | E | 0.05 | ug/k | 0.1006 | C | sgs | bmt | 2017-04-06 | ERA 04121608: 0 µl & ERA 04121609: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-08-31 08:15 | 20162440111 | 0.2 | 0.497 | E | 0.09 | ug/k | 0.18109 | C | sgs | mtc | 2017-04-06 | ERA 04121607: 0 µl & ERA 04121608: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-10-19 08:00 | 20162930170 | 0.2 | 0.497 | E | 0.07 | ug/k | 0.14085 | C | sgs | bmt | 2017-04-07 | ERA 04121608: 0 µl & Abs 051916sed8H3: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-07-27 08:45 | 20162100017 | 0.2 | 0.5 | E | 0.34 | ug/k | 0.68 | C | sst | mc | 2016-09-23 | Abs 051816sed8H1: 0 µl & Abs 052016sed8L2: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-09-28 11:00 | 20162720261 | 0.2 | 0.5 | E | 0.2 | ug/k | 0.4 | C | sgs | mc | 2017-04-06 | ERA 04121607: 0 µl & Abs 052016sed8L2: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-11-30 08:30 | 20163370006 | 0.2 | 0.5 | E | 0.09 | ug/k | 0.18 | C | sgs | mtc | 2017-04-07 | Abs 052016sed8L2: 0 µl & ERA 04121609: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-08-10 08:30 | 20162230179 | 0.2 | 0.8 | E | 0.52 | ug/k | 0.65 | C | sst | mc | 2016-09-23 | Abs 052016sed8H2: 0 µl & Abs 051916sed8H3: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-07-06 10:00 | 20161880104 | 0.2 | 0.8 | E | 0.49 | ug/k | 0.6125 | C | sst | mc | 2016-09-23 | Abs 052016sed8H2: 0 µl & Abs 051916sed8L3: 0 µl
LC8093 | CYFLUTHRIN | 63279GM014 | 2016-06-22 06:00 | 20161740287 | 0.2 | 0.8 | E | 0.47 | ug/k | 0.5875 | C | sst | mc | 2016-09-23 | Abs 051816sed8H1: 0 µl & Abs 052016sed8H2: 0 µl