## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2020 | 20202590128 | 2020-10-02 | 0.004 | <0.070 | 0.07 | 1985 |  |  |  | mg/L as N | Blank | No | KJND_20269A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2020 | 20202670166 | 2020-10-09 | 0.016 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20281A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2020 | 20202740037 | 2020-10-16 | -0.003 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20288A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20202810041 | 2020-10-19 | 0.022 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20290A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20202870019 | 2020-10-21 | 0.01 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20294A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20202950010 | 2020-10-22 | -0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20295A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203010134 | 2020-11-18 | -0.024 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20322A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203080091 | 2020-11-20 | 0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20324A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203150084 | 2020-11-24 | -0.02 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20328A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203230011 | 2020-11-24 | -0.012 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20328A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203300033 | 2020-12-03 | 0.024 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20338A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203440022 | 2020-12-11 | -0.018 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20345A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203530087 | 2020-12-23 | -0.019 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_20357A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203580037 | 2021-01-07 | 0 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21006A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20203640022 | 2021-01-07 | 0.022 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21006A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210050009 | 2021-01-07 | 0.013 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21006A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210120040 | 2021-01-25 | 0.003 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21021A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210210039 | 2021-02-02 | 0.008 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21032A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210270018 | 2021-02-02 | -0.042 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21032B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210330089 | 2021-02-10 | -0.027 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21040A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210400057 | 2021-02-11 | -0.017 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21041B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210480023 | 2021-03-02 | -0.022 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21060A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210540040 | 2021-03-02 | 0.013 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21060A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210620144 | 2021-03-10 | 0.002 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21068A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210690061 | 2021-03-18 | 0.012 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21076A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210760026 | 2021-03-24 | 0 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21082A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210830005 | 2021-03-31 | 0.004 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21089B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20210970021 | 2021-04-21 | 0.07 | 0.070 | 0.07 | 1985 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | No | KJND_21110A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211030185 | 2021-04-26 | 0.018 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21112A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211100003 | 2021-05-04 | -0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21118A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211180006 | 2021-05-11 | -0.013 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21130A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211250029 | 2021-05-12 | 0.01 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21131A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211320144 | 2021-05-25 | 0.002 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21144A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211380006 | 2021-06-01 | 0.01 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21147A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211460022 | 2021-06-03 | -0.01 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21153A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211600009 | 2021-06-14 | -0.029 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21161A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211660074 | 2021-06-23 | 0.003 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21172A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211730235 | 2021-06-29 | 0.037 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21179A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211800181 | 2021-07-06 | -0.026 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21186B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211880194 | 2021-07-21 | 0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21201A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20211940187 | 2021-07-27 | 0.002 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21207A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212020195 | 2021-08-04 | -0.019 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21215A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212080106 | 2021-08-11 | -0.022 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21221A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212150080 | 2021-08-17 | -0.003 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21228B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212220187 | 2021-08-26 | -0.02 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21237A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212290226 | 2021-09-01 | 0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21243B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212360127 | 2021-09-08 | 0.024 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21250A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212520222 | 2021-09-22 | -0.018 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21264A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212580243 | 2021-09-23 | 0.008 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21265B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212640278 | 2021-09-30 | -0.034 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21272A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2021 | 20212720124 | 2021-10-05 | -0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21277A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20212790025 | 2021-10-13 | -0.011 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21285A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20212860195 | 2021-10-19 | -0.005 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21291A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20212940168 | 2021-10-27 | 0.049 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21299A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20212990153 | 2021-11-01 | 0.03 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21301A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213060204 | 2021-11-08 | -0.012 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21308A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213130192 | 2021-11-17 | 0.015 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21320A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213200079 | 2021-11-18 | -0.041 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21321A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213270274 | 2021-12-06 | 0.022 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21336A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213410082 | 2021-12-09 | 0.005 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21342A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213480145 | 2021-12-20 | -0.018 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_21351A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213550409 | 2022-01-05 | -0.01 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22003A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220040086 | 2022-01-12 | 0.011 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22010A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220110082 | 2022-01-20 | -0.018 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22019A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220260170 | 2022-02-03 | 0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22032A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220390081 | 2022-03-01 | 0.029 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22059A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20213620352 | 2022-01-05 | 0.006 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22003A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220470024 | 2022-03-29 | -0.01 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22084A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220190104 | 2022-01-26 | 0.025 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22024A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220600065 | 2022-05-27 | 0.084 | 0.084 | 0.07 | 1985 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | KJND_22118A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220670064 | 2022-06-08 | -0.021 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22157A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220760103 | 2022-06-28 | -0.031 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22179A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220880115 | 2022-07-05 | 0.029 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22186A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220540136 | 2022-05-10 | 0.026 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22117A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220950122 | 2022-07-11 | 0.015 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22186B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221020003 | 2022-07-11 | 0.022 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22192A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20220810123 | 2022-07-26 | -0.006 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22207A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221090230 | 2022-07-26 | 0.009 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22207A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221230109 | 2022-08-10 | 0 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22222A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221160199 | 2022-08-02 | -0.029 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22214A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221300142 | 2022-08-11 | -0.048 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22223A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221370155 | 2022-08-16 | -0.073 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22227B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221580138 | 2022-09-06 | -0.026 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22249A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221440249 | 2022-08-24 | 0.058 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22235A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221730306 | 2022-10-17 | -0.007 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22290A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221790227 | 2022-10-20 | -0.008 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22293A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221870182 | 2022-11-02 | -0.016 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22306B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221930239 | 2022-11-07 | 0.048 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22311A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222000008 | 2022-11-14 | 0.02 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22318A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20221660343 | 2022-10-03 | -0.012 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22264A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222070168 | 2022-11-22 | 0.102 | 0.102 | 0.07 | 1985 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | KJND_22325B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222700279 | 2023-03-06 | 0.027 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_23058C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222140179 | 2023-01-12 | 0.027 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_23012A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222210258 | 2023-01-13 | 0.001 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_23012C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222560149 | 2023-02-13 | 0.038 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_23044A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222630196 | 2023-02-14 | 0.054 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_23044D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222280357 | 2023-01-23 | 0.246 | 0.246 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | KJND_23023A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2022 | 20222360017 | 2023-02-06 | 0.078 | 0.078 | 0.07 | 1985 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | KJND_23037D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20222980107 | 2022-12-09 | 0.05 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22342B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223120119 | 2022-12-06 | 0.012 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22339B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223260138 | 2022-11-29 | -0.028 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22332B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223540183 | 2023-01-05 | -0.019 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23003B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223620072 | 2023-01-04 | 0.01 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23003A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230040148 | 2023-01-10 | 0.03 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23009A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230100084 | 2023-01-30 | -0.025 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23017A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230180012 | 2023-01-19 | 0 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23019A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230240105 | 2023-02-06 | -0.027 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23037A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20222850179 | 2023-03-08 | -0.007 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_23066A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223190127 | 2022-12-01 | 0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22333A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20222770163 | 2023-03-07 | 0.101 | 0.101 | 0.07 | 1985 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | KJND_23065B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230450143 | 2023-02-21 | 0.008 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23052B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230540065 | 2023-03-01 | -0.007 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23058D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230730133 | 2023-03-21 | 0.016 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23076E
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230870175 | 2023-03-31 | 0.053 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23089A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231230168 | 2023-05-17 | -0.003 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23125C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223330063 | 2022-12-06 | -0.062 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22339A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230380130 | 2023-02-08 | -0.022 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23039A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223400098 | 2022-12-09 | -0.007 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22342A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20223480164 | 2022-12-20 | 0.012 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_22353A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230590150 | 2023-03-08 | -0.001 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23066B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230660143 | 2023-03-20 | 0.006 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23076B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230940134 | 2023-04-26 | -0.015 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23102A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231090165 | 2023-05-04 | -0.005 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23124A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231150178 | 2023-05-11 | -0.046 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23124C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231290213 | 2023-05-23 | 0.072 | 0.072 | 0.07 | 1985 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | KJND_23142B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231360033 | 2023-05-24 | 0.022 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23143B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231570085 | 2023-06-14 | 0.035 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23165A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231440116 | 2023-07-06 | 0.036 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_23186A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231720084 | 2023-06-28 | -0.001 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23177D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20222910110 | 2022-12-13 | -0.014 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_22346C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231010263 | 2023-04-20 | 0.024 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23109B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20230800085 | 2023-03-27 | 0.036 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23083A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231860108 | 2023-07-25 | 0.011 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23201D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232050057 | 2023-08-07 | 0.009 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23215D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232120081 | 2023-08-08 | -0.023 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23219D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232190044 | 2023-08-15 | -0.037 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23223B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231640215 | 2023-06-27 | -0.012 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23177A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231980031 | 2023-08-01 | 0.051 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23209F
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232410131 | 2023-09-06 | 0 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23244B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232350108 | 2023-08-29 | 0.027 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23240C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20231790085 | 2023-07-25 | -0.004 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23201B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232260032 | 2023-08-21 | -0.039 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23230B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232560113 | 2023-10-03 | 0.005 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23275B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232480093 | 2023-09-18 | 0.004 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23255A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232610267 | 2023-10-03 | -0.017 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23275C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2023 | 20232680189 | 2023-10-12 | 0.039 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23277A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20232760054 | 2023-10-17 | -0.026 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23286B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20232840063 | 2023-10-24 | -0.016 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23296B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20232910051 | 2023-10-26 | 0.011 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23297B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20233120071 | 2023-11-16 | 0.024 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23317B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20232980003 | 2023-10-31 | -0.065 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_23303A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20233250144 | 2024-02-08 | 0.019 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24038B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20233330057 | 2024-02-13 | -0.011 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24043A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20233400097 | 2024-02-13 | -0.004 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24043A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20233470272 | 2024-02-16 | 0.018 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24046B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20233620055 | 2024-02-27 | -0.002 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24058A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240030072 | 2024-02-27 | -0.019 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24058A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240090027 | 2024-02-28 | -0.05 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24058B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240170019 | 2024-03-23 | -0.026 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24078A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240370134 | 2024-04-01 | 0.737 | 0.737 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | KJND_24087C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240580146 | 2024-03-27 | -0.047 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_24085B
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240660038 | 2024-04-06 | 0.021 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24095A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240790103 | 2024-04-26 | -0.006 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24116C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240880021 | 2024-04-22 | 0.006 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_24103H
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20233550090 | 2024-02-21 | 0.034 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24052A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20241000097 | 2024-04-23 | -0.041 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_24106C
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240250080 | 2024-03-23 | -0.013 | <0.070 | 0.07 | 1985 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJND_24079D
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | 2024 | 20240930080 | 2024-04-24 | 0.027 | <0.070 | 0.07 | 1985 |  |  |  | mg/L | Blank | No | KJND_24114A