## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2020 | 20202740038 | 2020-11-10 | -0.007 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L as N | Blank | No | NUTA_20290A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20202810038 | 2020-11-10 | -0.007 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20290A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20202870031 | 2020-11-10 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20290A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20202950005 | 2020-11-10 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20290A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203010146 | 2020-11-10 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20290A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203080103 | 2020-12-11 | -0.006 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20345A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203150096 | 2020-12-11 | 0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20345B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203230010 | 2020-12-17 | 0 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_20351A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203300034 | 2020-12-11 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20345B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203440020 | 2020-12-17 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_20351A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203530088 | 2021-01-11 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203580036 | 2021-01-11 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20203640023 | 2021-01-11 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210050020 | 2021-01-11 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21011A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210120052 | 2021-02-17 | 0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21048A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210210034 | 2021-02-16 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21039A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210270019 | 2021-02-16 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21039A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210330100 | 2021-02-16 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21039A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210400072 | 2021-02-16 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21042A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210480020 | 2021-03-04 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21063A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210540051 | 2021-03-04 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21063A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210620143 | 2021-03-04 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21063A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210690062 | 2021-03-11 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21069A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210760025 | 2021-03-24 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21081A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210830004 | 2021-03-25 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21083A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20210970020 | 2021-04-13 | -0.025 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21103B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211030186 | 2021-05-14 | -0.001 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21133A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211100017 | 2021-05-14 | 0.031 | 0.03 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_21133B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211180005 | 2021-05-14 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21133B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211250025 | 2021-05-14 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21133B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211320145 | 2021-05-18 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21137A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211380017 | 2021-06-11 | 0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21152A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211460023 | 2021-06-11 | 0.028 | 0.03 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_21152A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211600020 | 2021-06-11 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21161A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211660075 | 2021-08-06 | 0.019 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211730231 | 2021-08-06 | 0.012 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211800182 | 2021-08-06 | 0.005 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211880193 | 2021-08-06 | 0.006 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_21215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20211940185 | 2021-08-06 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21215B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212020197 | 2021-08-06 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21215B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212080107 | 2021-08-06 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21215B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212150076 | 2021-08-23 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21235A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212220184 | 2021-08-23 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21232A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212290224 | 2021-08-23 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21232A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212360128 | 2021-09-01 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21244A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212520232 | 2021-09-30 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21272A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212580255 | 2021-09-30 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21272C
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212640274 | 2021-09-30 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21272C
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2021 | 20212720123 | 2021-10-01 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21273C
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20212790018 | 2021-10-20 | 0.022 | 0.02 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_21291A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20212860196 | 2021-10-21 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21291B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20212940178 | 2021-11-04 | 0.019 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21307A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20212990154 | 2021-11-04 | 0.0096 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21307A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213130204 | 2021-11-19 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21321A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213270275 | 2021-12-07 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21340A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213410094 | 2021-12-21 | -0.0043 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21354A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213480152 | 2021-12-21 | -0.0053 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21354A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213550416 | 2022-01-04 | -0.017 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22004A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220040075 | 2022-01-20 | -0.0089 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22013A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213620342 | 2022-01-04 | -0.015 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22004A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220110083 | 2022-01-20 | -0.0122 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22013A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220190114 | 2022-01-31 | -0.0057 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22025A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220260181 | 2022-02-15 | -0.0042 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22039A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220390078 | 2022-02-15 | -0.0056 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22046A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220470022 | 2022-02-22 | -0.0132 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22048A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220540138 | 2022-03-09 | -0.0119 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22063A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220600066 | 2022-03-09 | -0.0102 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22063A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220670063 | 2022-03-29 | -0.0028 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22087A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220760102 | 2022-03-29 | -0.0081 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22087A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220810125 | 2022-03-29 | -0.0097 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22087A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220880103 | 2022-04-20 | -0.015 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22110A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20220950123 | 2022-04-20 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22110A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213060203 | 2021-11-19 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21321A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20213200073 | 2021-11-23 | 0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_21321B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221020015 | 2022-05-02 | -0.0007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22116A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221230108 | 2022-05-11 | 0.0112 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22131A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221370166 | 2022-06-03 | 0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22146A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221440250 | 2022-06-03 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22146B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221090226 | 2022-05-02 | 0.0009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22116A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221790228 | 2022-07-29 | 0.011 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_22209A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221730298 | 2022-06-24 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22174A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221300139 | 2022-05-11 | 0.0073 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22131B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221580137 | 2022-06-24 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22174A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221660342 | 2022-06-24 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22174A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221870181 | 2022-07-29 | 0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22209A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20221930248 | 2022-08-04 | 0.0018 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222000020 | 2022-08-04 | 0.0033 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222070167 | 2022-08-04 | -0.0019 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222210268 | 2022-08-29 | -0.0009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22237A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222360016 | 2022-09-22 | -0.006 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_22265A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222700278 | 2022-09-29 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22271A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222140175 | 2022-08-25 | -0.0021 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22236A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222280353 | 2022-08-29 | -0.0136 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22241A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222560165 | 2022-09-22 | 0.028 | 0.03 | 0.02 | 2188 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | NUTA_22265A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222630195 | 2022-09-29 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22271A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2022 | 20222500482 | 2022-09-22 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22265A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223120118 | 2022-11-09 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22313A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20222980106 | 2022-11-03 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22300A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223190133 | 2022-11-29 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22332A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223260143 | 2022-11-30 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22334A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223330064 | 2022-11-30 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22334A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223400112 | 2022-12-09 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22343A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230040155 | 2023-01-06 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23006A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230100099 | 2023-01-23 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23017A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230180011 | 2023-01-23 | 0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23017A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230240117 | 2023-02-16 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23046A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230380144 | 2023-02-16 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23046A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230450149 | 2023-02-16 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23046B
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20222910107 | 2022-11-03 | -0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22300A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230590156 | 2023-03-09 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23068A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230540083 | 2023-03-09 | 0.015 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23054A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230660142 | 2023-03-09 | 0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23068A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223480165 | 2022-12-16 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22350A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223620083 | 2023-01-23 | 0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23017A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20223540182 | 2023-01-06 | 0.005 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23006A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230730140 | 2023-03-23 | 0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23081A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230800084 | 2023-03-23 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23081A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230870174 | 2023-03-31 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23090A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20222850184 | 2022-10-17 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22290A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20230940133 | 2023-04-12 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23101A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231150177 | 2023-04-27 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23111A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231090176 | 2023-04-27 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23111A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20222770162 | 2022-10-17 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_22290A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231290212 | 2023-05-23 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23132A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231010262 | 2023-04-12 | 0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23101A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231230167 | 2023-05-05 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23125A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231440115 | 2023-06-12 | 0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23156A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231860120 | 2023-07-13 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23193A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20232050051 | 2023-08-04 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231720096 | 2023-06-26 | -0.004 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23172A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231360044 | 2023-05-23 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23142A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20232190040 | 2023-08-15 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23227A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20232120083 | 2023-08-04 | -0.024 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23215A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231790090 | 2023-06-29 | -0.011 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23179A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231570084 | 2023-06-12 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23156A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231640214 | 2023-06-20 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23171A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20232350100 | 2023-08-30 | -0.006 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23241A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20232480090 | 2023-09-14 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23251A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20232560112 | 2023-09-14 | -0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23251A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20232680190 | 2023-09-29 | -0.012 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23269A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2023 | 20231980043 | 2023-08-03 | -0.014 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23213A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20232760053 | 2023-10-06 | 0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23278A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20232840064 | 2023-10-12 | -0.009 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23285A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20232910050 | 2023-10-26 | -0.016 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23296A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20232980004 | 2023-10-26 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23296A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233120070 | 2023-11-14 | 0 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23318A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233190009 | 2023-11-22 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23326A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233250141 | 2023-11-22 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23326A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233330058 | 2023-12-07 | 0.001 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23332A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233400093 | 2023-12-07 | -0.003 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23332A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233470273 | 2023-12-20 | -0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_23353A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233550087 | 2024-01-12 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24012A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20233620056 | 2024-01-12 | -0.007 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24012A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20240030071 | 2024-01-17 | -0.01 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24017A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20240090021 | 2024-01-17 | 0.046 | 0.05 | 0.02 | 2188 |  |  |  | mg/L | Blank | Yes | NUTA_24017A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20240170016 | 2024-01-23 | -0.013 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24022A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20240250081 | 2024-02-23 | 0 | <0.02 | 0.02 | 2188 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | NUTA_24054A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20240370131 | 2024-02-23 | 0.002 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24054A
Ammonia (NH3 + NH4+; as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2024 | 20240440067 | 2024-02-23 | -0.008 | <0.02 | 0.02 | 2188 |  |  |  | mg/L | Blank | No | NUTA_24054B