## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2020 | 20202590128 | 2020-10-01 | -0.00049 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L (as P) | Blank | No | KONE_20275A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2020 | 20202670171 | 2020-10-07 | -0.00145 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20281A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2020 | 20202740037 | 2020-10-13 | 0.00143 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20287A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20202810042 | 2020-11-03 | -4e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20308A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20202870019 | 2020-10-23 | -0.00035 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20297A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20202950011 | 2020-10-30 | -0.00074 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20304A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203010134 | 2020-11-06 | -0.00095 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20311A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203080101 | 2020-11-17 | -0.00024 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20322A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203150084 | 2020-12-01 | -0.00163 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20336A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203230012 | 2020-12-03 | 0.00117 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20338A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203300033 | 2020-12-10 | -0.00101 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20344A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203440023 | 2020-12-23 | -0.00026 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_20357B
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203530087 | 2021-01-06 | -0.00055 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21006A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203580038 | 2021-01-21 | 0.002 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_21020A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20203640022 | 2021-01-15 | -0.00123 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21011A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210050022 | 2021-01-21 | 0.00225 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21020A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210120040 | 2021-01-21 | 0.0022 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21020A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210210040 | 2021-02-05 | 0.00114 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21033A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210270018 | 2021-02-05 | 0.00076 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21033A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210330102 | 2021-02-17 | -0.00098 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21040A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210400057 | 2021-02-19 | -0.00177 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21049A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210480024 | 2021-02-26 | -0.00032 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21057A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210540040 | 2021-02-26 | -0.00042 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21057A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210620145 | 2021-03-17 | 7e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21076A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210690061 | 2021-03-24 | -0.00031 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21078A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210760018 | 2021-04-01 | -0.00016 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21091A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210830005 | 2021-03-30 | -0.00069 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21089A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20210970022 | 2021-04-19 | -0.00059 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21109A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211030185 | 2021-04-21 | 8e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21111A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211100019 | 2021-04-29 | -0.00066 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21119A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211180006 | 2021-05-07 | 0.00018 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21127A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211250030 | 2021-05-11 | 0.00055 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21131A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211320144 | 2021-05-21 | -0.00015 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21141A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211380022 | 2021-05-24 | -0.00071 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21144A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211460022 | 2021-06-01 | -3e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21152A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211600022 | 2021-06-14 | -0.00127 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21165A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211660074 | 2021-06-21 | -0.00081 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21172A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211730236 | 2021-06-25 | 0.00145 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21176A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211800181 | 2021-07-09 | 0.00017 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21190A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211880195 | 2021-07-13 | 0.001 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21194A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20211940187 | 2021-07-15 | 0.00013 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21196A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212020200 | 2021-07-26 | 0.00014 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21207A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212080106 | 2021-08-04 | -0.00044 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21216A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212150081 | 2021-08-09 | 0.00054 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21221A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212220187 | 2021-08-16 | -0.00022 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21228A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212290222 | 2021-08-19 | -3e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21231A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212360127 | 2021-08-26 | -0.00074 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21238A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212520234 | 2021-09-24 | 0.00065 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21267A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212580243 | 2021-10-05 | -6e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21278A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212640279 | 2021-10-06 | -0.00011 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21279A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2021 | 20212720124 | 2021-10-14 | 0.0003 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21287A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20212790026 | 2021-10-25 | 0.00017 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21298A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20212860195 | 2021-10-19 | 0.0021 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21292A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20212940180 | 2021-10-27 | -0.00045 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21300A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20212990153 | 2021-11-01 | -0.00048 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21305A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213060223 | 2021-11-09 | -0.0011 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21313A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213130192 | 2021-11-22 | 0.00193 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21326A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213200080 | 2021-11-22 | 0.00267 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21326A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213270274 | 2021-12-07 | -0.00056 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21341A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213410091 | 2021-12-13 | 0 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21347A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213480145 | 2021-12-21 | 0.00038 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21355A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213550417 | 2021-12-28 | 0.00066 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_21362A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20213620352 | 2022-01-11 | -0.00021 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22011A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220040078 | 2022-01-11 | 0.00304 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22011A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220110082 | 2022-01-20 | -0.00011 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22020A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220190118 | 2022-01-26 | 5e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22026A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220260170 | 2022-02-10 | -0.00034 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22041A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220390082 | 2022-02-16 | 0.00112 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22047A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220470024 | 2022-02-28 | -9e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22059A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220540137 | 2022-03-03 | 0.00323 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22061A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220600065 | 2022-03-04 | -0.00051 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22063A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220670050 | 2022-03-10 | -0.00049 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22069A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220760103 | 2022-03-18 | 0.00038 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22077A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220810124 | 2022-03-24 | 0.00116 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22083A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220880115 | 2022-04-04 | -0.00101 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22094A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20220950121 | 2022-04-08 | -0.00017 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22098A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221020003 | 2022-04-14 | -0.00112 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22104A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221090231 | 2022-04-21 | 0.00039 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22111A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221230110 | 2022-05-05 | -0.00018 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22125A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221370168 | 2022-06-08 | -0.00188 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22159A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221580139 | 2022-06-30 | -0.00025 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22181A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221730299 | 2022-07-18 | 0.00042 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22199A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221160199 | 2022-05-04 | 0.00041 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22124A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221870183 | 2022-08-10 | 0.00035 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_22222A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221300142 | 2022-05-12 | -0.00088 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22132A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222000018 | 2022-08-22 | -0.00043 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_22234A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221440249 | 2022-06-13 | -0.00125 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22164A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222140180 | 2022-08-30 | 0.0002 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22242A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222280358 | 2022-09-06 | 0.00042 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22249A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222500479 | 2022-09-27 | -0.01238 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22270A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221790227 | 2022-07-25 | -3e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22206A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222630197 | 2022-10-06 | 0.00106 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22279A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221930239 | 2022-08-16 | 0.00023 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_22228A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20221660343 | 2022-07-13 | 0.00065 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22194A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222070168 | 2022-08-25 | -0.00111 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_22237A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222210258 | 2022-08-31 | -0.00031 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22243A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222360017 | 2022-09-08 | -0.00064 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22251A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222560149 | 2022-09-28 | 0.00104 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22271A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2022 | 20222700279 | 2022-10-06 | -0.00012 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22279B
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20222770164 | 2022-10-17 | 0.00066 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22290A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20222910111 | 2022-11-01 | -0.00041 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22305A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223120120 | 2022-11-09 | 0.00104 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22313A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20222980107 | 2022-11-07 | 0.00103 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22311A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223260144 | 2022-12-12 | -5e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22346A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223330063 | 2022-12-13 | 0.00748 | 0.00748 | 0.004 | 3118 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | KONE_22347A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223400107 | 2022-12-13 | -0.00058 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22347A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223540184 | 2023-01-04 | -0.00022 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23004A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223480164 | 2023-01-04 | -0.00012 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23004A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230040156 | 2023-01-20 | 0.00102 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23020A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230180013 | 2023-01-25 | -0.00091 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23025A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223620072 | 2023-01-20 | 2e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23020A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230380146 | 2023-02-09 | 4e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23040A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230240105 | 2023-01-25 | -0.00128 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23025A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20223190127 | 2022-12-27 | -0.00045 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_22361A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20222850179 | 2022-10-26 | -0.00203 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_22299A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230450143 | 2023-02-16 | -0.00046 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23047A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230590150 | 2023-03-08 | 0.00051 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23067A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230540078 | 2023-03-08 | 0.00029 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23067A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230660144 | 2023-03-22 | -0.00027 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23081A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230730133 | 2023-04-12 | -0.0006 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23102A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230800086 | 2023-03-24 | 0.00011 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23083A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230870175 | 2023-04-11 | 0.00094 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23101A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230940135 | 2023-04-28 | 0.00021 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23118A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231010263 | 2023-04-21 | 1e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23111A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231090174 | 2023-05-03 | 0.00013 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23123A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231230169 | 2023-05-15 | 0.00035 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23135A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20230100084 | 2023-01-23 | -0.00013 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23023A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231150178 | 2023-05-05 | 0.00027 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23125A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231290213 | 2023-05-17 | -0.00044 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23137A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231360042 | 2023-05-24 | 0.0009 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23144A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231440116 | 2023-05-30 | 0.00083 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23150B
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231570086 | 2023-06-27 | 0.00085 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23178A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231640215 | 2023-06-29 | -0.00018 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23180A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231720094 | 2023-06-30 | -0.00021 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23181A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232050053 | 2023-08-23 | 0.00124 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23235A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232120081 | 2023-08-25 | -0.00067 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23237A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231790085 | 2023-08-03 | 0.00074 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23215A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231860118 | 2023-08-10 | 0.00082 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23222A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20231980031 | 2023-08-15 | -0.00064 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23227A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232350108 | 2023-09-28 | 0.00137 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23271A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232260032 | 2023-09-08 | -0.00045 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23251A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232190044 | 2023-09-07 | 0.0004 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23250A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232480093 | 2023-10-03 | -0.00057 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23276A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232410131 | 2023-09-29 | 0.00144 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23272A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232560113 | 2023-10-10 | -0.00094 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23283A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232610267 | 2023-10-17 | 0.00083 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_23290A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2023 | 20232680189 | 2023-10-12 | -0.00016 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23285A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20232760054 | 2023-10-17 | 0.00057 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23290A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20232840063 | 2023-10-23 | -5e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23296A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20232910051 | 2023-10-24 | 0.00052 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23297A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20232980003 | 2023-10-30 | 0.00016 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23303A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20233120071 | 2023-11-14 | -0.00052 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23318A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240250080 | 2024-01-30 | -0.00063 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24030A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20233250144 | 2023-11-27 | 0.0021 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23331A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20233330057 | 2023-11-30 | 0.00053 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23334A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20233400097 | 2023-12-12 | -0.0003 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23346A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20233550090 | 2024-04-02 | -0.0004 | <0.00400 | 0.004 | 3118 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KONE_24093A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20233470272 | 2023-12-14 | -0.00066 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_23348A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20233620055 | 2024-01-17 | -0.00026 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24017A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240090027 | 2024-01-22 | 0.00024 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24022A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240170019 | 2024-01-24 | 0.00145 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24024A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240370134 | 2024-02-14 | -0.00013 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24045A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240580146 | 2024-03-06 | 0.00139 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24066A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240660038 | 2024-03-11 | 5e-05 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24071A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240790103 | 2024-04-02 | 0.00097 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24093A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240880021 | 2024-04-16 | -0.00069 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24107A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20240930080 | 2024-04-16 | -0.00115 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24107A
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | 2024 | 20241000097 | 2024-04-23 | 0.0001 | <0.00400 | 0.004 | 3118 |  |  |  | mg/L | Blank | No | KONE_24114A