## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 20202590128 | 2020-10-08 | -0.0005 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L as P | Blank | No | PELD_20275A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 20202670166 | 2020-10-14 | -0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20287A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2020 | 20202740037 | 2020-10-21 | -0.0006 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20288A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20202810041 | 2020-10-27 | 0.0001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20301B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20202870019 | 2020-11-02 | -0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20303A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20202950010 | 2020-11-10 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20303B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203010134 | 2020-11-05 | 0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20308A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203080091 | 2020-11-17 | -0.0027 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20321A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203150084 | 2020-11-19 | 0.0016 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20321B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203230011 | 2020-11-23 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20324A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203300033 | 2020-12-10 | -0.0006 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20344A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203440022 | 2020-12-15 | -0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20349B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203530087 | 2020-12-30 | -0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20358A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203580037 | 2021-01-06 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20365A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20203640022 | 2021-01-06 | 0.0017 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_20365A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210050009 | 2021-01-25 | -0.0029 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21021A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210120040 | 2021-01-25 | -0.0031 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21021A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210210039 | 2021-01-27 | -0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21026A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210270018 | 2021-02-03 | 0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21032A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210330089 | 2021-02-10 | -0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21040A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210400057 | 2021-02-18 | -0.0008 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21047B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210480023 | 2021-02-23 | -0.002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21053A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210540040 | 2021-03-09 | 0.0028 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21062A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210620144 | 2021-03-18 | -0.0012 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21075A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210690061 | 2021-03-24 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21081A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210760026 | 2021-04-07 | -0.0008 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21096A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210830005 | 2021-04-15 | -0.0007 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21098A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20210970021 | 2021-05-04 | 0.0012 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21123A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211030185 | 2021-05-12 | 0.0017 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21131A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211100003 | 2021-05-25 | 0.001 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_21144A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211180006 | 2021-05-28 | -0.0018 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_21147A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211250029 | 2021-05-27 | -0.0009 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21146A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211320144 | 2021-06-08 | -0.0001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21158A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211380006 | 2021-06-08 | -0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21158A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211460022 | 2021-06-10 | 0.0014 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21159B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211600009 | 2021-06-22 | 0.0002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21167B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211660074 | 2021-06-25 | 0.0002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21174A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211730235 | 2021-07-15 | 0.0008 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21193A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211800181 | 2021-07-20 | -0.002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21200A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211880194 | 2021-07-21 | 0.0001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21200C
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20211940187 | 2021-07-27 | 0.0008 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21204A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212020195 | 2021-08-10 | 0.0007 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21221A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212080106 | 2021-08-11 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21222A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212150080 | 2021-08-18 | 0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21224A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212220187 | 2021-08-19 | 0.0009 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21230A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212290226 | 2021-09-03 | 0.0021 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21244A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212360127 | 2021-09-08 | 0.001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21250B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212520222 | 2021-09-22 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21263A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212580243 | 2021-09-30 | 0.0001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21266A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212640278 | 2021-10-05 | 0.0016 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21271A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2021 | 20212720124 | 2021-10-20 | -0.0017 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21292A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20212790025 | 2021-10-26 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21298A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20212860195 | 2021-11-03 | 0.0007 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21306A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20212940168 | 2021-11-17 | 0.0018 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21314A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20212990153 | 2021-12-01 | -0.001 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_21327A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213060204 | 2021-12-02 | -0.0004 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_21327B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213130192 | 2021-12-02 | 0.001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21336A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213200079 | 2021-12-02 | 0.0009 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21336A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213270274 | 2021-12-07 | -0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21340A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213410082 | 2021-12-29 | -0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_21361A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213480145 | 2022-01-10 | -0.0021 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22004A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213550409 | 2022-01-12 | -0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22004B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20213620352 | 2022-01-24 | -0.0002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22020A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220040086 | 2022-01-24 | -0.0001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22020A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220110082 | 2022-01-31 | 0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22027A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220190104 | 2022-01-31 | 0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22031A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220260170 | 2022-02-10 | -0.0001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22034A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220390081 | 2022-03-08 | 0.001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22053A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220470024 | 2022-03-09 | 0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22066A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220540136 | 2022-03-17 | 0.001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22069A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220600065 | 2022-03-17 | 0.0011 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22069A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220670064 | 2022-03-31 | 0.0006 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22081B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220760103 | 2022-04-12 | 0.0002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22101A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220810123 | 2022-04-12 | 0.0009 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22101A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220880115 | 2022-04-20 | 0.0014 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22103A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20220950122 | 2022-04-28 | 0.0019 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22115A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221020003 | 2022-05-11 | 0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22117A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221090230 | 2022-05-24 | 0.0008 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22132A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221160199 | 2022-05-24 | -0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_22137A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221230109 | 2022-06-07 | 0.0012 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22152A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221300142 | 2022-06-15 | 0.0027 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22165B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221370155 | 2022-06-23 | 0.0011 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22166A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221580138 | 2022-07-14 | 0.001 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22193A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221440249 | 2022-07-12 | 0.0011 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22173A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221730306 | 2022-08-17 | 0.0019 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22223A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221790227 | 2022-08-04 | 0.0005 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22209A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221870182 | 2022-08-17 | 0.0005 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22223A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221930239 | 2022-08-24 | 0.0011 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22229B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222000008 | 2022-08-30 | 0.0004 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22235A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20221660343 | 2022-07-26 | -0.0006 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22206A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222070168 | 2022-09-01 | 0.0008 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22241B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222210258 | 2022-09-22 | 0.0006 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22262A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222360017 | 2022-10-04 | -0.0022 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22272A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222630196 | 2022-11-17 | 0.0015 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22318A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222700279 | 2022-11-17 | 0.0003 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22318B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222140179 | 2022-09-21 | 0.0004 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22251A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222500474 | 2022-10-25 | -0.0004 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22293A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222280357 | 2022-09-28 | 0.0004 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22263B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2022 | 20222560149 | 2022-11-01 | 0.0013 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22300A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20222980107 | 2022-12-08 | 0.0019 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22342A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223120119 | 2022-12-21 | 0.001 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22353A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223260138 | 2023-01-05 | -0.0004 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22361A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223330063 | 2023-01-05 | 0.0017 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22361B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223400098 | 2023-01-05 | -0.0009 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22361B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223480164 | 2023-01-27 | -0.0008 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23025A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223540183 | 2023-01-27 | 0.0006 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23025A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20222910110 | 2022-12-07 | 0.0008 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22335A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223620072 | 2023-02-02 | 0.0025 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23030B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230040148 | 2023-02-02 | 0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23030B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230380130 | 2023-02-17 | 0.011 | 0.0110 | 0.003 | 2331 |  |  |  | mg/L | Blank | Yes | PELD_23047B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230100084 | 2023-02-14 | 0.0043 | 0.00430 | 0.003 | 2331 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | PELD_23031A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230180012 | 2023-02-14 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23044A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230240105 | 2023-02-16 | 0.0006 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23047A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20223190127 | 2022-12-21 | 0.0019 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22353B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20222770163 | 2022-11-17 | -0.0007 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22320A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20222850179 | 2022-11-30 | 0.0002 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_22333A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230450143 | 2023-03-01 | 0.0236 | 0.0236 | 0.003 | 2331 |  |  |  | mg/L | Blank | Yes | PELD_23054A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230540065 | 2023-03-16 | 0 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23072B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230590150 | 2023-03-16 | 0.0007 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23072B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230660143 | 2023-03-21 | 0.0002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23079B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230730133 | 2023-04-06 | 0.0006 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23094A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230800085 | 2023-04-11 | 0.0014 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23096A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230870175 | 2023-04-20 | 0.0009 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23101A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20230940134 | 2023-04-19 | 0 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23107B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231010263 | 2023-05-02 | 0.0006 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23114A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231090165 | 2023-05-09 | 0.0007 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23124A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231230168 | 2023-05-17 | 0.0016 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23136A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231150178 | 2023-05-26 | -0.0003 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23130A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231290213 | 2023-05-25 | -0.0012 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23142A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231360033 | 2023-06-08 | 0.0018 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23157B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231570085 | 2023-06-29 | 0.0002 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23177A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231720084 | 2023-07-19 | 0.0016 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23192A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231440116 | 2023-06-22 | 0.002 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23166B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231860108 | 2023-08-01 | 0.0011 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23212B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232050057 | 2023-08-25 | 0.0013 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23229A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231640215 | 2023-06-28 | 0.0005 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23178A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232120081 | 2023-08-30 | 0.0016 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23241A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232190044 | 2023-09-07 | 0.0011 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23248A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231790085 | 2023-07-26 | 0.0007 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23205A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20231980031 | 2023-08-16 | 0.0009 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23219B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232350108 | 2023-09-18 | -0.002 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23261A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232260032 | 2023-09-14 | -0.0014 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23248C
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232480093 | 2023-09-28 | 0.0001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23270A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232410131 | 2023-10-03 | 0 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23275A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232560113 | 2023-10-11 | 0.0006 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23279A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232610267 | 2023-10-13 | 0.0003 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_23279B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2023 | 20232680189 | 2023-11-21 | 0.0012 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_23321A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20232760054 | 2024-03-05 | 0.0025 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_24036A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20232840063 | 2024-03-07 | 0.0005 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_24036B
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20232910051 | 2024-03-06 | 0.002 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_24036C
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20232980003 | 2024-03-16 | 0.0002 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_24036D
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20233120071 | 2024-03-19 | 0.0002 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_24076A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240250080 | 2024-04-12 | 0.001 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_24088D
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240170019 | 2024-04-24 | 0.0041 | 0.00410 | 0.003 | 2331 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | PELD_24114C
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240370134 | 2024-04-19 | 0.0017 | <0.00300 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELD_24109A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240580146 | 2024-03-27 | 0.0017 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_24082C
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240660038 | 2024-03-21 | 0.0017 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_24079A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240790103 | 2024-03-25 | 0.0018 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_24082A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240880021 | 2024-04-16 | 0.001 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_24106A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20240930080 | 2024-04-11 | 0.0004 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_24097A
Phosphorus as P, FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2024 | 20241000097 | 2024-04-17 | 0.0013 | <0.00300 | 0.003 | 2331 |  |  |  | mg/L | Blank | No | PELD_24107A