## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2020 | 20202530037 | 2020-10-01 | 0 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L as P | Blank | No | PDNP_20268C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2020 | 20202590129 | 2020-10-09 | -0.004 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20275B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2020 | 20202670158 | 2020-10-21 | -0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20282B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20202810038 | 2020-11-03 | 0 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20303B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20202870031 | 2020-11-03 | 0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20303C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20202950005 | 2020-11-12 | 0.014 | 0.0140 | 0.01 | 2757 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PDNP_20311A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203010146 | 2020-11-17 | 0.005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20317A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203080103 | 2020-11-24 | 0.005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20324A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203150096 | 2020-11-27 | -0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20324C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203230010 | 2020-12-02 | -0.006 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20330A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203300034 | 2020-12-08 | -0.002 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20338A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203440020 | 2020-12-18 | -0.01 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20350A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203530088 | 2021-01-05 | -0.004 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20363B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203580036 | 2021-01-06 | 0.009 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_20363C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20203640023 | 2021-01-08 | -0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21007A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210050020 | 2021-01-08 | -0.004 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21007A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210120052 | 2021-01-22 | 0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21021A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210210034 | 2021-01-27 | -0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21025B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210270019 | 2021-02-03 | -0.004 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21032A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210330100 | 2021-02-11 | -0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21039B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210400072 | 2021-02-19 | -0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21047A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210480020 | 2021-03-03 | 0 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21053A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210620143 | 2021-03-11 | 0.018 | 0.0180 | 0.01 | 2757 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PDNP_21067A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210690062 | 2021-03-19 | -0.005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21075C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210760025 | 2021-03-24 | 0 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21078B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210830004 | 2021-03-31 | 0 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21084B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20210970020 | 2021-04-30 | 0.002 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21106A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211030186 | 2021-06-04 | 0.0037 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_21153A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211100017 | 2021-06-07 | -0.0013 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_21155A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211180005 | 2021-05-19 | 0.0032 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21139A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211250025 | 2021-05-20 | -0.005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21140A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211320145 | 2021-06-07 | 0.0066 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21155B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211380017 | 2021-06-07 | -0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21158A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211460023 | 2021-06-17 | 0.0004 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21166B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211600020 | 2021-06-24 | 0.0003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21172D
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211660075 | 2021-07-12 | 0.0012 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21187A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211730231 | 2021-07-13 | -0.0045 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21188B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211800182 | 2021-07-21 | -0.0018 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21197B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211880193 | 2021-07-28 | 0.0083 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21208B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20211940185 | 2021-07-30 | -0.0103 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21210A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212020197 | 2021-08-05 | 0.0088 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21215A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212080107 | 2021-08-11 | -0.0004 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21218A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212150076 | 2021-08-13 | -0.0106 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21222B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212220184 | 2021-08-24 | 0.0028 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21231A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212290224 | 2021-08-24 | 0 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21232A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212360128 | 2021-08-30 | -0.0001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21238A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212520232 | 2021-09-23 | 0.0003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21264A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212640274 | 2021-09-29 | 0.005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21270B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212720123 | 2021-10-04 | -0.0005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21273A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2021 | 20212580255 | 2021-09-23 | 0.028 | 0.0280 | 0.01 | 2757 |  |  |  | mg/L | Blank | Yes | PDNP_21264A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20212790018 | 2021-10-27 | 0.0065 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21285A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20212860196 | 2021-10-27 | 0.0019 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21287A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20212940178 | 2021-11-03 | -0.0013 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21298A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213060203 | 2021-11-18 | -0.0023 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21319A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213130204 | 2021-11-29 | -0.005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21327A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213200073 | 2021-12-01 | -0.0025 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21334A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213270275 | 2021-12-10 | -0.0036 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21341B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213410094 | 2021-12-14 | -0.0011 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21343A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213480152 | 2021-12-23 | 0.0029 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21351B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213550416 | 2022-01-07 | 0.0015 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22003A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220040075 | 2022-01-12 | -0.0041 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22010A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20213620342 | 2022-01-12 | 0.0012 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22010A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220110083 | 2022-01-21 | 0.0024 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22013A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220190114 | 2022-01-28 | 0.0046 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22024B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220260181 | 2022-02-10 | -0.0008 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22039A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220390078 | 2022-02-18 | 0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22042B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220470022 | 2022-03-03 | 0.0003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22060A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220600066 | 2022-03-23 | -0.0045 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22074A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220670063 | 2022-03-23 | -0.002 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22080A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220760102 | 2022-04-01 | -0.0058 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22090A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220810125 | 2022-04-07 | -0.0005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22096A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220950123 | 2022-04-14 | -0.008 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22101C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221020015 | 2022-04-28 | -0.0034 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22116A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20212990154 | 2021-11-12 | 0.0003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_21313A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220540138 | 2022-03-08 | 0 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22063A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20220880103 | 2022-04-13 | 0.0021 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22101A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221230108 | 2022-05-18 | -0.0014 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22136B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221370166 | 2022-05-26 | 0.0019 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22144A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221440250 | 2022-06-07 | -0.0005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22157A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221090226 | 2022-05-04 | -0.0051 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22123A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221580137 | 2022-06-13 | -0.0014 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22160C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221300139 | 2022-05-25 | 0.0019 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22143A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221660342 | 2022-06-29 | -0.0008 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22178A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221730298 | 2022-07-11 | 0.0049 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22188B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221160198 | 2022-05-10 | -0.0032 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22126A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221790228 | 2022-07-20 | 0.0056 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22195B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221870181 | 2022-07-28 | -0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22206A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20221930248 | 2022-07-29 | -0.0055 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22206C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222000020 | 2022-08-08 | 0.0006 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22217C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222070167 | 2022-08-11 | 0.0117 | 0.0117 | 0.01 | 2757 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PDNP_22222B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222140175 | 2022-08-19 | 0.0024 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22224A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222210268 | 2022-09-26 | 0.002 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22265A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222360016 | 2022-09-26 | 0.004 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22265A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222700278 | 2022-11-22 | -0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22325A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222280353 | 2022-09-13 | 0.0016 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22250A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222500482 | 2022-10-06 | 0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_22273A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222560165 | 2022-10-21 | 0.0009 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22285A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2022 | 20222630195 | 2022-10-26 | -0.0032 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22293A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20222980106 | 2022-12-15 | -0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22347A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223120118 | 2022-12-28 | -0.003 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22355A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223190133 | 2023-01-11 | 0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22364B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223260143 | 2023-01-23 | 0.003 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23011A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223330064 | 2023-01-23 | 0.005 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23011A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223400112 | 2023-01-25 | 0.002 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23023B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230040155 | 2023-01-31 | -0.003 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23026A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230180011 | 2023-02-07 | 0.008 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23030A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230100099 | 2023-01-30 | 0.005 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23026B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20222770162 | 2022-11-22 | 0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22325B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230590156 | 2023-03-09 | 0.007 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23067A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230540083 | 2023-03-09 | 0.007 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23067A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230660142 | 2023-03-16 | -0.01 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23074A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223620083 | 2023-01-31 | -0.005 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23026A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230730140 | 2023-03-30 | 0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23088A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230800084 | 2023-04-04 | 0.004 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23088C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230450149 | 2023-02-24 | 0.002 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23054A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223540182 | 2023-02-10 | 0.005 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23037A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230240117 | 2023-02-07 | 0.008 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23033A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230940133 | 2023-04-19 | -0.013 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23100A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231150177 | 2023-06-09 | 0 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23117A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231090176 | 2023-06-01 | 0.002 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23115A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20222850184 | 2022-12-06 | 0.007 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22327A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20222910107 | 2022-12-13 | 0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_22339C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230380144 | 2023-02-10 | 0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23039B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20230870174 | 2023-04-04 | 0.001 | <0.0100 | 0.01 | 2757 |  |  |  | mg/L | Blank | No | PDNP_23089A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231290212 | 2023-06-14 | -0.004 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23163D
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231010262 | 2023-06-09 | 0.004 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23123A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231230167 | 2023-06-12 | 0.013 | 0.0130 | 0.01 | 2757 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | PDNP_23163B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20223480165 | 2023-01-30 | 0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23025B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231440115 | 2023-07-18 | -0.002 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23178B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231860120 | 2023-09-01 | -0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23233D
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231720096 | 2023-08-23 | 0 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23202B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20232050051 | 2023-11-17 | 0 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23311A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231360044 | 2023-07-12 | 0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23191A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20232190040 | 2023-12-07 | 0.008 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23317B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231790090 | 2024-01-24 | 0.002 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23233B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231570084 | 2023-08-10 | 0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23198A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20231640214 | 2023-07-21 | 0.005 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_23201B
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2023 | 20232350100 | 2024-03-26 | 0.003 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_24081C
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2024 | 20233620056 | 2024-04-06 | 0 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_24087A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2024 | 20240030071 | 2024-04-06 | -0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_24087A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2024 | 20240090021 | 2024-04-06 | -0.001 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_24087A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2024 | 20240370131 | 2024-03-27 | 0.009 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_24085A
Phosphorus as P, FIL, CFA, ALK-P | 00666 | CL063 | FIL | 2024 | 20240440067 | 2024-04-24 | -0.004 | <0.0100 | 0.01 | 2757 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PDNP_24113A