## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 20202530037 | 2020-10-01 | -0.002 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L (as P) | Blank | No | PTNP_20268B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 20202590129 | 2020-10-06 | -0.002 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20275A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 20202670158 | 2020-10-21 | -0.002 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20283A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2020 | 20202740038 | 2020-10-23 | -0.006 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20293B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20202810038 | 2020-10-30 | 0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20300A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20202870031 | 2020-11-05 | -0.011 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20303A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20202950005 | 2020-11-12 | -0.004 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20311A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203010146 | 2020-11-13 | -0.015 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20311B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203080103 | 2020-11-17 | 0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20317A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203150096 | 2020-11-25 | 0.002 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20328A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203230010 | 2020-12-02 | -0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20330A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203300034 | 2020-12-04 | 0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20335A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203440020 | 2020-12-18 | -0.009 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20350A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203530088 | 2021-01-06 | 0.004 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_20363B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203580036 | 2021-01-06 | 0.018 | 0.0180 | 0.01 | 2759 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PTNP_20363B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20203640023 | 2021-01-08 | 0.004 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21007A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210050020 | 2021-01-08 | 0 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21007A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210120052 | 2021-01-22 | -0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21021A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210210034 | 2021-01-27 | -0.004 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21025B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210270019 | 2021-02-03 | 0.005 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21032A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210330100 | 2021-02-10 | 0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21039B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210400072 | 2021-02-19 | 0 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21047A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210480020 | 2021-03-03 | -0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21053A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210540051 | 2021-03-03 | 0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21053A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210620143 | 2021-03-11 | 0.006 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21067A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210690062 | 2021-03-18 | -0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21075B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210760025 | 2021-03-25 | -0.002 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21078A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210830004 | 2021-03-30 | 0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21084A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211030186 | 2021-05-07 | -0.0096 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21125A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211100017 | 2021-05-21 | 0.0063 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_21132B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211180005 | 2021-05-17 | 0.0087 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21133A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211250025 | 2021-05-19 | 0.005 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21139A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211320145 | 2021-06-09 | 0.006 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21153A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211380017 | 2021-06-17 | 0.0094 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_21165B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211460023 | 2021-06-17 | 0.0075 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21165B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211600020 | 2021-06-24 | 0.0052 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21172D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211660075 | 2021-07-12 | 0.0022 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21187A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211730231 | 2021-07-19 | -0.0021 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21195B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211800182 | 2021-07-20 | -0.0037 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21197B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211880193 | 2021-07-21 | 0.0005 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21200B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20211940185 | 2021-07-28 | -0.0031 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21208A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212020197 | 2021-08-05 | -0.0017 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21215A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212080107 | 2021-08-11 | 0.007 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21222A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212150076 | 2021-08-13 | 0.0008 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21222B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212220184 | 2021-08-23 | 0.0038 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21231A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212290224 | 2021-08-24 | -0.0043 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21232A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212360128 | 2021-08-30 | -0.0032 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21238A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212520232 | 2021-09-14 | 0.0094 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21253A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212580255 | 2021-09-23 | 0.0117 | 0.0117 | 0.01 | 2759 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PTNP_21264A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212640274 | 2021-09-30 | -0.0028 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21270B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20212720123 | 2021-10-06 | 0.0009 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21278A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2021 | 20210970020 | 2021-04-30 | 0.462 | 0.462 | 0.01 | 2759 |  |  |  | mg/L | Blank | Yes | PTNP_21119A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20212790018 | 2021-10-08 | 0.0178 | 0.0178 | 0.01 | 2759 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PTNP_21280A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20212860196 | 2021-10-28 | 0.0005 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21294A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20212940178 | 2021-11-03 | -0.0036 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21298A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20212990154 | 2021-11-12 | -0.0021 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21313A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213060203 | 2021-11-16 | -0.0031 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21314A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213200073 | 2021-12-03 | 0.002 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21336A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213270275 | 2021-12-14 | 0.0005 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21341B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213410094 | 2021-12-16 | 0.0019 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21347A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213480152 | 2021-12-30 | -0.0012 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_21363A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213550416 | 2022-01-07 | -0.0008 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22005A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220040075 | 2022-01-07 | 0.0029 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22005A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213620342 | 2022-01-07 | 0.0038 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22005A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220110083 | 2022-01-21 | -0.0017 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22013A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220190114 | 2022-01-28 | -0.0043 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22025A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220260181 | 2022-02-10 | -0.0034 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22039A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220470022 | 2022-02-28 | -0.0021 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22055A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220540138 | 2022-03-08 | -0.0058 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22063A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220600066 | 2022-03-08 | -0.0028 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22066B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220670063 | 2022-03-17 | -0.0072 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22074B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220760102 | 2022-04-07 | -0.0027 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22090B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220810125 | 2022-04-07 | 0.0183 | 0.0183 | 0.01 | 2759 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PTNP_22096A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220880103 | 2022-04-14 | -0.0076 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22102A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220950123 | 2022-04-14 | -0.0062 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22102A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221020015 | 2022-04-21 | -0.0047 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22105A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20213130204 | 2021-12-01 | 0.0558 | 0.0558 | 0.01 | 2759 |  |  |  | mg/L | Blank | Yes | PTNP_21334A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221090226 | 2022-04-28 | -0.0001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22116B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20220390078 | 2022-02-25 | -0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22042A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221230108 | 2022-05-17 | -0.0033 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22136A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221370166 | 2022-06-02 | -0.0006 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22152A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221440250 | 2022-06-07 | -0.0029 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22157A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221160198 | 2022-05-10 | -0.0008 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22126A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221580137 | 2022-06-13 | -0.0057 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22160C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221790228 | 2022-07-12 | 0.0065 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22188C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221300139 | 2022-05-25 | -0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22143A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221660342 | 2022-06-23 | -0.0014 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22173A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221730298 | 2022-07-11 | -0.0003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22188A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221870181 | 2022-07-28 | 0.0121 | 0.0121 | 0.01 | 2759 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PTNP_22206A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20221930248 | 2022-07-29 | -0.007 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22206B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222000020 | 2022-08-02 | -0.0013 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22213A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222070167 | 2022-08-10 | -0.0074 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22221A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222140175 | 2022-08-23 | 0.004 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_22234A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222210268 | 2022-09-27 | 0.0092 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22265A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222280353 | 2022-09-16 | 0.001 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22251A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222500482 | 2022-10-07 | 0.004 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22273B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222560165 | 2022-10-21 | -0.0022 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22277B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222360016 | 2022-09-27 | -0.0022 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22265A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222630195 | 2022-10-26 | 0.0048 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2022 | 20222700278 | 2022-11-08 | 0.034 | 0.0340 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | PTNP_22308A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20222980106 | 2022-12-15 | -0.001 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22348A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223120118 | 2022-12-28 | 0 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22355B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223190133 | 2023-01-11 | 0.001 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23003A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223260143 | 2023-01-23 | 0 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23011A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223330064 | 2023-01-23 | 0.002 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23011B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223400112 | 2023-01-25 | -0.003 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23024A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230040155 | 2023-01-27 | -0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23024E
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230180011 | 2023-02-01 | 0.008 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23027A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230100099 | 2023-01-27 | -0.007 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23024F
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230240117 | 2023-02-02 | 0.005 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23030B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230380144 | 2023-02-17 | -0.006 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23044A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230450149 | 2023-02-22 | 0 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23052A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230590156 | 2023-03-09 | 0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23067A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230540083 | 2023-03-02 | -0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23060A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230660142 | 2023-03-29 | -0.008 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23082A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223480165 | 2023-01-26 | -0.001 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23024C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223620083 | 2023-01-26 | 0.02 | 0.0200 | 0.01 | 2759 |  |  |  | mg/L | Blank | Yes | PTNP_23024D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230730140 | 2023-03-17 | 0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23075A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230800084 | 2023-03-30 | 0.001 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23088A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230870174 | 2023-05-02 | 0.002 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23117A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20223540182 | 2023-02-07 | -0.002 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23033A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20222910107 | 2022-12-06 | 0.001 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22327A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20230940133 | 2023-04-19 | 0.003 | <0.0100 | 0.01 | 2759 |  |  |  | mg/L | Blank | No | PTNP_23107A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231150177 | 2023-06-14 | -0.006 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23163B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231090176 | 2023-06-15 | 0.01 | 0.0100 | 0.01 | 2759 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | No | PTNP_23163A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20222850184 | 2022-11-16 | -0.013 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22312A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20222770162 | 2022-11-08 | -0.001 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_22308A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231290212 | 2023-07-27 | 0.011 | 0.0110 | 0.01 | 2759 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | PTNP_23207A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231010262 | 2023-07-27 | 0.02 | 0.0200 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | PTNP_23207A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231230167 | 2023-07-27 | 0.009 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23207A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231440115 | 2023-07-12 | -0.002 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23191A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231860120 | 2023-10-27 | 0.003 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20232050051 | 2023-11-09 | 0.006 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23317D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231720096 | 2023-08-29 | 0.005 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23221C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231360044 | 2023-08-18 | -0.005 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23340A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20232190040 | 2023-12-22 | 0 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23354A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20232120083 | 2023-11-21 | -0.007 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23311A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231790090 | 2023-11-07 | 0.001 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23307A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231570084 | 2023-07-28 | 0.002 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23221A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231640214 | 2023-08-07 | 0.004 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23221A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20232350100 | 2024-02-27 | 0.003 | <0.0400 | 0.04 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_24052A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20231980043 | 2023-10-13 | 0.006 | <0.0100 | 0.01 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_23242B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20232480090 | 2024-04-18 | 0.008 | <0.0400 | 0.04 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_24081B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2023 | 20232560112 | 2024-04-19 | 0.003 | <0.0400 | 0.04 | 2759 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PTNP_24081C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2024 | 20240370131 | 2024-02-29 | 0.001 | <0.0400 | 0.04 | 2759 |  |  |  | mg/L | Blank | No | PTNP_24052B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2024 | 20240440067 | 2024-03-01 | 0.002 | <0.0400 | 0.04 | 2759 |  |  |  | mg/L | Blank | No | PTNP_24060A